Action list relating to instrumentation and data acquisition systems

Coordinator and Secretariats

1.	Coordinator to develop internet mailing list for SOOP activities (including TT).

done

TT chairman

- Develop new testing proposals based on information from manufacturers on changes in production procedures.

ongoing

- With Chairman SOOPIP, develop preliminary analysis of requirements for operational instrument evaluations and intercomparisons, for consideration by IAG.

under way – refer to JCOMM

- Prepare outline, analysis and proposals concerning preparation of SOOP Operations Guide (SOOPOG) (by end 1998), and coordinate preparation of draft guide for SOOPIP-III

done

TT and SOOPIP members

- J.-P. Rebert to check on Sparton probe data availability in Brest, and inform other data centres accordingly.

to be reactivated

- R. Keeley to contact NODC regarding the possibility of accessing additional Sparton probe data in Germany

done – no result

- R. Keeley, A. Sy and C. Henin to develop appropriate modifications to TRACKOB to include information on the accuracy of observations.

discussed and agreed not useful

- Operators to include probe serial numbers when notifying manufacturers of probe failures.

new action item – manufacturer warranty

- D. Varillon to coordinate formation and activities of technical discussion group.

new action item

- P. Rual, A. Sy and TT members to provide software and documentation on fall-rate evaluations to others, as required, to facilitate further testing.

ongoing

- R. Bailey to request AOML specifically to undertake further XBT testing as US GOOS centre. A. Sy to provide procedures brief for this work. Other TT members to assist.

partly done

- All operators to ensure Y2K compliance of their customized software and hardware, by mid-1999, and notify coordinator of any problems encountered.

Done – no problems encountered

- R. Bailey and A. Sy to coordinate development of documentation of quality assurance procedures for inclusion in new SOOP Operations Guide.

ongoing

Manufacturers

- Sippican to investigate potential timing problem with windows-based software on Mk-12, and report to the TT.

report to be sent to the technical coordinator

- All manufacturers to notify users of any changes in production procedures.

reinforced, ongoing

- All manufacturers to note concerns of climate research and monitoring users relating to decreases in instrument quality coupled with instrument price increases.

noted

- TSK to undertake work to remove apparent bias in salinity measurements with TSK XCTD probes.

done - no problem, according to TSK

- Sippican to evaluate apparent wire stretching problem with new Sippican XBTs, develop solutions and report results to TT.

done

- TSK and Sippican to provide information on fall-rate coefficients for XCTDs to chairman of TT, for forwarding to appropriate data centres and other users.

partly done

- TSK and Sippican to inform TT chairman when new XCTD system is available (around June 1999).

Done