|  | SOOP Report for 2005 | JAPAN |
| --- | --- | --- |
|  | a. | Programme description: |
|  | Line | Agency | Sampling programme and mode (if applicable | No. of ships |
|  | PX05 | JMA/JAMSTEC | FRX (nominal 4 drops/day, 8 transects/year) | 1 |
|  | IX09N | JMA/JAMSTEC | FRX (nominal 4 drops/day, 16 transects/year) | 1 |
|  | IX10 | JMA/JAMSTEC | FRX (nominal 4 drops/day, 16 transects/year) | 1 |
|  | PX40 | Tohoku Univ./ JAMSTEC | HDX (nominal 30nmiles spacing drops, 3 transects/year) | 1 |
|  | PX45 | JMA | LDX (nominal 60nmiles spacing CTD, 4 transects/year) | 2 |
|  | PX46 | JMA | LDX (nominal 60nmiles spacing CTD, 2 transects/year) | 2 |
|  | JMA: Japan Meteorological Agency JAMSTEC: Japan Agency for Marine-Earth Science and Technology Tohoku Univ.: Graduate School of Science, Tohoku University |
|  | b. | Data management |
|  | Agency | No. of JJVV messages on the GTS in 2005 | Location of delayed-mode data |
|  | JMA/JAMSTEC | 631 * | JODC#, WOCE UOT DAC at IFREMER |
|  | Tohoku Univ./JAMSTEC | 229 | JODC |
|  | JMA | 244 ** | JODC |
|  | # Japan Oceanographic Data Center * The number includes that of XCTD sampling (KKYY messages). ** The number includes that of CTD sampling (KKYY messages). |
|  | c. | Major challenges and difficulties: |
|  | d. | Research / development / testing: |
|  | Kizu, Ito and Watanabe (2005b)* have inter-compared the fall-rate of the T-5 Models of XBT manufactured by TSK and Sippican Inc. based on a series of contemporaneous and collocated measurements with CTD profilers. They confirmed that the fall-rates of the two manufacturers’ T-5 differ by about 5 percent, despite the fact that they had been believed to be identical for many years. The cause of the difference is discussed on the basis of a detailed cross-examination of the two T-5 models. It is found that the two models are different in several respects. The manufacturer’s fall-rate equation is only applicable to the Sippican T-5, for which Boyd and Linzell’s (1993) equation seems to be slightly more accurate. Kizu et al.’s (2005a)** equation gives a clearly less biased depth than the manufacturers’ equation for the TSK T-5. It is also found that the fall-rates of both T-5 models are dependent on water temperature, perhaps because of viscosity. The temperature-dependency of the fall-rate of the TSK T-5 is larger than that of the Sippican T-5. |
| * Kizu, Ito and Watanabe, 2005b: Inter-manufacturer Difference and Temperature Dependency of the Fall-Rate of T-5 Expendable Bathythermograph. J. Oceanogr., 61, 905-912. ** Kizu, Yoritaka and Hanawa, 2005a: A New Fall-Rate Equation for T-5 Expendable Bathythermograph (XBT) by TSK. J. Oceanogr., 61, 115-121. |
|  | e. | Other comments: |
|  | In addition to above programs, some research vessels of Japanese domestic institutes carry out XBT/XCTD/CTD sampling in the western Pacific and other seas and transmit the data into GTS by BATHY/TESAC messages. Including the messages along the SOOP lines, total of 38 ships reported 6901 messages in 2005 as shown in attached table. |