|  |  |  |  |
| --- | --- | --- | --- |
|  | **VOS Report for 2017** | **Country =** | **Germany** |
|  |
|  | **a.** | **Programme description:** |
| **Category** | **No. of ships at** **31 Dec 2017** | **Recruitments in 2017** | **De-recruitments****In 2017** | **Comments** |
| *Selected* | 317 | 16 | 58 |  |
| *Selected AWS* | 27 | 10 | 1 |  |
| *VOSClim* | 97 | 6 | 4 |  |
| *VOSClim AWS* | 2 | 0 | 0 |  |
| *Supplementary* | 0 | 0 | 0 |  |
| *Supplementary AWS* | 0 | 0 | 0 |  |
| *Auxiliary* | 11 | 2 | 0 |  |
| *Auxiliary AWS* | 0 | 0 | 0 |  |
| *Other* | 5 | 0 | 0 |  |
| **National VOS Total** | 459 |   |  |  |
|  |  |  |  |  |  |
|  | **National VOS Target** | 400 |  |  |  |  |
|  | **National VOSClim Target**  | 200 |  |  |  |  |
|  |  |  |  |  |  |  |
|  | **b.** | **Data management:** |
|  | *Total number of ship observations (BBXX) distributed on the GTS in 2017* | 262133 |
|  | *Dates when VOS data submitted to the GCCs in 2017* | quarterly |

|  |  |  |
| --- | --- | --- |
|  | c. | **Shipboard Automatic Weather System** |
| **Type** | **No. of ships at 31 Dec 2017** | **Manual Input****Yes / No** | **Method of Comms** | **Year1 Plans** |
| Milos | 17 | yes | DCP / EMail | 15 on E-Mail, 1 left on DCP  |
| ABWST MK2 | 2 | no | E-Mail |  |
| EUCAWS | 10 | yes | E-Mail |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |
|  | **d.** | **Electronic logbooks: (TurboWin, SEAS, OBSJMA)** |
| **Software & version** | **No. of ships at**  **31 Dec 2017** | Implementation plans |
| TurboWin XX | 418 | Continuously on Ship´s PC |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

|  |  |
| --- | --- |
| **e.** | **Standard Meteorological Equipment: (Types and Settings)** |
| **Equipment Type / Element** | **Manual Instrumentation** | **AWS Instrumentation** |
| Barometer | R. Fuess | Vaisala PTB |
| Vaisala PTB330 |  |
|  |  |
| *Default national setting* | *Mean Sea Level* | *Mean Sea Level* |
| Barograph | Dr. Mueller | Dr. Mueller |
| Lambrecht | Lambrecht |
| *Default national setting* | *Mean Sea Level* | *Mean Sea Level* |
| Thermometers | Eigenbrodt | PT100 |
|  | Rotronic |  |
| Sea Surface Temperature | Sea Water Bucket Theodor Friedrich | PT100 |
|  |  |  |
| Wind Speed |  | Thies Cup  |
|  |  | Lufft Ventus |
| Wind Direction |  | Thies vane |
|  |  | Lufft Ventus |
|  |  |  |
|  |  |  |

|  |  |
| --- | --- |
| **f.**  | **PMO ship visit activities: (if a visit is for dual purposes, include all purposes)** |
| **Activity** | **Manual Ship**  | **AWS****Ship** | **Comment** |
| Routine VOS inspections | 426 | 41 |  |
| VOS recruitment visits | 25 | 9 |  |
| VOS de-recruitment visits | 4 | 0 |  |
| VOS courtesy or foreign visits | 21 | 0 |  |
| *Total visits to VOS* | 526 |  |
| Routine ASAP inspections | 45 |  |  |
| ASAP recruitment visits | 3 |  |  |
| ASAP de-recruitment visits | 4 |  |  |
| ASAP courtesy visits | 0 |  |  |
| *Total visits to ASAP* | 52 |  |  |
| Routine SOOP visits |  |  |  |
| SOOP recruitment visits |  |  |  |
| SOOP de-recruitment visits |  |  |  |
| SOOP courtesy visits |  |  |  |
| *Total visits to SOOP* |  |  |  |
| Visits in support of DBCP (drifting buoys) |  |  |  |
| Visits in support of Argo (profiling floats) |  |  |  |
| *Total visits to other programs* |  |  |  |
| **Total visits by national PMOs** | 578 | *Sum of all ship visits (VOS + ASAP + SOOP) + visits to other program (DBCP + Argo)* |
| **Total number of PMOs(FTE\*)** | 6 |  |
| (\*FTE-Full Time Employee) |  |  |  |

|  |  |
| --- | --- |
| **g.** | **Major challenges and difficulties:** |
|  |
|  |  |
| **h.** | **Research / development / testing:** |
|  |
|  |  |
| **i.** | **Other comments** |
|  |