## PAP
Station Information | [47 empty] | Anemometry | [28 empty] | Air temperature | [12 empty] | Sea Surface Temperature | [10 empty] | Sea Surface Salinity | [10 empty] | Air Pressure | [10 empty] | Humidity | [12 empty] | Precipitation | [8 empty] | Downwelling shortwave radiation | [8 empty] | Downwelling longwave radiation | [8 empty] | Waves | [32 empty] | Surface currents | [12 empty] | Subsurface currents | [12 empty] | Subsurface Temperature | [10 empty] | Subsurface salinity
ODAS abbrev | ID | create | update | msd | med | WMOn | stn | ts | bt | stat | ind | oed | pdepl | cnty | ragy | DA | Lat | Lon | WC | gps | Hult | HulMS | HulMat | battType | volt | lngth | Brth | Diam | Mtyp | desi | openv | wdpth | elev | Cmsy | Stt | Stno | Cmsy2 | Stt2 | Stno2 | Foo | AIn | davail | dfmt | respd | WebD | belec | WebA | nanemo | anmI | aMS | sdim | cmpT | hwl | sfWS | sfWD | apWS | apWD | spstWS | spstWD | ctilt | amWS | gust | anmI2 | aMS2 | sdim2 | cmpT2 | hwl2 | sfWS2 | sfWD2 | apWS2 | apWD2 | spstWS2 | spstWD2 | ctilt2 | amWS2 | gust2 | nats | ats | atsMS | atswl | apaT | spstT | atAsp1 | ats2 | atsMS2 | atswl2 | apaT2 | spstT2 | atsAsp2 | nwts | wts | wtsMS | dws | apWT | spstWT | wts2 | wtsMS2 | dws2 | apWT2 | spstWT2 | nSs | Sstp | Ssm | dss | apSs | spstS | Sstp2 | Ssm2 | dss2 | apSs2 | spstS2 | nbps | bps | bpsMS | bpswl | apBP | spstBP | bps2 | bpsMS2 | bpswl2 | apBP2 | spstBP2 | nhs | hs | hsMS | hswl | aphs | spsth | hsAsp1 | hs2 | hsMS2 | hswl2 | aphs2 | spsth2 | hsAsp2 | npg | pg | pgMS | apPG | spstpg | pg2 | pgMS2 | apPG2 | spstpg2 | nsrs | srs | srMS | apSR | spstSR2 | srs2 | srMS2 | apSR2 | spstSR2 | nlrs | lrs | lrMS | apLR | spstLR2 | lrs2 | lrMS2 | apLR2 | spstLR2 | nwav | wav | wavMS | lwav | fowo | spst | sfWAV | apWAV | fbWAV | fbw | fmin | fmax | drWAV | wtilt | wproc | repwh1 | rewp1 | wav2 | wavMS2 | lwav2 | fowo2 | spst2 | sfWAV2 | apWAV2 | fbWAV2 | fbw2 | fmin2 | fmax2 | drWAV2 | wtilt2 | Wproc2 | repwh2 | rewp2 | nOC | oct | ocMS | dmOC | apOC | spstOC | OCmax | oct2 | ocMS2 | dmOC2 | apOC2 | spstOC2 | OCmax2 | nSSOC | ssoct | ssocMS | dmSSOC | apSSOC | spstSSOC | SSOCmax | ssoct2 | ssocMS2 | dmSSOC2 | apSSOC2 | spstSSOC2 | SSOCmax2 | nsswts | sswts | sswtsMS | dssws | apSSWT | spstSSWT | sswts2 | sswtsMS2 | dssws2 | apSSWT2 | spstSSWT2 | nSss | Ssstp | Sssm | dsss | apSss | spstSss | Ssstp2 | Sssm2 | dsss2 | apSss2 | spstSss2
Description | ODAS ID | Metadata record creation date | Metadata record update date | Metadata validity start date | Metadata validity end date | WMO number | Station name | Type of station | Buoy Type | Status | Start date | End date | Period of deployment | Country of ownership | Operating agency/institute | Degree of automation | Latitude (of deployment) | Longitude (of deployment) | Watch circle (m) | Positioning System in use | Hull type | Hull manufacturer/model | Hull material | Battery Type | Maximum total battery voltage, theoretical | Length (m) | Breadth/width (m) | Diameter (m) | Mooring type | Mooring Line Configuration | Operating environment | Water depth (m) | Elevation above sea level (m) | Primary data transmission system | Primary (satellite) transmission time | Primary sat transmission ID | Secondaryy data transmission system | Secondary (satellite) transmission time | Secondary sat transmission ID | Observation frequency (hrs) | Any other ID | Data availability | Data format | Responsible data centre for sharing data | Web address for data access | Type & version of internal buoy processor | Web address | Number of systems | Primary anemometer type | Primary anemometer model | No of axes (if a sonic) | Primary wind direction sensor model | Measurement height (m asl) | Wind speed sampling freq (Hz) | Wind direction sampling freq (Hz) | Wind speed averaging period (mins) | Wind direction averaging period (min)(n) | Wind Speed Sampling period start | Wind Direction Sampling period start | Corrected for buoy tilt | Averaging method for wind speed | Gust length (s) | Secondary anemometer type | Secondary anemometer model | No of axes (if a sonic) | Secondary wind direction sensor model(a) | Measurement height (m asl) | Wind speed sampling freq (Hz) | Wind direction sampling freq (Hz) | Wind speed averaging period (mins) | Wind direction averaging period (min)(n) | Wind Speed Sampling period start | Wind Direction Sampling period start | Corrected for buoy tilt | Averaging method for wind speed | Gust length (s) | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Secondary instrument type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Secondary Sensor Aspirated | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Secondary pressure sensor type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Secondary humidity sensor type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Number of systems | Primary instrument type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary precipitation sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary shortwave sensor type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary shortwave sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary longwave sensor type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary longwave sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary wave sensor type | Primary wave sensor model | Location of wave sensor | Wave observation frequency (hrs) | Sampling period start | Primary sensor sampling freq (Hz) | Primary sensor sampling period (mins)(n) | No of frequency bins | Width of each frequency band (Hz) | Minimum freq of sensor range (Hz) | Maximum freq of sensor range (Hz) | Directional resolution (deg) | Waves corrected for buoy tilt | Wave analysis technique | Wave height reported | Wave period reported | Secondary wave sensor type | Secondary wave sensor model | S. Location of secondary wave sensor | S. Wave observation frequency (hrs) | Sampling period start | Secondary sensor sampling freq (Hz) | Secondary sensor sampling period (mins) | No of frequency bins | Width of each frequency band (Hz) | Minimum freq of sensor range (Hz) | Maximum freq of sensor range (Hz) | Directional resolution (deg) | Waves corrected for buoy tilt | Wave analysis technique | Wave height reported | Wave period reported | Number of systems | Primary current sensor type | Primary current sensor model | Measurement depth (m) | Averaging period (mins) | Sampling period start | Maximum current speed reported | Secondary current sensor type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Maximum current speed reported | Number of systems | Primary current sensor type | Primary current sensor model | Measurement depth (m) | Averaging period (mins) | Sampling period start | Maximum current speed reported | Secondary current sensor type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Maximum current speed reported | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start
PAP | 39 | 20100826 | 20100826 | 20100601 | valid | 62442 | PAP | MB - Moored buoy | 1 | pre-operational | 20100601 | N/A | all year | UK | UK Met Office/NOCS | 1 - Fully automated | 49 | 16.5 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Iridium | HH | 300034012474440 | N/A | N/A | N/A | 1 | 5551 | GTS | FM-13 & FM-64 | UK Met Office | http://www.metoffice.gov.uk/weather/marine/observations/ | PC42/CR10X | http://www.metoffice.gov.uk/weather/marine/observations/gathering_data/MAWS.html | 1 | S - Sonic | Gill WindSonic | 2 | Gill WindSonic coupled with TNT Revolution compass | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | N/A | N/A | N/A | N/A | N/A | N/A | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | N/A | N/A | N/A | N/A | N/A | 1 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## K5
Station Information | [47 empty] | Anemometry | [28 empty] | Air temperature | [12 empty] | Sea Surface Temperature | [10 empty] | Sea Surface Salinity | [10 empty] | Air Pressure | [10 empty] | Humidity | [12 empty] | Precipitation | [8 empty] | Downwelling shortwave radiation | [8 empty] | Downwelling longwave radiation | [8 empty] | Waves | [32 empty] | Surface currents | [12 empty] | Subsurface currents | [12 empty] | Subsurface Temperature | [10 empty] | Subsurface salinity
ODAS abbrev | ID | create | update | msd | med | WMOn | stn | ts | bt | stat | ind | oed | pdepl | cnty | ragy | DA | Lat | Lon | WC | gps | Hult | HulMS | HulMat | battType | volt | lngth | Brth | Diam | Mtyp | desi | openv | wdpth | elev | Cmsy | Stt | Stno | Cmsy2 | Stt2 | Stno2 | Foo | AIn | davail | dfmt | respd | WebD | belec | WebA | nanemo | anmI | aMS | sdim | cmpT | hwl | sfWS | sfWD | apWS | apWD | spstWS | spstWD | ctilt | amWS | gust | anmI2 | aMS2 | sdim2 | cmpT2 | hwl2 | sfWS2 | sfWD2 | apWS2 | apWD2 | spstWS2 | spstWD2 | ctilt2 | amWS2 | gust2 | nats | ats | atsMS | atswl | apaT | spstT | atAsp1 | ats2 | atsMS2 | atswl2 | apaT2 | spstT2 | atsAsp2 | nwts | wts | wtsMS | dws | apWT | spstWT | wts2 | wtsMS2 | dws2 | apWT2 | spstWT2 | nSs | Sstp | Ssm | dss | apSs | spstS | Sstp2 | Ssm2 | dss2 | apSs2 | spstS2 | nbps | bps | bpsMS | bpswl | apBP | spstBP | bps2 | bpsMS2 | bpswl2 | apBP2 | spstBP2 | nhs | hs | hsMS | hswl | aphs | spsth | hsAsp1 | hs2 | hsMS2 | hswl2 | aphs2 | spsth2 | hsAsp2 | npg | pg | pgMS | apPG | spstpg | pg2 | pgMS2 | apPG2 | spstpg2 | nsrs | srs | srMS | apSR | spstSR2 | srs2 | srMS2 | apSR2 | spstSR2 | nlrs | lrs | lrMS | apLR | spstLR2 | lrs2 | lrMS2 | apLR2 | spstLR2 | nwav | wav | wavMS | lwav | fowo | spst | sfWAV | apWAV | fbWAV | fbw | fmin | fmax | drWAV | wtilt | wproc | repwh1 | rewp1 | wav2 | wavMS2 | lwav2 | fowo2 | spst2 | sfWAV2 | apWAV2 | fbWAV2 | fbw2 | fmin2 | fmax2 | drWAV2 | wtilt2 | Wproc2 | repwh2 | rewp2 | nOC | oct | ocMS | dmOC | apOC | spstOC | OCmax | oct2 | ocMS2 | dmOC2 | apOC2 | spstOC2 | OCmax2 | nSSOC | ssoct | ssocMS | dmSSOC | apSSOC | spstSSOC | SSOCmax | ssoct2 | ssocMS2 | dmSSOC2 | apSSOC2 | spstSSOC2 | SSOCmax2 | nsswts | sswts | sswtsMS | dssws | apSSWT | spstSSWT | sswts2 | sswtsMS2 | dssws2 | apSSWT2 | spstSSWT2 | nSss | Ssstp | Sssm | dsss | apSss | spstSss | Ssstp2 | Sssm2 | dsss2 | apSss2 | spstSss2
Description | ODAS ID | Metadata record creation date | Metadata record update date | Metadata validity start date | Metadata validity end date | WMO number | Station name | Type of station | Buoy Type | Status | Start date | End date | Period of deployment | Country of ownership | Operating agency/institute | Degree of automation | Latitude (of deployment) | Longitude (of deployment) | Watch circle (m) | Positioning System in use | Hull type | Hull manufacturer/model | Hull material | Battery Type | Maximum total battery voltage, theoretical | Length (m) | Breadth/width (m) | Diameter (m) | Mooring type | Mooring Line Configuration | Operating environment | Water depth (m) | Elevation above sea level (m) | Primary data transmission system | Primary (satellite) transmission time | Primary sat transmission ID | Secondaryy data transmission system | Secondary (satellite) transmission time | Secondary sat transmission ID | Observation frequency (hrs) | Any other ID | Data availability | Data format | Responsible data centre for sharing data | Web address for data access | Type & version of internal buoy processor | Web address | Number of systems | Primary anemometer type | Primary anemometer model | No of axes (if a sonic) | Primary wind direction sensor model | Measurement height (m asl) | Wind speed sampling freq (Hz) | Wind direction sampling freq (Hz) | Wind speed averaging period (mins) | Wind direction averaging period (min)(n) | Wind Speed Sampling period start | Wind Direction Sampling period start | Corrected for buoy tilt | Averaging method for wind speed | Gust length (s) | Secondary anemometer type | Secondary anemometer model | No of axes (if a sonic) | Secondary wind direction sensor model(a) | Measurement height (m asl) | Wind speed sampling freq (Hz) | Wind direction sampling freq (Hz) | Wind speed averaging period (mins) | Wind direction averaging period (min)(n) | Wind Speed Sampling period start | Wind Direction Sampling period start | Corrected for buoy tilt | Averaging method for wind speed | Gust length (s) | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Secondary instrument type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Secondary Sensor Aspirated | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Secondary pressure sensor type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Secondary humidity sensor type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Number of systems | Primary instrument type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary precipitation sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary shortwave sensor type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary shortwave sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary longwave sensor type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary longwave sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary wave sensor type | Primary wave sensor model | Location of wave sensor | Wave observation frequency (hrs) | Sampling period start | Primary sensor sampling freq (Hz) | Primary sensor sampling period (mins)(n) | No of frequency bins | Width of each frequency band (Hz) | Minimum freq of sensor range (Hz) | Maximum freq of sensor range (Hz) | Directional resolution (deg) | Waves corrected for buoy tilt | Wave analysis technique | Wave height reported | Wave period reported | Secondary wave sensor type | Secondary wave sensor model | S. Location of secondary wave sensor | S. Wave observation frequency (hrs) | Sampling period start | Secondary sensor sampling freq (Hz) | Secondary sensor sampling period (mins) | No of frequency bins | Width of each frequency band (Hz) | Minimum freq of sensor range (Hz) | Maximum freq of sensor range (Hz) | Directional resolution (deg) | Waves corrected for buoy tilt | Wave analysis technique | Wave height reported | Wave period reported | Number of systems | Primary current sensor type | Primary current sensor model | Measurement depth (m) | Averaging period (mins) | Sampling period start | Maximum current speed reported | Secondary current sensor type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Maximum current speed reported | Number of systems | Primary current sensor type | Primary current sensor model | Measurement depth (m) | Averaging period (mins) | Sampling period start | Maximum current speed reported | Secondary current sensor type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Maximum current speed reported | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start
K5 | 28 | 20100630 | 20100630 | 19940708 | 19950807 | 64045 | K5 | MB - Moored buoy | 1 | operational | 19940708 | 19950807 | all year | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP |  |  | Meteosat DCP |  |  | 1 |  | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 40 | 20100630 | 20100630 | 19950807 | 19951215 | 64045 | K5 | MB - Moored buoy | 1 | operational | 19950807 | 19951215 | early failure | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP |  |  | Meteosat DCP |  |  | 1 |  | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 21 | 20100630 | 20100630 | 19951215 | 19960910 | 64045 | K5 | MB - Moored buoy | 1 | operational | 19951215 | 19960910 | early failure | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP |  |  | Meteosat DCP |  |  | 1 |  | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 40 | 20100630 | 20100630 | 19960910 | 19970524 | 64045 | K5 | MB - Moored buoy | 1 | operational | 19960910 | 19970524 | early failure | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP |  |  | Meteosat DCP |  |  | 1 |  | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 20 | 20100630 | 20100630 | 19970524 | 19970919 | 64045 | K5 | MB - Moored buoy | 1 | operational | 19970524 | 19970919 | early failure | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP |  |  | Meteosat DCP |  |  | 1 |  | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 34 | 20100630 | 20100630 | 19970919 | 20000510 | 64045 | K5 | MB - Moored buoy | 1 | operational | 19970919 | 20000510 | all year | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP |  |  | Meteosat DCP |  |  | 1 |  | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 40 | 20100630 | 20100630 | 20000510 | 20030816 | 64045 | K5 | MB - Moored buoy | 1 | operational | 20000510 | 20030816 | all year | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP |  |  | Meteosat DCP |  |  | 1 |  | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 22 | 20100630 | 20100630 | 20040719 | 20060206 | 64045 | K5 | MB - Moored buoy | 1 | operational | 20040719 | 20060206 | all year | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP | HH:57:00 | 16005 | Meteosat DCP | HH:58:30 | 36EB6 | 1 | 05681/05682 | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 31 | 20100630 | 20100630 | 20060820 | 20080819 | 64045 | K5 | MB - Moored buoy | 1 | operational | 20060820 | 20080819 | all year | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP | HH:52:30 | 1608E | Meteosat DCP | HH:07:30 | 164D0 | 1 | 05741/05742 | GTS | FM-13 | UK Met Office |  | PC42/CR10X |  | 2 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
K5 | 39 | 20100630 | 20100630 | 20080719 | valid | 64045 | K5 | MB - Moored buoy | 1 | operational | 20080819 | N/A | all year | UK | UK Met Offce | 1 - Fully automated | 59.07 | -11.42 | 10000 | GPS | DS - Discus (cylinders) | Balmoral K-series | steel |  |  | N/A | N/A | 2.6 | FC - Float inverse catenary | Slack | open ocean |  | 0 | Meteosat DCP | HH:09:00 | 16178 | Iridium | HH | 300124000115990 | 1 | 05501/05502 | GTS | FM-13 | UK Met Office | http://www.metoffice.gov.uk/weather/marine/observations/ | PC42/CR10X | http://www.metoffice.gov.uk/weather/marine/observations/gathering_data/MAWS.html | 2 | S - Sonic | Gill WindSonic | 2 | Gill WindSonic coupled with TNT Revolution compass | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | TC - Three cup | Vector Instruments A100R | N/A | Vector Instruments SRW1G-M | 3.5 | 4 | 4 | 10 | 10 | -10 | -10 | no | UN - Unknown | 3 | 2 | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | ER - Electrical resistance thermometer | E13418 | 2 | 0.1666 | -0.1666 | no | 1 | ER - Electrical resistance thermometer | E13418 | 1 | 0.1666 | -0.1666 | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | Resonant Pressure Sensor | Druck RPT 350-2282 | 1.75 | 0.3333 | -10 | 2 | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | Electronic | Rotronic Hydroclip-S | 2 | 0 | -10 | no | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2 | integrated (non-spectral) | Datawell Heave sensor | In hull near water line | 1 | -28 | 4 | 17.5 | N/A | 1 | N/A | N/A | N/A | no |  | significant wave height | ave zero-crossing wave period | Spectral | Triaxyx | In hull | 6 | -14 | 0.005 | 20 | 123 | 0.005 | 0.03 | 0.64 | 3 | no |  |  |  | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## entries
Station Information | [44 empty] | Anemometry | [28 empty] | Air temperature | [12 empty] | Sea Surface Temperature | [10 empty] | Sea Surface Salinity | [10 empty] | Air Pressure | [10 empty] | Humidity | [12 empty] | Precipitation | [8 empty] | Downwelling shortwave radiation | [8 empty] | Downwelling longwave radiation | [8 empty] | Waves | [32 empty] | Surface currents | [12 empty] | Subsurface currents | [12 empty] | Subsurface Temperature | [10 empty] | Subsurface salinity
ODAS abbrev | ID | create | update | msd | med | WMOn | stn | ts | bt | stat | ind | oed | pdepl | cnty | ragy | DA | Lat | Lon | WC | gps | Hult | HulMS | HulMat | battType | volt | lngth | Brth | Diam | Mtyp | desi | openv | wdpth | elev | Cmsy | Stt | Stno | Foo | AIn | davail | dfmt | respd | WebD | belec | WebA | nanemo | anmI | aMS | sdim | cmpT | hwl | sfWS | sfWD | apWS | apWD | spstWS | spstWD | ctilt | amWS | gust | anmI2 | aMS2 | sdim2 | cmpT2 | hwl2 | sfWS2 | sfWD2 | apWS2 | apWD2 | spstWS2 | spstWD2 | ctilt2 | amWS2 | gust2 | nats | ats | atsMS | atswl | apaT | spstT | atAsp1 | ats2 | atsMS2 | atswl2 | apaT2 | spstT2 | atsAsp2 | nwts | wts | wtsMS | dws | apWT | spstWT | wts2 | wtsMS2 | dws2 | apWT2 | spstWT2 | nSs | Sstp | Ssm | dss | apSs | spstS | Sstp2 | Ssm2 | dss2 | apSs2 | spstS2 | nbps | bps | bpsMS | bpswl | apBP | spstBP | bps2 | bpsMS2 | bpswl2 | apBP2 | spstBP2 | nhs | hs | hsMS | hswl | aphs | spsth | hsAsp1 | hs2 | hsMS2 | hswl2 | aphs2 | spsth2 | hsAsp2 | npg | pg | pgMS | apPG | spstpg | pg2 | pgMS2 | apPG2 | spstpg2 | nsrs | srs | srMS | apSR | spstSR2 | srs2 | srMS2 | apSR2 | spstSR2 | nlrs | lrs | lrMS | apLR | spstLR2 | lrs2 | lrMS2 | apLR2 | spstLR2 | nwav | wav | wavMS | lwav | fowo | spst | sfWAV | apWAV | fbWAV | fbw | fmin | fmax | drWAV | wtilt | wproc | repwh1 | rewp1 | wav2 | wavMS2 | lwav2 | fowo2 | spst2 | sfWAV2 | apWAV2 | fbWAV2 | fbw2 | fmin2 | fmax2 | drWAV2 | wtilt2 | Wproc2 | repwh2 | rewp2 | nOC | oct | ocMS | dmOC | apOC | spstOC | OCmax | oct2 | ocMS2 | dmOC2 | apOC2 | spstOC2 | OCmax2 | nSSOC | ssoct | ssocMS | dmSSOC | apSSOC | spstSSOC | SSOCmax | ssoct2 | ssocMS2 | dmSSOC2 | apSSOC2 | spstSSOC2 | SSOCmax2 | nsswts | sswts | sswtsMS | dssws | apSSWT | spstSSWT | sswts2 | sswtsMS2 | dssws2 | apSSWT2 | spstSSWT2 | nSss | Ssstp | Sssm | dsss | apSss | spstSss | Ssstp2 | Sssm2 | dsss2 | apSss2 | spstSss2
Description | ODAS ID | Metadata record creation date | Metadata record update date | Metadata validity start date | Metadata validity end date | WMO number | Station name | Type of station | Buoy Type | Status | Start date | End date | Period of deployment | Country of ownership | Operating agency/institute | Degree of automation | Latitude (of deployment) | Longitude (of deployment) | Watch circle (m) | Positioning System in use | Hull type | Hull manufacturer/model | Hull material | Battery Type | Maximum total battery voltage, theoretical | Length (m) | Breadth/width (m) | Diameter (m) | Mooring type | Mooring Line Configuration | Operating environment | Water depth (m) | Elevation above sea level (m) | Primary data transmission system | Primary (satellite) transmission time | Primary sat transmission ID | Observation frequency (hrs) | Any other ID | Data availability | Data format | Responsible data centre for sharing data | Web address for data access | Type & version of internal buoy processor | Web address | Number of systems | Primary anemometer type | Primary anemometer model | No of axes | Primary wind direction sensor model | Measurement height (m asl) | Wind speed sampling freq (Hz) | Wind direction sampling freq (Hz) | Wind speed averaging period (mins) | Wind direction averaging period (min)(n) | Wind Speed Sampling period start | Wind Direction Sampling period start | Corrected for buoy tilt | Averaging method for wind speed | Gust length (s) | Secondary anemometer type | Secondary anemometer model | No of axes (if a sonic) | Secondary wind direction sensor model(a) | Measurement height (m asl) | Wind speed sampling freq (Hz) | Wind direction sampling freq (Hz) | Wind speed averaging period (mins) | Wind direction averaging period (min)(n) | Wind Speed Sampling period start | Wind Direction Sampling period start | Corrected for buoy tilt | Averaging method for wind speed | Gust length (s) | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Secondary instrument type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Secondary Sensor Aspirated | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Secondary pressure sensor type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Secondary humidity sensor type | Secondary sensor model | Measurement height | Averaging period (mins) | Sampling period start | Sensor Aspirated | Number of systems | Primary instrument type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary precipitation sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary shortwave sensor type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary shortwave sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary longwave sensor type | Primary sensor model | Averaging period (mins) | Sampling period start | Secondary longwave sensor type | Secondary sensor model | Averaging period (mins) | Sampling period start | Number of systems | Primary wave sensor type | Primary wave sensor model | Location of wave sensor | Wave observation frequency (hrs) | Sampling period start | Primary sensor sampling freq (Hz) | Primary sensor sampling period (mins)(n) | No of frequency bins | Width of each frequency band (Hz) | Minimum freq of sensor range (Hz) | Maximum freq of sensor range (Hz) | Directional resolution (deg) | Waves corrected for buoy tilt | Wave analysis technique | Wave height reported | Wave period reported | Secondary wave sensor type | Secondary wave sensor model | S. Location of secondary wave sensor | S. Wave observation frequency (hrs) | Sampling period start | Secondary sensor sampling freq (Hz) | Secondary sensor sampling period (mins) | No of frequency bins | Width of each frequency band (Hz) | Minimum freq of sensor range (Hz) | Maximum freq of sensor range (Hz) | Directional resolution (deg) | Waves corrected for buoy tilt | Wave analysis technique | Wave height reported | Wave period reported | Number of systems | Primary current sensor type | Primary current sensor model | Measurement depth (m) | Averaging period (mins) | Sampling period start | Maximum current speed reported | Secondary current sensor type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Maximum current speed reported | Number of systems | Primary current sensor type | Primary current sensor model | Measurement depth (m) | Averaging period (mins) | Sampling period start | Maximum current speed reported | Secondary current sensor type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Maximum current speed reported | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Number of systems | Primary instrument type | Primary sensor model | Measurement depth | Averaging period (mins) | Sampling period start | Secondary instrument type | Secondary sensor model | Measurement depth | Averaging period (mins) | Sampling period start
yes | [8 empty] | MB - Moored buoy | [6 empty] | 1 - Fully automated |  |  |  |  | DS - Discus (cylinders) | [7 empty] | AC - All chain | [16 empty] | P - Propeller/vane | [11 empty] | S - scalar |  | P - Propeller/vane | [14 empty] | ER - Electrical resistance thermometer | [5 empty] | ER - Electrical resistance thermometer | [6 empty] | HC - Hull contact sensor |  |  |  |  | HC - Hull contact sensor | [67 empty] | spectral
no | [8 empty] | WB - Wave buoy | [6 empty] | 2 - Always supplemented with manual input |  |  |  |  | BS - Boat shaped huill | [7 empty] | ST - Semi taut | [16 empty] | TC - Three cup | [11 empty] | V - Vector |  | TC - Three cup | [14 empty] | M - Mercury-in-glass thermometer | [5 empty] | M - Mercury-in-glass thermometer | [6 empty] | HT - "Through hull" sensor |  |  |  |  | HT - "Through hull" sensor | [67 empty] | integrated (non-spectral)
UN - Unknown | [15 empty] | 3 - Occasionally supplemented with manual input |  |  |  |  | RS - Rectangular shape | [7 empty] | FC - Float inverse catenary | [16 empty] | FC - Four cup | [11 empty] | UN - Unknown |  | FC - Four cup | [14 empty] | MS - Screen shelter - mercury thermometer | [5 empty] | MS - Screen shelter - mercury thermometer | [6 empty] | RT - Radiation thermometer |  |  |  |  | RT - Radiation thermometer
[16 empty] | 4 - Fully manual (no automation) |  |  |  |  | SP - Spars | [7 empty] | PC - Poly-nylon inverse catenary | [16 empty] | S - Sonic | [13 empty] | S - Sonic | [14 empty] | A - Alcohol thermometer | [5 empty] | A - Alcohol thermometer | [6 empty] | ER - Electrical resistance thermometer |  |  |  |  | ER - Electrical resistance thermometer
[16 empty] | 5 - Unknown |  |  |  |  | OD - ODAS 30 series | [7 empty] | NL - Non-Lagrangian sea anchor | [16 empty] | WT - Wind observation through ambient noise | [13 empty] | WT - Wind observation through ambient noise | [14 empty] | AS - Screen shelter - alcohol thermometer | [5 empty] | AS - Screen shelter - alcohol thermometer | [6 empty] | TT - Trailing thermistor |  |  |  |  | TT - Trailing thermistor
[21 empty] | NM - Nomad | [7 empty] | UN - Unknown | [16 empty] | UN - Unknown | [13 empty] | UN - Unknown | [14 empty] | UN - Unknown | [5 empty] | UN - Unknown | [6 empty] | CTD - Conductivity, temperature, depth |  |  |  |  | CTD - Conductivity, temperature, depth
[21 empty] | TR - Torus | [7 empty] | OT - Other (please specify) | [16 empty] | OT - Other (please specify) | [13 empty] | OT - Other (please specify) | [14 empty] | OT - Other (please specify) | [5 empty] | OT - Other (please specify) | [6 empty] | STD - Salinity, temperature, depth |  |  |  |  | STD - Salinity, temperature, depth
[21 empty] | CN - Conic | [38 empty] | N/A | [20 empty] | N/A | [6 empty] | RM - Refractometer |  |  |  |  | RM - Refractometer
[21 empty] | OR - Omnidirectional waverider | [66 empty] | UN - Unknown |  |  |  |  | UN - Unknown
[21 empty] | DR - Directional waverider | [66 empty] | OT - Other (please specify) |  |  |  |  | OT - Other (please specify)
[21 empty] | UN - Unknown | [71 empty] | N/A
OT - Other (please specify)