|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **VOS Report for 2015** | | | **Country =** | | | | **New Zealand** | |
|  | | | | | | | | | |
|  | **a.** | **Programme description:** | | | | | | | |
| **Category** | | **No. of ships at**  **31 Dec 2015** | **Recruitments in 2015** | **De-recruitments**  **In 2015** | | **Comments** | | |
| *Selected* | | 20 | 12 | 8 | |  | | |
| *Selected AWS* | | 1 |  |  | | The other AWS was in transition at 31st of December. | | |
| *VOSClim* | | 9 |  |  | |  | | |
| *VOSClim AWS* | |  |  |  | |  | | |
| *Supplementary* | | 1 |  |  | |  | | |
| *Supplementary AWS* | |  |  |  | |  | | |
| *Auxiliary* | | 4 |  |  | |  | | |
| *Auxiliary AWS* | |  |  |  | |  | | |
| *Other* | |  |  |  | |  | | |
| **National VOS Total** | | 35 |  |  | |  | | |
|  |  | |  |  |  | |  | | |
|  | **National VOS Target** | | 30 *(not Aux/Supp)* |  |  | |  | |  |
|  | **National VOSClim Target** | | 8 |  |  | |  | |  |
|  |  | |  |  |  | |  | |  |
|  | **b.** | **Data management:** | | | | | | | |
|  | *Total number of ship observations (BBXX) distributed on the GTS in 2015* | | | | | 21123 | | | |
|  | *Dates when VOS data submitted to the GCCs in 2015* | | | | | Quarterly if possible | | | |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | c. | **Shipboard Automatic Weather System** | | | | | | | |
| **Type** | | | **No. of ships at 31 Dec 2015** | | **Manual Input**  **Yes / No** | | **Method of Comms** | **Year1 Plans** |
| mStar | | | 1 | | No | | UPP Cellular | No change |
| Sutron 9000 RTU | | | 0 | | Yes | | MTSAT | On change over to another ship at 31 Dec 2015. |
|  | | |  | |  | |  |  |
|  | | |  | |  | |  |  |
|  | | |  | |  | |  |  |
|  | | |  | |  | |  |  |
|  |  | | | | | |  | | |
|  | **d.** | **Electronic logbooks: (TurboWin, SEAS, OBSJMA)** | | | | | | | |
| **Software & version** | | **No. of ships at**  **31 Dec 2015** | | Implementation plans | | | | |
| TurboWin 4.5 | | 6 | |  | | | | |
| TurboWin 5.0 | | 4 | |  | | | | |
| TurboWin 5.02 & 5.03 | | 19 | |  | | | | |
|  | |  | |  | | | | |
|  | |  | |  | | | | |
|  | |  | |  | | | | |
|  | |  | |  | | | | |
|  | |  | |  | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **e.** | **Standard Meteorological Equipment: (Types and Settings)** | | |
| **Equipment Type / Element** | | **Manual Instrumentation** | **AWS Instrumentation** |
| Barometer | | Aneroid | Vaisala PTB220 |
| Precision Aneroid | Vaisala DPA21 |
| Vaisala PTB220 and PTB330 |  |
| *Default national setting* | | Mean Sea Level | Mean Sea Level |
| Barograph | | Marine - Short and Mason |  |
|  |  |
| *Default national setting* | | Mean Sea Level | Mean Sea Level |
| Thermometers | | Mercury | Vaisala HMP45A |
|  | |  | YSI Thermistor |
| Sea Surface Temperature | | Ships Instruments - Intake |  |
|  | |  |  |
| Wind Speed | | Ships Instruments | Gill Windsonic |
|  | |  | Vaisala WAA151 |
| Wind Direction | | Ships Instruments | Gill Windsonic |
|  | |  | Vaisala WAV151 |
|  | |  |  |
|  | |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **f.** | **PMO ship visit activities: (if a visit is for dual purposes, include all purposes)** | | | | |
| **Activity** | | **Manual Ship** | | **AWS**  **Ship** | **Comment** |
| Routine VOS inspections | | 43 | |  |  |
| VOS recruitment visits | | 19 | |  |  |
| VOS de-recruitment visits | | 1 | |  |  |
| VOS courtesy or foreign visits | | 1 | |  |  |
| *Total visits to VOS* | | 64 | | |  |
| Routine ASAP inspections | |  | |  |  |
| ASAP recruitment visits | |  | |  |  |
| ASAP de-recruitment visits | |  | |  |  |
| ASAP courtesy visits | |  | |  |  |
| *Total visits to ASAP* | |  | |  |  |
| Routine SOOP visits | |  | |  |  |
| SOOP recruitment visits | |  | |  |  |
| SOOP de-recruitment visits | |  | |  |  |
| SOOP courtesy visits | |  | |  |  |
| *Total visits to SOOP* | |  | |  |  |
| Visits in support of DBCP (drifting buoys) | | 2 | |  |  |
| Visits in support of Argo (profiling floats) | |  | |  |  |
| *Total visits to other programs* | |  | |  |  |
| **Total visits by national PMOs** | | 66 | | *Sum of all ship visits (VOS + ASAP + SOOP) + visits to other program (DBCP + Argo)* | |
|  | |  |  | |  |

|  |  |
| --- | --- |
| **g.** | **Major challenges and difficulties:** |
| Continuing from last year it is very difficult to find suitable VOS ships that are not on a short charter having New Zealand as part of its route. | |
|  |  |
| **h.** | **Research / development / testing:** |
| Making more progress in the project to replace the mercury thermometers. | |
|  |  |
| **i.** | **Other comments** |
| Many foreign VOS ships coming to New Zealand on a regular basis are often not reporting. After visiting reporting and non-reporting foreign VOS ships I have noticed the quality of the equipment is substandard and the observing knowledge and the enthusiasm of the observers is low. | |