Pacific Region Observing Network Plan

in Support of the GCOS and EGOS Implementation Plans

Table of Contents

1.	Executive Summary	7

2.	Scope of Plan (LPR)	9

3.	Global Climate Observations and Early Warning Systems	10

4.	WMO and GCOS Quantitative Requirements (LPR  refs to GBON)	12

5.	Basic Observations are a Global Good (LPR update)	15

6.	Gaps in Existing Observations	18

6.1.	Existing Networks	18

6.2.	Current gaps as reported at the GCOS/WIGOS workshop in Fiji (October 2017)	18

6.3.	Current gaps as reported through WMO/GCOS monitoring	18

7.	The Pacific Meteorological Council’s (PMC) Pacific islands Meteorology Strategy 2017–2026	21

8.	The Plan: Regional Basic Observing Network for the South Pacific	22

8.1.	Upper Air Observations: Pacific Meteorological Council (PMC)	22

8.2.	Costs	24

8.3.	Other General Improvements	25

8.3.1.	Upgrade of telecommunications	25

8.3.2.	Capacity Building: Staffing, Training Education.	25

8.3.3.	Regional quality management (Regional WIGOS Centre)	26

8.3.4.	Integration with measurements from aircraft, ships and buoys	26

8.3.5.	Optimise use of satellite data	26

8.3.6.	Upgrading Other Networks	26

9.	Sustainability	28

9.1.1.	Global Support	28

9.1.2.	National Commitment	28

9.1.3.	Local Technical Skills	28

9.1.4.	Efficient Procurement	28

9.1.5.	Appropriate equipment on other networks	29

10.	Potential Management	30

Annex A – Key messages from the Joint GCOS-WIGOS Workshop for Pacific SIDS	31

Annex B – Summary of Observing capabilities reported by countries and analysis of OSCAR metadata and operational exchange of data.	32

Annex C – Network Design Principles (WIGOS Expert Team on Observation Systems Design and Evaluation).	39

# Executive Summary

This document presents and justifies a plan for the sustained international support of upper-air radiosonde observations in Pacific Island States. The main points are:

- All countries need the outputs from global numerical weather prediction (NWP) and climate models and reanalyses to provide weather and climate services: e.g. early warning systems, planning and risk analysis.

- Sustained surface pressure and upper air wind observations made globally, meeting the minimum WMO requirements, are vital to maintain and improve the global numerical weather prediction (NWP) and climate models and reanalysis products.

- These observations are a global common good: all nations will benefit from a global network of observations, while the local benefit of a single station may be limited.

- The current model of expecting all countries to sustainably provide the resources to maintain and operate monitoring stations within their own national territory (including territorial waters) does not work in countries with fewer resources, especially those with large oceanic territories: in order to provide the same level as spending on observational data coverage per unit surface area as developed countries typically do could consume an amount equal to or greater than their entire GDP.

- Alternative funding models should be developed, under which resources available in affluent and densely populated regions of the world could be used to help sustain the observing networks in poor and sparsely populated regions .

- It is proposed that across the Pacific region the requirement for an upper-air station every 500 km is relaxed to every 1000 km due to the lack of suitable locations (islands) where stations can be installed.

A system across the region of 13 operational upper air stations reporting twice  a day would cost roughly 13 Million Euro for 10 years operation. The cost includes repairs and replacement, where needed, and consumables and other running costs. This does not include the capital cost of the basic infrastructure (already available or to be provided by National Service); for example weatherproof buildings, mains power, water, communications and enclosures for balloon filling. It is also assumed that suitably trained staff would be available for the operations, management and maintenance of the station.

It is also proposed to establish a regional network of observing network operators, supported by regional workshops held every 2 years, to maintain knowledge, skills and quality.

This plan is the main outcome of the Joint Global Climate Observing System (GCOS) and WMO Integrated Observing System (WIGOS) Workshop for the Pacific Small Island Developing States held in Fiji in September 2017. This meeting was organised jointly by the Global Climate Observing System (GCOS), and the WMO Integrated Global Observing System (WIGOS) focusing on gaps in in the observing systems for weather and climate in Pacific island states. Upper air measurements were identified as the in-situ observations whose improvement would give most benefit to the models that underpin both numerical weather prediction and climate prediction and analysis - not just in the Pacific region, but also around the world. The conclusions of the workshop are contained in Annex A – Key messages from the Joint GCOS-WIGOS Workshop for Pacific SIDS.

The workshop concluded that

- Systematic upper air observations in the Pacific region, tend to have the highest measured impact, of all ground-based measurements, on the quality and accuracy of weather and climate analysis and prediction not only locally, but globally. The resulting products underpin weather and climate aspects of early warning systems as well as other climate-related services.

- Both the spatial density and observing frequency of the upper air network over the South Pacific region currently fall short of GCOS and WMO requirements. Due to the unique geography of the region – vast swathes of ocean surface with relative little land mass distributed over some 20 small island states with modest populations and correspondingly modest GDPs – systematic observation is particularly challenging in this region.

- The upper air network over the South Pacific therefore needs sustained international support.

The workshop agreed that the participants should draft a plan for the establishment of a sustainable network of upper-air monitoring sites across the region that would be a suitable candidate for long-term international support.

The UNFCCC has an important interest in systematic observation of the climate system as expressed in article 5 of the convention, together with national reporting requirements in article 4. The UNFCCC’s Paris Agreement stresses the importance of systematic observations for adaptation and early warning systems together the need for developed counties to support those with fewer resources.

Box 1 GCOS and WIGOS GCOS, established in 1992 and supported by WM0, aims to ensure that systematic observations are undertaken and that the results are made available to all users. It reviews the status of the climate system (GCOS 2015) and prepare Implementation plans (GCOS 2016) that are presented to the UNFCCC. These plans identify what needs to be monitored the Essential Climate Variables (ECV), and specific actions that should be undertaken to ensure the continuation and improvement of the global climate observing system. WIGOS provides the overarching design, implementation, management and monitoring framework for all WMO and WMO co-sponsored observing systems in support of all WMO application areas, including their contributions to GCOS. It will foster the orderly evolution of the present WMO global observing systems, in particular the Global Observing System (GOS), the hydrological observing systems and the observing components of the Global Atmosphere Watch (GAW) and the Global Cryosphere Watch (GCW), into an integrated, comprehensive and coordinated system. It will satisfy, in a cost-effective and sustainable manner, the evolving observing requirements of WMO Members, while enhancing coordination of the WMO observing system with systems operated by international partners. Together with the WMO Information System (WIS), WIGOS will be the basis for the provision of accurate, reliable and timely weather, climate, water and related environmental observations and products by all Members and WMO Programmes, which will lead to improved service delivery. Observational requirements clearly depend on the applications areas they are addressing. Therefore, requirements for global observations may not meet all the local needs. GCOS provides requirements for 54 Essential Climate Variables (ECV). However, not all these need to be observed by each state. Some are provided by satellite observations, while ocean observations are often performed by international consortia. The WMO Integrated Global Observing System (WIGOS) also maintains observational requirements in its OSCAR database for a range of weather, climate, water and other related environmental application areas.

# Scope of Plan

This document presents the case for a new approach to managing and funding observing network for critical weather and climate observations in remote and sparsely populated regions, in particular the Pacific.  The plan presented here is aimed at ensuring a continued, real-time operational supply of data to global numerical weather prediction and climate analysis (see Chapters 3 and 4), since these applications are foundational for the provision of nearly all other weather and climate products and services to all WMO Members, and since they both depend on access to a continuous supply of observational data from the entire global domain.

The observational data requirements for these applications are largely identical across the globe, whereas the human, financial and technical resources available to meet them range from more than adequate in, say, Western Europe, North America and East Asia, to almost non-existing over larges swaths of the Pacific and Indian Oceans.  It is therefore proposed to design, manage and fund the basic observational network (GBON, see Ch. 6) at a global level rather than continuing to expect small developing island nations to fund the sustained operation of critical observing networks on their own.

The decision not to include other observing systems (e.g. for cryosphere, hydrology and atmospheric composition) from the current plan is deliberate. The view of the participants in the Fiji Workshop was that it would be prudent and more likely to lead to success if the initial development of such a system were to be based on a limited set of well-defined application areas characterized by a high degree of common understanding of requirements and already existing, mature international agreements about data sharing. Additional application areas can be added at later stages if agreed by the international community.

# Global Climate Observations and Early Warning Systems

Meteorological observations are vital for both short-range applications such as weather forecasting and early warning systems, and longer-term needs such as supporting and planning adaptation to climate change and ensuring sustainable development. These twin needs were recognised by the UNFCCC. The Paris Agreement calls for Strengthening scientific knowledge on climate, including research, systematic observation of the climate system and early warning systems, in a manner that informs climate services and supports decision-making (Article 7, para 7). In 2016 (decision 19/CP.22), the UNFCCC emphasized “the need to maintain, strengthen and build capacities for climate observations…” while the need for support in the LDCs and small island developing States was also highlighted.

Weather and climate phenomena unfold on a variety of spatial and temporal scales, but common to them all is a general lack of respect for our shifting social, political and economic boundaries.  In order to be successful, our efforts to observe, monitor, understand or predict them must therefore take this fundamentally transnational nature of weather and climate into account.

This has been at least intuitively understood for centuries, and as quantitative prediction methods gradually matured in the years after World War II, the World Meteorological Organization was established in 1950 with one of its primary goals being to coordinate and facilitate real-time international exchange of meteorological observations for weather prediction purposes. Since that time our collective, global weather prediction abilities have been able to develop and thrive, founded on the principle of free and open international exchange of weather observations through the Global Observing System and the Global Telecommunications System of the WMO World Weather Watch.

Over the last decade, the broadening mandate of WMO and the emergence of additional important application areas under the broader umbrella of weather, climate and water has led to the creation of the WMO Integrated Global Observing System (WIGOS) as a framework to include also observations related to hydrology, atmospheric composition and cryosphere monitoring.

After climate change had emerged as a growing political and economic concern through the 1980’s and early 1990’s, the Global Climate Observing System (GCOS) was established in 1992 by WMO, the Intergovernmental Oceanographic Commission (IOC) of UNESCO, the United Nations Environment Programme (UNEP), and the International Council for Science (ICSU).  The primary role of GCOS is to advise on the observing needs for monitoring the so-called Essential Climate Variables (ECVs) and to periodically review how well the available observing systems meet those needs.

The two systems are closely linked via the fact that WIGOS is one of the primary implementation mechanisms for GCOS.  Many of the observing systems used for ECV monitoring – especially those that provide atmospheric observations or measurements of other variables used for weather prediction purposes - are implemented or coordinated by national weather services of the WMO Members under the WIGOS umbrella, and the present document is therefore focused especially on those observations that are of common interest to WIGOS and GCOS.

For more than 20 years the WMO Commission for Basic System (CBS) has coordinated international efforts to collect, vet and record observational data requirements for numerical weather prediction and climate analysis via Workshops, dedicated studies and Expert Teams.  As a result of this work, the observational requirements for most of the core variables used for weather prediction and climate analysis are now well understood and documented in WMO databases. In many parts of the world, the local observing systems have in fact been designed to meet these requirements, whereas in other parts of the world this has not been achieved so far.

To better understand both the importance of having a global observing system designed and developed to meet a certain standard and some of the limitations typically encountered when trying to implement it, it may be helpful to highlight and examine three basic characteristics of weather prediction and climate analysis:

The first is that all quantitative weather prediction and climate analysis ultimately hinges on output from global Numerical Weather Prediction (NWP) models, which are essentially detailed, hour by hour computer simulations of the actual global atmospheric behaviour.  The fact that this must be done globally is dictated partly by the dynamics of the atmosphere itself, which of course has no horizontal boundaries, partly by the mathematics of the computer models used for analysis and prediction. So even though a given user of climate and weather data may only be interested in a very limited geographic area, e.g. in a particular country, the numerical modellers on whom he or she relies for advice do not have that same luxury: They must attempt to model and understand the global atmosphere in its entirety or face certain failure.

In order to stay close to reality, any global model will need to be continuously fed with global observational data, and the second defining characteristic of the problem is that the observational requirements are essentially identical everywhere, irrespective of geographic location.  The reason for that is simply that any ignorance about the current weather upstream of the area of interest for a given prediction will at some point in the future render the prediction useless, and the only way to consistently improve the quality and the range of the prediction is therefore to ensure adequate coverage of observational data everywhere on the globe.  Failing to do so means that the quality of prediction and monitoring products of even very well observed regions of the globe such as Europe, North America or East Asia will eventually be negatively impacted by the lack of observational data elsewhere, e.g. over Africa, the polar caps and the majority of the global oceans.

The third defining characteristic of the problem of weather prediction has to do with the specific purpose of local meteorological observations.  The general concept of our ability to forecast weather being predicated on the availability of observational data applies in a global sense, but not in a local sense.  An observation at a given location generally has only limited value for forecasting the weather at that location. Any local forecast instead relies primarily on observations at the locations from which the future weather is expected to come, and the longer the range of the forecast is intended to be, the further away from the region of interest for the forecast those locations are likely to be. This fact is fundamental to understanding the incentive to invest the very considerable human and financial resources necessary for making observations. As a general rule, countries – especially countries of small geographic extent - do not invest in observations with an expectation of reaping any major local benefit from them; the investment is made with the expectation to receive other and locally more beneficial observations from other countries in return. A very important implication of this is that in order for weather prediction to exist and thrive, it is not enough for all countries to agree to make routine observations, they must also all agree to share them amongst each other.

It is vital that these observations are exchanged internationally in order for them to be used in climate and weather modelling at global and regional scales, and for countries in the region to get the full benefit of these observations.

# WMO and GCOS Quantitative Requirements

The most important data gap across the Pacific region is in upper air observations. Most existing stations are not currently (Oct 2018) operational due to high maintenance and running costs. Upper air (radiosonde) observations are very important for global numerical weather predictions, both regionally and globally, and therefore seasonal forecasts and climate models.  The impact of these observations can reach planetary scale. For example, ECMWF has thus stated that better upper air observations in the south Pacific are critical for extended range forecasts over Europe. Isolated radiosonde observations in the Pacific are routinely shown to have the highest impact of all observations on skill of global NWP models.

Climate prediction and risk analysis, vital for planning adaptation to climate change, depend on outputs of reanalysis and reforecast efforts provided by the same global NWP systems, and that therefor has the same requirements for observational data across the globe. By making and freely exchanging these observational data, all countries can benefit from the improved quality of the output of these models. Radiosondes are critical for climate reanalysis produced by Global NWP systems. Langland et al. (2011) show that local uncertainties in analysis are substantially larger in areas with no conventional (non-satellite) upper air observations. Isolated radiosonde stations have a large impact, and twice daily soundings more so than a single daily sounding. This has implications for trend analysis, process understanding, adaptation and potential inputs into the UNFCCC Global Stocktake under the 2015 Paris Agreement.

WMO collects, vets and records requirements for observational data through its RRR process, and these are listed in the OSCAR database (Table 2 ). The threshold (minimal) horizontal resolution for upper air data for global NWP is 500km. In many areas (e.g. over Europe and over North America) the design separation is closer to meeting the breaktrhough requirement of 200 to 250 km. However, even achieving the 500km threshold requirement is impractical over the oceans.

For global NWP we should focus on improving surface pressure and upper air wind observations. These parameters are amongst the fundamental variables for NWP (the others are temperature and humidity) and both provide driving requirements for surface-based observing systems, since – as opposed to temperature or humidity - neither is currently measured from space.

At the present time satellite observations cannot replace radiosonde observations. Surface pressure can be derived in experimental mode from total CO2 column measurements and satellite imagers provide horizontal wind components by feature tracking, but only for a single layer with no vertical resolution and limited height information: wind observations are particularly important in the tropics.

Table 1 WIGOS requirements (from OSCAR and the WMO RRR)

|  | GOAL an ideal requirement above which further improvements are not necessary | BREAKTHROUGH an intermediate level between "threshold" and "goal" which, if achieved, would result in a significant improvement for the targeted application. The breakthrough level may be considered as an optimum, from a cost-benefit point of view, when planning or designing | THRESHOLD the minimum requirement to be met to ensure that data are useful |
| --- | --- | --- | --- |
| Atmospheric temperature | Horizontal resolution | 15 km (50 km High Stratosphere & Mesosphere) | 100 km | 500 km |
|  | Uncertainty | 0.5 K | 3K | 5 K |
|  | Frequency | 6 min | 30 min | 6 hour |
| Wind (horizontal) | Horizontal resolution | 15 km (50 km High Stratosphere & Mesosphere) | 100 km | 500 km |
|  | Uncertainty | 1 ms-1 | 3 ms-1 | 5 ms-1 (8ms-1 High Troposphere) |
|  | Frequency | 6 min | 30 min | 6 hour |
| Wind (vertical) | Horizontal resolution | 15 km | 100 km | 500 km |
|  | Uncertainty | 1 cm s-1 | 5 cm s-1 | 5cm s-1 |
|  | Frequency | 6 min | 30 min | 6 hour |

The threshold requirement for upper air wind profiles for global NWP (listed in WMO’s OSCAR/Requirements database) is 500 km, which means that in principle every grid cell of 500 km x 500 km = 250,000 km2 should have one radiosonde station as a minimum. Meeting this requirement is achievable for the continental landmasses: in Europe and over North America the design separation is even finer, namely 200 to 250 km. However, a 500 km resolution is unachievable in the Pacific.

A realistic and practical alternative would be to consider adopting a lower regional (Pacific) threshold resolution of 750 or 1000 km. Even 1000 km would be quite ambitious, given that the total surface area of the Pacific is about 165,000,000 km2, which would require on 165 radiosonde stations.

The ECMWF Deputy Director of Forecasts noted in September 2017 regarding the potential value of rehabilitating the upper air network over Papua New Guinea:

“Radiosondes in PNG can help capture the amplitude and phase of the MJO, and the Kelvin waves, and help predict when Rossby wave trains may be triggered from that area, and then propagate across the Pacific to N. America, and where they influence the mid-latitude storms tracks and ultimately the weather in Europe”

“Isolated radiosondes are individually much more valuable and bring much more benefit to forecast quality than observations in a dense network (benefit per station that is!)”

Therefore, it is proposed to design a network around a regional WMO Requirement for Global NWP. This would be a foundational activity with a significant impact on almost all weather and climate products. This would provide for non-satellite observations surface pressure and upper air winds.  A slightly lower threshold resolution requirement that recommended by WMO could be considered due to unique geography of the South Pacific. Such a redesigned network would be ambitious but not impossible.

# Basic Observations are a Global Common Good

Operating observing networks  that meet WIGOS and GCOS observational requirements, and sharing the resultant data would help enable countries to better protect themselves from weather and climate change events.

Forecasting  events allows early warnings and preparations, while understanding future risks of extreme events and how they will change with climate change allows planning and adaptation.

The conundrum hinted at in Chapter 2 – the fact that the most prolific providers of  weather and climate products are concentrated in relatively small, densely populated and generally affluent areas of the globe, while the requirements for observational data calls for a uniform density of coverage worldwide – constitutes the basic argument for the main thesis of this document:

A robust, global observing system providing a level of coverage everywhere that meets basic GCOS and WIGOS requirements is a global common good, and it should therefore be designed, deployed, managed and – most importantly - resourced accordingly.

In fact, the WMO Global Observing System of the World Weather Watch and its present-day generalization in WIGOS are both built on this notion, albeit in a limited form.  The overall architecture of both systems is founded on two basic principles:

- The provision of an adequate number of observations over any national territory is solely the responsibility of the respective national government;

- All WMO Members (i.e. national governments) are obliged to contribute their observations to the common global system (WIGOS) unrestrictedly and free of charge. In principle this then allows all Members to gain access to observations with the required global coverage, which then enables them to generate weather and climate products and provide services to their constituencies.

While this model has proven to be tremendously successful by a wide variety of metrics, it falls short in two important respects:

The first is that a very large part of the Earth’s surface – especially in the open ocean and in the polar caps – falls outside any national territory, even when the geographically much more extensive concept of  Exclusive Economic Zones is applied.  The regulatory material under which the obligations of the WMO Members for the implementation of WIGOS are established does not stipulate who is responsible for the observing system in these areas, and the availability of coverage tends to be driven more by shifting national geopolitical agendas than by agreed requirements for observations.

The second is that human population – and thereby to some extent, human capacity, wealth and infrastructure – is highly unevenly distributed even across those parts of the globe that do fall within national territories or national EEZs. The current coverage provided by WIGOS is therefore highly variable, ranging from very good coverage for instance over, Europe South Asia and parts of South America, over adequate coverage for some areas in Central Asia and North America to very poor coverage over the polar caps, most of the global ocean, and large parts of sub-Saharan Africa.

This is well recognized by donor organizations and funding agencies, and numerous projects have been implemented over the last couple of decades attempting to strengthen the observing systems in the areas where they are weakest. Generally, the projects are built around the notion of providing capital investments to develop an adequate observing infrastructure, coupled with an assumption – or in some cases even a formal agreement – that once the project period is over, the recipient country will take on the responsibility for sustaining the network and its operation indefinitely.

This assumption has almost invariably proven to be wrong. In many cases, no additional observations have been flowing into the global networks based on even very substantial investment projects, while in others, relatively short-lived bursts of observational data have resulted. In no case known to us has observing system investment projects resulted in subsequent, long-term sustained observing networks operating under national funding.

The hypothesis underlying the present proposal is that this record of failure is not due to a lack of national willingness within individual national governments, but rather to an incomplete analysis and understanding of the underlying economics of meteorological observations. The following simple comparison between two countries that by many measures belong to opposite extremes of the scale may help illustrate why project-based approaches to the problem of a shortage of weather and climate observations are often doomed to fail.

Switzerland, a relatively small, but highly developed and wealthy European country, has a surface area of some 41,000 km2 and a GDP of just over USD 520 billion. Switzerland is land-locked, and following the WMO convention is only responsible for providing observational data for its own area.  Excluding its contribution to international organizations responsible for meteorological satellite programs, Switzerland spends about USD 22M per year on the acquisition of meteorological observations, which translates into a bit more than USD 500 annually per km2 of surface area.

At the other end of the scale, Kiribati, an island country in the Pacific has a surface area of just 811 km2 and an annual GDP of roughly USD 166 million. However, the EEZ of Kiribati extends over almost 3.5M km2, and this is arguably the area for which the country would be expected to provide observational data.

There are some obvious differences that need to be taken into account: Switzerland is a very densely populated country, and it has a very high level of economic activity, both of which tend to drive up demand for meteorological products and services. However, from a global perspective, the observational requirements for Switzerland and Kiribati are not all that different; the global models that drive most of the weather and climate applications see no particular difference between the observational requirements in one area versus another.

Switzerland is a mountainous country, and observing systems in mountainous regions are relatively expensive to install and maintain.  In contrast to Switzerland, the EEZ of Kiribati is 99.98% covered by water.  The large distance between the few spots of dry land where observing systems can be installed, and the associated difficulty of transportation and telecommunication, also makes it extraordinarily costly to operate an adequate observing system here.

Let’s therefore, for the sake of the argument, assume that the cost per surface area of running an adequate observing system for the Kiribati EEZ is roughly similar to what it costs Switzerland to run its observing system, namely USD 500/km2 per year.  The amount required for Kiribati would then be a rather staggering USD 1.75 billion annually, close to 1000% of the GDP of the country. Even scaling back the level of ambition by an order of magnitude or more, this would clearly be impossible both to fund and to justify purely based on a requirement to support local services in the area.

Using a different measure of comparison, Switzerland spends less than .004 % of its GDP on meteorological observations. Were a country like Kiribati to apply the same proportion of its national wealth to it contribution to a global observing system, that would amount to just over USD 25K, barely enough to operate a single surface station for an area roughly the size of Europe.

The point of these two comparisons is to demonstrate that it both unrealistic and unreasonable to expect economically small but geographically large countries to shoulder the burden of operating “their” part of even a minimally adequate global weather and climate observing system on their own,  under terms that are similar to those applied to affluent and often small countries in the developed world. The current map of the distribution of the WIGOS assets and WIGOS data delivery – with both hardware and observations concentrated over areas of great average population density and wealth – provides ample illustration of this point for many areas of the globe. There is no valid no reason to expect that a continued reliance on project funding will lead to any substantial change in the overall picture.

Table 1 shows that all the countries in the region have relatively small populations, GDP and land areas but have large areas of ocean in their exclusive economic zones (EEZ). It should be noted that even taking into account the EEZs will not cover all areas of the ocean, while the requirement for observations for global NWP and climate analysis remains in essence the same irrespective of national borders and EEZs.

Table 2  Basic statistics for the Pacific Island States. with USA, and Japan added for comparison. Data form UN and World Bank.

|  | Land Area | Area of EEZ | Population | GDP | GDP per km2 | Population Density including EEZ |
| --- | --- | --- | --- | --- | --- | --- |
|  | km2 | million km2 including land area | thousands, UN Estimate for 2017 | World Bank. 2016, million US$ | US$ per km2 | km2 per person |
| Cook Islands | 240 | 1.80 | 17 | 311 a | 0.00017 | 0.01 |
| Federated States of Micronesia | 702 | 3.00 | 106 | 322 | 0.00011 | 0.04 |
| Fiji | 18,274 | 1.30 | 906 | 4632 | 0.00360 | 0.70 |
| Kiribati | 811 | 3.44 | 116 | 166 | 0.00005 | 0.03 |
| Marshall Islands | 181 | 1.99 | 53 | 183 | 0.00009 | 0.03 |
| Nauru | 2 | 0.31 | 11 | 102 | 0.00033 | 0.04 |
| Niue | 26 | 0.39 | 2 | 10b | 0.00003 | 0.00 |
| Palau | 535 | 0.60 | 22 | 293 | 0.00048 | 0.04 |
| Papua New Guinea | 45,258 | 2.87 | 8,251 | 16929 | 0.00590 | 2.88 |
| Samoa | 283 | 0.13 | 196 | 786 | 0.00600 | 1.50 |
| Solomon Islands | 2,799 | 1.62 | 611 | 1202 | 0.00074 | 0.38 |
| Tonga | 72 | 0.66 | 108 | 395 | 0.00060 | 0.16 |
| Tuvalu | 3 | 0.75 | 11 | 34 | 0.00005 | 0.01 |
| Vanuatu | 12,300 | 0.68 | 276 | 774 | 0.00110 | 0.41 |
| Total above | 81,486 | 20 | 10,687 | 26,139 | 0.00130 | 0.55 |
| USA | 9,525,067 | 11.35 | 325,958 | 18,569,100 | 1.60 | 28.72 |
| Japan | 377,930 | 4.48 | 126,670 | 4,939,384 | 1.10 | 28.28 |

Notes: a data for 2014, b data for 2003

# Gaps in Existing Observations

## Existing and Planned Networks

WMO has defined two regional networks; the Regional Basic Synoptic Network (RBSN) and the Regional Basic Climatological Network (RBCN). These networks were designed to meet to the Regional needs for both surface and upper-air observations, whilst contributing to the Global needs as defined on the WMO Observations requirements. (see Section 3 and https://www.wmo-sat.info/oscar/observingrequirements). Whilst not intended, these two networks were almost exclusively for nominated stations from National Meteorological surface and radiosonde observations, and thus a new network is currently being introduced; the Regional Basic Observation Network (RBON) which incorporates all observational systems which contribute to the Regional and Global requirements.

In light of the importance to all Members of supplying global applications such as global NWP and climate analysis with adequate observational data worldwide, WMO has recently taken action by launching the implementation of the Global Basic Observing Network (GBON). In June 2018 the WMO Executive Council gave CBS the authority to proceed with the design of this network, the primary aim of which is to clarify the obligations of the WMO Members to provide critically needed observation data for near-real time international exchange at the global level. Today the observing networks are designed at the regional level, with very substantial inter-regional differences in data coverage as a result. At the GBON Design Workshop held in Geneva July 23-25, a GBON concept note was developed containing the overarching GBON design principles, and target performance parameters for variables to be observed and for horizontal and temporal resolutions were agreed on. The Manual on WIGOS is currently being updated with provisions for GBON, and a new draft edition will be sent out to all WMO Members for their review later this year in preparation for its submission to Congress-18 in 2019

Also in order to serve specifically the needs of global climate applications, two networks of observing stations have been established as GCOS Baseline Networks, mainly on the basis of existing GOS networks. These are; the GCOS Surface Network (GSN) (1023 stations as of April 2017); and the GCOS Upper-Air Network (GUAN) (177 stations as of April 2017).  These networks form a minimum configuration required for global applications. Regional climatic needs can be much more extensive, and it is anticipated that such needs will be served by more dense networks on a regional basis, possibly with more extensive requirements for observing programmes and specifications. (see https://public.wmo.int/en/programmes/global-climate-observing-system/networks for more information)

## Current gaps as reported at the GCOS/WIGOS workshop in Fiji (October 2017)

Annex B provides, country by country details of the observation stations as reported by those countries represented at the workshop, along with the current station metadata in WMO/OSCAR surface and an analysis at the time of reports being received at the WMO monitoring centres. It was quite evident that there were significant gaps, and challenges, in the observation networks in the region, and these were summarised as follows:

- The large distances between islands and the remoteness of monitoring sites poses special challenges. Access to some islands by ship may be infrequent and time consuming.

- Communications between monitoring sites and central offices can be difficult without internet, land lines or reliable electrical power.

- Costs of consumables can be prohibitive for small low-GDP countries, and are often at a premium price owing to the low quantities being ordered and cost of shipping.

- Training and capacity building are important widespread needs. This covers all aspects of meteorological service provision from observations, maintenance and repair, to reporting and using data. Assistance is needed to ensure that procurements deliver high-quality, cost-effective equipment.

## Current gaps as reported through WMO/GCOS monitoring

Given the country reports and issues in section 6.2 above, it expected that the monitoring of data availability will show significant deficiencies in the region. Figure 1 below is a 6-hour snapshot of surface pressure observations (SYNOP reports) and it is very evident that many stations are not reporting (black dots), and those that are, are not reporting at the frequency expected. Figure 2 shows the number of CLIMAT reports available over a 12-month period and it can be seen that many of the RBCN stations are red, indicating no reports.

Figure 1  Surface pressure availability (ECMWF 20/03/2018 00utc)

Figure 2  CLIMAT reports availability (NCEI – Oct 2016 to Sept 2017)

For the upper-air (radiosonde) observations the monitoring shows similar deficiencies and, given the importance of these observations as described above, the impact is more significant. Figure 3  shows the 2017 GUAN monitoring with all stations below the red-line not meeting the minimum requirements, and four of the stations from the target region providing zero observations (i.e. silent). Figure 4 shows all radiosonde stations in the target region, plus some neighbouring stations, with total soundings as received at the UK Met Office for 2017. Green dots show stations on average with more than 1 sounding per day, yellow with up to 1 sounding per day and red silent stations.

Figure 3  GUAN Monitoring (NCEP – 2017)

Figure 4  Radiosonde availability (UK Met Office – 2017)

In summary both the surface (SYNOP) and radiosonde network shows significant availability deficiencies in 2017, and it is likely that is also true for other observational networks in the region. Given the issues identified by the country, and supported by the monitoring, there is an urgent need to address the gaps at a Regional scale, through the design, operations, capacity development and resourcing, in order to deliver a sustainable solution and direct benefit to both the countries and the Region.

# The Pacific Meteorological Council’s (PMC) Pacific islands Meteorology Strategy 2017–2026

The Pacific Meteorological Council (PMC) is a specialized subsidiary body of the Secretariat of the Pacific Regional Environment Programme (SPREP), established at the Fourteenth Regional Meteorological Services Directors meeting in Majuro, Republic of Marshall Island in August 2011 to facilitate and coordinate the scientific and technical programme and activities of the Regional Meteorological Services. The PMS produced the Pacific islands Meteorology Strategy 2017–2026 (PIMS 2017) with the vision of enabling National Meteorological and Hydrological Services of the Pacific island countries and territories provide relevant weather, climate, water and ocean services to their people to make informed decisions for their safety, socio-economic well-being, prosperity and sustainable livelihoods. This plan aims to:

- Guide national governments to support NMHSs through national efforts;

- Guide action to meet NMHS priorities through strengthened coordination;

- Guide NMHSs toward critical activities to build or strengthen capacity and planning and to P

- Guide donors and partners to focus on priority capacity building activities and transfer of technology identified by NMHSs and

- delivered either bilaterally or through regional approaches; and

- Guide the PMC and Pacific Meteorological Desk Partnership (PMDP) with respect to sustaining priority actions at the regional level.

Pacific Region Observing Network Plan (as outlined in this document) cuts across all the priorities in the PIMS. For example:

- Priority 1: Improved Weather Services (with improved public weather, aviation and marine services)

- Priority 2: Disaster RISK Reduction (strengthening the capacity of NHMS to implement to Multi-Hazard early Warning Systems and contribute to climate change activities).

- Priority 3: Improved Climate and Hydrological Services (Improved climate information and prediction services)

- Priority 4: Integrated Observing and Communication Systems (Integrating observing and communication systems with long-term maintenance)

- Priority 5: Coordinated Support for NMHS and PMC (Capacity development, Coordination of donors and technical agencies, and efficient and effective partnerships)

# The Plan: Regional Basic Observing Network for the South Pacific

This plan addresses regional upper air observations as these observations:

- Are important locally

- Will provide benefits globally to all countries

- Are not affordable by the Pacific Island States themselves.

## Upper Air Observations

This section proposes an optimum design for the regional network, to address, as far as possible, the requirements detailed in chapter 3 and the gaps identified in chapter 6.

In any network design key principles need to be identified to select optimum observation locations. The underpinning WIGOS network design principles are given in Annex C. This plan attempts to provide, as best as feasible, a horizontally well distributed network across the region, ideally with at least 1 radiosonde station per country and is based on locations which currently have operational evidence of upper air or surface observations. The following criteria were used to select stations and identify the work needed to implement this plan:

| Criteria | Assumptions and Actions |
| --- | --- |
| 1 | Existing ‘operational’ radiosonde stations i.e. those providing at least 2 soundings per day | none |
| 2 | Stations providing around 1 sounding per day | increase their frequency to 2 soundings/day, assuming only additional consumables are required |
| 3 | Stations providing less than 1 sounding per day but demonstrating an operational capability (i.e. more than 100 soundings per year) | assumes that a technical assessment of the station is necessary to determine if the availability is solely due to supplies of consumables or also technical issues and 5-yearly servicing of hydrogen generator system (HGS) |
| 4 | Non-reporting stations with historical evidence, ideally with soundings reported in the last 5 years | an assessment of the local infrastructure would be required in addition to a technical assessment of the station. Assumes some the HGS will need to be replaced and all the others an immediate service repeated at 5-yearly intervals |
| 5 | New station locations will be proposed to fill the remaining gaps, identifying locations which currently have operational evidence of surface observations | These stations would require a feasibility assessment, and agreement from the National service, before being considered further. Costs include assessment and establishment of stations, consumables and 5-yearly HGS servicing |

The availability statistics given in Figure 4 (UK Met Office 2017) has been used to apply the design criteria above. The results are given in Table 3. The above proposed network would result in 20 radiosonde stations in the region, and these are plotted in Figure 5.

The skills, motivation and knowledge of the NMHS staff is fundamental to enable this network to operate efficiently and effectively, to meet the user needs, to adhere to the design principle and to be sustainable. Therefore it is recommended that a radiosonde training workshop for the region is undertaken on a regular basis, at least every 4 years, so station managers can be updated on standards and practices, the benefits and requirements for the observations, technological improvements, quality management and system maintenance and exchange best practices and issues across the network. It is suggested that this training workshop takes place at the training facilities on Fiji.

Table 3  The availability statistics (UK Met Office 2017) used to apply the design criteria

| Criteria | Number | Station | Number of soundings/ other observations | Support |
| --- | --- | --- | --- | --- |
| 1 | 91334 | Chuuk, Federated States of Micronesia | 728 | US Weather Service |
|  | 91348 | Pohnpei, Federated States of Micronesia | 722 | US Weather Service |
|  | 91376 | Majuro, Marshal Islands | 721 | US Weather Service |
|  | 91413 | Yap, Federated States of Micronesia | 727 | US Weather Service |
|  | 91480 | Koror, Palau | 729 | US Weather Service |
|  | 91680 | Nadi Airport, Fiji | 735 | Fiji Met Service |
|  | 91765 | Pago, American Samoa | 690 | US Weather Service |
| 2 | 91366 | Kwajalein, Marshal Islands | 346 | US Weather Service |
| 3 | 91610 | Tarawa, Kirimati | 272 | NMS but supported by UK through SPREP |
|  | 91643 | Funafuti, Tuvalu | 291 |  |
| 4 | 91520 | Honiara, Solomon Islands | silent since 2013 |  |
|  | 91530 | Nauru Airport, Nauru | silent since 2014 |  |
|  | 91557 | Bauerfeld, Vanuatu | silent since 2016 |  |
|  | 91801 | Penrhyn, Cook Islands | silent since unknown |  |
|  | 91843 | Rarotonga, Cook Islands | silent since 2016 |  |
|  | 92035 | Port Moresby, Papua New Guinea | silent since 2013 |  |
|  | 92044 | Momote, Papua New Guinea | silent since unknown |  |
| 5 | 91490 | Christmas Island, Kiribati | 3Hr’ly Synops |  |
|  | 91701 | Kanton Island, Kiribati | Synops at 12 and 18utc |  |
|  | 91779 | Lupepau’u International Airport, Tonga | 3Hr’ly Synops and GSN station |  |

Figure 5  Proposed regional radiosonde network.

The network design principles include the requirements to establish a tiered network approach. Given the already sparse network in this region it would be expected that most, if not all, of these stations would be nominated to the GCOS baseline network (GUAN) but also of value to the region would be the inclusion of a GRUAN station (subject to funding). Providing both reference and traceable measurements, linking these to the wider GUAN network along with scientific expertise in support of the training workshops.

## Costs

The costs here are based on the indicative costs given in Table 3.

Table 4  Indicative costs (based on recent similar contracts through WMO procurement).

| Description | Cost |
| --- | --- |
| 1 year supply of consumables (Radiosonde, Balloons etc) for 2 soundings per day) – 800 soundings. (Note if enough radiosonde units are ordered this price through a competitive tender would include the ground-system, installation and local staff training.) | 90,000 Euro |
| Service, repair and local staff training for Hydrogen Generator system. ( Basic level spares and parts) | 35,000 Euro |
| Replacement or new Hydrogen Generator System (HGS) | 100,000 Euro |
| Replacement or new HGS storage tanks (includes installation) | 20,000 Euro |

Estimated costs for the different criteria as detailed in Section 7

Note the costs given below assumes that there is basic infrastructure available (or to be provided by National Service); for example weatherproof building, mains power, water, communications and enclosure for balloon filling). It is also assumed that suitably trained staff will be available for the operations, management and maintenance of the station. The costs also include an allowance for the remote nature of some of the sites and the time an difficulty of visiting them.

Table 5 Costs of implementing and running a regional upper air network for 10 years (thousand Euro)

| Criteria needs | Number of stations | Start-up costs | 1st five year consumables | subsequent 5 years consumables and 5-yearly HGS servicing | Total |
| --- | --- | --- | --- | --- | --- |
|  |  | Technical Assessment | New HGS | HGS Service | Total start-up costs |  |  |  |
| 1 | None | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 2 | 50% of consumables each year | 1 | 0 | 0 | 0 | 0 | 225 | 225 | 450 |
| 3 | 50% of consumables each year, HGS Service each 5 years | 2 | 0 | 0 | 70 | 70 | 450 | 520 | 1,040 |
| 4 | Assume 25 kEuro per site detailed technical assessment and hardware budget, and that 2 stations will require new HGS system, other 5 an immediate service of HGS, 100% of consumables and HGS service every 5 years | 7 | 175 | 200 | 175 | 550 | 3,150 | 3,395 | 7,095 |
| 5 | Detailed technical assessment and 50k hardware budget and new HGS system per location, 100% of consumables and 5 yearly HGS service | 3 | 150 | 300 | 0 | 450 | 1,350 | 1,455 | 3,255 |
|  | Total equipment, consumables and installation |  |  |  |  |  |  |  | 11,840 |
|  | Regional Upper Air Workshops |  |  |  |  |  |  |  | 1,000 |
|  | Total (kEuro) |  |  |  |  |  |  |  | 12,840 |

## Other General Improvements

The Fiji workshop identified several region-wide issues that also need to be addressed.

### Upgrade of telecommunications

The challenges of telecommunication, both for reporting data and assessing the status of the equipment, was highlighted in by many countries and is often a significant contributor to the poor availability of observations from the region. Given the unique nature of this region (with many remote and isolated islands) the standard practices for communications may not be available ( i.e. fixed telephone line, Internet, mobile phone). Therefore bespoke solutions are required.

The use of ‘short-burst’ satellite communications has been proven, both in the region and for marine observations, to be very effective (both low-cost and technically appropriate). However, these systems and their data charges need to be designed and negotiated at a regional scale, in order to secure the lowest prices from industry and to ensure a sustainable solution. The ‘Chatty Beetle’ equipment is a good example of this approach.

### Capacity Building: Staffing, Training Education.

The skills and experience of operational staff and their managers together with the training provided are vital components of any observing network. Staff should be proficient in all aspects of the observing chain for which they are responsible, and, in particular, should know who to go to when there is a problem with the equipment, operational practices or with the observations themselves. This is an essential part of the quality assurance system: where capacity and knowledge are lacking (often due to a lack of training and documentation) the required quality of the observations cannot be ensured.

Thus regular training on the operational practices, equipment maintenance, quality management and general data awareness is essential. A good example of this is at the UK Met Office where all observational analysists and experts are required to complete an Initial Meteorology and Observing System course which is run every 2 years. There is also a Further Meteorology and Observing System course for those more experienced staff. Both these courses are continually updated and reviewed to ensure they are relevant and up to date. In this region, with many small countries, training will more effective and efficient if undertaken at a regional level. Suitable facilities are available in Fiji (the Fijian Meteorological Office) and Samoa (SPREP).

### Regional quality management (Regional WIGOS Centre)

WIGOS already has some good text here (I think). Lars Peter can you get something from Luis?

### Integration with measurements from aircraft, ships and buoys

Whilst it is the design above for a regional upper air  network is designed according to the observation type, it is important to ensure that this network, and the associated observations, are complementary, and as far as possible, integrated, with other observing systems. If a network is truly to be efficient and cost effective, there should be no excessive duplication of observation data with other systems, except where redundancy and referencing, is a key component of the requirements (e.g. where duplication is needed for validation).

Designing integrated networks has been described extensively within WIGOS and the Expert Team on Observational System Design and Evolution (ET-OSDE) and these guidance documents should be reference as a matter of course when designing and implementing integrated networks.

### Optimise use of satellite data

Not really my area of expertise, Lars Peter can you put something here or a link to a reference?

### Upgrading Other Networks

There are other monitoring networks in the region that need improvement. The workshop discussed precipitation where range of issues need to be addressed such as drought, flooding and salt-water intrusion. Observations are not made on all islands or, if they are, are often not representative. While planning for these will need to be performed on a country basis some general points can be made:

- Equipment should match local personnel skills. The local infrastructure and staff capability need to be suited to the observing equipment in use. Without this in place neither the quality assurance nor the sustainability of the system is viable. There are many examples of significant investment in new equipment which have either not been operational for more than an year, or even not at all, due to a lack of sufficient local infrastructure and/or staff capability. A local technical assessment of the infrastructure and staff capability should be a mandatory requirement, and at the design phase, of any network improvement project.

- Rehabilitation of existing stations. A similar approach to the design process to rehabilitate, and enhance, the radiosonde network in the region should be adopted for any other observing networks in the region, and this should be supported by following the WIGOS Network Design Principles. As part of the network design, priority should be given to existing stations, especially those with long climate records, but local infrastructure and capability need to be careful accessed to ensure a sustainable solution which is both efficient and effective.

- Data Exchange. Significant improvements to weather predictions and warnings can be made by improving the availability of surface observations by simply ensuring the international exchange of hourly data. This is a very low cost option with substantial benefits.

- Installation of new stations as needed. Ideally any new stations should be complementary to the complete network, and a priority should be given to existing stations. However, new stations might be required to replace old stations where the location is no longer viable, or to fill gaps in the network in order to meet the spatial requirements. When considering a new station, particular attention must first be given to the local infrastructure and capability, to ensure that it is sufficient to accommodate and operate the equipment, and more importantly for the communications to report the data and maintain the system.

Table 6 Indicative costs of other potential improvements (kEuro)

|  | Cost (kEuro) |  | Notes |
| --- | --- | --- | --- |
| Surface observing equipment (automated/semi-automated), Cost dependant on type and range of observations, and the required quality, Local work-service are not included | 10 – 100 | (per station) | Need country-specific studies but likely need several per country |
| Communication – Chatty Beetle | 30 | (10 systems) |  |
| Regional training on observations | 200 | (25 people) – per 2-week course | Hold every 2 years? |
| Improved Data Sharing | 0-10 |  |  |

# Sustainability

As shown above, the current financing model (asking the WMO Members to fund this out of their NMHS own budgets) will not be adequate for a redesigned Regional Basic Observing Network for the South Pacific: As noted in the previous section all upper air observations in the region, apart for Fiji, are funded by countries outside the region (e.g. USA and UK). It is unreasonable to expect the Pacific Island States to have the funds available to sustain this new network. Therefore it is essential that plans are in place for the long-term support of these stations before the plan is implemented.

Ensuring sustainability requires Global Support matched by a National Commitment. Sustainability requires local technical skills, efficient procurement and appropriate equipment.

### Global Support

This network will bring global benefits and as such international support should reflect this. This could take the for of financial guarantees from other donor countries or international organisations or a specific fund (e.g. the GCOS Cooperation Mechanism, or a new fund could be established). Whatever for the finance takes, it must be able to fund consumables, maintenance and repairs for at least a decade, together with training, travel and other capacity building. Providing technical support would also be a cost-effective way of supporting this network.

### National Commitment

The plan assumes that the individual NMHS will provide suitable technical staff, sites and infrastructure such as a weatherproof building, mains power, water, communications and enclosure for balloon filling. It also is based on countries sending data in a timely manner to support both NWP and climate studies. This can be a significant task for some small counties and their performance could be continually reviewed as a requirement for further funding.

### Local Technical Skills

Maintaining the equipment and technical competence of the operators essential to maintain the long-term operation of these sites. Several actions  are proposed:

- Technical training in making the observations is  needed, and this should be repeated at intervals to ensure consistency of the operation of the network.

- Regional upper air workshops (perhaps every 4 years) to discuss the operation of the network and exchange experiences.

- Regular servicing of equipment is needed, and, for the HGS, this includes training it its use.

- Reporting to the Pacific Meteorological Council (PMC) on network performance

- Adding one of the stations to the GRUAN network could be used to provide checks on the other parts of the regional network, training and information exchange to support the other observing stations. Building up a local centre of excellence will support the quality of the regional network.

- A regional centre for training, based at one of the sites (perhaps the GRUAN site)  should become a centre for developing and ensuring the necessary skills are available to run, maintain and improve the regional network.

### Efficient Procurement

As shown above, for the radiosonde network, the cost of consumables constitutes a significant proportion of the ongoing running costs. This can also be true for other complex systems requiring regular maintenance and calibration. Both a clear and accurate system specification and a robust procurement process is very important to ensure that consumables are fit for purpose and at the best price. In many cases a regular competitive procurement process is the only way to get the best price from industry. This process might be more efficient and effective if conducted at a regional/sub-regional scale as this might allow for the quantity of the units to be level to attract the higher discounts. But for this to work careful consideration of the national procurement laws (liability and quality assurance) need to be considered.

### Appropriate equipment on other networks

The equipment should match the resources and skills available. The total running cost of a site includes consumables, repairs and maintenance, calibration and validation, data transmission and storage, personal and their training and site infrastructure (buildings, fences etc.). A clear view of these running costs and how they will be sustainably financed is needed before equipment is purchased. In some cases it may be more appropriate to buy cheaper, easy-to-maintain equipment than more advanced but expensive technology.

# Management

This plan covers the establishment of a network of 20 sites and the consumables, servicing and capacity building  costs over 10 years. The NMHS are expected to supply sites and personnel. As this plan is based on the use of internationally provided funds, clear reporting and accountability will be necessary. While the detailed structure will depend on the precise nature of the funds made available the following will be needed:

- Procurement

- Clear, open and transparent tendering and procurement with the requirement to meet WMO observational requirements

- Regional specification of equipment and parts

- Centralised procurement for the entire network rather than individually by site should reduce costs

- Reporting

  - Statistics on the number of reports received by four NWP centres (European Centre for Medium-Range Weather Forecasts (ECMWF), National Centers for Environmental Prediction (NCEP), Deutscher Wetterdienst (DWD) and the Japan Meteorological Agency (JMA) should be used with a target of 2 report per day.

  - The Regional Basic Observing Network for the South Pacific should be part of the regional systems and so reports to the Pacific Meteorological Council will be needed to demonstrate this.

  - Centralised training is an important part of ensuing sustainability and so evidence of this including the numbers and capacities of trained staff will be important.

  - Reporting by each NMHS of the resources they have allocated to the network including personnel and infrastructure.

- On-going funding

  - After the initial establishment of the network further funding for consumables, servicing and capacity building should be conditional on network performance (with due allowance for exceptional circumstances).

If a fund such as the GCOS Cooperation mechanism were to be used, then:

  - Donors would have a seat on the Management Board with oversight of the funds and ability to direct project spending

  - The project would use of WMO procurement expertise

  - Technical expertise and experience in establishing and supporting similar networks in remote regions GCOS and WIGOS would be available.

Annex A – Key messages from the Joint GCOS-WIGOS Workshop for Pacific SIDS

- Systematic observation of the Earth’s climate is a global common good that supports the implementation of the Paris Agreement, in the context of sustainable development and efforts to eradicate poverty.

- Many meteorological observations, made at high spatial and temporal density, support local forecasting and warning applications. These observations are a national responsibility contributing to national and regional needs with some additional global value.

- However, systematic upper air observations, made routinely by radiosondes under the WMO World Weather Watch (WWW) Programme, including the GCOS Upper Air Network (GUAN), support numerical weather prediction (NWP) leading to global benefits. These observations are used primarily for forecasting and climate applications at the international level, including climate reanalyses which form the basis of much of our understanding of climate and climate change; and

- Systematic upper air observations in the Pacific region, tend to have the highest measured impact, of all ground-based measurements, on the quality and accuracy of weather and climate analysis and prediction not only locally, but globally. The resulting products underpin weather and climate aspects of early warning systems as well as other climate-related services.

- Both the spatial density and observing frequency of the upper air network over the South Pacific region currently fall short of GCOS and WMO requirements. Due to the unique geography of the region – vast swathes of ocean surface with relative little land mass distributed over some 20 small island states with modest-size populations and correspondingly modest GDPs – systematic observation is particularly challenging in this region.

- The upper air network over the South Pacific therefore needs sustained international support.

- The workshop developed an outline for a Pacific region observing network plan in support of the GCOS Implementation Plan and the Implementation Plan for the Evolution of Global Observing Systems (EGOS IP) to:

  - Strengthen regional and national meteorological networks to support adaptation actions and avert loss and damage;

  - Identify capacity building needs to ensure the sustainability of the networks;

  - Be used to support requests for finance from the operating entities of the financial mechanism under the Convention, the GCOS Cooperation Mechanism and other relevant funding sources.

- Support of the observing network in the region should be based on transparent processes and a commitment to free and open data sharing in accordance with WMO Resolutions 40 and 60 and the GCOS Monitoring Principles. The network should be designed to be, efficient, sustainable, it should meet agreed international standards as well as national requirements. Ensuring sustainability is of paramount importance, and the network plan must therefore also include the necessary elements of capacity development.

- The draft plan will be developed by GCOS and WMO in collaboration with Secretariat of the Pacific Regional Environmental Programme (SPREP), the Pacific Islands Communication and Infrastructure Panel (PICI), and Pacific Meteorological Council, and submitted to COP 24.

Annex B – Summary of Observing capabilities reported by countries and analysis of OSCAR metadata and operational exchange of data.

Summary Table followed by more detailed information for each country represented at the meeting.

|  | Presentation | OSCAR | SYNOPS (OGIMET) (8th – 9th October) | CLIMAT | Radiosonde |
| --- | --- | --- | --- | --- | --- |
| Fiji | 32 AWS 10 TB3 Rainfall stations 41 Rainfall stations (manual) 34 Manual synoptic/climate 4 Lightning stations 1 Wind Profiler, 1 Tidal, 3 Weather Radar Hydrological Network 12 Stations for International Exchange | 50 Stations → 22 GOS Stations → 22 WHOS Stations → 4 GCOS/GSN Stations → 1 GCOS/GUAN Station (91680) | 16 stations (metadata) 8 stations (3 Hourly or better) 5 stations (zero obs) No hourly reports | 5 Stations providing monthly reports | 2 per day (62 August) Timeliness good (<60mins) Max Height 93% > 30hPa (Jan – Aug 2017) TEMP and BUFR |
| Cook Islands | 7 AWS (Project to replace above with 10 new systems) 1 Upper-Air (No consumables) | 13 Stations → 13 GOS Stations → 4 GCOS/GSN Stations → 1 GCOS/GUAN Station (91843) | 8 stations (metadata) 91831 (Hourly) 91843 (3 Hourly) 91844 (2 Hourly) 5 stations (zero obs) | GSN stations not reporting CLIMAT | Silent since Jan 2017 (No Consumables) |
| Federated States of Micronesia | 3 Weather Service Offices 2 SAWRS 21 COOP Stations 3 Upper-Air Stations | 27 Stations → 27 GOS Stations → 3 GCOS/GSN Stations → 1 GCOS/GUAN Station (91334) | 14 stations (metadata) 4 (6 Hourly) 9 ( 1 to 3 obs) 1 stations – zero obs No hourly/3hr’ly reports | 3 Stations providing monthly reports | 2 per day (62 August) Timeliness good (<70mins) Max Height 89% > 30hPa (Jan – Aug 2017) TEMP and BUFR |
| Kiribati | 9 Stations | 16 Stations → 14 GOS Stations → 3 GCOS/GSN Stations → 1 GCOS/GUAN Station (91610) | 8 stations (metadata) 2 stations (3 Hourly) 4 stations ( 1 – 3 obs) 2 stations (zero obs) No hourly reports | GSN stations not reporting CLIMAT | 1 per day (30 August) Timeliness good (<70mins) Max Height 84% > 30hPa (Jan – Aug 2017) TEMP No BUFR |
| Marshall Islands | 7 Stations 22 drought monitoring stations 2 Radiosonde stations | 19 Stations → 19 GOS Stations → 2 GCOS/GSN Stations → 1 GCOS/GUAN Station (91376) | 8 stations (metadata) 1 (6 Hourly) 4 ( 1 – 3 obs) 3 stations (zero obs) No hourly reports | 2 Stations providing monthly reports | 2 per day (62 August) Timeliness good (<60mins) Max Height 95% > 30hPa (Jan – Aug 2017) TEMP and BUFR |
| Nauru | Zero active stations | 4 Stations → 4 GOS Stations → 0 GCOS Stations |  |  |  |
| Niue | 1 Station | 3 Stations → 3 GOS Stations → 1 GCOS/GSN Stations | 1 stations (metadata) 91824 (3 obs) No hourly reports | 1 Stations providing monthly reports but not every month |  |
| Palau | 1 NWS Station 6 Coop Stations | 3 Stations → 3 GOS Stations → 1 GCOS/GSN Stations → 1 GCOS/GUAN Station (91408) | 1 station (metadata) 1 (6 hr’ly or better) No hourly reports | 1 Stations providing monthly reports | 2 per day (62 August) Timeliness good (<80mins) Max Height 90% > 30hPa (Jan – Aug 2017) TEMP and BUFR |
| Papua New Guinea | 14 Manual Stations (3 closed) 22 Climate Stations 200 Rainfall Stations 6 AWS 2 Tide Gauges | 43 Stations → 43 GOS Stations → 3 GCOS/GSN Stations → 1 GCOS/GUAN Station (92035) | 9 stations (metadata) 1 station (3 Hourly) 7 stations ( 1 – 3 obs) 1 stations (zero obs) No hourly reports | 6-8 Stations providing monthly reports | Silent since Feb 2013 (No Consumables) (Hydrogen generator issues) |
| Samoa | 2 Manual Stations 13 Sites (AWS) Wind Profiler and RASS Tide Gauge | 17 Stations → 17 GOS Stations → No GCOS Stations | 10 stations (metadata) 8 stations (Hourly) 2 stations (3 Hourly) No hourly reports | No CLIMAT but none are GSN. Apia is a RBCN |  |
| Solomon Islands | 6 Synoptic Stations 1 Upper-Air Station (stopped) 8 AWS 12 Auto-Rainguage 4 Lightning stations 5 Hydrometric Stations 3 Agro Met Stations | 9 Stations → 9 GOS Stations → 2 GCOS/GSN Stations → 1 GCOS/GUAN Station (91517) | 7 stations (metadata) 4 stations (3 Hourly) 3 stations (4-5 obs) No hourly reports | No CLIMAT reports | Silent since Oct 2011 (No Consumables) All equipment is now questionable |
| Tonga | 8 Stations ( 7 Manual, 1 AWS) Seismic Network | 9 Stations → 9 GOS Stations → 2 GCOS/GSN Stations | 5 stations (metadata) 3 stations (3 Hourly) 2 stations (6 Hourly) No hourly reports | No CLIMAT reports |  |
| Tuvalu | 4 Manual 5 Rainfall (non operational) 1 Upper Air 1 Tide Guage 1 Lightning Detector 1 GPS positioning system 1 Seismic Station | 5 Stations → 5 GOS Stations → 2 GCOS/GSN Stations → 1 GCOS/GUAN Station (91643) | 4 stations (metadata) 1 station (3 hr’ly ) 3 stations (6 hr’ly) No hourly reports | No CLIMAT reports | 1 per day (30 August) Timeliness good (<80mins) Max Height 90% > 30hPa (Jan – Aug 2017) TEMP No BUFR |
| Vanuatu | 8 Synoptic Stations 1 Upper-Air Station (Not working) 75 Rainfall Stations 4 Tidal Guages | 13 Stations → 7 GOS Stations → 6 AWS with no affiliation → 2 GCOS/GSN Stations → 1 GCOS/GUAN Station (91557) | 7 stations (metadata) 2 stations (3 hr’ly) 5 stations (2-4 obs) No hourly reports | No CLIMAT reports | Silent since Apr 2016 (No Consumables) Issues with Hydrogen Generator |

Fiji

The Fiji Meteorological Service (FMS) is now under the Ministry of Disaster Management and Meteorological Service. It operates all the year around providing daily weather forecasting and warnings to Fiji, Cook Islands, Kiribati, Nauru, Niue, Tokelau, Tonga and Tuvalu. It is recognised as a WMO Regional Specialized Meteorological Centre. In Fiji there are networks of meteorological, rainfall and hydrological stations and weather radar. The site at Nadi Airport launches radiosondes twice daily. 12 stations report data internationally to the WMO WIS/GTS.

While Fiji has its own training needs, it also serves as a focal point for capacity building for the surrounding island states.

Transport to and from the smaller outlying islands adds to the difficulties of maintaining the observation system while deploying a reliable communications system is a priority.

Cook Islands

The Cook Islands have an upper air station that launches radiosondes once a day. This was supported by the UK until the end of 2016. The precipitation measurements are not representative, as rainfall on different sides of the island is markedly different. They have experience with a voluntary observing system using cheap rainfall gauges situated at schools.

Federated States of Micronesia

The Federated States of Micronesia Weather Services Offices (WSO) are built, operated and funded by the US while the Federated States of Micronesia hires and employs the WSO staff.

There are three Weather Service Offices (METAR/SPECI) on Pohnpei, Chuuk and Yap, and two SAWRS Stations (METAR/SPECI that operate for 2hrs pre/post US Airlines flights) at Pohnpei and Kosrae Airports. There are also 27 COOP Stations. There are upper air soundings from all three WSOs, twice daily at 00Z and 12Z.

Installation and maintenance can be a problem due to remoteness of islands with both communication problems and travel issues.

Kiribati

Of the nine meteorological stations 3 are silent and only 2 provide continuous hourly observations. Issues include the lack of resources for the maintenance and operation of equipment. Communications is also an issue and the use of existing internet links is being investigated.

Kiribati is looking for assistance with international tendering and donors to support the Kiribati joint implementation plan for climate change and disaster risk reduction which includes both the reactivation of existing meteorological stations and the establishment on new stations.

The upper-air station is supported by funds from the UK, managed through SPREP.

Marshall Islands

Majuro National Weather Services first started in 1950. It operates under the US National Oceanic and Atmospheric Administration (NOAA) and it’s contracted by the Marshall Islands government to provide weather products and services to the RMI citizens. Its staff are employed by NOAA. NOAA has assigned the WFO Guam and Honolulu to provide services and warnings for the North Pacific island states including the Marshall Islands.

The observations include surface stations, weather radar and an upper air station that operates twice daily.

There is a need for more observation sites in the outer islands to improve drought forecasting and monitoring. There also needs to be a sustainable and robust communication system for observation transmittal and for Early Warnings. Installation of Chatty Beetles in 5 to 8 other atolls is underway.

Nauru

Currently there are no meteorological stations in Nauru. There are some limited observations made at the airport. Plans are being implemented to establish a meteorological office and to provide some equipment. Two officers are being trained in Nadi, Fiji.

Niue

Hanan Airport is Niue’s only meteorological station. It is operated only in the event of active tropical cyclone in the area. Daily weather forecasts are provided by RMSC Nadi but Niue produces its own three-day weather forecast. There are also rainfall and seismic observations.

Palau

Due to cooperation between the NOAA National Weather Service and The Government of the Republic of Palau, the Palau Weather Service is 100% funded by the US Government and on the basis of a reimbursable funding. It employs a total of 13 staff.

There is a weather station at Koroor (which will move closer to the airport) and two COOP Stations measuring temperature and precipitation as well as three stations observing surf conditions.

Additional rain gauges are needed, and access to NOAA data should be improved.

Papua New Guinea

Currently Papua New Guinea Weather Service has:

- 14 manual observation stations (3 recently closed)

- 22 climate stations & less than 200 rainfall stations

- 6 AWS & 20 rainfall data loggers

- 2 tide gauges (1 not operational)

- Hydrology network is under Ministry of Environment

However, it is unclear how well these operate and there is a lack of stations in the Highlands region. The two upper air stations ceased operation in early 2015 due to lack of funds for consumables.

Currently the National Weather Service needs to be restructured and to receive an adequate budget to restore the silent stations and train staff. There needs to be an effective communication strategy to allow the transmission of information from the data loggers and AWS and to link to airport observations. Data records from manual stations need to be rescued and digitized. The capacity of the staff needs to be enhanced.

Samoa

Samoa has 7 automatic weather stations in addition to those at the airport. It has a weather forecasting capability using satellite data and effective communications for data transmission. It operates a multi-hazzard early warning system with a smart phone app to distribute warnings.

It does not undertake upper air soundings but relies on those made in American Samoa which is nearby.

Solomon Islands

Currently the Solomon Islands has

- Six (6) Surface Synoptic Observation Stations,

- One (1) Upper Air Stations (not operational)

- Eight (8) Automatic Weather Stations  -1 mSTAR, 1 iSTAR, 4 SWoCK, 2 NDMO,

- Twelve (12) Automatic Rain Gauges  – 4 yet to be installed,

- Three (3) Agro-Meteorology Stations  – Funded/Installed by CWB (Taiwan) but the data form these is not currently available

- Himawari High Resolution Satellite R/Stations. – Installed by JMA funded by JICA

Issues include lack of expertise and resources. This has led to a lack of upper air observations due to the lack of consumables and maintenance, lack of maintenance and calibration to ensure data quality. Poor international procurement of meteorological instruments contributes to these issues.

There are also problems with timely data transmission. Finally, the use of Mercury substance with Meteorological instruments needs to be phased out.

Tonga

Since 2005 Tonga has been producing its own weather forecasts, previously these were done by Fiji. Tonga has 8 meteorological stations. It does not perform any upper air observations. Limits on resources mean that equipment is not inspected regularly and few spares are held.

Tuvalu

The Tuvalu Metrological Office has:

- 4 manned synoptic stations including the capital – on operational

- 5 rainfall stations – non-operational

- 1 upper air program (Release time 2300UTC)

- 1 tide gauge with tsunami warning system

- Lightning detector

The upper air station is supported by funds from the UK, managed through SPREP.

The increasing population results in an increase in both the vulnerability and exposure of people to natural hazards such as sea-level rise, increased variability of weather, climate, storm surges and coastal inundation.

There are severe problems with communications to the outlying islands where there is limited internet access, no mobile coverage, no television and no HF radios. There are

power and cabling issues for land phones lines and there is one radio station service (AM radio) with a limited transmission. The electricity supply is insufficient. Solutions could include Chatty Beetles and HF radios.

Vanuatu

In Vanuatu there are:

- 8 Synoptic sites

- 3 are GCOS Stations (91551,91555,91568)

- 75 Rainfall sites

- 4 tidal Gauge

- 6 volcano monitoring station

- 3 broadband station

In addition, one upper air station, which has not been operational since September 2016 due to lack of funds.

There is limited expertise in maintenance and calibration of instruments (both manual and AWS) and upper air stations. Capacity development to help improve the quality of the stations is needed.

Communications is an issue with a need for improved back-up communications tools (such as HF radios)

Annex C – Network Design Principles (WIGOS Expert Team on Observation Systems Design and Evaluation).

Observing System Network Design (OSND) Principles

1. SERVING MANY APPLICATION AREAS

Observing networks should be designed to meet the observational needs of many application areas within WMO and WMO co-sponsored programmes.

2. MEETING USER REQUIREMENTS

Observing networks should be designed to address stated user requirements, in terms of geophysical variables to be observed and the space-time resolution, accuracy, timeliness and measurement stability needed.

3. MEETING NATIONAL, REGIONAL AND GLOBAL REQUIREMENTS

Observing networks designed to meet national needs should also take into account the needs of the WMO community for applications for which requirements are regional or global.

4. MAKING OBSERVATIONAL DATA AVAILABLE

Observational data from national observing networks should be made available to other WMO Members, at space-time resolutions and with a timeliness needed to meet the needs of regional and global applications.

5. PROVIDING INFORMATION SO THAT THE OBSERVATIONS CAN BE UNDERSTOOD

Observing networks should be designed and operated in such a way that the details and history of instruments, their environments and operating conditions, their data processing procedures and other factors pertinent to the interpretation of the observational data (i.e. metadata) are documented and treated with the same care as the data themselves.

6. DESIGNING COST-EFFECTIVE NETWORKS

Observing networks should be designed to make the most cost-effective use of available resources.

7. DESIGNING APPROPRIATELY SPACED NETWORKS

Where high-level user requirements imply a need for spatial and temporal homogeneity of observations, network design should also take account of other important user requirements, such as the representativeness and usefulness of the observations.

8. DESIGNING RELIABLE, STABLE AND SUSTAINABLE NETWORKS

Observing networks should be designed to be reliable, stable and sustainable.

9. DESIGNING THROUGH A TIERED APPROACH

Observing network design should use a tiered structure, through which information from reference observations of high quality can be transferred to and used to improve the quality and utility of other observations.

10. ACHIEVING HOMOGENEITY AND CONSISTENCY IN OBSERVATIONAL DATA

Observing networks should be designed to deliver observational data of the level of homogeneity and consistency by intended applications.

11. ACHIEVING SUSTAINABLE NETWORKS

Improvements in sustained availability of observations should be promoted through the design and funding of networks that are sustainable in the long term including, where appropriate, through the transition of research systems to operational status.

12. MANAGING CHANGE

The design of new observing networks and changes to existing networks should ensure adequate consistency and quality of observations across the transition from the old system to the new.

# Footnotes

GCOS (2016) The Global Observing System for Climate: Implementation Needs GCOS-200, pub. WMO, Geneva. http://gcos.wmo.int  See annex A

OSCAR: Observing Systems Capability Analysis and Review Tool. https://www.wmo-sat.info/oscar/

Now the International Science Council (ISC).

WMO’s Rolling Review of Requirements (RRR), see http://www.wmo.int/pages/prog/www/OSY/GOS-RRR.html and Observing Systems Capability Analysis and Review Tool (OSCAR), see https://www.wmo-sat.info/oscar/

RRR: Rolling Recview of Requirements. See http://www.wmo.int/pages/prog/www/OSY/GOS-RRR.html

OSCAR: Observing Systems Capability Analysis and Review Tool. https://www.wmo-sat.info/oscar/

a portable Iridium satellite terminal that permits text-based alerts and messaging in remote locations, where communication options are limited.