| World Meteorological Organization |  | CBS-MG-XI/Doc. 3.1.1(3) REV1 |
| --- | --- | --- |
| COMMISSION FOR BASIC SYSTEMS MANAGEMENT GROUP ELEVENTH SESSION |  | Submitted by: | The WMO Secretariat |
|  |  | Date: | 10.III.2010 |
| Geneva, Switzerland, 17-19 MARCH 2010 |  | Original Language: | English |
|  |  | Agenda Item: | 3.1.1 |

WIGOS CONCEPT OF OPERATIONS (CONOPS)

## SUMMARY

ADDITIONAL FINANCIAL IMPLICATION: None ISSUES TO BE DISCUSSED: This document contains the updated version of the WIGOS Concept of Operations (CONOPS, Version 4.1) elaborated by the Secretariat in accordance with recommendations of the second session of EC-WG/WIGOS-WIS-2 (May, 2009) and the second session of its Subgroup on WIGOS (SG-WIGOS-2, October 2009). DECISIONS/ACTIONS REQUIRED: The session is invited to review the new version of CONOPS attached to this document and make recommendations for its submission to EC-LXII for consideration and endorsement. REFERENCES: Final Report of the Second Session of the EC-WG on WIGOS-WIS (Geneva, May 2009); Final Report of the Second Session EC-WG/Subgroup on WIGOS (Geneva, October 2009) CONTENT OF DOCUMENT: Appendix for inclusion in the Final Report: Draft text for inclusion in the general summary of the report of the CBS-MG-XI Appendix for Information: Appendix B - WIGOS Concept of Operations (CONOPS), version 4.1 CBS-MG-XI/Rep. 3.1.1(3)

DRAFT TEXT FOR INCLUSION IN THE

GENERAL SUMMARY OF THE CBS-MG-XI

3.1.1.3	WIGOS CONCEPT OF OPERATIONS (CONOPS) (Agenda item 3.1.1.3)

3.1.1.3	CBS-MG-XI reviewed the WIGOS Concept of Operations (CONOPS) and made the following recommendations for its finalization for submission to EC-LXII for consideration and endorsement.

……………..

……………..

____________

Appendix

WORLD METEOROLOGICAL ORGANIZATION

WMO INTEGRATED GLOBAL OBSERVING SYSTEM (WIGOS)

CONCEPT OF OPERATIONS (CONOPS)

Version 4.1

(Colour code: Text from the CONOPS (Version 3.0) approved by EC-LXI)

APPROVAL PAGE

WIGOS CONOPS intends to contribute to the implementation activities under the following WMO STRATEGIC THRUSTS:

I. Improving Service Quality and Service Delivery

II. Advancing Scientific Research and Applications as well as Development and Implementation of Technology

III. Strengthening Capacity Building

IV. Building and Enhancing Partnerships and Cooperation

V. Strengthening Good Governance

and specifically, to the implementation of the Organization-wide Expected Result 4:

Enhanced capabilities of Members to access, develop, implement and use integrated and interoperable surface-based and space-based systems for weather, climate and hydrological observations, as well as related environmental observations, based on world standards set by WMO and partner organizations.

________________________________________________________________________________________________________________________

WIGOS CONOPS RELEASE APPROVAL (Date):           DD-MM- 2010

BODY:   WMO EXECUTIVE COUNCIL (EC- LXII, paragraph XYZ of the General Summary)

DOCUMENT VERSION CONTROL

| Version | Author(s) | Date | Description |
| --- | --- | --- | --- |
| 1.0 | Ondras, Dombrowsky | December 2007 | First draft for review by EC-WG/WIGOS-WIS-1 |
| 1.0 |  |  | Feedback from EC-WG/WIGOS-WIS-1 (no changes) |
| 1.0 |  | June 2008 | First draft for consideration by EC-LX |
| 1.0 |  |  | Feedback from EC-LX (no changes) |
| 2.0 | Karpov, Zahumensky | November 2008 | Second draft for the review by SG-WIGOS-1 |
| 2.1 |  |  | Feedback from SG-WIGOS-1 (deep review) |
| 2.2 | Zahumensky | May 2009 | Third draft for review by EC-WG/WIGOS-WIS-2 |
| 2.3 |  | May 2009 | Feedback from EC-WG/WIGOS-WIS-2 (Part 5.4 elaborated) |
| 3.0 |  | June 2009 | Third draft for consideration by EC-LXI |
| 3.0 |  |  | Feedback from EC-LXI (no changes) |
| 4.0 | Karpov, Zahumensky | October 2009 | Fourth draft for the review by SG-WIGOS-2 (significant change of the structure; addition of new text) |
| 4.1 | Karpov, Zahumensky | October 2009 | Feedback from SG-WIGOS-2 (editorial changes) |
| 4.2 | Karpov, Zahumensky | March 2010 | Fourth draft for review by EC-WG/WIGOS-WIS-3 |
| 4.3 | Karpov, Zahumensky | March 2010 | Feedback from EC-WG/WIGOS-WIS-3 |
| 4.4 | Zahumensky | June 2010 | Fourth draft for consideration by EC-LXII |

CONTENTS

1	SCOPE OF DOCUMENT	5

1.1	Identification of CONOPS	5

1.2	CONOPS Document purpose	5

1.3	WIGOS overview	5

1.3.1	Background	5

1.3.2	Vision	5

1.3.3	Purpose	6

1.3.4	Integration	6

1.3.5	General characteristics	6

1.3.6	Benefits	7

2	REFERENCED DOCUMENTS	7

2.1	Reports of WMO Constituent bodies	7

2.2	WMO regulatory material and International Standards	8

2.3	Other relevant documentation	8

3	CURRENT WMO AND CO-SPONSORED OBSERVING SYSTEMS	9

3.1	Description of Existing Systems	9

3.2	Operational Policies	9

3.3	Classes of Users and Application areas	10

4	JUSTIFICATION FOR INTRODUCTION OF WIGOS AND DESCRIPTION OF CHANGES  NEEDED	10

4.1	Justification of changes	10

4.2	Description of expectations and desired changes	11

4.3	Priorities among changes	12

4.3.1	Essential changes	12

4.3.2	Desirable changes	13

4.4	Consolidation and Cost savings	13

4.5	Technology improvements	13

5	WIGOS CONCEPT	14

5.1	Objectives and scope	14

5.2	Key elements of the operational WIGOS	15

5.2.1	Integration, Standardization and Interoperability	15

5.2.2	Standardization of instruments and methods of observation	15

5.2.3	WIS Information infrastructure	15

5.2.4	Quality Management Framework	16

5.2.5	Rolling review of Requirements (RRR) process and evolution of observing systems	16

5.2.6	Operational Database	18

5.2.7	 Standardization Database	18

5.2.8	Roles and Responsibilities	18

5.2.9	Governance	19

5.2.10	Resources	20

5.3	Assumptions and Constraints	21

6	OPERATIONAL POLICY CONSIDERATIONS	22

6.1	Data policy	22

6.2	Relationship with the WMO and co-sponsored observing systems	22

6.3	Science Support	23

7	IMPACTS AND IMPLICATIONS	23

7.1	Impacts on WMO	24

7.2	Operational impacts	24

7.3	Challenges	24

7.4	Risks	25

8	LIST OF ACRONYMS	26

# 1	SCOPE OF DOCUMENT

## 1.1	Identification of CONOPS

In accordance with international standards, the Concept of Operations (CONOPS) is a user-oriented document that describes characteristics of the to-be-delivered system from an integrated viewpoint. The CONOPS document also describes user needs for and expectations from the proposed system and how the system should operate to fulfil those needs.

The ideas expressed in this WIGOS Concept of Operations document are the results of analyzing the challenges involved in the implementation of the WMO integration strategy endorsed by the Fifteenth World Meteorological Congress in 2007.

To ensure the guidance and support for a logical transition of WIGOS from initial to full operational capabilities WIGOS Development and Implementation Plan (WDIP) is being developed.  CONOPS document should be considered as the constituent part of WDIP. To fully understand the WIGOS concept, these two principal documents must be considered together.

## 1.2	CONOPS Document purpose

The purpose of this CONOPS document is to describe the WIGOS concept. It serves as a basic means to communicate the high-level quantitative and qualitative characteristics of WIGOS to the user community within and outside of WMO and other stakeholders at the national and international levels.

Users might read the CONOPS document to determine whether their needs and expectations have been correctly identified, while the developers will typically use this document as a basis for WIGOS development and implementation activities described further in WDIP.

## 1.3	WIGOS overview

## 1.3.1	Background

Various observing systems throughout WMO Programmes and WMO partner organizations have been developed, funded, managed and operated to meet their own specific purposes. By adopting the WIGOS strategy, the Fifteenth World Meteorological Congress wished to establish a comprehensive, coordinated and sustainable system of observing systems in order to satisfy evolving observational requirements of all WMO and WMO co-sponsored Programmes in a cost-effective manner.

## Vision

The WIGOS Vision calls for an integrated, coordinated and comprehensive observing system to satisfy, in a cost-effective and sustained manner, the evolving observing requirements of WMO Members in delivering their weather, climate, water and related environmental services. WIGOS will enhance the coordination of the WMO observing systems with those of partner organizations for the benefit of society.

As a system of observing systems, WIGOS will be an organizational framework enabling the integration and optimized evolution and integration of WMO observing systems. This will allow continuous and reliable access to an expanded set of environmental data and products resulting in increased knowledge and enhanced services across all WMO activities.

## Purpose

The purpose of WIGOS is to establish an effective and sustainable organizational, programmatic, governance and procedural structure that will significantly improve the availability, usefulness, quality and utilization of observational data and products through a single focus for the operational and management functions of all WMO observing systems as well as a mechanism for interactions with WMO co-sponsored observing systems.

It will facilitate step-by-step integration of the WMO observing systems into a coordinated worldwide composite observing system, to satisfy in a cost-effective and sustained manner the evolving observing requirements of the WMO Members, and will enhance coordination of the WMO observing systems with those of partner organizations for the benefit of society. WIGOS will allow WMO Members’ NMHSs and other relevant national and international institutions to better fulfil their mandates, including response to natural hazards, hydrological and environmental monitoring, climate observation, and adaptation to climate-change and human-induced environmental impacts.

## 1.3.4	Integration

Following the guidelines by Cg-XV, integration in the context of WIGOS should be defined as joint efforts by data users and data producers at the national and international levels to establish a comprehensive, coordinated and sustainable system of observing systems, ensuring interoperability between its component systems. It will be an organizational framework facilitating standardization and interoperability and ensuring availability and utilization of, and access to, good-quality data and products, and associated metadata.  The integration process should encompass the following:

- Addressing the needs of the atmospheric, hydrologic, oceanographic, cryospheric and terrestrial domains within the operational scope of a comprehensive integrated system through standardization and network optimization;

- Increasing interoperability between systems with particular attention given to space-based and in-situ components of the systems;

- Ensuring that broader governance frameworks (e.g. inter-agency co-sponsored systems) and relationships with other international entities are sustained and strengthened;

- Improving WMO management and governance (use of resources, planning, institutional and programme structures, and monitoring).

## 1.3.5	General characteristics

Resolution 30 (Cg-XV) recognized WIGOS as a major effort of the Organization. Its development should proceed concurrently with the planning and implementation of the WMO Information System (WIS). The combination of both efforts will allow for an integrated WMO end-to-end system of systems designed to improve Members’ capability to effectively provide a wide range of high quality services and to better serve all WMO Programmes requirements.

WIGOS will build on and add value to the WMO’s existing observing systems by coordinating their efforts, addressing shortcomings, and supporting their interoperability, while satisfying the observational requirements of all WMO and WMO co-sponsored Programmes in a cost-effective manner.

WIGOS will provide a mechanism for interaction and cooperation with the WMO co-sponsored observing systems, respecting partnership, ownership and data-sharing policies of all observing components and partner organizations. WMO will work with partner organizations to achieve maximum commonality of standards and practices across the co-sponsored observing systems.

Congress stressed that this endeavour would have an impact on the structure and functions of WMO, the WMO Programme structure, roles, terms of reference and working arrangements of technical commissions, the WMO Technical Regulations, and the WMO Secretariat.

## 1.3.6	Benefits

In order to meet the evolving needs of WMO Members, there is a well-recognized need to improve existing observing capability, make it more cost-effective, sustain its operation and enhance service delivery. Integration of respective components and systems must be pursued to ensure interoperability, and optimize constituent observing systems within a WIGOS framework. WIGOS will also enable resources to be used more efficiently and effectively to overcome existing deficiencies and gaps.

WIGOS is expected to provide timely, quality-assured, quality-controlled and well-documented long-term observations. Implementing Quality Management procedures will be required to enable enhanced utilization of both existing and emerging observational capabilities. In meeting the evolving user requirements, WIGOS will:

- Enable the evolution and integration of WMO observing systems and enhance collaboration with its partner organizations: this will allow access to an expanded set of environmental data and products resulting in increased knowledge and enhanced services (across weather, water and climate domains) in a cost-effective manner;

- Provide a mechanism for enhanced integration between its surface- and space-based components which will result in enhanced observing capabilities;

- Enable WMO Members to meet expanding national mandates which are calling for increasingly greater coordination and integration to better respond to natural hazards, improve weather, water, climate and related environmental monitoring, and adapt to climate change and other human-induced environmental impacts;

- Together with WIS, enhance operational components of WMO Programmes, especially in Developing and Least Developed Countries;

- Together with WIS contribute strongly to GEOSS and to the observational and information elements of the future GFCS; and lastly,

- Provide a basis for sound decision making and enhance delivery of services to society.

An integrated global observing system supported by an interoperable information system will be essential for realizing the socio-economic benefits derived from a wide range of products and services related to WMO’s core competencies of weather, water, climate and related disasters.

# 2	REFERENCED DOCUMENTS

The following documentation was used to support the generation of this document.

## 2.1	Reports of WMO Constituent bodies

- Fifteenth World Meteorological Congress, Abridged final report with resolutions (WMO-No. 1026)

- EC-LVIII, Abridged final report with resolutions (WMO-No. 1007)

- EC-LIX, Abridged final report with resolutions (WMO-No. 1027)

- EC-LX, Abridged final report with resolutions (WMO-No. 1032)

- EC-LXI, Abridged final report with resolutions (WMO-No. 1042)

- CBS-XIV, Abridged final report with resolutions and recommendations (in press)

- Final report of the 1st session of the EC WG on WIGOS-WIS (December, 2007)

- Final report of the 2nd session of the EC WG on WIGOS-WIS (May, 2009)

- Final report of the 1st session of the Subgroup on WIGOS of the EC WG on WIGOS-WIS (November, 2008)

- Final report of the 2nd session of the Subgroup on WIGOS of the EC WG on WIGOS-WIS (October, 2009)

## 2.2	WMO regulatory material and International Standards

- Basic Documents, No. 1, 2007 edition (WMO-No. 15)

- Technical Regulations (WMO-No. 49)

- Manual on the Global Observing System (WMO-No. 544)

- Manual on the Global Telecommunication System (WMO-No. 386)

- Manual on Codes (WMO-No. 306)

- Manual on the Global Data Processing and Forecasting System (WMO-No. 485)

- Weather Reporting, Volume A (WMO-No. 9)

- Guide to the Global Observing System (WMO-No. 488)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

- Global Atmosphere Watch Guide (WMO/TD-No. 553)

- Global Atmosphere Watch Measurements Guide (WMO-No. 143)

- Guide to Marine Meteorological Services (WMO-No. 471)

- Guide to Agricultural Meteorological Practices (WMO-No. 134)

- Guide to Climatological Practices (WMO-No. 100)

- Guidelines on the Role, Operation and Management of National Hydrological Services (WMO-No. 1003)

- WHYCOS Guidelines (WMO/TD-No. 1282)

- ISO 14001 Environmental Management Systems

- ISO 9001 2008 Quality Management Requirements

## 2.3	Other relevant documentation

- Vision for the GOS in 2025 (CBS-XIV, 2009)

- WIS  Project and Implementation Plan (v. 1.1, April, 2009)

- Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (GCOS-92, WMO/TD-No. 1219)

- Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update, Draft v.10)

- GCOS Reference Upper-Air Network (GRUAN):  Justification, requirements, siting and instrumentation options (GCOS-112, WMO/TD-No. 1379)

- WMO Global Atmosphere Watch (GAW) Strategic Plan: 2008-2015 (WMO/TD No. 1384)

- Implementation Plan for Evolution of Space-and Surface-based Subsystems of the Global Observing system (WMO/TD-No. 1267)

- CBS TECO-WIGOS Conference Statement (March, 2009)

- WIGOS as a Challenging Initiative of WMO, Keynote by T. Sutherland, Second Vice-President of WMO (CBS TECO-WIGOS, March 2009)

- The first U.S. Integrated Ocean Observing System (IOOS) Development Plan, Washington, DC, January 2006

- Global Earth Observation System of Systems GEOSS 10-Year Implementation Plan (GEO 1000, February 2005)

- GEO 2009-2011 Work Plan (January 2009)

- IEEE Guide for information Technology- System Definition –Concept of Operations (CONOPS) Document, 1988

- NOAA Concept of Operations (CONOPS) for NPOESS Data Exploitation (NDE), 2006

- Concept of Operations (CONOPS) for the National Archives and Records Administration Electronic Records Archives Program Management Office (NARA ERA PMO), 2004

- EUCOS programme management documentation

- THORPEX International Research Implementation Plan (WMO/TD-No.1258)

- Third WMO Workshop on the Impact of Various Observing Systems on NWP, Alpbach, Austria, 9-12 March 2004

- JCOMM Observing System Implementation Goals for Building a Sustained Global Ocean Observing System in Support of the Global Earth Observation System of Systems (2009).

# 3	CURRENT WMO AND CO-SPONSORED OBSERVING SYSTEMS

## 3.1	Description of Existing Systems

Currently, WMO and co-sponsored observing systems are organized as multiple systems comprising of:

- The surface-based component of the Global Observing System (GOS) of the World Weather Watch (WWW) Programme;

- Space-based component of the GOS, including the geostationary meteorological satellite constellation, the core polar-orbiting meteorological constellation and R&D earth observation satellites;

- Aircraft Meteorological Data Relay (AMDAR) systems including expansions of aircraft measurement capabilities for atmospheric composition constituents;

- Marine meteorological and relevant oceanographic observing networks contributing to GOOS;

- The relevant components of atmospheric, oceanographic and terrestrial observing systems contributing to GCOS;

- Relevant terrestrial network of GTOS;

- Regional, river basin and global hydrological networks such as WHYCOS;

- The Global Atmosphere Watch (GAW) networks and systems for observation of atmospheric chemical composition and related environmental parameters;

- The various radiation networks;

- The observing component of the proposed Global Cryosphere Watch approved by the fifteenth WMO Congress;

## 3.2	Operational Policies

Current WMO and co-sponsored observing systems are generally designed to meet the need for monitoring the state and composition of the atmosphere, land and ocean on global, regional and national scales.  The resulting data and information, as well as the forecasts and warnings generated are internationally exchanged.  Such information is required to improve understanding of the behaviour of the atmosphere and its interaction with land, oceans and biosphere to enable prediction of the future states of the Earth system.

With respect to the implementation of the above WMO and co-sponsored observing systems, the guiding principle is that all activities and facilities connected with the establishment and operation of observing network(s) on the territories of individual countries are the responsibility of the countries themselves and should be met to the extent possible from national resources. Where this is not possible, assistance may be provided through multilateral (regional) or bilateral cooperation programmes.

Implementation of certain observing systems outside the territories of individual countries (e.g. outer space, the oceans and the Antarctic) is based on the principle of voluntary participation of countries that desire and are able to contribute by providing facilities and services either individually or jointly from their national resources or through collective financing.

## 3.3	Classes of Users and Application areas

NMHSs continue to be the principal owners/operators and major users of data and information generated by the existing observing systems mentioned above.  However, the user community is also represented by a growing diversity of stakeholders and decision makers, including national agencies, academia, non-governmental organization, public and private sectors and other societal areas.  Depending on the observational data requirements and services provided, the end-user is affiliated to and represents the following socioeconomic sectors (a) and activities of NMHSs (b):

- Agriculture and food production; Aviation; Land transport; Marine resources; Water resources; Industry; Disaster mitigation and prevention, emergency response; and Energy;

- Weather analysis and forecast, including early warning; Shipping services; Hydrology; Environmental monitoring; Public weather services, health and safety; Climatology and climate services.

Furthermore, the Statement of Guidance (SOG) for each of the application areas below has been developed and updated by the CBS OPAG IOS through the Rolling Requirements Review Process (see section 5.2.5):

- Global Numerical Weather Prediction

- Regional Numerical Weather Prediction

- Synoptic meteorology

- Nowcasting and Very Short Range Forecasting

- Seasonal and Inter-annual Forecasts

- Atmospheric chemistry

- Aeronautical Meteorology

- Ocean Applications

- Climate

- Hydrology

- Agricultural meteorology

It is expected that above application areas will be expanded to cover evolving WIGOS user requirements.

# 4	JUSTIFICATION FOR INTRODUCTION OF WIGOS AND DESCRIPTION OF CHANGES 	NEEDED

## 4.1	Justification of changes

An increasingly complex society and sophisticated user community, reflected by rapid economic and industrial development, coupled with increased knowledge of the planet as an integrated system and the changing Earth’s climate has resulted in greater vulnerability of nations  to extreme weather events and climate change.  This has resulted in the need for timely, more extensive and advanced information for WMO Members so that they can continue to improve service quality and service delivery.   To meet the demands of the future, WMO Members must continue their legacy of contributions by taking full advantage of advances in observation and telecommunication technologies and to increase our science based understanding of the Earth and its environment: the end result being better prediction and assessment of potential impacts of weather and climate related events to provide the required information for the public and policy and decision makers.

Historically however, various observing systems throughout WMO and WMO co-sponsored Programmes have not been developed in a coordinated, integrated manner but being managed, funded and operated separately to meet their own purposes and goals.  Under these arrangements it was not possible to standardize different observing practices including dissemination and processing of data which is now crucial to effectively respond to rapidly evolving user requirements mentioned above. At the WMO arena, lack of a single focus on the management of WMO-owned observing systems resulted in overlapping and duplication of work of expert teams governed by Technical Commissions responsible for different observing networks. Also, WMO regulatory material was not harmonized accordingly to assure clear and transparent guidance for Members. These factors seriously hampered the evolvement of WMO observing systems in a cost-effective manner. Coordination of observing programmes with partner organizations was also not sufficient.

In the view of the above, a proposed integration of existing observing systems is a necessary prerequisite to allow WMO Members to realize the modern organization’s strategic thrusts which are:

- Improving service quality and service delivery.

- Advancing scientific research and application as well as development and implementation of technology.

- Strengthening capacity building.

- Building and enhance partnerships and cooperation.

- Strengthening good governance.

The WMO Integrated Global Observing System, endorsed by the Fifteenth WMO Congress is a major contribution of WMO to this challenge. The WMO Congress decided that the enhanced integration of the WMO observing systems should be pursued as a strategic objective of WMO and identified this as a major expected result of the WMO strategic plan.

## 4.2	Description of expectations and desired changes

WMO and co-sponsored observational programmes aim to improve and sustain environmental observations (see Chapter 3).  However, along with the progress in accomplishing general tasks mentioned in Section 4.1, current efforts in some regions are still limited by the following:

- Uncertainty about continuity of observations

- Large spatial and temporal gaps in specific data sets

- Lack of relevant processing systems to transform data into useful information

- Insufficient long term data archiving

- Eroding technical and organizational infrastructure

- Inadequate user involvement

- Lack of access to data and associated benefits, especially in least developed countries

- Inadequate data integration and interoperability

- Insufficient coordination and data sharing among Members, Organizations and Programmes

Therefore, to bring the current observing systems in line with the evolving requirements, the desired changes should encompass activities to address the above factors with a goal to minimize their effects.  In this way WIGOS will provide the opportunity to better utilize existing and emerging observation capabilities, thus facilitating accomplishment of required changes.  In particular, it is expected that WIGOS will:

- Develop strategies to guarantee systems interoperability, including meeting documented standards for data quality of observing systems and instruments;

- Evaluate existing and emerging capabilities before developing, acquiring, and/or deploying new observing systems or sensors, and in the design of cost-effective composite observing systems;

- Develop strategies to satisfy observational requirements of WMO Programmes and international partners through the WMO Rolling Requirements Review Process;

- Develop a strategy for the production, editing and management of metadata, including instrumentation/platform and data discovery;

- Promote exploitation of existing platforms and employment of the multi-sensor platform concept to the maximum possible extent; and

- Coordinate the response to requirements, plans and activities with all WMO technical commissions, regional associations and Programmes.

Within the WIGOS framework, observational data, metadata and processed observational products from WMO and co-sponsored observing systems will:

- Adhere to WIGOS standards for instruments and methods of observation as well as standard observing network practices and procedures;

- Be exchanged via WIS using agreed upon data and metadata representation forms and formats;

- Use WIGOS compatible hardware and software;

- Be archived in compliance with WIGOS/WIS requirements.

WIGOS will consolidate the responsibilities of WMO observing systems. However, it should be well recognized and understood that WIGOS is not a consolidation of the responsibilities of WMO partner observing systems, but a framework for recognition and agreement of WMO and its partners concerning each observing system’s contributions and responsibilities.

## 4.3	Priorities among changes

Classifying the changes and new features into essential and desirable categories is important to guide the decision making process during the development and implementation of WIGOS.

## 4.3.1	Essential changes

Features that should be provided by the new or modified observing system(s) are as follows:

- Enhanced capability to meet all WMO Programmes’ requirements in the most cost-effective approach, reducing the financial burden on Members while maximizing administrative and operational efficiency and effectiveness.

- Ensured observing systems interoperability, data compatibility and traceability of observations from all WIGOS constituent observing systems;

- QMS implemented according to WMO Programme requirements by data producers/owners of observing systems/networks;

- Improved access in real-time, near-real-time and delayed mode to wider range of observations required to meet the needs of Members through WMO and WMO co-sponsored programmes, as well as relevant international conventions;

- Improved metadata, data management, archival and data retrieval capabilities;

- More efficient delivery of observational data and products to users;

- Strengthened capability of all Member countries to access and utilize observations from all WMO and co-sponsored observing systems;

## 4.3.2	Desirable changes

Features that should be provided by the new or modified system(s) are as follows:

- The optimum integration of the various components of all observing programmes;

- Capability to effectively adjust and respond to changing requirements;

- Facilitated technological innovation opportunities;

- Improved collaboration with instrument manufacturers and scientific/research institutes in the development and testing of next generation observation instruments.

- Improved production, use and application of data and information from across all WMO and co-sponsored observing systems, in a seamless way, to satisfy user requirements;

- More rapid and effective assimilation of technological advances and their application across all observing programmes;

- Sharing observing platforms as far as practical to reduce redundancies.

## 4.4	Consolidation and Cost savings

WIGOS will support the establishment of an evolving optimized observing network(s) within a region(s) which results in a shared work load for the participating NMHSs along with enhanced capabilities and a fair cost allocation.  WIGOS, inter-alia, will use experiences gained by regional observing programmes such as the EUCOS (EUMETNET Composite Observing System) Programme, which has helped eliminate duplications of effort in the upper air and surface observing components operated by NMHSs and ensured that the quality of all data delivered by the EUCOS networks has been maintained at a high level.  In doing so, the WIGOS framework will significantly enhance capabilities of Members which they would not have been able to deliver on an individual uncoordinated national basis.  To move WIGOS forward in a cost-effective manner and to overcome differences in levels of development of national and regional systems and services, it would be required to develop Regional WIGOS Implementation Strategies that considered, among other things, how Members within Regions can most effectively work together. Also, it is expected to develop regional cooperation programmes like EUCOS which has already demonstrated very promising results for the testing of new observing strategies and indicated ways towards optimization.  For the benefit of WIGOS, it will be also of great importance to exploit the lessons learned from the International Ocean Buoy Programme, where WMO and IOC as co-sponsors worked together to coordinate a more robust and cost-effective observing system.

## 4.5	Technology improvements

Technological advances will be a crucial factor leading to improvement in sensors and system capabilities to withstand severe climate and environmental conditions and to improvements in sensor capability to accurately measure the whole range of meteorological, climatological, hydrological and environmental variables with high accuracy and repeatability. Progress in technology will continue to provide a basis for further improvements in the reliability and quality of observations, thus more fully satisfying user needs.  Based on the above, within the WIGOS framework, the following areas need to be addressed: Standardization, Automation, Testing, and Networking.

Standardization will address best procedures and practices, including quality assurance, data and metadata formats for new and emerging technologies.  Standardization is necessary for all data and associated metadata so that the measurements from individual systems can be integrated into accurate and coherent data sets that allow for the development of unbiased, homogeneous long-term trends.

Automation will enable growth at reduced costs by allowing for increases in data frequency and consistency while avoiding coincident increases in labour costs.  Further development of integrated surface-based remote sensing systems will make it possible to provide observations of key atmospheric variables and processes relevant to weather, water and climate with high time resolution.

Long-term testing at instrument “test-beds” will be used to judge instrument design, performance, reliability, capability, and cost-effectiveness for a full integration into WIGOS.

Networking will be addressed through a coordinated data acquisition effort of NMHSs and other data providers to minimize duplication and by optimization of the observing network design and its flexibility to incorporate new observing systems after their successful testing and evaluation.

# 5	WIGOS CONCEPT

## 5.1	Objectives and scope

Nowadays, rapid assessments of the current state of the Earth system and timely detection and prediction of changes in it are required by WMO stakeholders and its partners. The establishment of an integrated operational observing system that routinely, reliably and continuously provides the information required, is essential if this is to be achieved.

Objectives

The Fifteenth World Meteorological Congress envisaged that WIGOS should encompass four broad objectives:

  - Improving management and governance (use of resources, planning, institutional and programme structures, and monitoring);

  - Increasing interoperability between the various systems with particular attention given to the complementarity between the space-based and in-situ components of the systems;

  - Addressing the domains (atmospheric, oceanic and terrestrial, including hydrological) as a comprehensive total system;

  - Ensuring that broader governance frameworks (e.g. inter-agency co-sponsorship of systems) and relationships with other international initiatives (e.g. GEO) are respected, sustained and strengthened.

Scope

To achieve the objectives, which were demonstrated in the Test of Concept phase, WIGOS will:

- Build on, and add value to the existing WMO’s observing components of GOS, GAW, and WHYCOS by advancing interoperability;

- Enhance integration (interoperability) of the GOS surface- and space-based components;

- Align with the Vision for the GOS in 2025;

- Introduce data quality and data management standards to better satisfy user requirements;

- Improve access to, and utilization of, observations and products from WMO observing systems as well as from co-sponsored systems such as the Global Climate Observing System (GCOS), Global Ocean Observing System (GOOS) and Global Terrestrial Observing System (GTOS);

- Provide a mechanism to meet new observational requirements of WMO Members and Partners by building on the existing Rolling Review of Requirements (RRR) process;

- Foster research and development activities and coherent planning for future observing systems by working with the all WMO Programmes and partner organizations.

## 5.2	Key elements of the operational WIGOS

Following the guidance by Cg-XV, WIGOS will build on and add value to WMO’s existing observing systems by coordinating their efforts, addressing shortcomings, supporting their interoperability, while meeting user requirements.

The list of current observing networks as the key elements of the future operational WIGOS is given in Chapter 3.  Integration, as a prerequisite to WIGOS implementation is described in Section 1.3.4.  Congress also identified that the progress with the WMO Information System (WIS) will be essential element for the WIGOS framework.  The WIGOS standardization process and quality management procedures will ensure that user requirements for various application areas are met at national, regional and global levels.

## 5.2.1	Integration, Standardization and Interoperability

It is envisioned that the integration process will bring about architectural and governance structures as well as processes for WIGOS development, implementation and sustainability. Standardization and interoperability, including data compatibility, are primary factors enabling integration.

Key areas of standardization

A key requirement for integration is the standardization in three key areas as shown schematically in Figure 1:

- Instruments and methods of observation;

- WIS information infrastructure;

- Quality management framework.

## 5.2.2	Standardization of instruments and methods of observation

WIGOS should encompass homogeneity, interoperability, compatibility and traceability of observations from all WIGOS constituent observing systems. This should be based on guidance and studies and achieved through implementation of recommendations on methods of observation by the Instrument and Methods of Observation Programme (IMOP) and related programmes of partner organizations within WIGOS constituent networks, including tests, calibration and intercomparisons.

## 5.2.3	WIS Information infrastructure

In order for WIGOS to effectively and efficiently respond to user data needs, WIGOS will use the WMO Information System (WIS) as a data exchange, discovery, access, and retrieval mechanism. Observational data and products generated by all WIGOS constituent networks, as well as associated metadata, shall meet a comprehensive, standardized set of WIS data and metadata exchange requirements.

Technologically, the key action leading to the desired integrated networks will be the generation of data and information from WIGOS constituent networks using comprehensive, standardized data representation in compliance with WIS information exchange requirements for all WMO Programmes.  More specifically, the role of WIS will be as follows:

- It will be used in the collection and sharing of information for all WMO and related international programmes;

- It will provide a flexible and extensible structure that will allow participating centres to enhance their capabilities as their national and international responsibilities grow;

- It will provide communication networks based on communication links used within the World Weather Watch (WWW) for distribution of high priority real-time data;

- It will utilize international agreed-upon standards for protocols, hardware and software.

Detailed description of WIS is presented in the WIS Project and Implementation Plan (Section 2.3).

## 5.2.4	Quality Management Framework

The third key area of standardization for WIGOS should embrace a quality management framework (QMF) and the development, use and maintenance of the relevant WMO technical regulations to ensure that:

- observations, records and reports on weather, water, climate and the natural environment are of documented quality for international exchange through the WMO coordinated systems and relevant joint standards with other international organizations,

- the best possible products and services are delivered to end users. This should be based on agreed-upon quality assurance and quality control standards, with the goals of developing and implementing an integrated quality management system that delivers reliable and timely data streams with adequate quality control and relevant metadata.

The corresponding activities shall be compliant with Resolution 31 (Cg-XV), Implementation of Quality Management Systems by National Meteorological and Hydrological Services and Resolution 32 (Cg-XV), WMO Quality Management Framework.

Figure 1:   Key areas of WIGOS standardization

## Rolling review of Requirements (RRR) process and evolution of observing systems

To ensure continuous review of the requirements placed on the current observing systems and to have the capability to effectively adjust and respond to evolving needs, WIGOS will be using the RRR process defined by the Manual on the Global Observing System  (WMO-No. 544).  In the RRR process schematically shown in Figure 2, user requirements for observations are compared with the capabilities of present and planned surface-and space-based observing systems to objectively indicate the feasibility of achieving the stated requirements for a given Application area (see Section 3.2).  The resulting Statements of Guidance (SOG) provide an assessment of the adequacy of the observations to fulfil requirements and suggests areas of progress towards improved observing systems. Within the WIGOS framework the most significant variables for each Application area will continue to be analyzed in the SOGs. Both user requirements and observing system capabilities are collated in a comprehensive, systematic and quantitative way in the WMO/CEOS database, which is accessible at: http://www.wmo.int/pages/prog/sat/Databases.html.

Using the above RRR process defined by the Manual on the Global Observing System (WMO-No. 544) (Part II, Requirements for observational data), user requirements for observations are compared with the capabilities of present and planned observing systems to provide them.  Both user requirements and observing system capabilities are collated in a comprehensive, systematic and quantitative way in the WMO database, which attempts to capture observational requirements to meet the needs of all WMO programmes.  The comparison of user requirements with observing system capabilities for a given application area is called a Critical Review.  The output of the Critical Review process is reviewed by experts in the relevant application and used to prepare SOG, the main aim of which is to draw attention to the most important gaps between user requirements and observing system capabilities, in the context of the application.  A wide range of applications within WMO programmes have already been addressed. Further information is available at: http://www.wmo.int/pages/prog/sat/Databases.html.

As directed by Congress, it is essential to implement RRR Process to ensure that WIGOS will address and meet stakeholders’ needs. Therefore, it is also essential that user requirements are kept continuously under review.

Figure 2:   Rolling Review of Requirements Process

## 5.2.6	Operational Database

A database (DB) describing all the observing systems components and respective networks contributing to WIGOS should be developed to provide end users with relevant metadata, crucial for the operation of WIGOS and for the WIS Data Discovery, Access and Retrieval (DAR) services. A database should allow users to make relevant recommendations in terms of network design, evaluation and optimization; system governance and management and all other aspects dealing with observing system operation and performance.

For the purposes of developing such a database, data producers will be fully responsible for providing adequate and sufficiently detailed metadata related to all parts of their observing systems and networks. Generally, the WIGOS operational database should include the following:

- Basic observing network/system characteristics (governance, management, observing programme, standard compliance information, data policy, etc.);

- Basic station characteristics (name, number/identifier, geographical coordinates, observing programme, etc.);

- Basic instrument characteristics (siting, exposure, sensor type, principle of operation, instrument performance); data-processing, handling, transmission, quality assurance information, etc.).

## 5.2.7		Standardization Database

A database of standards should be developed. It would provide a single access point to all the WMO standards, guidelines, best practices, procedures, etc., addressing all aspects of observations (instruments, methods of observation, metadata format, coding, etc.).

Such a database would enable on one hand the network managers and operators to easily access the information they need to set-up and run their systems and on the other hand the data users to understand the standards that were used in performing specific observations they are considering to use providing appropriate metadata are available.

## 5.2.8	Roles and Responsibilities

Coordination of WIGOS constituent systems will require long-term commitments from all participants and mutual understanding by all partners to accomplish their current and planned observational activities in a coordinated manner. In order to move towards full WIGOS operations, the entities listed below are considered to have essential roles and should assume, along with their general terms of reference, the following responsibilities:

WMO Members:

- Design, develop and implement national observing systems according to the Vision for global observing systems in 2025; GAW development Strategic Plan (2008-2015); WHYCOS guidelines; GCOS, GOOS and GTOS Implementation Plans;

- Implement standards in accordance with WIGOS regulatory material;

- Participate in national, regional and international cooperation mechanisms;

- Provide adequate resources for WMO Secretariat support for WIGOS implementation, either in kind, via secondments and/or through contributions to the Trust Fund.

Executive Council will:

- Steer and monitor WIGOS development and implementation activities, and achieve the broadest possible collaboration, cooperation and coordination all of stakeholders;

- Coordinate WIGOS and WIS plans and activities;

- Provide advice, guidance and support for the implementation of WIGOS.

Regional Associations:

- Develop and coordinate Regional WIGOS Implementation Plans, including the WIGOS Pilot Implementation Projects;

- Incorporate WIGOS in their strategic plans and work programmes;

- Identify priority areas where observational requirements can be met more effectively through integration of surface-based and space-based subsystems;

- Determine regional priorities for observing system development and provide input for regional observing system needs into the RRR Process;

- Provide advice and feedback to Members on WIGOS related activities;

- Encourage proactive involvement of Members in regional WIGOS implementation activities.

Technical Commissions:

- Develop guidance for the design and evolution of observing systems utilizing the RRR Process;

- Develop WIGOS standards in collaboration with partners;

- Provide technical guidance and advice to Members and Regional Associations on WIGOS;

- Review, update and harmonize WMO Regulatory Material.

WMO Secretariat:

- Ensure optimal management of, and support to, the WIGOS implementation process;

- Integrate WIGOS activities within work programme of relevant OPAGs and/or Expert Teams;

- Develop proposals for programmatic and governance structures in support of WIGOS, taking into account WMO’s strategic directions;

- Coordinate WIGOS and WIS implementation;

- Ensure proper linkages with GFCS as it develops;

- Coordinate and collaborate with partner organizations and programmes in WIGOS activities;

- Support regional associations in developing their WIGOS implementation strategies and projects, including outreach and capacity-building activities;

- Work with Members and donors to provide adequate resources for WIGOS implementation;

Partner Organizations:

- Collaborate with WMO in establishing appropriate coordination mechanisms;

- Coordinate with WMO to create and maintain interoperability among observing systems;

- Coordinate with WMO on data policy.

## 5.2.9	Governance

WIGOS is in the process of addressing high-level observing requirements by establishing an effective and sustained organizational, programmatic, governance and procedural structure. This structure will enable a common standardization approach, uniform implementation of WMO regulations, and data integration and interoperability across all WMO observing systems. It will also provide a single focus for integrated and coordinated operational management of all WMO observing systems and a mechanism for coordination with WMO co-sponsored and contributing observing systems.

Therefore, in implementing WIGOS it is imperative that the current management, governance and support activities be reviewed and aligned with WMO strategic planning and results-based management. This alignment should enable collaboration and promote cooperation and coordination at the technical, operational and administrative levels.

Central coordination through the WMO Secretariat is essential for successful WIGOS implementation. In addition, the long-term commitment and effort of WMO Members; greater international cooperation; and sustained technological, capacity building, and financial support for developing and least developed countries is important.

The development of an effective and efficient system of governance will require adequate scientific and technical advisory mechanisms to develop, monitor, and evaluate the WIGOS implementation process.  The WMO Executive Council, through its EC-WG/WIGOS-WIS, will continue to steer and monitor WIGOS activities to ensure the broadest possible collaboration and cooperation.

Given the significance of active cooperation and enhanced coordination among the technical commissions, regional associations, and WMO partners, appropriate steps will need to be taken to ensure that the integration process is incorporated in the work programmes and implementation plans of these entities. For this purpose, it is highly desirable that an Inter-Commission Coordination Group on WIGOS (ICG-WIGOS) be established. This group would replace the Subgroup on WIGOS and would be expected to:

- Coordinate, review, refine, and assess the development and implementation of WIGOS;

- Provide technical guidance and assistance for the WIGOS development, planning, and implementation activities, such as standardization and development of WIGOS databases;

- Advise regional associations on WIGOS implementation activities;

- Advise technical commissions on the standardization process and related activities;

- Coordinate cooperation at a technical level with WMO partner organizations, including UNESCO and its IOC, UNEP, FAO, and ICSU;

- Address major issues identified by EC-WG/WIGOS-WIS;

- Advise EC-WG/WIGOS-WIS on further development and implementation of WIGOS; and

- Report to EC-WG/WIGOS-WIS.

Furthermore, for WIGOS to be successful, it will be necessary to identify terms of reference for task teams at the regional and commission levels and, when appropriate, for representatives of partner organizations.  Major tasks should be assigned as follows:

  - Regional task teams will need to coordinate planning and implementation of WIGOS on the regional level with WIS implementation and, eventually, with the implementation of GFCS in order to optimize regional and national observing systems;

  - Inter-Commission Task Teams, which should include representatives from partner organizations, will need to address standardization, observing system interoperability, data compatibility, data management, Quality Management System (QMS) procedures, performance monitoring, WMO regulatory material issues, and proposed improvements in observing networks/systems.

Improving coordination will be an ongoing activity at policy, technical, and Secretariat levels.  This will need to be supported by a high-level reconciliation mechanism defined in the WMO-UNESCO-IOC-UNEP-FAO-ICSU Memoranda of Understanding (MOU) in order to resolve possible problems in data policy, product delivery, and other governance issues.

These interagency and inter-observing system coordination mechanisms will need to be complemented and supported through similar cooperation and coordination arrangements among NMHSs and through national implementation mechanisms for GCOS, GOOS, GTOS, and GEOSS.

## 5.2.10	Resources

WIGOS operational activities will require additional resources and support at the national, regional and global levels as well as within the WMO Secretariat. It will also require additional resources within observational programmes of WMO partner organizations.

It is recognized that WIGOS operations will be carried out in accordance with the principle that these activities are within the responsibility of the Members themselves and should be borne by national resources (see section 3.2).  Therefore, most of the resources will be provided through existing national and international mechanisms, and by voluntary contributions to special WIGOS projects.

To ensure the funding needed for WIGOS implementation, the following resources should be considered:

- Funds for national observing systems;

- WMO Regular Budget for WIGOS implementation activities;

- WIGOS Trust Funds to supplement WMO Regular Budget;

- Voluntary Co-operation Programme funds for WIGOS related technical cooperation and capacity-building activities.

- Regional fundraising activities to support WIGOS.

As it follows from the above, the resources needed for operational WIGOS include additional funds, staff, facilities (infrastructure), and expertise. The funding strategy should foresee the Member’s federal agency (presumably NMHS or other entity operating the observing network) budget submissions for WIGOS activities and anticipated governmental approval. It is expected that WIGOS operational elements will be funded for extended periods based on user needs, whereas WIGOS Pilot and Demonstration projects will have specific objectives and will be funded only for finite periods.

## Assumptions and Constraints

The proposed WIGOS concept relies on a set of assumptions that are derived from WMO operational policies or are inherent in an environment of co-sponsored systems. The implementation of WIGOS assumes that:

- The WIGOS integration process will be a complex, evolving and not risk-free undertaking; it will require significant support of WMO Members to be successful.

- The concept of WIGOS is based on the premise that the general standards and recommended practices, as agreed-upon for WIGOS, will apply to all WMO and co-sponsored observing systems. Strong collaboration, cooperation and coordination are needed among all partners to achieve maximum commonality of standards and practices across the co-sponsored observing systems.

- The continuing sense of ownership by the various groups that have initiated and developed the individual observing system components through directly involving these groups in the planning and implementation of the WIGOS will be guaranteed.

- WIGOS development and implementation will cause no harm or limitation to the existing WMO or co-sponsored observing systems;

- Significant technical innovation and capacity-building activities will be essential to take advantage of WIGOS benefits, especially in the case of developing countries and LDCs.

The following constraints should be taken into account:

- Different levels of development as well as diversity of Member’s capabilities, needs and available resources will have to be taken into account;

- Acquisition of additional funding and resources will require continuous efforts on national and international levels.

# 6	OPERATIONAL POLICY CONSIDERATIONS

Many of the building blocks (see Section 5.2) of the future operation of WIGOS already exist and are of high value to current users.  It is recognized that proper interaction between constituent systems of WIGOS with respect to data management and standardization necessitate an unprecedented level of coordination and collaboration among the owners of the observing systems.

## 6.1	Data policy

WIGOS will respect the data policies of partner organizations and will adhere to the decisions of the Twelfth and Thirteenth World Meteorological Congresses (1995, 1999) that adopted Resolution 40 (Cg-XII) "WMO Policy and Practice for the Exchange of Meteorological and Related Data and Products including Guidelines on Relationships in Commercial Meteorological Activities" and Resolution 25 (Cg-XIII) “Exchange of Hydrological Data and Products” respectively.

WIGOS will strive to ensure that the conditions placed by the originator on the additional data and products are respected and made known to initial and subsequent recipients for the exchange of meteorological and related data and products, including guidelines on relationships in commercial meteorological and hydrological activities.

Since there are differences among existing policies of partner organizations, it may not be possible to integrate them into one single Data Policy. In this connection WIGOS Data Policy should be preferably composed of two main parts, the first defining common policies and the second specifying individual data sharing principles and practices of all WIGOS partners.

Common WIGOS Data Policies

- The common policies could be seen as a minimum set of commonly agreed principles, adopted by consensus of all partners. In this way WIGOS partners would retain their full autonomy.

- Major commonality of WIGOS partners’ data policies relate to the provision of data (and metadata) for non-profit, scientific and/or educational purposes. Special consideration to research and education could be described in this part of WIGOS Data Policies.

- Many partners’ data policies also refer to the full and open access (exchange) of data and metadata with minimum time delay, free of charge or at the cost of no more than the cost of reproduction and delivery. There may be, however, partners that do not fully recognize these principles but may be willing to reconsider and expand their current policies. This would require appropriate level of negotiation with partners.

Individual data sharing principles and practices

- It would be counter-productive to enforce or otherwise make mandatory any policy by WIGOS to its partners. The participation in WIGOS is voluntary, however, all partners taking part in WIGOS should do all they can to improve availability and delivery of their observational data and products.

- Some partners have generic policies while others have quite specific policies and also practices. Some other partners also refer to policies of other organizations or groupings that make their data policies less easy to be understood. This will require significant work effort to resolve.

## 6.2	Relationship with the WMO and co-sponsored observing systems

Effective implementation and operation of WIGOS will require close ongoing collaboration with several of WMO’s partner organizations (UNESCO and its IOC, UNEP, FAO, and ICSU) with whom it co-sponsors the Global Ocean Observing System (GOOS), the Global Terrestrial Observing System (GTOS) and the cross-domain Global Climate Observing System (GCOS). Collaboration will be necessary in order to ensure essential interoperability and mutual support while also respecting and reinforcing the individual identities and mandates of both the partners and their co-sponsored observing systems. It will also require a clear understanding, at both international and national levels, as to how WIGOS, GCOS, GOOS and GTOS fit together within the overall framework of GEOSS.

By virtue of WMO’s co-sponsorship of the IOC-led GOOS and the FAO-led GTOS, those parts of these systems which contribute to, or support, WMO research and service programmes, are appropriately regarded as contributions to WIGOS. Every effort should be made, therefore, to achieve full interoperability and mutually supportive advisory and coordination arrangements with both GOOS and GTOS.

Similarly, the jointly-sponsored, cross-cutting GCOS, which is made up primarily of the climate-relevant components of WIGOS, GOOS and GTOS, will need to be implemented and operated on the basis of maximum possible complementarity and mutual support between GCOS and its component systems, including WIGOS.

Coordination will be needed at policy, technical and governance levels. Policy and technical coordination will be facilitated through cross representation at sessions of the advisory/steering committees and implementation bodies of the various systems supported by joint working groups and the like. The principal mechanism for inter-Secretariat coordination will be the WMO-UNESCO-UNEP-FAO-ICSU Interagency Coordination and Planning Committee for Earth Observations (ICPC), which was established to ensure a well-coordinated UN system contribution to GEOSS.

The policy, technical and Secretariat coordination mechanisms may also need to be supported by a higher-level reconciliation mechanism defined through the WMO-UNESCO-IOC-UNEP-FAO-ICSU Memoranda of Understanding (MOU) in order to resolve possible conflicts on data policy, product delivery and other governance issues.

These interagency and inter-observing system coordination mechanisms at the international level will need to be complemented and supported through similar cooperation and coordination arrangements between NMHSs and their counterpart national implementation mechanisms for GCOS, GOOS, GTOS and GEOSS.

## 6.3	Science Support

New technology and scientific knowledge is required to enable WIGOS user requirements to be met.  Both hypothesis-driven and mission-driven research is of fundamental importance to the evolution of WIGOS as a fully integrated system. Observing System Experiments (OSEs) and Observing System Simulation Experiments (OSSEs) carried out by leading NWP centres will be key factors to support advances in operational capabilities of WIGOS related to the best mix of observing systems and to give advice to WMO Members on ways forward.

WMO’s science experiments, such as THORPEX, are providing insights into the value of targeted observational strategies and observing system considerations which are important to the design and implementation of WIGOS.

# 7	IMPACTS AND IMPLICATIONS

Congress emphasized that integration in the context of WIGOS would have an impact on the structure and functions of WMO, on international collaboration, cooperation and coordination as well as direct consequences to national programmes and activities. Therefore, awareness of potential impacts would be essential for NMHSs and other national/international agencies operating observing networks to ensure understanding and accepting the WIGOS design and its implementation.

## 7.1	Impacts on WMO

For the purpose of integration in the context of WIGOS, appropriate organizational, programmatic, procedural, and governance structures will enable a common standardization approach and uniform implementation of WMO regulations and practices. This will ensure data integration and interoperability across all WMO observing systems.

The potential impacts will be considered in details with respect to:

- WMO Secretariat (WIGOS supporting organizational structure);

- WMO Programmes (WIGOS supporting programmatic structure);

- WMO Technical Commissions (WIGOS supporting governance structure); and

- WMO Technical Regulations (WIGOS supporting procedural structure).

A set of organizational, programmatic, governance and procedural arrangements for sustainability and reliability of the operational observing networks/systems (structure and function improvements) will be implemented successively.

## 7.2	Operational impacts

Operational impacts will comprise step-by-step implementation of:

- Standardization, interoperability and data compatibility arrangements in operational observing networks and systems.

- Procedures for improved quality, traceability and consistency of observations (recommendations on instruments and methods of observation);

- Procedures for the generation of observational data, products and associated metadata from WIGOS constituent networks using comprehensive, standardized data and metadata representation in compliance with WIS information exchange requirements for all WMO and co-sponsored Programmes.

- Quality management system and data/metadata management procedures;

- Procedures and processes of performance monitoring, evaluation, feedback and corrective actions.

Anticipated operational impacts may also include introducing new modes of operation based on emergency, disaster or accident conditions and changes in the operational budget.

Other impacts will include:

- The commitment of additional resources (funding, staff, time) by Members, partner Organizations and the WMO Secretariat to efforts addressing WIGOS development and implementation;

- Adjusting relationships between WMO and co-sponsored observing systems (e.g. changes in MOUs etc.).

- User involvement in extended capacity building activities and technology transfer.

## 7.3	Challenges

Challenges and needs associated with embarking upon integration of the WMO and co-sponsored observing systems include but are not limited to:

- Active collaboration, improved cooperation and coordination of all partners;

- Firm long-term commitments of all concerned;

- The timely and effective implementation of the integration concept by individual Members;

- Differences in levels of development of national and regional systems and services;

- The need to complete the full functionality of WIS so that WIGOS can exploit new data access and retrieval facilities;

- The importance of engaging the hydrological community in WIGOS activities;

- The need to clarify and communicate the relationship and intersection of WIGOS with the co-sponsored observing systems, (GCOS, GOOS and GTOS) and with GEOSS;

- Finding ways to demonstrate the opportunities of WIGOS to all potential partners and users to build their ongoing support, trust and collaboration;

- Finding a way to more effectively incorporate all WMO observing activities into WIGOS and address their different requirements and priorities, especially the need to ensure WIGOS effectively supports all WMO applications programmes;

- Documenting and validating requirements for operational weather, climate, water and related environmental observations (building on Rolling Requirements Review);

- Specifying relevant processes, procedures and relationships;

- Determining standards, procedures, practices and protocols;

- Step-by-step implementation of sets of standardization, interoperability and data compatibility arrangements into operational observing networks and systems;

- Systematic and rigorous performance monitoring and evaluation (PM&E) of WIGOS capabilities; and

- An adequately structured and resourced WMO Secretariat.

## 7.4	Risks

Cg-XV recognized that the integration process would be a complex undertaking that would not be risk-free. Risks identified at various stages of the development and implementation of WIGOS are as follows:

- Resources will be a critical risk factor in achieving timely completion of WIGOS goals;

- Effective and constructive cooperation, collaboration and coordination is not achieved;

- Long-term commitments by all partners are not achieved;

- The concept of WIGOS is not properly understood;

- The timeframe for implementation of WIGOS is not achieved;

- Adequate resources and support are not available to all stakeholders to achieve key elements of WIGOS implementation;

- Resource, coordination etc. requirements for ongoing operation of WIGOS are inadequately understood and/or provided for;

- Prompt delivery of WIS is not ensured, and

- Full implementation of agreed-upon standards, procedures and practices is not achieved across all WMO observing systems.

# 8	LIST OF ACRONYMS

| AMDAR | Aircraft Meteorological Data Delay |
| --- | --- |
| BSRN | Basic Surface Radiation Network |
| CBS | WMO Commission for Basic Systems |
| CEOS | Committee on Earth Observation Satellites |
| CGMS | Coordination Group for Meteorological Satellites |
| CONOPS | Concept of Operations |
| EC WG | Executive Council Working Group |
| EUCOS | EUMETNET Composite Observing System |
| EUMETNET | The network of European National Meteorological Services |
| EUMETSAT | European Organization for the Exploitation of Meteorological Satellites |
| FAO | Food and Agriculture Organization |
| GAW | Global Atmospheric Watch |
| GCOS | Global Climate Observing System |
| GEOSS | Global Earth Observation System of Systems |
| GOOS | Global Ocean Observing System |
| GOS | Global Observing System |
| GRUAN | GCOS Reference Upper-Air Network |
| GTOS | Global Terrestrial Observing System |
| ICG WIS | Inter-Commission Coordination Group on WIS |
| ICPC | Interagency Coordination and Planning Committee for Earth Observations |
| ICSU | International Council for Science |
| IOC | Intergovernmental Oceanographic Commission |
| ISO | International Standards Organization |
| JCOMM | Joint WMO/IOC Commission for Oceanography and Marine Meteorology |
| MOU | Memorandum of Understanding |
| NMHS | National Meteorological and Hydrological Service |
| NWP | Numerical Weather Prediction |
| OPAG IOS | CBS Open Programme Area Group on the Integrated Observing System |
| QA | Quality Assurance |
| QC | Quality Control |
| QMF | Quality Management Framework |
| QMS | Quality Management System |
| R&D | Research and Development |
| RRR | Rolling Review of Requirements |
| SOG | Statement of Guidance |
| TC | Technical Commission |
| THORPEX | The Observing System Research and Predictability Experiment |
| UNEP | United Nations Environment Programme |
| UNESCO | United Nations Educational, Scientific and Cultural Organization |
| UNFCCC | United Nations Framework Convention on Climate Change |
| WDIP | WIGOS Development and Implementation Plan |
| WHYCOS | World Hydrological Cycle Observing System |
| WIGOS | WMO Integrated Global Observing System |
| WIS | WMO Information System |
| WWW | World Weather Watch |

_________

| World Meteorological Organization |  | CBS-MG-XI/Rep. 3.1.1(3) REV1 |
| --- | --- | --- |
| COMMISSION FOR BASIC SYSTEMS MANAGEMENT GROUP ELEVENTH SESSION |  | Submitted by: | The WMO Secretariat |
| Geneva, Switzerland, 17-19 MARCH 2010 |  | Original Language: | English |

WIGOS DevelopmeNT and implementation strategy (WDIS)

## SUMMARY

REFERENCE: CBS-MG-XI/Rep. 3.1.1(3) REV1 CONTENT OF DOCUMENT: Appendix: Background Information

BACKGROUND INFORMATION

1.	The second session of EC-WG/WIGOS-WIS (May 2009) considered version 2.2 of the WIGOS Concept of Operations (CONOPS) elaborated by SG-WIGOS-1(December 2008); it recommended that SG-WIGOS, in accordance with its terms of reference, should continue in updating this document.  It was recognized that the major task of this activity should be further refinement of conceptual descriptions of WIGOS operations and expected benefits of the integration in order to make CONOPS clear and transparent to all WMO Members as well as partner organizations and policy makers.

2.	Based on the feedbacks and recommendations from EC-WG/WIGOS-WIS and its Subgroup, version 4.0 of CONOPS had been developed by the Secretariat. Significant change of the document structure and enlargement of its content was made, taking into account existing international standards and national practices.  In particular, the current version of CONOPS contains streamlined descriptions and recommendations related to all principal aspects of planning and implementation of WIGOS.  Along with editorial amendments, special consideration was given to drafting the following:

- WIGOS requirements and expectations;

- Detailed conceptual description of WIGOS operations;

- Roles, responsibilities and mandates of stakeholders;

- Relationship, intersection and boundaries of WIGOS with the co-sponsored 	observing systems;

- Vision for an operational WIGOS;

- WIGOS data policy.

3.	CONOPS (version 4.0) was considered in details and eventually approved by the second session of the Subgroup on WIGOS (October 2009) for its subsequent submission to this session of EC-WG/WIGOS-WIS.

4.	The final update of CONOPS (version. 4.1) accomplished by the WIGOS Planning Office in coordination with all concerned is reproduced in the Appendix to this document.  For ease of reference, the text remained from the version of CONOPS as approved by EC-LXI (Version 3.0) was highlighted.

5.	The session is invited to consider the updated version of CONOPS reproduced in Appendix to the document and to make recommendations for the finalization of CONOPS to be submitted to EC-LXII for consideration and endorsement.

__________

# Footnotes

In this document “partner organizations” means: Intergovernmental, non-governmental and international organizations and groupings that operate, or co-sponsor, with WMO, observing systems that contribute to WIGOS. The main partner organizations are UNESCO and its IOC, UNEP, FAO and ICSU and the main co-sponsored observing systems are GCOS, GOOS and GTOS; partner organizations also include GEO.

# Text boxes

Active Quality Management

Users

Archiving

Data

Processing and Forecasting

Observations

for

Weather,

Climate,

Water,

Ocean, …

WIS

Standards

for

Data & Metadata exchange

&

Discovery, Access and Retrieval (DAR) Services

Instruments and methods of observation standards

QMF Standards