| WORLD METEOROLOGICAL ORGANIZATION ________________ COMMISON FOR BASIC SYSTEMS EXPERT MEETING ON GDPS SOLUTIONS FOR DATA QUALITY MONITORING ECMWF, READING, UK, 24-28 JUNE 2002 |  | EM/GDPS/QC/Doc. 4(1) _______ (11.VI.2002) ITEM: 4 ENGLISH ONLY |
| --- | --- | --- |

UPDATE OF PROCEDURES FOR QUALITY CONTROL AND

EXCHANGE OF RESULTS

(Submitted by Ignatius Gitongar, Kenya)

Summary and purpose of document This document outlines data monitoring procedures and experiences in Regional Association I (Africa).

Action proposed

The meeting is invited to take into account the recommendations outlined

in this document and to make proposals.

DATA MONITORING PROCEDURES AND EXPERIENCES IN REGIONAL

ASSOCIATION I (AFRICA)

1.	Introduction

Surface pressure monitoring for Regional Association I was started in Nairobi RMC in 1995. Prior to this date, the exercise was being carried out in Melbourne, Australia since 1990.  During the period of monitoring, the results reveal a slight downward trend in the number of active stations in some blocks in the region with some blocks reporting hardly any data. The worst hit being block 66. The number of stations reporting erroneous data fluctuates from time to time with a number of stations reappearing frequently as suspect stations. A few countries however have taken remedial action towards improving the data quality in their regions.

2.	Methodology

The monitoring of surface pressure currently going on in NMC Nairobi for Regional Association I is based on the results of the Numerical Weather Prediction (NWP) Model used by the UK Met Office. The UK MET Office runs a six-day forecast twice a day plus other two day forecasts grid point model with a horizontal resolution of 0.556 degrees latitude by 0.833 degrees longitude with 30 levels in the vertical. Data assimilation is performed in a continuous six-hour cycle using a 3-dimensional variation system. (Details: see Lorenc et al (2000, quarterly Journal of the Royal Met. Soc)).

The basis of all the data quality monitoring are the observation minus background  (O-B) differences often referred to as the bias where O = observation at station, B = background or simply the first guess from. Systematic errors from the observations can be identified by taking averages of the (O-B) over a sufficiently long period e.g. one month. By this method, persistent low quality observations can easily be detected. Besides the differences (differences of the observation (O) and first guess (B), calculation of the means and the root mean squares (RMS.) of the same (O-B) are also done. All these analyzed for a reasonably sufficient length of time (at least one month) are used to detect stations with erroneous reports.

3.	Error detection criteria

The O-B statistics having been obtained i.e. mean, RMS, number of observation and percentage gross errors for a given station; cut-off values for error detection are designated. These cut-off values are entirely objective depending on the availability of data and period of time being monitored. The monitoring is done on monthly and six-monthly periods, each of which has it's own error detection criteria.

3.1	For monthly monitoring

*	Number of observations  = or > 20 and one of the following.

(i)	Magnitude of Mean (O-B) = or > 4 hPa or

(ii)	Standard deviation  = or  > 6 hPa or

Percentage gross error at least 25%

NB: The gross error is defined as an observation that

departs from the background by at least 15 hPa.

3.2	For six-monthly monitoring

* Number of observations = or >40 and one of the following.

(i)	Magnitude of Mean (O-B) = or >3.5 hPa. or

(ii)	Standard deviation = or >5 hPa or

Percentage gross error at least 25%.

NB	a)	the gross error is defined as in 2.1a above.

b)	*The number of observations varies in case of land surface synops depending on the availability of data but remains unchanged for ship reports (pressures).

#### 4.	Presentation of Results

#### Tables

i)	All suspect stations for a given period e.g. July – December 2001

|  | Stn.No | Stn.Name | Elev | Country | First Date | Last Date | Lat. | Long. | No.of Obs | Mean O-B | SD O-B | % G/ Error |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 60437 | Medea | 981 | Algeria | 7/2/01 12:00 | 12/30/01 12:00 | 36.3 | 2.75 | 168 | -6.5 | 0.97 | 8.93 |
| 2 | 60476 | Khenchela | 1116 | Algeria | 7/2/01 12:00 | 12/31/01 12:00 | 35.4 | 7.15 | 166 | 9.7 | 0.85 | 62.65 |
| 3 | 60728 | Nabeul | 5 | Tunisia | 7/2/01 12:00 | 12/31/01 12:00 | 36.5 | 10.73 | 165 | -4.9 | 4.45 | 33.33 |
| 4 | 62790 | Nyala | 655 | Sudan | 7/1/01 0:00 | 12/31/01 12:00 | 12.1 | 24.88 | 270 | 3.8 | 1.89 | 56.67 |
| 5 | 63170 | Hargeisa | 1326 | Somalia | 7/4/01 12:00 | 12/26/01 12:00 | 9.5 | 44.08 | 57 | 7.0 | 1.06 | 40.35 |
| 6 | 63175 | Burao | 1032 | Somalia | 7/2/01 12:00 | 12/26/01 12:00 | 9.52 | 45.57 | 49 | 7.2 | 0.83 | 4.08 |
| 7 | 63333 | Combolcha | 1903 | Ethiopia | 7/3/01 12:00 | 12/31/01 12:00 | 11.1 | 39.73 | 63 | 5.1 | 0.63 | 15.87 |
| 8 | 63334 | Debremarcos | 2515 | Ethiopia | 7/2/01 12:00 | 12/31/01 12:00 | 10.3 | 37.67 | 60 | 11.4 | 0.65 | 1.67 |
| 9 | 63402 | Jimma | 1725 | Ethiopia | 7/2/01 12:00 | 12/31/01 12:00 | 7.67 | 36.83 | 62 | 7.5 | 0.72 | 1.61 |
| 10 | 63450 | A/ Ababa-Bole | 2354 | Ethiopia | 7/2/01 12:00 | 12/31/01 12:00 | 9.03 | 38.75 | 53 | 4.0 | 0.87 | 1.89 |
| 11 | 63453 | Metehara | 930 | Ethiopia | 7/2/01 12:00 | 12/31/01 12:00 | 8.87 | 39.9 | 63 | -4.3 | 0.85 | 3.17 |
| 12 | 63471 | Diredawa | 1260 | Ethiopia | 7/2/01 12:00 | 12/31/01 12:00 | 9.6 | 41.85 | 61 | 9.9 | 0.81 | 1.64 |
| 13 | 63478 | Gode | 295 | Ethiopia | 7/2/01 12:00 | 12/31/01 12:00 | 5.9 | 43.58 | 47 | 5.3 | 0.87 | 0.00 |
| 14 | 63680 | Kampala | 1140 | Uganda | 7/2/01 12:00 | 12/21/01 12:00 | 0.32 | 32.62 | 67 | -7.7 | 0.91 | 0.00 |
| 15 | 63801 | Kigoma | 885 | Uganda | 7/1/01 12:00 | 12/21/01 12:00 | -4.9 | 29.63 | 55 | 8.2 | 0.90 | 14.55 |
| 16 | 65355 | Niamtougou | 343 | Togo | 9/17/01 0:00 | 12/31/01 12:00 | 9.77 | 1.1 | 149 | -12.2 | 2.03 | 65.77 |
| 17 | 67231 | Cuamba | 607 | M/bique | 7/5/01 12:00 | 12/31/01 12:00 | -15 | 36.53 | 126 | 3.6 | 1.38 | 3.17 |
| 18 | 67599 | Mfuwe | 570 | Zambia | 7/17/01 12:00 | 12/29/01 12:00 | -13 | 31.93 | 44 | 4.1 | 1.00 | 4.55 |
| 19 | 68030 | P/ntenga | 1071 | Botswana | 7/1/01 12:00 | 11/30/01 12:00 | -19 | 25.63 | 140 | 5.6 | 0.80 | 0.00 |
| 20 | 68038 | Sua- Pan | 904 | Botswana | 7/1/01 0:00 | 11/30/01 12:00 | -20 | 25.98 | 133 | 4.9 | 1.02 | 0.75 |
| 21 | 68396 | Manzini/M Airport | 641 | Swaziland | 7/1/01 12:00 | 11/30/01 12:00 | -27 | 31.3 | 137 | 4.8 | 1.26 | 24.09 |
| 22 | 68530 | Douglas | 995 | S/ Africa | 7/1/01 12:00 | 11/29/01 12:00 | -29 | 23.75 | 96 | 4.0 | 3.42 | 65.63 |

- Retentions: showing stations that have re-emerged as suspects.

|  | Stn.No | Stn.Name | Country | No.of Obs | Mean O-B |
| --- | --- | --- | --- | --- | --- |
| 1 | 62790 | Nyala | Sudan | 270 | 3.8 |
| 2 | 63453 | Metehara | Ethiopia | 63 | -4.3 |
| 3 | 63471 | Diredawa | Ethiopia | 61 | 9.9 |
| 4 | 63680 | Kampala | Uganda | 67 | -7.7 |
| 5 | 63801 | Kigoma | Uganda | 55 | 8.2 |
| 6 | 68030 | P/ntenga | Botswana | 140 | 5.6 |
| 7 | 68038 | Sua- Pan | Botswana | 133 | 4.9 |
| 8 | 68396 | Manzini | Swaziland | 137 | 4.8 |

iii)	New Suspects: A table of newly emerged suspect stations is drawn as well.

b)	Maps – Geographical locations of suspect stations in the Region for the period monitored.  In this case, July-December 2001.

c)	Time Series: The suspect station, (stn. no. 60437 for Jul-Dec 2001 monitoring period) shows a mean bias of a higher magnitude than other co-located stations within 200km.

d)	Local: Location of the suspect station  (60437, shown in bold), as compared to the nearby stations.

A plot of the mean bias for respective stations, in the case below shows the mean of stn. no. 60437 having the highest magnitude (shown in bold). NB. The positions of these values are the same for the stations shown in the preceding map above.

5.	Active Surface Stations

The number of active surface stations in RA I is achieved through counting of the stations in each block on monthly basis. The monitoring data from UK Met Office is formatted in blocks, hence a count of the stations is easily done.

Number of reporting surface stations in RA I since August 2000

- 2000

| Month | B08 | B60 | B61 | B62 | B63 | B64 | B65 | B66 | B67 | B68 | B69 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Jan |  |  |  |  |  |  |  |  |  |  |  |
| Feb |  |  |  |  |  |  |  |  |  |  |  |
| Mar |  |  |  |  |  |  |  |  |  |  |  |
| Apr |  |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |  |
| Jun |  |  |  |  |  |  |  |  |  |  |  |
| Jul |  |  |  |  |  |  |  |  |  |  |  |
| Aug | 6 | 103 | 82 | 72 | 44 | 57 | 71 | 0 | 82 | 170 | 1 |
| Sep | 6 | 102 | 88 | 74 | 74 | 49 | 72 | 0 | 79 | 170 | 1 |
| Oct | 6 | 103 | 86 | 74 | 50 | 54 | 75 | 0 | 76 | 170 | 1 |
| Nov | 6 | 103 | 85 | 76 | 49 | 58 | 74 | 0 | 100 | 170 | 1 |
| Dec | 6 | 122 | 81 | 74 | 42 | 52 | 75 | 0 | 84 | 170 | 1 |

- 2001

| Month | B08 | B60 | B61 | B62 | B63 | B64 | B65 | B66 | B67 | B68 | B69 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Jan | 6 | 130 | 88 | 74 | 60 | 51 | 71 | 0 | 100 | 174 |  |
| Feb | 6 | 102 | 83 | 74 | 42 | 56 | 72 | 0 | 90 | 171 | 1 |
| Mar | 6 | 104 | 87 | 64 | 42 | 55 | 72 |  | 114 | 159 | 1 |
| Apr | 6 | 104 | 89 | 75 | 63 | 51 | 71 | 0 | 111 | 171 | 1 |
| May | 6 | 126 | 88 | 75 | 60 | 55 | 62 | 0 | 116 | 172 | 1 |
| Jun | 6 | 131 | 92 | 72 | 61 | 51 | 71 | 0 | 98 | 173 |  |
| Jul | 6 | 130 | 89 | 73 | 66 | 54 | 61 | 1 | 88 | 173 |  |
| Aug | 6 | 128 | 90 | 75 | 60 | 57 | 55 | 0 | 99 | 171 |  |
| Sep | 6 | 128 | 92 | 74 | 52 | 64 | 50 | 1 | 98 | 174 |  |
| Oct | 6 | 127 | 87 | 73 | 64 | 65 | 50 | 3 | 95 | 171 |  |
| Nov | 6 | 128 | 89 | 72 | 62 | 59 | 45 | 6 | 94 | 171 |  |
| Dec | 6 | 128 | 87 | 74 | 66 | 65 | 42 | 2 | 89 | 170 |  |

- 2002

| Month | B08 | B60 | B61 | B62 | B63 | B64 | B65 | B66 | B67 | B68 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Jan | 6 | 124 | 89 | 72 | 65 | 59 | 60 | 7 | 89 | 172 |
| Feb | 6 | 127 | 87 | 72 | 63 | 57 | 58 | 7 | 84 | 169 |
| Mar | 6 | 128 | 85 | 75 | 68 | 60 | 66 | 9 | 85 | 169 |
| Apr |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |
| Jun |  |  |  |  |  |  |  |  |  |  |
| Jul |  |  |  |  |  |  |  |  |  |  |
| Aug |  |  |  |  |  |  |  |  |  |  |
| Sep |  |  |  |  |  |  |  |  |  |  |
| Oct |  |  |  |  |  |  |  |  |  |  |
| Nov |  |  |  |  |  |  |  |  |  |  |
| Dec |  |  |  |  |  |  |  |  |  |  |

________________________