| WORLD METEOROLOGICAL ORGANIZATION COMMISSION FOR BASIC SYSTEMS MEETING OF EXPERT TEAM ON DATA REPRESENTATION AND CODES KUALA LUMPUR, MALAYSIA, 21 - 26 JUNE 2004 |  | ET DR&C/Doc. 3.1(2) ITEM: 3.1 (5.V.2004) ENGLISH ONLY |
| --- | --- | --- |

Reporting both nominal and instrument values in BUFR Templates for Surface Observation Data, especially Data from Automatic Weather Stations

Submitted by Eva Červená (Czech Republic) and Igor Zahumenský (Slovakia)

________________________________________________________________

Summary and Purpose of Document

The document contains a proposal for BUFR descriptors to support reporting of nominal values in BUFR templates for surface observation data, especially data from automatic weather stations.

________________________________________________________________

ACTION PROPOSED

The meeting is invited to examine the proposal and to submit recommendations for consideration by CBS-XIII.

References:

1 Manual on GOS, WMO-No. 544

2 Manual on GDPS, WMO-No. 485

3 Manual on Codes, WMO-No. 306, Volumes I.2

4 CBS-Ext.(02), Abridged Final Report with Resolutions and Recommendations, WMO-No. 955

5 Final Report, ET AWS, Geneva, 2 - 6 September 2002.

I. Background

The CBS-Ext.(02) appreciated that the Expert Team on Data Representation and Codes had finalized BUFR templates for AWS data and noted with appreciation the work carried out by the Expert Team on Requirements for Data from Automatic Weather Stations in developing accompanying BUFR/CREX descriptors. It was also agreed that BUFR templates were suitable for the exchange of AWS data.

The Commission considered the recommendation of ET on AWS that BUFR/CREX template should support reporting of both instrument and nominal values.

Various WMO manuals and guides define Level I data (primary data or instrument readings) as well as Level II data (meteorological parameters, i.e. nominal values) and provide the appropriate recommendations concerning requirements for data reporting:

Level I data: Primary data. In general these are instrument readings expressed in appropriate physical units and referred to Earth coordinates. Level I data still require conversion to the meteorological parameters specified in the data requirements.

Level II data: Meteorological parameters. These are obtained directly from many kinds of simple instruments, or derived from the Level I data.

Data exchanged internationally are supposed to be Level II data. BUFR Templates for AWS data should be capable of reporting both Level I and Level II data. Therefore the specific task was identified by the Commission to investigate the possibility of reporting both nominal and instrument values in BUFR/CREX.

If Level I data meet requirements for data reporting defined in WMO manuals and guides, no adjustment is needed and both Level I data and Level II data have identical values.

#### II. Proposal

II.1 Nominal value indicator

A new descriptor in the Class 8 is proposed as a nominal value indicator (Level II data):

0 08 083   Nominal value indicator, Flag table, 0, 0, 15

| Bit No. |  |
| --- | --- |
| 1 | Adjusted with respect to representative height of sensor above local ground (or deck of marine platform) |
| 2 | Adjusted with respect to representative height of sensor above water surface |
| 3 | Adjusted with respect to standard surface roughness |
| 4 | Adjusted with respect to wind speed |
| 5 | Adjusted with respect to temperature |
| 6 | Adjusted with respect to pressure |
| 7 | Adjusted with respect to humidity |
| 8 | Adjusted with respect to evaporation |
| 9 | Adjusted with respect to wetting losses |
| 10 -14 | Reserved |
| All 15 | Missing value |

Note: The term correction is not suitable to use as all measured values are corrected first (e.g. calibration correction, etc.).

The above proposed descriptor will allow reporting of Level II data (meteorological parameters, i.e. nominal values) in addition to Level I data (instrument values) in BUFR Templates for Surface Observation Data, especially for Data from Automatic Weather Stations.

In some cases, the WMO recommendations require adjustment of Level I data with respect to more than one aspect. Descriptor 0 08 083 will allow to indicate whether the instrument value has been adjusted with respect to all required aspects or only with respect to some of them or not at all.

Exhaustive validation of this descriptor, as well as a way of unambiguous reporting of Level II data, would be desirable. It is also to be considered that insertion of nominal values will increase volume of the data substantially.

Preliminary discussion of this topic has shown that representation of nominal values using nominal value indicator 0 08 083 in BUFR templates may be realized in several ways. One of the alternatives requires introducing two new descriptors: for representative height of sensor above local ground (or deck of marine platform) and for representative height of sensor above water surface, as described below.

II.2 Representative height of sensor above local ground (or deck of marine platform)

In BUFR templates, some meteorological elements are preceded by descriptor 0 07 032 to indicate the actual height above local ground (or deck of marine platform) at which the element is measured. Nominal values of these elements are proposed to be preceded by a descriptor from Class 7 which would indicate the standard height of sensor above local ground required by WMO documentation. If bit No.1 of 0 08 083   (nominal value indicator) is set to 1, the following value of the meteorological element shall be recalculated (adjusted) to this standard height of sensor above local ground (or deck of marine platform).

In Class 7, there is a descriptor 0 07 064 (Height above station (sensor height artificially corrected)) which was probably introduced for similar purpose as described above. This descriptor, however, was defined with unit = m, scale = 0, which precision is not sufficient anymore. Besides that, the name of 0 07 064 and, above all, the corresponding Note (7) seems to indicate that it is the height to be corrected using a formula. The standard height of sensor above local ground is (or will be) defined in the WMO documentation, e.g. standard height for wind measurement is 10 m. What is to be adjusted using a formula in this example is the following value of wind speed.

Therefore, a new descriptor in Class 7 is proposed

| F X Y | Element name | BUFR | CREX |
| --- | --- | --- | --- |
| 0 07 065 | Representative height of sensor above local ground (or deck of marine platform) | m | 2 | 0 | 16 | m | 2 | 5 |

with a note:

Representative height of sensor above local ground (or deck of marine platform) is the standard height of a sensor required by WMO documentation. Value of the following meteorological element should be adjusted using a formula (or a recommended procedure for obtaining nominal values). For example, standard height recommended in WMO documentation for surface wind sensors is 10 m. If the sensor is placed at different height, the wind speed should be adjusted using a formula.

The ET DR&C session may also consider the possibility to modify the name of 0 07 064 and the corresponding note (7) accordingly.

II.3 Representative height of sensor above water surface

In BUFR templates, some meteorological elements are preceded by descriptor 0 07 033 to indicate the actual height above water surface at which the element is measured. Nominal values of these elements are proposed to be preceded by a descriptor from Class 7 which would indicate the standard height of sensor above water surface required by WMO documentation. If bit No. 2 of 0 08 083   (nominal value indicator) is set to 1, the following value of the meteorological element shall be recalculated (adjusted) to this standard height of sensor above water surface.

Therefore, a new descriptor in Class 7 is proposed

| F X Y | Element name | BUFR | CREX |
| --- | --- | --- | --- |
| 0 07 066 | Representative height of sensor above water surface | m | 1 | 0 | 12 | m | 1 | 4 |

with a note:

Representative height of sensor above water surface is the standard height of a sensor required by WMO documentation. Value of the following meteorological element should be adjusted using a formula (or a recommended procedure for obtaining nominal values).

II.4 Proposal for revision of BUFR descriptor 0 08 082

In Class 8, there is a descriptor 0 08 082 (Artificial correction of sensor height to another value), still in the stage of validation. Taking into account proposal of the new descriptor 0 08 083 and the above presented discussion, the ET DR&C session may revise the wording of the name of and of the note to the validated 0 08 082, which currently is:

0 08 082      Artificial correction of sensor height to another value

| Code figure | Meaning |
| --- | --- |
| 0 | Height is not corrected |
| 1 | Height is artificially corrected to standard level using a formula |
| 2-6 | Reserved |
| 7 | Missing value |

Note:  Standard level is indicated by the descriptor of class 7, which immediately follows.  Value of this class 7 descriptor is forced to missing in case height is not corrected.  It is possible to indicate the real height of the sensor by preceding the descriptor by relevant class 7 descriptor.