## Q2 Replies
No | Start Lab | Member Country | Contact Point | Model/type | Manufacturer | Sites in use | No | Principle of operation |  |  |  | Parameter measured |  |  | Output
[8 empty] | TB | W | DC | OT | RI | RA | TT | DG | PS | OT
1 | NL | Australia | J. Gorman | Rimco 7499 (TB) | Mc Van Instruments | 466 | 2 | bar: Principle of operation TB to Output PS
2 | NL | HMEI/Australia | B. Barrat | TB-3 (TB) | Hydrological Services | 4000 | 2 | bar: Principle of operation TB; Parameter measured RA to Output PS
3 | FR | Austria | M. Mair | AP23 (TB) | PAAR | 140 | 1 | bar: Principle of operation TB to Output PS
4 | NL | Canada | R. Nitu | Alluvion-100 (Flow meter) | Axys Environmental Syst. |  | 2 | bar: Principle of operation TB to Output OT
5 | IT | Czech Republic | S. Krivancova | MRW500 (Wieghing) | Meteoservis v.o.s | 40 | 2 | bar: Principle of operation TB to Output PS
6 | IT | Czech Republic | S. Krivancova | MR3H-FC (TB) | Meteoservis v.o.s | 100 | 2 | bar: Principle of operation TB; Parameter measured RA to Output PS
7 | NL | Finland | A. Petäjä | VRG101 (Weighing) | Vaisala Oyj | 30-50 | 2 | bar: Principle of operation TB to Output PS
8 | FR | France | C. Alexandropoulos | Nilometre Pluviometer (conductivity) | SEROSI France | 20 | 2 | bar: Principle of operation TB to Output OT
9 | FR | Germany | E. Lanzinger | Pluvio 250 mm (Weighing) | OTT Hydrometry | 1000 | 2 | bar: Principle of operation TB to Output OT
10 | FR | India | V. Ramdhan | TBRG (TB) | India Met. Department | 600 | 2 | bar: Principle of operation TB; Parameter measured RA to Output PS
11 | IT | Italy | P. Pagano/G.Ricciarelli | UM7525 (TB) | SIAP+MICROS Srl | 1750 | 2 | bar: Principle of operation TB; Parameter measured RA to Output PS
12 | IT | Italy | P. Pagano/C.Pedriny | PMB2 (TB) | CAE Srl | 2000 | 2 | bar: Principle of operation TB; Parameter measured RA to Output PS
13 | IT | Italy | P. Pagano/Francini | R102 (TB) | E.T.G. S.r.l. |  | 2 | bar: Principle of operation TB; Parameter measured RA to Output PS
14 | NL | HMEI/Japan | Yoshio Yagihashi | WMB01 (TB) | Yokogawa Denshi Kiki Co. | 2000 | 2 | bar: Principle of operation TB to Output OT
15 | NL | Norway & HMEI | K. Kalland | T-200B (Weighing) | Geonor AS | 300 | 2 | bar: Principle of operation TB to Output PS
16 | IT | Slovakia | I. Zahumensky | TRwS (Weighing) | MPS system, s.r.o. | 33 | 2 | bar: Principle of operation TB to Output PS
17 | FR | Switzerland | A. Heimo | 1518 H3 (TB) | Lambrecht | 100 | 2 | bar: Principle of operation TB to Output PS
18 | FR | HMEI/UK | G. Noakes | 100000E (TB) | Casella CEL Ltd | 100x | 2 | bar: Principle of operation TB; Parameter measured RA to Output PS
19 | FR | HMEI/USA | B. Schaefermeyer | H-340-SDI (TB) | Design Analysis Associates | 317 | 1 | bar: Principle of operation TB; Parameter measured RA to Output OT
[8 empty] | 12 | 5 | 0 | 2 | 6 | 16 | 9 | 7 | 14 | 1
NOTES:
| FR | Start in the Laboratory in France |  | TB =Tipping Bucket | RI=Rainfall Intensity | DG= Digital Output
| IT | Start in the Laboratory in Italy |  | W=Wieighing Gauge | RA=Rainfall Accumulation | PS=Pulse Signal
| NL | Start in the Laboratory in Netherlands |  | DC=Drop Counter | TT=Time of Tipping | OT= Other