## Information
Background Information for this spreadsheet
These are two simple spreadhseets that have been designed to allow for tracking of changes at spites participating in WMO-SPICE
The purpose of this document is to track changes in instruments, subsequent to the commissioning report.
The aim is to provide a simple, workable solution, that is easy to document and also provides an overview or "snapshot" of what is current at each site
This is a proposal. Seeking input / suggestions.
Jordy Hendrikx
Version 1 (6 August, 2013)
Version 2 (11 August, 2013) - following comments from M.Wolff
Version 3, FINAL (3 Septmeber, 2013) - following comments from DAT team and addations from Craig Smith
Version 4, FINAL (25 February,2014) - following comments from A. Reverdin and Craig Smith, and update from Audrey Reverdin

## Timeline
ID | Sensor | Parameter | Serial Number | Installed by | Comments | Start | End | 2013-06-01 | 2013-07-01 | 2013-08-01 | 2013-09-01 | 2013-10-01 | 2013-11-01 | 2013-12-01 | 2014-01-01 | 2014-02-01 | 2014-03-01 | 2014-04-01 | 2014-05-01
1 | SR50a | Snowdepth | XXXYYY | J Hendrikx | Main sensor | 2013-10-02 | 2014-04-29
1.1 | SR50a | Snow depth | YYYXXX | J Hendrikx | Back up sensor installed a few weeks later. Stopped working in early December. | 2013-11-02 | 2013-12-06
1.2 | SR50a | Snow depth | ZZZXZYY | R Nitu | Replaced back up sensor due to condensation issues and change of sampling frequency | 2014-01-01 08:00 | 2014-04-01
2014-06-01
2014-06-01
2 | SS109 | Air Temp | XXXZZZ | J Hendrikx | Main Sensor | 2013-10-02 | 2014-04-30
2.1 | SS109 | Air Temp | ZZZXXX | M Wolff | Back up sensor installed a few weeks later | 2013-11-02 | 2014-04-30
2014-06-01
2014-06-01
2014-06-01
2014-06-01
3 | 05103-45 | Wind Speed | AAAABBBB | J Hendrikx | Main sensor | 2013-10-02 | 2014-04-30
3.1 | 05103-45 | Wind Speed | ABBBBAA | R Rasmussen | Back up sensor. Rime destroyed this in late December | 2013-10-02 | 2013-12-30
3.2 | 05103-45 | Wind Speed | BBAAAAA | B Baker | New sensor installed after the holiday break | 2014-01-04 | 2014-04-14
2014-06-01
2014-06-01
2014-06-01
Note on I2: Jordy Hendrikx: This timeline self populates based on column G and H.
Note on G5: Jordy Hendrikx: These are just blank at this stage - but you can just add / update the date and then it will fill in the timeline.

## Table
ID | Start | Time | End | Time | Parameter | Sensor | Measurement Frequency | Output Frequency | Method | Comments
1 | 2013-10-02 |  | 2014-04-29 |  | Snowdepth | SR50a | 6 sec | 1 min | Average | Main sensor
1.1 | 2013-11-02 |  | 2013-12-06 |  | Snow depth | SR50a |  |  |  | Back up sensor installed a few weeks later. Stopped working in early December.
1.2 | 2014-01-01 08:00 |  | 2014-04-01 |  | Snow depth | SR50a | 1 min | 1 min | No average | Replaced back up sensor due to condensation issues and change of sampling frequency
2 | 2013-10-02 |  | 2014-04-30 |  | Air Temp | SS109 | 1 min | 1 min | No average | Main Sensor
2.1 | 2013-11-02 |  | 2014-04-30 |  | Air Temp | SS109 |  |  |  | Back up sensor installed a few weeks later
3 | 2013-10-02 |  | 2014-04-30 |  | Wind Speed | 05103-45 | 10 sec | 1 min | Wind Speed : Average; Wind Max: max Value; Wind Dir: Resultant vector direction from vector addition; | Main sensor
3.1 | 2013-10-02 |  | 2013-12-30 |  | Wind Speed | 05103-45 |  |  |  | Back up sensor. Rime destroyed this in late December
3.2 | 2014-01-04 |  | 2014-04-14 |  | Wind Speed | 05103-45 |  |  |  | New sensor installed after the holiday break
Note on J1: Reverdin Audrey: Method used to get the Output Frequency from the Measurement Frequency
Note on L3: Jordy Hendrikx: Coulumns A, B, D, F, G and J are auto copied from the timeline. If a site manager completes the timeline, then it can easily be copied into this table.

## DataLogger Measurement Protocol
Possible Changes
Logger Program
Measurement Parameters
Scan Rate
Output Resolution
Multiplier
Commisioning Date: | 2012-11-01
Start Date | Start Time (UTC) | End Date* | End Time (UTC)* | Sensor Affected | Change Made To: | Details
2012-11-01 | 13:00 | 2013-08-01 | 14:50 | all Geonors | Measurement Parameters | Analog frequency measurement, 1500 cycles, 150ms timeout
2012-11-01 | 13:00 | 2013-08-01 | 14:50 | all sensors | Scan Rate | 20 sec
2012-11-01 | 12:10 |  |  | all sensors | Logger Program | Program change to CR3000 (XBKmain), loaded XBKMain_2012_Nov_1.cr3
2012-11-01 | 13:00 |  |  | all sensors | Output Resolution | 1 minute
2013-08-12 | 18:50 |  |  | 1.5 m Temperature | Multiplier | changed program multiplier from 1.0025 to 1.025
2013-08-01 | 14:51 |  |  | all Geonors | Measurement Parameters | decreased cycle average parameter to 1000 cycles
2013-08-01 | 14:51 |  |  | all sensors | Scan Rate | increased scan rate to 30 sec
This sheet is used to document and track measurement protocols such as logger programs, measurement parameters, scan rates, output resolution, etc
Pull down menu items for "Change Made To:" column can be modified in column M.
Be as detailed as necessary in column G
When "Start Date" = Commisioning Date, then entry represents initial conditions
When no "End Date" is present, entry represents current conditions
* If applicable

## SiteMap
PLACE YOUR SITE MAP / LAYOUT HERE