# WMO SPICE Teleconference

| Date | 20.09.2012 | Time | 15:00 – 17:00 (CET) |
| --- | --- | --- | --- |
| Purpose | SPICE |
| IOC member attendees (strike though if not attending) | R. Nitu, B. Baker, J. Hendrikx, E. Lanzinger, H. Liang, Y.-A. Roulet, F. Sabatini, V. Vuglinsky |
| IOC ex-officio member attendees (strike though if not attending) | S. Bilish (Australia) R. Nitu – C. Smith – D. Yang (Canada), S. MacDonell (Chile) O. Aulamo (Finland) TBD (Japan) C. Zammit (New Zealand) M. Wolff (Norway) M. Karzynski (Poland) TBD (Russian Fed.) Y.-A. Roulet (Switzerland) R. Rasmussen (USA) E. Vuerich (Italy) |
| Other Attendees (optional) | M. Colli, B. Day, M. Earle, B. Faisal, B. Goodison, J. Hoover, P. Joe, J. Kochendorfer, T. Laine, S. Landolt, I. Rüedi, A. Samanter |
| Distribution | All attendees, IOC (including IOC ex-officio members) |
| Moderator | Rodica Nitu | Recorder | Isabelle Rüedi |

Meeting Records (A = Action / D = Decision / I = Information)

| # | A / I / D | Item Description | Owner | Due Date |
| --- | --- | --- | --- | --- |
| 1 | Ä | Look at vertical wind profile: compare measurements with observations at different heights | John |  |
| 2 | D | Height of the gauges under test will be 1.5m above average snowpack as identified from 30 year climate normals, but not less than 2m. Compulsory: measure of wind speed at height of gauges under test. |  |  |
| 3 | A | To provide a simple diagram of the data flow from the instruments to the site archive and also how the site data would be transferred to the SPICE archive based on their current capabilities | All site managers | 27 Sept |
|  |  | For next teleconference: Data archival/transfer procedure Commissioning protocol Update on site configurations – layouts –instrument lists Calibration procedure |  |  |

Open Actions

| # | A / I / D | Item Description | Owner | Due Date |
| --- | --- | --- | --- | --- |
| From teleconference of 13 Sept. 2012 |
| 1 | A | Revised document for snow on the ground | Barry | 25 Sept |
| 2 | A | Prepare summary of discussion between Roy and Geonor on calibration & levelling of Geonor gauges | Roy | 30 Sept |
| 3 | A | Determine height at which participating gauges have to/should be mounted in relation to the height of the gauge in the DFIR. | All | 20 Sept |
| 4 | A | Provide feedback on commissioning document to Rodica | All (specially site managers) | 20 Sept. |
| 5 | A | Completion of commissioning document | Rodica | 27 Sept. |
| 7 | A | To provide additional background information to IOC Chair to confirm the decision on the best allocation of 2nd Pluvio | Roy | 14 Sept. |
| 9 | A | Reply to Vaisala | Rodica/ Isabelle | 30 Sept |
| From teleconference of 30 August 2012 |
| 2 | A | USA to do a repeatability study on calibration of Geonor | Bruce | 1 Oct |
| 5 | A | Confirm/decide to which site 2nd Pluvio2 was allocated and inform manufacturer | Rodica | 6 Sept |
| 7 | D/A | Boulder meeting report approved. Secretariat to do last agreed corrections and post on website. | Isabelle | 6 Sept |
| From teleconference of 23 August 2012 |
| 2 | A | Provide updated submission of site’s own instruments, including ancillary measurements | All site managers | 1 Oct |
| 3 | A | Provide site layout | All site managers | 1 Oct 20 Sept |
| 5 | A | Letter to Uzbekistan | Secretariat | 30 Sept |
| 9 | A | USA to send material for GEONOR heaters to Norway (3), New Zealand (2) and Australia (2), Chile (TBD) | Bruce | 20 Sept. |
| 11 | A | Document for CIMO Management Group on possible financial support for SPICE data analysis | Rodica | 1 Oct |

Attachments:

None.