## Proposals
No. | 1. Member Country | 2. Contact Point | 3. Basic info |  |  | 3.2 Type of the sensor/screen |  |  |  | 3.3.1 Screen/Shields details | [5 empty] | 3.3.2 Humidity sensor
|  |  | Screen/shield |  | U | Manuf. | Country | Sites | Two | Performance | Error | Material | Aspirat | Suit. for T probe | Suit. for U probe | Parameter |  | Principle | M. Range | O. Range | Uncert | T. Const. | LT St. | Av. Inter | T. Inter | Out. Time
|  |  | Nat. | Art. |  |  |  |  | sens. | [6 empty] | RH | DP
1 | Australia | J. Gorman | 1 |  | 1 | Vaisala/HMP45D | Finland | 100 | 1 | -10/+55 deg |  | Stainless steel |  | 1 | 1 | 1 |  | capacitive sensor | 0.8-100 % | -40/+60 deg | 3% | 15 s | 1%
2 | Austria | M. Mair |  | 1 |  | Lanser | Austria | 200 | 1 | -40/+40 deg |  | wood | 2 m/s | 1 | 1
3 | Ecuador | R. Chango Santillan | 1 |  | 1 | Vaisala/HMP45A/ shield Young 41003 | Finland | 51 |  | -50/+50 deg |  | Thermoplastic plate |  |  |  | 1 |  |  | 0.8-100% |  | 1% | 15 s |  |  | 15 s
4 | Ethiopia | M.E.T. Afreia | 1 |  | 1 | Lambrecht/252 | Germany | 138 |  | -40/+60 deg |  | wood |  | 1 | 1 | 1 |  | wet bulb depression | 0-100% | 0-100% | 1% |  |  | 10 min.
5 | France | M. Lacombe |  |  | 1 | Rotronic/ Hygroclip S3C03 | Switzerland | 30 | 1 | [6 empty] | 1 |  | capacity humidity sensor | 0-100% | -40/+60 deg | 1.5% RH | 12-15 s | 1% RH/year
6 | France | M. Lacombe | 1 |  |  | Socrima/ BM0 1195 D 0000 | France | 600 | 1 |  |  |  |  | 1 | 1
7 | Germany | U. Bush |  | 1 | 1 | Fischer &Co./431411 | Germany | 150 | 1 |  | 2 K | wood |  | 1 | 1 | 1 |  | capacity | 0-100% | -40/+85 deg | +/- 2 deg | 5 min | 3% RH/year
8 | Germany | E. Lanzinger | 1 |  | 1 | Gerhard Herzog / G90 | Germany | 150 | 1 |  | 2 K | wood |  | 1 | 1 | 1 |  | capacity | 0-100% | -40/+85 deg | +/- 2 deg | 5 min | 3% RH/year
9 | Germany | E. Lanzinger | 1 |  | 1 | Vaisala/HMT 337 & HMT 330MIK | Finland |  | 1 | -40/+60 deg |  | Filled polyester |  |  |  | 1 |  | capacity | 0.8-100% | -40/+60 deg | +/- 1 % | 500 ms | 1% RH/year
10 | Germany | E. Lanzinger |  | 1 | 1 | Eigenbrodt/LAM630 | Germany | 500 | 1 | -30/+70 deg | 0.8 K | ABS, acryl glass | 3500 rpm | 1 | 1 | 1 |  | capacity | 0-100% | -40/+180 deg | +/- 1 % | 20 s | 1% RH/year
11 | Germany | U. Demisch |  |  | 1 | Testo AG/63379742 | Germany | 500 | 1 | [6 empty] | 1 |  | capacity | 0-100% | -20/+70 deg | +/- 2.5 % | 60 s | 5 years
12 | Hungary | Z. Nagy | 1 |  |  | Hungarian Met. Service/ TS/HMS | Hungary | 60 |  | -30/+50 deg | -0.2 to 0.5 deg | plastic |  | 1
13 | Italy | G. Farini | 1 |  | 1 | Rotronic/Hygroclip UAM080 | Switzerland | 1000 | 1 | -30/+50 deg | 0.5 deg | PCV glass loaded |  | 1 | 1 | 1 |  | Hygroscopic-polymer transducer | 0-100% | -40/+85 deg |  | 1 s | 1% RH/year
14 | Italy | P. Giancarlo | 1 |  | 1 | CAE S.p.A./TU20AS | Italy | 1400 | 1 | -30/+50 deg |  | Painted duraluminum |  |  |  | 1 |  | Capacity | 0-100% | -30/+85 deg |  | 10 s | 13 months
15 | Kyrgystan | S, Vandasheva | 1 | 1 |  | TM4-1 GOST 112-78 | Russia | 30 |  |  |  | wood |  |  |  | 1 | 1 | psychrometric | -35/+40 deg
16 | Lesotho | M. Ntsatsi | 1 |  | 1 | Lambrecht Thermo-hygrograph | Germany | 30 |  |  | 0.01% | wood | 10% |  |  |  | 1 |  | -20/+60 deg |  |  | 1 year | 2 years
17 | Netherlands | van der Meulen | 1 |  |  | KNMI/multiplate screen | Netherlands | 40 | 1 | -30/+40 deg | 0.1 deg | plastic |  | 1 | 1
18 | Portugal | L.F. Nunes | 1 |  | 1 | Vaisala HMP 35/45D and DTR-13 | Finland | 93 | [5 empty] | 1 | 1 | 1 |  | capacitive sensor | 0.8-100% |  | +/-2-3% | 15 s |  | 1 min. |  | 10 min.
19 | Qatar | S. Said | 1 |  | 1 | Casella/Stevenson large size | UK | 1 |  | -20/+60 deg |  | wood
20 | Slovakia | J. Gvozdjak |  |  | 1 | Physicus/ HumiAir8 | Slovakia | 10 | 1 | [6 empty] | 1 |  | capacitive polymer sensing element with microprocessor | 0-100% |  | +/-2.5% | 60s | 1.5% RH/year | 0.1 s | 1 s | 1 s
21 | Sudan | Yaseen | 1 |  | 1 | Casella | UK | 50 |  |  |  | wood |  | 1 | 1 | 1 | 1 | Mercury in glass | -20 to 55 deg
22 | Switzerland | A. Heimo/ R. Maag |  | 1 |  | Meteolabor VT36 Thermometer | Switzerland | 2 | 1 | -65/+50 deg | 0 | Stainless steel | 5.3 m/s
23 | Switzerland | A. Heimo/ R. Maag |  | 1 | 1 | Meteolabor AG/Thygan VTP37 Airport | Switzerland | 2 |  | -50/+50 deg | 0 | aluminum | 3.5 m/s |  |  | 1 | 1 | dew point mirror with automatic cleaning | -65 to +50 deg |  | 0.15K | <1min | <0.02K | 10 min. | 10 min. | 10 min.
24 | Switzerland | A. Heimo/ R. Maag |  | 1 | 1 | Meteolabor/Thygan VTP37 Thermohygrometer | Switzerland | 100 |  | -50/+50 deg | 0 | aluminum | 3.5 m/s |  |  | 1 | 1 | dew point mirror with automatic cleaning | -65 to+50 deg |  | 0.15K | >1 min | <0.02K | 10 min. | 10 min. | 10 min.
25 | Switzerland | A. Heimo |  | 1 | 1 | Rotronic AG/ RS12T | Switzerland | 100 | 1 | -30-60 deg |  | double shell aluminum construction with fan, white paint | 3.5m/min |  |  | 1 |  | capacitive hygromer sensor | 0-100% | -40/+60 deg | +/- 1% RH | <15 s | 1% RH/year
26 | UK /HMEI | J. Wright | 1 |  |  | Metspec/ Excel | UK | 40 plus |  | -55/+80 deg | ? | aluminum and plastic |  | 1 | 1
27 | UK /HMEI | J. Wright | 1 |  |  | Metspec/ MET 01 | UK | 490 |  | -55/+80 deg | ? | aluminum and plastic |  | 1 | 1
28 | UK /HMEI | J. Wright | 1 |  |  | Metspec/ MET 11 | UK | 55 |  | -55/+80 deg | ? | aluminum and plastic |  | 1 | 1
29 | UK /HMEI | R.J.P. Jones | 1 |  |  | Windspeed ltd./ TRSI-PX-D/3 | UK | 100 plus | 1 | -50/+70 deg | 2.3 deg/ Kw/m2 | ABS, Aluminium alloy, Nylon
30 | UK /HMEI | E. Allen | 1 |  |  | Russell Sc. Instr./Stevenson Screen | UK | 60 | 1 | -50/+80 deg |  | Wood |  |  | 1
31 | Ukraine | A. Kononenko |  | 1 | 1 | Dobriy shljah /IT 1 | Ukraine | 130 | 1 | -40/+60 deg | 0.2 deg | alloy of aluminum | 2-3 m/s |  |  | 1 | 1 | method of two temperature (warming up) | 0-100% |  | +/- 2% | 30 s | 0.5%/year | 3 s | 3 s
32 | USA/HMEI | J. Karvelot |  | 1 | 1 | Davis Instr./ Vantage Pro2 | USA | 15000 | 1 |  | 1 deg | plastic | 1.2 m/s |  |  | 1 |  | Film capacitive | 0-100% | -40/+65 deg | +/- 3% | 4 | 1% RH/year
33 | USA/HMEI | J. Karvelot | 1 |  |  | Davis Instr./ PN 7714 | USA | 150000 | 1 |  | 2 deg | plastic |  | 1 | 1
34 | USA/HMEI | D. Farrell | 1 |  | 1 | Sutron/56-0320-1 & 5600-0021 | USA |  | 1 | -40/+60 deg | 1 deg | UV stabilized plastic |  | 1 | 1 | 1 | 1 | stress/strain gauge | 0-100% |  |  | 5 s | 0.5%/year | 1 min | 1 min
35 | USA/HMEI | B. Baker | 1 |  |  | Young/ 41003 | USA | 10000 | 1 | -50/+60 deg | 0.4 deg | Thermoplastic, stainless steel, aluminium |  | 1 | 1
36 | USA/HMEI | B. Baker |  | 1 |  | Young/ 43502 | USA | 3 later 10000 | 1 | -50/+60 deg | 0.2 deg | Thermoplastic, stainless steel, aluminium | 6.8 to 9.2 m/s | 1 | 1

## Comments
No. | 1. Member Country | 2. Contact Point | 3. Basic info |  |  | 3.2 Type of the sensor/screen |  |  |  | Screen | Humidity | Comment
|  |  | Screen/shield |  | U | Manuf. | Country | Sites | Two | selected | Selected
|  |  | Nat. | Art. |  |  |  |  | sens.
1 | Australia | J. Gorman | 1 |  | 1 | Vaisala/HMP45D | Finland | 100 | 1 | 2 |  | HMP45D already selected from Germany
2 | Austria | M. Mair |  | 1 |  | Lanser | Austria | 200 | 1 |  |  | Not selected, due to reduce temperature range (probably not a problem) and no desertic conditions in Austria.
3 | Ecuador | R. Chango Santillan | 1 |  | 1 | Vaisala/HMP45A/ shield Young 41003 | Finland | 51 |  |  |  | Young shield proposed by USA and selected. HMP45D proposed by other members and selected.
4 | Ethiopia | M.E.T. Afreia | 1 |  | 1 | Lambrecht/252 | Germany | 138 |  | 1 |  | Screen selected considering "desertic" conditions in Ethiopa. Humidity sensor not selected (model 252 from Lambrecht is a drum recorder, not suited for this intercomparison).
5 | France | M. Lacombe |  |  | 1 | Rotronic/ Hygroclip S3C03 | Switzerland | 30 | 1 |  |  | Not selected, beacuse this sensor is of the same type that Hygroclip, proposed by other members and selected for Switzerland.
6 | France | M. Lacombe | 1 |  |  | Socrima/ BM0 1195 D 0000 | France | 600 | 1 | 2
7 | Germany | U. Bush |  | 1 | 1 | Fischer &Co./431411 | Germany | 150 | 1 |  |  | Not selected, due to other systems selected for Germany and low number of systems in operational use.
8 | Germany | E. Lanzinger | 1 |  | 1 | Gerhard Herzog / G90 | Germany | 150 | 1 |  |  | Not selected, due to other systems selected for Germany and low number of systems in operational use.
9 | Germany | E. Lanzinger | 1 |  | 1 | Vaisala/HMT 337 & HMT 330MIK | Finland |  | 1 | 2 | 2 | Selected, due to the "original" physical principle used.
10 | Germany | E. Lanzinger |  | 1 | 1 | Eigenbrodt/LAM630 | Germany | 500 | 1 | 2 | 2 | The humidity sensor is the HM45D, from Vaisala
11 | Germany | U. Demisch |  |  | 1 | Testo AG/63379742 | Germany | 500 | 1 |  | 2
12 | Hungary | Z. Nagy | 1 |  |  | Hungarian Met. Service/ TS/HMS | Hungary | 60 |  |  |  | Not selected : only 1 screen proposed and low number of screens in operational use.
13 | Italy | G. Farini | 1 |  | 1 | Rotronic/Hygroclip UAM080 | Switzerland | 1000 | 1 | 2 |  | Humidity sensor not selected, because already selected from Switzerland.
14 | Italy | P. Giancarlo | 1 |  | 1 | CAE S.p.A./TU20AS | Italy | 1400 | 1 | 2 | 2
15 | Kyrgystan | S, Vandasheva | 1 | 1 |  | TM4-1 GOST 112-78 | Russia | 30 |  |  |  | Not selected : only 1 screen and humidity sensor proposed and psychrometric (manual ?). Answer in Russian.
16 | Lesotho | M. Ntsatsi | 1 |  | 1 | Lambrecht Thermo-hygrograph | Germany | 30 |  |  |  | Not selected : only 1 screen and thermo-hygrograph, not suited for an intercomparison.
17 | Netherlands | van der Meulen | 1 |  |  | KNMI/multiplate screen | Netherlands | 40 | 1 |  |  | Not selected : low number of screens in operational use.
18 | Portugal | L.F. Nunes | 1 |  | 1 | Vaisala HMP 35/45D and DTR-13 | Finland | 93 |  |  |  | HMP45D already selected. Only 1 screen proposed and DTR13 is possibly part of the HMT337 selected from Germany.
19 | Qatar | S. Said | 1 |  | 1 | Casella/Stevenson large size | UK | 1 |  |  |  | Not selected : Only 1 screen proposed; low number of operational screens.
20 | Slovakia | J. Gvozdjak |  |  | 1 | Physicus/ HumiAir8 | Slovakia | 10 | 1 |  |  | Not selected : low number of screens/hygrometers in operational use.
21 | Sudan | Yaseen | 1 |  | 1 | Casella | UK | 50 |  | 1 |  | Screen selected (though only 1 proposed), due to desertic conditions in Sudan. Mercury in glass sensor, not suited for an intercomparison.
22 | Switzerland | A. Heimo/ R. Maag |  | 1 |  | Meteolabor VT36 Thermometer | Switzerland | 2 | 1 |  |  | Not selected, due to low number of screens in operational use and other sensors selected from Switzerland.
23 | Switzerland | A. Heimo/ R. Maag |  | 1 | 1 | Meteolabor AG/Thygan VTP37 Airport | Switzerland | 2 |  | 1 | 1 | Selected, because will be used as a reference.
24 | Switzerland | A. Heimo/ R. Maag |  | 1 | 1 | Meteolabor/Thygan VTP37 Thermohygrometer | Switzerland | 100 |  | 1 | 1 | Selected, because will be used as a reference.
25 | Switzerland | A. Heimo |  | 1 | 1 | Rotronic AG/ RS12T | Switzerland | 100 | 1 | 2 | 2
26 | UK /HMEI | J. Wright | 1 |  |  | Metspec/ Excel | UK | 40 plus |  |  |  | Not selected : only 1 screen proposed.
27 | UK /HMEI | J. Wright | 1 |  |  | Metspec/ MET 01 | UK | 490 |  | 1 |  | Selected, considering the large number of screens declared in use. However, two screens should be delivered for the intercomparison.
28 | UK /HMEI | J. Wright | 1 |  |  | Metspec/ MET 11 | UK | 55 |  |  |  | Not selected : only 1 screen proposed.
29 | UK /HMEI | R.J.P. Jones | 1 |  |  | Windspeed ltd./ TRSI-PX-D/3 | UK | 100 plus | 1 | 2
30 | UK /HMEI | E. Allen | 1 |  |  | Russell Sc. Instr./Stevenson Screen | UK | 60
31 | Ukraine | A. Kononenko |  | 1 | 1 | Dobriy shljah /IT 1 | Ukraine | 130 | 1 | 2 | 2 | "Original" physical principle for humidity.
32 | USA/HMEI | J. Karvelot |  | 1 | 1 | Davis Instr./ Vantage Pro2 | USA | 15000 | 1 |  |  | Not selected, because not used by Meteorological Services. And other instruments selected for USA.
33 | USA/HMEI | J. Karvelot | 1 |  |  | Davis Instr./ PN 7714 | USA | 150000 | 1 |  |  | Not selected, because not used by Meteorological Services. And other instruments selected for USA.
34 | USA/HMEI | D. Farrell | 1 |  | 1 | Sutron/56-0320-1 & 5600-0021 | USA |  | 1 | 2 | 2
35 | USA/HMEI | B. Baker | 1 |  |  | Young/ 41003 | USA | 10000 | 1 | 2
36 | USA/HMEI | B. Baker |  | 1 |  | Young/ 43502 | USA | 3 later 10000 | 1 | 2
|  | Total selected | [7 empty] | 29 | 16
NOTE:
= NOT Selected
= Selected