| WORLD METEOROLOGICAL ORGANIZATION __________________ COMMISSION FOR INSTRUMENTS AND METHODS OF OBSERVATION EXPERT TEAM ON REGIONAL INSTRUMENT CENTRES, CALIBRATION AND TRACEABILITY First Session Nairobi, Kenya 23 – 26 September 2013 |  | CIMO/ET-RIC-1/Doc. 3(5) (16.IX.2013) _______ ITEM: 3 Original: ENGLISH |
| --- | --- | --- |

WIGOS CONTEXT

RA-II requirements for regional centres supporting wider regional cooperation relevant to instruments - View from RIC China

(Submitted by He Xiaoley)

##### Summary and purpose of document

This document presents the view of the author on how Regional instruments Centres could be strengthened towards meeting the WIGOS requirements.

##### Action Proposed

The meeting is invited to consider the information presented in the document and make recommendations on possible actions or activities that should be organized in the WIGOS context to best support Members in the challenges they are facing related to the calibration, maintenance and traceability of their instrumentation.

WIGOS CONTEXT

RA-II requirements for regional centres supporting wider regional cooperation relevant to instruments – View from RIC China

RA-II had already have two Regional Centers. These two Regional Centers were responsible for the Calibration and Training service for their member counties. But according to the requirements of the WIGOS, our Regional Center should improve our work as below:

- From the very beginning of RIC－Beijing, the International Intercomparison was been carried out mainly with D.P.R.K., Vietnam and Indonesia. According to the report of Mr. Kouichi Nakashima, RIC-Tsukuba carried out their international Intercomparison with Oman and Indonesia recently. From here we can see that we haven’t take full resource advantages of calibration service of our reginal center. It probably be caused by the economical problem, but perhaps also have other effects. So from my point of view, it will be very necessary for us to carry out the international Intercomparison work via WMO to encourage the member countries to use the resource of RIC-Beijing.

- On the basis of the consistency of the observation data, we should also work on the consistency of observation instrument calibration. In the other words, we should have a serial of procedure to keep the instrument calibration consistency. For WMO has no standard calibration procedure recommended for us, RIC-Beijing adopt the domestic calibration procedure in the international intercomparison at present. It may lead our calibration service to be not so sufficient. So we suggest that CIMO can propose the international cooperation of Calibration Procedure Consistency.

_______________