| WORLD METEOROLOGICAL ORGANIZATION -------------------------------------------------------- COMMISSION FOR INSTRUMENTS AND METHODS OF OBSERVATION OPAG-CAPACITY BUILDING CIMO EXPERT TEAM ON REGIONAL INSTRUMENT CENTRES, QUALITY MANAGEMENT SYSTEMS AND COMMERCIAL INSTRUMENTS INITIATIVES (ET-RIC) Second (reduced) session CASABLANCA, MOROCCO, 4-5 DECEMBER 2009 |  | CIMO/OPAG-CB/ET-RIC-2/ Doc. 6 (27.XI.2009) _________ ITEM: 6 Original: ENGLISH ONLY |
| --- | --- | --- |

GUIDANCE MATERIAL ON INSTRUMENT INTERCOMPARISON

(Submitted by Mohamed El-Sayed)

Summary and Purpose of Document The document provides information on the existing guidance material on instrument intercomparisons for inter-laboratory comparisons of standard calibration instruments.

## ACTION PROPOSED

The meeting is invited to review the information provided in this document and agree on the need for development of additional material. The meeting will then be invited to recommend and agree on any future work needed to provide the necessary information to RICs.

Intercomparison activities in the RICs of the Regional Association I (RA-I )

- Introduction

Laboratory intercomparison serves as a tool for comparison of measurement results carried out by calibration laboratories in the relevant field of measurement.

It represents a very effective mean and a most important element for monitoring of quality of measurement results as required by ISO/IEC 17025.

Here we will concentrate on the current status of intercomparison within the RICs of the Regional Association (RA I).

There are five regional instrument centres in the WMO Regional Association (RA I):

- Alger (Algeria)

- Cairo (Egypt)

- Casablanca (Morocco)

- Nairobi (Kenya)

- Gaborone (Botswana)

Some of these RICs, as evaluated by CIMO, have state of the art instrumentation and calibration facilities required for conducting the intercomparison activities and assist the member of the region in calibrating their standard instrument.

While some of these mentioned RICs of the regional association RA I do not have state of the art instrumentation and do not offer any support to the NMHS within their regional association.

In addition to that most of the working reference instrumentation in operation in some of these NMHS is mercury based and unsuitable for transportation to one of the advanced RIC for calibration.

A plan for future development of capability must be developed and a cooperation agreement should be established between these five RICs at least and a set of traveling calibration standard for calibration of pressure, temperature and humidity variables Should be acquired to enable the NMHS of the regional association RA I to decrease the measurement uncertainties.

- Current state of the intercomparisons in the RICs of the region RA I

There is an important issue with respect to the calibration of reference instruments within most of the NMHS of this WMO region. For example and according to the last survey that was done by CIMO, some of the RA-I members did not calibrate or check their working reference instrumentation since tens of years.

Some of the NMHS in RA-I, linked their traceability to the manufacturers of instruments not to their National Measurement Institute or an advanced RIC.

Only very few inter-comparisons are being performed between some of the RICs of the regional association RA I and very few calibrations activities are done by RICs for the NMHS within the region RA I.

There are several technical and financial reasons for this.  The majority of these NMHS in the WMO regional association RA I have mercury based reference instruments, such as mercury in glass barometers and mercury in glass thermometers that can not be shipped easily to an advanced RIC or to a national measurement institute.

While some of these RICs have a very professional technicians who able maintain and ship these types of instruments for calibration purposes.

Accordingly inter-comparison using digital transfer standards is the best way for verifying the NMHS instruments.

For this, digital transfer standards would have to be purchased if they are not available, to enable the inter-comparison cycle to be completed within the regional association RA I to decrease the uncertainties.

Because according to the WMO requirements, there is a great need for regular calibration and maintenance of instruments to meet the increasing needs for high quality meteorological and hydrological data, intercomparisons of instruments together with quality-control procedures are important for the establishment of compatible data sets and in order to maintain an adequate and uniform quality level of measurements of each meteorological variable.

- Standard calibration laboratory

Considering the requirements of the WMO Members for standardization of meteorological instruments and the need for instrument comparisons and evaluations, it was recommended by CIMO to establish the Regional Instrument centers.

These RICs  are designated to carry out the following functions:-

- It must have the necessary facilities and laboratory equipment to perform the functions necessary for the calibration of meteorological and related environmental instruments;

- to must maintain a set of meteorological standard instruments and establish traceability of its own measurement standards and measuring instruments

- It must have qualified  technical staff with necessary experience to conduct its functions;

- To develop individual technical procedures for calibration of meteorological and related environmental instruments using calibration equipment employed by the RIC;

- To develop individual quality assurance procedures;

- To participate in, or organize inter-laboratory comparisons of standard calibration instruments for calibrating one or more of the variables: temperature, humidity, pressure or other specified by the Region

- To, when appropriate, utilize the resources and capabilities of a region to the best interest of the RIC;

- An RIC must, as far as possible, apply international standards applicable for calibration laboratories, such as ISO 17025;

- Every RIC must be assessed by a recognized authority, at least every five years, to verify their capabilities and performance;

- To assist members of the Region in calibrating their national standard meteorological and related environmental instruments;

- An RIC must contribute positively to Members regarding quality of measurements according to WMO recommendations;

- An RIC must advise Members on inquiries regarding instrument performance, maintenance and the availability of relevant guidance materials;

- The RIC must co-operate with other Regional Instrument Centers in standardization of meteorological and related environmental instruments;

- An RIC must report, on an annual basis, to the president of the Regional Association and to the WMO Secretariat on services offered to Members and activities performed;

Considering these above functions and the necessary instruments and facilities needed to achieve these functions and noting that until now, CIMO did not consider a detailed standard calibration laboratory for the RICs,  The  ET – RIC will be invited during the meeting to consider this issue and discuss a proposal to establish a standard calibration laboratory for RICs.

The main important requirements for the instruments of the standard calibration laboratory are reliability, stability and uncertainty level according to the requirements of each meteorological variable.

With regard to the above requirements, it is important that an instrument should be able to maintain a known uncertainty over a long period.

To achieve and control the standardization of meteorological instruments on a national and international level, the regional standards should be designated by the Regional Associations while national standards should be designated by the individual Members.

Regional and national standards should be compared against international standard by means of traveling standards on regular basis and at least once every five years. While, the instruments in operational use in the NMHS should be compared on regular basis directly with the national standards.

As recommended by CIMO, calibration of instruments or measurement systems is carried out by comparing them against one or more measurement standards. These standards are classified to their metrological quality and their definition can be summarized as the following:

- Primary standard: A standard which has the highest metrological qualities and whose value is accepted without reference to other standards.

- Secondary standard: A standard whose value is assigned by comparison with a primary standard.

- International standard: A standard recognized by an international agreement to serve internationally as the basis for assigning values to other standards of the quantity concerned.

- National standard: A standard recognized by a national decision to serve, in a country, as the basis for assigning values to other standards.

- Reference standard: A standard, generally of the highest meteorological quality available at a given location or in a given organization from which measurements made there are derived.

- Working standard: A standard that is used routinely to calibrate or check measuring instruments.

- Transfer standard: A standard used as an intermediary to compare standards.

- Travelling standard: A standard, sometimes of special construction, intended for transport between different locations.

Primary standards are being maintained within international or national institutions.

Secondary standards often maintained in calibration laboratories and are usually not suitable for field use.

Working standards are usually laboratory instruments that have been calibrated against a secondary standard.

Working standards that may be used in the field are known as transfer standards. Transfer standard instruments may also be used to compare instruments in a laboratory or in the field.

The following can be considered as a trial model (to be discussed during the ET – RIC) for the standard calibration laboratory for RICs.

Proposal for a standard calibration laboratory

| variable | class | type | range | Uncertainty |
| --- | --- | --- | --- | --- |
| Temperature | primary | Platinum | -50 - +50 | 0.025 C |
| Humidity | primary | Chilled mirror dew point | 1% RH to 95% RH | 1% RH |
| Pressure | primary | Digital piston | 500hpa to 1100hpa | 0.035 hap |
| Wind | primary | Hot Wire Anemometer | 0 – 75 m/s | 0.1 m/s |
| Solar Radiation | primary | Pyrheliometer | 305 nm to 2800 nm | 20 W/m2 |
| Rainfall | secondary | Flow bench | 0-2000 mm/h | 1 % |