aircraft-based observations

3.1	General

3.1.1	Definitions

This chapter describes the methods used for automatic meteorological measurements on modern commercial aircraft, known collectively as aircraft-based observations. The principles described here may be used for data processing on any adequately instrumented aircraft to define and develop aircraft-based observing systems.

The WMO Aircraft Meteorological DAta Relay (AMDAR) observing system is an aircraft-based observing system that is specified by WMO (2013) so as to meet meteorological requirements for reporting meteorological data from an aircraft platform. The AMDAR system is operated by WMO Members in collaborative agreement with their partner airlines and the resulting data is transmitted on the WMO Global Telecommunications System. Additional information is available in WMO (2003).

AMDAR and other aircraft-based observing systems are generally implemented on aircraft that are equipped with sophisticated navigation and other sensing systems. There are sensors for measuring air speed, air temperature and air pressure. Other data relating to aircraft position, acceleration and orientation are available from the aircraft navigation system. The aircraft also carry airborne computers for the flight management and navigation systems, by which navigation and meteorological data are computed continuously and are made available to the aircrew at the flight deck. In aircraft-based observing systems, they are further processed and fed automatically to the aircraft communication system for transmission to the ground, or, alternatively, a dedicated processing package can be used on the aircraft to access raw data from the aircraft systems and derive the meteorological variables independently.

In AMDAR systems, these facilities are used to compile and transmit meteorological reports in real time. Normally, the messages contain wind speed and direction (in the horizontal plane), air temperature, pressure altitude (altitude in the Standard Atmosphere related to a reference pressure level), time of observation, phase of flight and the aircraft position.  If the aircraft is properly equipped, it may also report humidity or water vapour mixing ratio and a measure of turbulence.

The source data for meteorological observations require significant correction and complex processing to yield meteorological measurements that are representative of the free air-stream in the aircraft vicinity. A full description of all the processes involved is beyond the scope of this Guide, but an outline of the principles is given here with references for further reading.

Automatic long-range pilotless aircraft dedicated to meteorological operations, such as the aerosonde (Holland, McGeer and Youngren, 1992) have been developed. However, they are not likely to be deployed in large numbers and are not described here.

3.1.2	Aircraft meteorological sensors

The basic sensors carried on modern commercial aircraft comprise the pitot-static probe and the total air temperature (TAT) probe. Data from these sensors, together with information from the aircraft navigation system, usually provided by one or a combination of radio navaid systems (Global Positioning System, GPS), distance-measuring equipment (DME), VHF omni-directional radio range (VOR), an instrument landing system and in some cases an inertial navigation system (INS), are processed to give the following meteorological elements:

(a)	Pressure altitude Hp, position and time;

(b)	Static air temperature Ts (SAT);

(c)	Wind speed  |V|;

(d)	Wind direction  Dw.

On some aircraft, additional processing for measuring turbulence is available or additional sensors are available for measuring ice build-up on the front surfaces and/or for measuring relative humidity or water vapour mixing ratio r.

In order to appreciate the complexity of the processing system, the following description is structured according to the process flow in a typical operational system. It will be noted (Figure 3.1) that the computed variables are highly interdependent.

3.2	Pressure and Mach number

3.2.1	Pitot-static probe

The pitot-static probe (Figure 3.2) is exposed in the free air-stream beyond the aircraft boundary layer and provides the total pressure (static pressure plus impact or dynamic pressure). Some of these sondes can provide static pressure as well (i.e. free air-stream pressure, ideally the undisturbed ambient pressure) but on most of the airliners normally being in use for AMDAR the static pressure is provided via orifices on the side of the aircraft body. The pressure values are measured by electronic transducers and passed to a central unit hosting the algorithms for the aerodynamic adjustments (correction for the “built-in error”) and finally the air data computer (ADC). The ADC computes pressure altitude, static temperature and Mach number from these two measurements.

Fig. 3.1:	AMDAR sensor data processing

Fig. 3.2:	Typical configuration for the measurement of static pressure and pitot pressure on aircraft (here: Goodrich / Rosemount). Static pressure is taken (see the mark “S”) 
-	either at ports on both sides of the fuselage
-	or at side ports of the pitot-static probe. 
Total pressure is taken at the forward headed orifice of the pitot probes or the pitot-static probes (see the mark “P”) mounted on the fuselage a few metres behind the nose.

3.2.2	Pressure altitude

The static pressure measurement is not normally reported in AMDAR but is converted in the ADC to the equivalent altitude based on the International Standard Atmosphere (ICAO, 1964). The standard atmosphere (see Figure 3.3) assumes a linear decrease in temperature with height of 6.5 °C per km up to 11 km or 36,089 ft, and a mean sea-level temperature and pressure of 15 °C and 1,013.25 hPa, respectively. From 11 km to 20 km the temperature is assumed constant at – 56.5 °C.

For pressure altitude Hp equal to or less than 36,089 ft, static pressure is related to Hp by the following expression:

(3.1)

with 	Hp 	in units of 	ft
	ps. 	in units of 	hPa

For example, if Hp is 30,000 ft, ps = 300.9 hPa.

The above expression (3.1) can be used directly, if in the AMDAR on-board software the pressure altitude has been calculated by use of the static pressure value solely corrected for the aerodynamically induced effects (built-in-error), the aircraft altimeter sub-scale (zero-reference) is set to standard pressure (1,013.25 hPa). In this case, the “indicated” altitude is identical to Hp. Navigational procedures also provide for altimeter sub-scale settings at other reference levels. For example, the setting can be aerodrome pressure (field elevation pressure, QFE) or QNH (atmospheric pressure at nautical height), which is a pressure reference on the standard atmosphere scale such that aerodrome height is indicated at touchdown on a specific airfield.

For use in the cockpit the “indicated” altitude Hi (the pressure altitude above Mean Sea Level) is given by the pressure altitude ps minus the altitude of the altimeter sub-scale reference on the standard atmosphere scale plus the elevation of the reference pressure level above MSL. The general expression is:

(3.2)

(3.3)

with 	Hr , Hi , ERef	in units of 	ft
	pr 	in units of 	hPa

where Hi is the indicated altitude; Hr is the height of the reference pressure pr  is the altimeter sub-scale setting, such as:

-	QNH, then  ERef  =  0 ft above Mean Sea Level

or

-	QFE, then  ERef  =  Field Elevation above Mean Sea Level

Note that Hr = 0 if pr = 1,013.25 hPa.

For example:

(a)	If the sub-scale setting is a QNH value of 1,000.0 hPa and the indicated altitude is 9,335 ft, 
Hp = 9,335 ft + 364 ft = 9,699 ft and ps = 705 hPa;

(b)	If the sub-scale setting is a QFE value 990 hPa, 
the aerodrome height is 276 ft 
and the indicated altitude is 9,058 ft, 
Hp = Hi + Hr (QFE) – ERef   =  9 058 ft + 641 ft – 276 ft  =  9,423 ft 
and the QNH value would be 1,000 hPa.

However, for the purpose of AMDAR, the altitude parameter should be chosen which is solely based on the aerodynamically clean static pressure without any reference to QNH or QFE.

If Hp is greater than 36,089 ft (11 km), static pressure is given by:

(3.4)

or

with 	Hp 	in units of 	ft
	ps 	in units of 	hPa

For example, if Hp is 40,000 ft, ps = 187.5 hPa.

3.2.2.1	Measurement uncertainty

Sources of error include:

(a)	Calibration error;

(b)	Short-term random instrument error;

(c)	Calibration drift;

(d)	Exposure error or static source error (built-in error).

Because aircraft safety separations are critical, these errors are corrected as much as possible in the ADC. Static source error, which is a function of probe location, Mach number and aircraft weight, is 
determined empirically during flight-testing. Uncertainty of pressure is inferred from reported heights.

A possible source of data latency with the AMDAR system is in the radio link between aircraft and ground. This link process is regulated by international standards, such as ARINC 620 or AAA. In earlier versions of these standards the pressure altitudes have been reported in hundreds of feet, equivalent at cruise level to some 1.5 hPa. This represents roughly 0.1 per cent of the full scale pressure measurement. With instrumental accuracy at best of the order 1 hPa, the uncertainty in static pressure at cruise level derived from converting pressure altitude is about 2 hPa. At zero reference level, the resolution is equivalent to about 3.7 hPa, leading to an uncertainty of some 4.0 hPa. In recent versions of the AMDAR onboard software the altitude is reported in tens of feet, in which case, the coding related error is lower than the remainder of the measurement error correction. AMDAR-equipped aircraft meet the rules and requirements of Reduced Vertical Separation Minima (RVSM) as laid down by the approved authorities within Air Traffic Management (ATM). The aircraft are required to maintain an altitude uncertainty within ± 50 m (160 ft), even in the altitude range of 30,000 to 40,000 ft. Hence, the pressure error has to be within the range of ± 1.5 hPa and the quality control system of the airline must maintain this level of accuracy.

Fig. 3.3:	ICAO Standard Atmosphere

3.2.3	Mach number

Mach number (M, the true air speed divided by the speed of sound in the free air) is an important element for aircraft operations. In AMDAR systems, it is used to correct air-temperature measurements and air speed measurements. In dry air, the speed of sound is proportional to the square root of absolute (static) temperature Ts. Mach number only depends on two parameters,

-	the impact pressure qc measured by the aircraft’s pitot tubes

and

-	the static pressure ps measured at specific locations on the side of the aircraft fuselage

(3.5)

where 	 qc + ps is the total pressure; 
( is the ratio of specific heats of dry air (Cp / Cv).

For further details, see the standard texts on aircraft aerodynamics such as Abbott and von Doenhoff (1959) and Dommasch, Sherby and Connolly (1958).

3.2.3.1	Measurement uncertainty

The measurement accuracy is determined almost entirely by the accuracy of the fundamental measurements of pressure. In normal operation, the derived Mach number should be accurate to better than 0.2 per cent.

3.3	Air temperature

3.3.1	Total air temperature (TAT) probe

The TAT probe is exposed in the free air-stream and used to derive static (free air-stream) temperature. The accurate measurement of air temperature is fundamental to the other derived meteorological elements. For example, it is used in the calculation of true airspeed and thus has an impact on the calculation of the wind velocity components. The ADC corrects the temperature actually measured by the probe using the computed Mach number.

Most commercial aircraft are equipped with TAT probes of the immersion thermometer type. Figure 3.4 shows a typical example. The sensing element is a resistance thermometer. The housing is designed to divert cloud and precipitation hydrometeors from the sensing element, although it has been reported (Lawson and Cooper, 1990) that the sensing element becomes wet in cumulus clouds. However, the main reason for the aerodynamic particle separation is to prevent the element against abrasive impacts.

The thermodynamically important part of the housing’s design is to achieve for the sampled air a nearly complete adiabatic conversion of its kinetic energy into internal energy. The airspeed has to be reduced to a leftover of a few m/s at the sensor. At this location the air stream getting in contact with the sensitive element must have been kept free of heat exchange with the internal walls. That’s why all different kinds of TAT housings are equipped/designed with holes in the walls around the intake flow. These holes provide aerodynamic sucking effect to curb the internal boundary layer. Thereby the heat exchange with the wall is kept sufficiently small to maintain accuracy of the measurements. Even if the housing’s intake edge is heated for de-icing, the associated increase of the measured temperature is below 0.5 K at M > 0.3.

The temperature (Tr) measured by the probe is close to the theoretical value of Tt that would occur with perfect adiabatic compression of the free air-stream at an aerodynamically ideal stagnation point. The static air temperature Ts, which is the temperature of the free air-stream, is related to the measured temperature Tr by the expression:

(3.6)

where λ is the probe recovery factor. Modern TAT probes show typical values around 0.98 for Mach numbers between 0.5 and 0.9.  It primarily includes the effect of incomplete stagnation of air and secondarily that of a small frictional heat transfer to the flow to be sampled.

The value of this coefficient is a few smaller than 1. It depends on the housing’s design but also on the Mach number. At cruise level at Mach 0.85 the probe temperature exceeds the ambient temperature by more than 30 K.

Further details about TAT probes can be found in Stickney et al. (1994).

Fig. 3.4:	A typical example for an aircraft temperature sensor, a total air temperature (TAT) probe (here: Rosemount, Model 102). The internal aerodynamics is designed to achieve the flow to stagnate before touching the sensor. The associated internal boundary-layer is kept small enough and herewith away from the sensor element to keep the flow’s stagnation to be a pure adiabatic process. The flow’s curvature serves for particle separation.

3.3.1.1	Measurement uncertainty

The static temperature is a function of probe temperature and Mach number. As shown above, the Mach number is derived from total pressure and static pressure, themselves independent measurements from the pitot-static head. The uncertainty of measurement is therefore a function of three error sources in addition to errors of calibration and correction for exposure and other effects (for example, probe de-icing).

The temperature error is some 0.4°C at Mach 0.8, reducing to 0.3°C at low Mach numbers. In older versions of the on-board software the temperature got a resolution of 1 K. Meanwhile it is coded in 0.1 K. If the sensor is wetted in cloud, it will be cooled by evaporation leading to additional errors up to 3°C or so. At very low air speed (for example prior to take-off) there may be insufficient air-flow over the sensor to maintain the accuracy of measurement. Some aircraft employ aspirated sensors to overcome this problem. Normally the on-board software should be configured in a way that a data transfer does not begin before take-off. Despite the complexity of the data processing involved, operational experience suggests that mean-temperature errors at cruise height are around 1 K.

3.4	Wind speed and direction

The measurement of the three-dimensional wind vector uses data from the aircraft navigation system (the complete combination or a subset of a radio navaid, inertial platform, magnetic compass and GPS system) and the air speed system (airdata computer using pitot-static system plus TAT probe), it is possible to calculate to a high degree of accuracy the velocity (Vg) of the aircraft, the groundspeed with respect to the Earth and the aircraft velocity with respect to the air (Va, true airspeed). The wind vector (V), therefore, is given by the vector triangle:

(3.11)

The vectors  and a must be measured accurately since typical horizontal winds are small 
(some 10 ms–1) compared with aircraft ground speed and true air speed (200 to 300 ms–1). In early AMDAR systems during long-range navigation the groundspeed was derived solely from inertial navigation systems without any support of ground based navaids or GPS. Sometimes this may reduce the accuracy of the groundspeed vector and herewith the wind vector by some m/s. . However, this has improved with modern multi-sensor navigation systems, in order to produce operational quality data (Meteorological Service of Canada, 2003). However, the three-dimensional solution of the vector equation 3.11 needs the measurements of aircraft pitch, roll and yaw as well as the angle of attack and sideslip (Figure 3.5). In normal level flight, pitch and roll angle are very small and can be neglected. In the on-board system of a commercial aircraft the wind vector triangle is only calculated in the X-Y-plane of the earth coordinate system and the angles of attack and sideslip are not measured.

Fig. 3.5:	Angles between aircraft and
-  the earth’s coordinate system 
as well as 
-  the air stream.

The input data requirement reduces to true airspeed, heading and ground velocity. Heading and ground velocity are taken from the navigation system. True air speed must be calculated from the Mach number and Ts. The components of the horizontal wind (u, v) are:

(3.12)

(3.13)

where 	 is the magnitude of the true air speed; 
( is the heading relative to true north, positive clockwise; 
and ug and vg are the components of the groundspeed.

3.4.1	Measurement uncertainty

True air speed is a function of the Mach number and SAT:

(3.14)

(3.15)

Since errors exist in both Mach number and Ts, the total error of the true airspeed’s magnitude is given by:

(3.16)

with 		in units of 	kt
	Ts, Tr	in units of 	K
		is the error of the Mach number
		is the error of the static temperature
Note from equation 3.5 that Mach error depends on the errors of the pressure measurements. Unless gross temperature errors exist, the Mach number uncertainty can be the most significant. For example, with a Mach number error of 0.2 per cent at cruise level, air speed error is some 1 kt (0.5 m/s). Thus, with zero error from the navigation system, wind vector errors up to 0.5 m/s are to be expected. Note, however, that gross temperature errors will lead to gross wind errors.

Errors in true air speed combine with errors from the inertial reference unit. The basic calculations assume perfect alignment of the aircraft with the air-stream (no angle of sideslip) and zero roll and perfect inertial platform alignment. At high roll angles, wind vector errors, which are proportional to true air speed, can be significant. Roll angles of 10 to 20 degrees imply that the actual angle of attack makes an angular deviation of the true airspeed by a couple of m/s. So, wind data are usually excluded or at least flagged when the roll angle is above a threshold (typically 3 to 5 degrees). At low wind speeds, vector errors can lead to large errors in wind direction. Thus, a more useful indication, considering all of the above error sources and combining wind speed and direction error as vector error, would suggest a typical uncertainty of 4 – 6 kt (2 – 3 m/s). These estimates are in line with operational experience (see, e.g., Nash, 1994).

3.5	humidity

Various sensor principles for the measurement of humidity are in use on research and operational commercial aircraft. The range of technologies covers capacitative-absorption, chilled mirrors and optical methods based on absorption or scattering. The instrument most widely used within AMDAR operations is an instrument based on a Tuneable Diode Laser (May, 1998; Fleming, 2000; 2003), the Water Vapor Sensing System (WVSS-II).  The TDL absorption spectroscopy technology was originally designed by NASA Jet Propulsion lab (JPL) for use on missions to Mars, because it provides high accuracy and extreme stability of measurement over many years.  WVSS-II is designed specifically for commercial aviation use in support of AMDAR, using a special relative narrow-band absorption method at a suitable infrared line of the water vapour. The intensity of radiation at the detector is related to the emitted radiation by Beer’s law such that:

where I is the received signal; I0 is the emitted signal; k is the mass attenuation coefficient; x is the path length; (w is the absolute humidity (density of water vapour) in the sensing volume. I0, k and x are known properties of the system. A local pressure and temperature measurement enables the system to take account of the density of dry air (d. The absorption is scanned over a narrow band of wavelengths around the H2O line at 1.37 µm. The absolute humidity in the sampling volume is derived by use of the 2f method (May & Webster, 1993). The system’s firmware finally converts the raw 2f signal together with coincident temperature and pressure measurement to the proper output parameter, the water vapour mass mixing ratio, m:

The sensor system is small enough for a manageable integration on commercial aircraft. Except for possible phase transitions m is conserved during the pressure and temperature shift from outside into the sensor probe. The generated value of the mixing ratio is suitable for reporting without knowledge of local pressure and temperature values. This is also convenient in numerical atmospheric models using specific humidity (numerically almost indistinguishable from m) as the input variable.

3.5.1	Measurement uncertainty

Through to 2012 some climate chamber assessments as well as flight tests of this spectrometric humidity measurement system result in two features of the instrument’s performance: at measurement values above the detection limit of about 4 mg/m3 the relative accuracy is in the range of ± 10 %. In the altitude of 200 hPa the corresponding detection limit in the mixing ratio is 0.02 g/kg (or 30 ppmv). Collocated comparison of this aircraft-based method of humidity measurement with contemporary radiosondes, e.g. Petersen et al. (2011), shows that the sensor appears to meet WMO observational requirements across all specific humidity and relative humidity ranges, in both ascent and descent..

3.6	Turbulence

Turbulence, especially clear-air turbulence (turbulence in the absence of clouds), is an important and potentially dangerous phenomenon in aviation. Although for routine commercial operations flight paths are designed to avoid turbulence, inevitably aircraft will experience unexpected bumpiness and the departure from normal level flight can be measured by the aircraft instrumentation.

3.6.1	Turbulence from vertical acceleration

Vertical acceleration (normal to the aircraft horizontal reference plane) is measured in the inertial reference unit. The data output is referenced and scaled to the acceleration due to gravity and may be categorized as shown in the table below. However, the severity of turbulence affecting an aircraft depends principally on air speed, the mass of the aircraft, the altitude and the nature of the turbulence itself. Hence, reports of turbulence from an aircraft derived from peak acceleration according to the crude relationships given in the table are of limited application and are aircraft-specific because a given gust will have different effects on different aircraft.

Example of coding for the scale of turbulence, defined by peak acceleration

| Turbulence category | Peak accelerationa | Code |
| --- | --- | --- |
| None | Less than 0.15 g | 0 |
| Light | 0.15 g to, but not including, 0.5 g | 1 |
| Moderate | 0.5 g to 1.0 g | 2 |
| Severe | Greater than 1.0 g | 3 |

a	These accelerations, which may be positive or negative, are departures from the normal acceleration of gravity (1.0 g).

3.6.1.1	Measurement uncertainty

There are two main sources of error in the aircraft instrumentation, namely the “zero”, or reference, error and the output calibration (measurement) error. For most aircraft, the reference value is nominally +1.0 g, but this can vary typically by 3 per cent. This error can be virtually eliminated by correction when the aircraft is on the ground, leaving a residual (including measurement) error of about 3 per cent of measurement (Sherman, 1985).

3.6.2	Derived equivalent vertical gust velocity

An alternative indicator of turbulence is the derived equivalent vertical gust velocity (DEVG), defined as the instantaneous vertical gust velocity, which, superimposed on a steady horizontal wind, would produce the measured acceleration of the aircraft. The effect of a gust on an aircraft depends on the mass and other characteristics, but these can be taken into account so that a gust velocity can be calculated which is independent of the aircraft. The derived equivalent vertical gust is given (Sherman, 1985) by:

(3.17)

where Ude is the derived equivalent gust velocity; (n is the modulus of the peak deviation of the aircraft vertical acceleration from 1 g in units of g; m is the total mass; Vc is the calibrated air speed at the time of the occurrence of the acceleration peak; and A is a parameter that depends on the aircraft type, and weakly on the mass, the altitude and the Mach number.

3.6.2.1	Measurement uncertainty

Errors in each of the elements contributing to Ude have been estimated. These are typically less than 3 per cent maximum for each element in normal level flight and in the extreme could lead to a total error of 10 to 12 per cent. Assuming a random distribution of errors, a typical uncertainty would be 3 or 4 per cent of the final value of Ude. Aircraft manoeuvres can also lead to large vertical accelerations of an aircraft, and, conversely, active control techniques can dampen the acceleration due to gusts, leading to serious underestimation of vertical gust velocities.

3.6.3	Eddy dissipation rate

The eddy dissipation rate, ε, is a parameter that quantifies the turbulence intensity within a fluid.  In the context of aircraft turbulence, it is standard practice to refer to ε1/3 as EDR. The advantage of EDR is that it is an aircraft-independent measure of the atmospheric turbulence intensity. There are several ways of estimating EDR (accelerometer-based versus wind-based) and they can be estimated, in principal, along any direction (though usually either vertical or longitudinal [along-track] is used).  There are also different spectral “models” of turbulence that can be used for any of the algorithms:

(3.18)

is the von Karman spectral model, where f is the frequency (Hz), Vt is the aircraft true airspeed (m/s), α is an empirical constant (taken here to be 1.6), and L is a length-scale parameter of the turbulence.

(3.19)

is the Kolmogorov spectral model, which is just the high frequency limit of (3.18).  Both models attempt to describe the frequency power spectrum shape of wind data.  The von Karman model better represents the larger scales, especially of the vertical velocity, though it is more complicated and includes the situational-dependent length scale L, in addition to EDR (squared).  Research aircraft measurements have shown values of L from about 300 m to 2000 m.  For most of the algorithm implementations to date a mid-range value of 669 m is used.

3.6.3.1	Vertical accelerometer-based EDR

This method, described in Cornman, Morse and Cunning, 1995, is based on the vertical-acceleration parameter available from the inertial navigational system. For this method, the relation (Cornman, et al. 1995 eqn. 23) is used:

(3.20)

where . is the variance of the bandpass filtered vertical acceleration, I is the integral of the aircraft

response bandpass filtered function H and

(3.21)

and  is the assumed Kolmogorov spectral model with ε=1.  The von Karman model could be substituted for the Kolmogorov.  In the current implementation fl (stop band cutoff) and fh (pass band cutoff) set to 0.1 Hz and 0.8 Hz, respectively. The purpose of the band-pass filter is to remove accelerations that are due to aircraft maneuvers as well as wing bending mode frequencies, rather than turbulence.

The aircraft response integral is evaluated for a range of flight conditions and stored in look-up tables, thus simplifying and reducing the on-board computation requirement. The algorithm calculates the running root-mean-square (RMS) of the filtered signal over 10 sec windows.  At an 8 Hz sampling rate, this provides 480 EDR estimates per minute, from which the median and 90th percentile (referred to as the “peak”) of these estimates are used for downlink. The EDR measurement results are converted into reporting numbers by use of tables which are far more detailed than that given in 3.6.1. Extensive descriptions of these tables are given in the AMDAR Reference Manual, WMO-No. 958.

3.6.3.2	Vertical wind-based EDR

The technique was briefly outlined in Cornman et al. (2004).  The main idea is to compute the vertical winds directly, and then estimate the EDR from those.  This method has the advantage of not requiring the aircraft response function which is difficult to obtain due to its proprietary nature.

(3.22)

is used to compute the vertical winds, where αb is the body-axis angle of attack, θ is the pitch angle, φ is the roll angle, and  is the inertial vertical velocity.  EDR is computed by:

(3.23)

where kl and kh are index bounds corresponding to frequency bounds of 0.5 and 3.5 Hz (respectively) for the current 8 Hz implementations, Sw is the power spectrum of w (3.22) after time-series processing, and  is the assumed von Karman spectral model with ε=1, modified to account for various signal processing artifacts in Sw.

Nominally, the algorithm calculates EDR (ε1/3) over 10 second windows, every 5 seconds.  This provides 12 EDR estimates per minute, from which the actual mean and peak of these estimates are used for downlink. The mean and peak EDRs, along with quality control metrics, are converted into reporting numbers by use of encoding (see section 5.3.13.5 in ARINC 620 version 7).  The reported precision of both the mean and peak EDR is 0.02, significantly higher than in 3.6.3.1.

3.6.3.3	True airspeed-based EDR

This technique is similar to the vertical wind-based EDR (3.6.3.2) except that the spectral models are slightly different and true airspeed is used in place of w.  The advantage of this method is that it is simpler to implement, requiring only one parameter.  The disadvantage is that it estimates EDR mainly in the direction along the track, which has much less impact on the aircraft than from turbulence in the vertical direction.

3.6.3.4	Measurement uncertainty

As for DEVG, in the EDR there are potentially a large number of error sources contributing to measurement uncertainty. Based on the error analysis for DEVG, an uncertainty of some 5 to 10 per cent in the calculation process, for the accelerometer-based method, can be expected for the mean, and somewhat larger for the peak. Based on simulations, similar performance is expected from the other EDR algorithms.  A further complication arises over the choices of sampling interval and averaging time. Examination of typical time series of vertical acceleration data often indicates high variability of statistical properties over short distances. Variation of air speed for a single aircraft alters the sampling distances.

3.6.3.5	Relationship between EDR and DEVG

Detailed field comparisons (Stickland, 1998) have been made between the accelerometer-based EDR and DEVG. These have shown a high correlation between peak EDR and DEVG for the same turbulence incidents. This result should be expected since for the accelerometer-based EDR is directly proportional to the standard deviation of vertical acceleration over the measurement interval chosen. Hence, for a “normal” distribution, the extreme value will correlate closely with the peak vertical gust (proportional to the peak deviation of vertical acceleration). Clearly, this relationship will not apply to a singular event falling outside the assumed distribution and the EDR filter cutoff at 0.8 Hz might well unduly attenuate very sharp gust events.  For the vertical wind- and true airspeed-based methods, little filtering is applied, and is not significantly susceptible to this last issue.

3.7	Icing

Several types of sensors may detect ice build-up on the flying surfaces. The following two types are in use:

(a)	A thin-film capacitive sensor attached to the airfoil;

(b)	A mechanical (vibrating-transducer) sensor exposed to the air-stream in a probe adjacent to the relevant flying surface.

3.7.1	Measurement uncertainty

The output of both sensors is essentially an “ice/no ice” signal, and error would be described by false-alarm rate. At present, no data are available on false-alarm rates for these sensors.

3.8	aircraft-based observing systems

There are a number of operational aircraft-based observing systems in current operation. AMDAR is currently the major source of aircraft-based observations on the GTS; however, additional aircraft-based observations derived from other aircraft-based observing systems contribute significantly and are expected to provide increased data volumes in the future.

A number of AMDAR-like systems either have or are being developed which will improve global coverage and increase the number of observations in the boundary layer and lower troposphere. Some emphasis is being placed on recruiting smaller regional and general aviation aircraft to install either conventional AMDAR systems or dedicated sensor and communication systems. These aircraft operate from smaller airports that are not normally covered by existing AMDAR reporting aircraft of the airlines participating in national and regional AMDAR Programmes.

3.8.1	AMDAR – Aircraft Meteorological DAta Relay

The AMDAR observing system should be operated according to WMO specification and standards (WMO 2013). AMDAR currently is based and relies almost exclusively upon the Aircraft Communication Addressing and Reporting System (ACARS). AMDAR systems report data in profile (ascent/descent) mode as well as during level flight at cruise altitude.

For additional information on the regulatory requirements for establishment and operation of an AMDAR programme and the provision of other aircraft-based observations, consult the WMO Manual on the Global Observing System, WMO-No- 544, PART III, Section 2.6, Aircraft Meteorological Stations and the WMO Guide to the Global Observing System, WMO-No. 488, PART III, Section 3.4, Aircraft Meteorological Stations.

For current information on operational AMDAR programmes and additional resource and guidance material, refer to the WMO AMDAR website: http://www.wmo.int/amdar

3.8.2 	TAMDAR

3.8.2.1		TAMDAR Overview

Tropospheric Airborne Meteorological Data Reporting (TAMDAR) is a commercially developed, deployed and operated system that derives and sells meteorological data derived from the predominantly aircraft-independent sensing and communications probe. Unlike the WMO AMDAR observing system, emphasis has been placed on equipping primarily regional carriers, as these flights tend to (i) fly into more remote and diverse locations, and (ii) be of shorter duration thereby producing more daily vertical profiles and remaining in the boundary layer for longer durations. Although TAMDAR is fully functional and regularly operates above 40,000 ft, the aircraft that typically host the sensor often cruise below 25,000 ft.

TAMDAR collects measurements of relative humidity (RH), pressure, temperature, winds, icing, and turbulence, along with the corresponding location, time, and geometric altitude from a built-in GPS. These data are relayed via satellite in real-time to a ground-based network operations center, where in-line quality control procedures are performed prior to distribution. The overall humidity and temperature data quality is similar to radiosondes (Gao et al. 2012). The wind observations are derived in a similar fashion as typical AMDAR winds, using aircraft heading and TAS, and the ground track vector, which is provided by the internal GPS unit.

The TAMDAR sensor samples on a pressure-based interval on ascent and descent, and a time-based interval in cruise, which also varies with altitude from 3 min at lower altitudes to 7 min at higher altitudes.  At present, on ascent and descent, the sensor reports every 10 hPa, however this can be adjusted remotely in real time down to 1 hPa (~30 ft) depending on the rate of ascent and descent.  During cruise, if any metric changes above a set threshold, the sensor will send a custom report, so turbulent flights through the cloud tops will generate far more observations than a higher-altitude cruise in clear skies.

3.8.2.2		Relative Humidity and Temperature

TAMDAR uses two capacitive sensing devices for redundancy to measure RH. The fundamental physical parameter that the TAMDAR capacitive sensor technology responds to is the density of H2O molecules.  RH is a derived parameter, which takes into account temperature and pressure. A custom hydrophobic membrane filter has been added to the devices, which significantly increases the reliability and accuracy by preventing direct wetting of the sensor element (see Mulally and Braid, 2009).

The reported RH value is a “consensus” value between the two devices that is determined by an algorithm in the ground processing system described in Anderson (2006). The system considers the value and quality of each sensor output.  Typically, if both sensors are reporting similar values, the consensus value is simply the average of the two. If the sensors disagree by more than 5%, and one is determine to be faulty using methods described in Anderson (2006) and Gao et al. (2012), then the errant sensor's value is flagged, and not used in the mean RH calculation.

Certain corrections must be applied to the actual RH that the sensor is reporting. The primary corrections are because of the Mach heating, and the difference in air pressure between the ambient conditions and the conditions observed by the sensor.  The RH for a parcel of air with a given water vapor concentration is a function of both temperature and pressure. There are 4 major factors that contribute to the errors in the measurement of true RH as is done in TAMDAR:

1.	The accuracy of the RH sensor itself (ΔRH).

2.	The accuracy of the TAMDAR probe temperature (Tprobe) measurement -- via a platinum resistive temperature device (RTD) in TAMDAR.

3.	The accuracy of the calculated static air temperature (Tstatic).

4.	The accuracy of the ratio of the static pressure (Pstatic) to the RH sensor pressure (Pprobe) ratio calculation.

The basic calculation necessary for static RH is described by:

,					(3.24)

where RHstatic is the atmospheric RH, RHprobe is the actual RH measurement from the RH sensor in the TAMDAR probe, Pstatic is the static air pressure, Pprobe is the air pressure at the RH sensor in the probe, Tprobe is the temperature in the probe sensing cavity, Tstatic is the static air temperature, es,probe is the probe saturation vapor pressure relative to water, and es,static is the static saturation vapor pressure relative to water. The saturation pressure ratio is strictly a function of Tprobe and Tstatic as shown above. The calculation for the pressure ratio (Pstatic/Pprobe) has been derived from data from extensive wind tunnel testing (see Braid et al., 2011 and Smith et al., 2012).

The relationship between Tprobe (essentially the recovered temperature) and Tstatic is,

,				             (3.25)

where M is the Mach number and λ is a constant approximately equal to 0.17.The actual RH sensor measurement is the true value plus a sensor error ΔRH, thus

.                                		           	(3.26)

Substituting (3) into (1) illustrates an issue that needs consideration when using the RH method. As the Mach number increases, and the temperature decreases, the saturation pressure ratio (es,probe/es,static) in (1) increases rapidly, and as a result, the effect of the sensor error, ΔRH, is amplified. The ground processing system estimates the error in the RH based on temperature and Mach. This is used along with the known accuracy of the RH sensor and the temperature accuracies to calculate an overall RH uncertainty, which is reported along with the RH.

The range of RH that will be experienced by the RH sensor is also reduced due to the Mach heating.  At high speeds, the RH internal to the probe will generally be less than 10% due to the Mach heating of the air. This effect is addressed in TAMDAR by the calibration process. Each RH sensor is characterized over several RH and temperature conditions. Values are specifically chosen at conditions which are error prone, in particular, cold, dry conditions. This calibration process results in RH measurement capability that is useful even at high altitudes. It should be mentioned that one effect of Mach heating is beneficial. Since the response of the capacitive sensor slows down as temperature decreases, the Mach heating effect keeps the RH sensor significantly warmer than ambient, resulting in a response time much faster than otherwise.

3.8.2.3		TAMDAR Icing Detection

The TAMDAR sensor detects icing using two light-emitting diode (LED) and photo detector (PD) pairs, each having an associated analog-to-digital converted (ADC) voltage output value. When a TAMDAR sensor encounters conditions where icing is present, ice accumulates on the surface of the foil gap in the area between the LED/PD pairs. As the thickness of the ice accumulation increases, the infrared beams become obscured, dropping the ADC values of the LED/PD pairs below half of the nominal unblocked value, which results in a positive icing indication within the TAMDAR sensor. Once the detection of ice is confirmed via algorithms that verify consistency of the event with current environmental conditions (i.e., T and RH), the TAMDAR probe heaters are automatically activated to remove the ice. This process continues until the PD voltage values are greater than half the nominal unblocked value.

All icing events experienced by TAMDAR are tracked in the data stream with the use of icing flags. These flags track the initiation of the icing event, the time at which the heaters were activated, period of continued icing, probe cool-down, and an indication of when icing is no longer present. The ADC values of the LED/PD pairs, which are used to detect the presence or absence of icing are used to calculate TAMDAR liquid water content (LWC). The resulting TAMDAR LWC is the basis for indication of icing rate intensity. The temporal drop rate of ADC values is used calculate the icing intensity or accretion rate.

3.8.2.4		TAMDAR Turbulence Detection

Turbulence is reported as an eddy dissipation rate (EDR) and is based on true airspeed (TAS) samples which are calculated from the TAMDAR pitot and static port pressures, and the TAMDAR temperature. The report includes the mean and peak EDR, and the time of peak for each one minute period. The EDR turbulence algorithm is aircraft-configuration and flight-condition independent. Thus, it does not depend on the type of aircraft, nor does it depend on load and flight capacity.

The TAMDAR methodology utilizes an estimate of the longitudinal wind via the TAS parameter to calculate EDR. TAMDAR can obtain TAS via two sources: 1) TAMDAR can calculate TAS from its static and pitot pressure sensor measurements or 2) TAMDAR can obtain TAS from the aircraft’s ARINC 429 databus (ARINC 717 databus in the future). Once the system takes a measurement of the differential pressure between the pitot and static pressure, the measure is then passed through a filter before TAS is calculated.

The MacCready method is used to estimate the EDR based on the expected -5/3 power spectra slope from the Kolmogorov model of the TAS signal. The filtering of the differential pressure sensor uses a Low-pass Butterworth anti-alias filer, with 4th order 5Hz 3 decibel (dB) cutoff frequencies. Windowing is completed prior to Fast Fourier Transformation (FFT) to make the measurement more spectral (64 point FFT). An EDR is calculated every 3 seconds using a 6 second block of 10.67 Hz TAS data. EDR values can be averaged if desired for a smoother result; normally a 6 second average is used, but users have the ability to configure this averaging to match their needs. A quality assurance filter is also employed.

3.9	other sysems and sources of aircraft-based observations

3.9.1	ICAO Automatic Dependent Surveillance

The development of global air navigation systems is closely linked to developments in communication systems. Thus, the Future Air Navigation System (FANS) is coupled with the development of an automatic dependent surveillance system (ADS) which itself is dependent on global satellite aircraft communication. The global aircraft communication system is migrating to an open network under the Aeronautical Telecommunication Network project (Wells and others, 1990). This will link the VHF and Satcom Systems into a common open network.

The successful weather routing of commercial aircraft, especially to provide flight safety, minimize fuel consumption and airframe fatigue, and to ensure passenger comfort, demands greater accuracy in aviation forecasts. Hence, automatic reports of aircraft position for ADS allow for the inclusion of automated meteorological reports. The data to be included in these reports are essentially the same as those of current AMDAR systems including allowance for turbulence and humidity elements.

Data derived from the ICAO ADS Contract (ADS-C) system are being transmitted on the WMO GTS. These data are made available through the arrangement established with ICAO as set out in ICAO, Annex 3, Chapter 5 and Appendix 4, with the message format contained in ICAO PANS-ATM (Doc 4444, 4.11.4). These regulations stipulate that air traffic management centres are to transmit the ADS-C messages to the World Areas Forecast Centres (WAFCs), which are then responsible for transmission of the data on the GTS.

3.9.2	New and Developing Systems

3.9.2.1	Mode-S EHS

Wind and temperature observations can also be inferred from surveillance data gathered for air traffic control (ATC) purposes using a Mode-S(elective) Enhanced Surveillance (EHS) radar. This radar interrogates every aircraft for specific information at a frequency rate of 4s to 20 sec, depending on the ATC purposes of the radar. In designated airspace, all aircraft are obliged to respond to the interrogation by the Mode-S EHS radar. The mandatory registers (BDS4,0, BDS5,0 and BDS6,0) contain information on aircraft identity, flight level, roll angle, magnetic heading, airspeed, Mach number and ground track. Position of the aircraft can be obtained either from the ATC radar, or from the Automatic Dependent Surveillance Broadcast data (ADS-B) which is transmitted continuously by the aircraft.

The derivation of wind from Mode-S EHS is similar AMDAR, expect now that the true heading has to be determined from the magnetic heading. Besides applying a magnetic variance table, additional aircraft dependent corrections need to be applied. Heading corrections may change with time due to maintenance of the aircraft. At present these corrections are determined for every aircraft based on comparison with numerical weather prediction (NWP) data. Next to the heading correction, an airspeed correction is applied also based on long term comparison with NWP data (see De Haan, 2013). After corrections and quality control, the derived wind information is of similar quality as from AMDAR (De Haan, 2011, 2013). The derivation of temperature from Mode-S EHS observations is done by combining the Mach number and the airspeed. The quality of the derived temperature is hampered by the reported resolution of the Mach number and airspeed, and is clearly of less quality then AMDAR temperature (De Haan 2011,2013).

3.9.2.2	Mode-S MRAR

A Mode-S EHS radar can also interrogate non-mandatory registers which may contain meteorological information. An example is the Mode-S EHS BDS4,4 register, called Meteorological Routine Aircraft Report (MRAR). This register contains direct wind and temperature information which is very close to the AMDAR wind and temperature information (Stranjar, 2012). Since the register BDS4,4 is not mandatory, only a fraction (around 5%) of the aircraft respond to the Mode-S EHS request with valuable meteorological information.

References and further reading

Abbott, I.H. and A.E. von Doenhoff, 1959: Theory of Wing Sections. Dover Publications, Inc., Mineola, New York, 693 pp.

AirDat, 2003: TAMDAR – Tropospheric Airborne Meteorological Data Reporting Sensor and System Overview; AirDat Infrastructure and Global Capabilities. Information document, AirDat LLC, Evergreen, Colorado.

Anderson, A., 2006: AirDat system for ensuring TAMDAR data quality. 10th Symposium on Integrated Observing and Assimilation Systems for Atmosphere, Oceans, and Land Surface (IOAS-AOLS), AMS, Atlanta, GA.

Benjamin, S. G., B. D. Jamison, W. R. Moninger, S. R. Sahm, B. E. Schwartz, T. W. Schlatter, 2010: Relative Short-Range Forecast Impact from Aircraft, Profiler, Radiosonde, VAD, GPS-PW, METAR, and Mesonet Observations via the RUC Hourly Assimilation Cycle. Mon. Wea. Rev., 138, 1319–1343.

Braid, J., P. Van Wie, and J. Rex, 2011: Using the TAMDAR Sensor for In-flight Ice Detection and Improved Safety of Flight, SAE Technical Paper 2011-38-0051, doi:10.4271/2011-38-0051.

Cornman, L.B., C.S. Morse and G. Cunning, 1995: Real-time estimation of atmospheric turbulence severity from in situ aircraft measurements. Journal of Aircraft, Volume 32, Number 1, pp. 171–177.

Cornman, L. B., G. Meymaris and M. Limber, 2004: An update on the FAA Aviation weather Research Program’s in situ turbulence measurement and reporting system. 11th Conf. of Aviation, Range and Aerospace Meteorology, Hyannis, MA.

Dommasch, D.O., S.S. Sherby and T.F. Connolly, 1958: Airplane Aerodynamics. New York, Pitman, 
560 pp.

Fleming, R.J., 2000: Water vapor measurements from commercial aircraft: Progress and plans. Preprints. Fourth Symposium on Integrated Observing Systems, Long Beach, CA, American Meteorological Society, pp. 30–33.

Fleming, R.J., 2003: The WVSS-II and the UCAR air sampler: Purpose, design, status (personal communication). University Corporation for Atmospheric Research, Boulder, Colorado.

Gao. F., X. Y. Zhang, N. A. Jacobs, X.-Y. Huang, X. Zhang, P. P. and Childs, 2012: Estimation of TAMDAR Observational Error and Assimilation Experiments. Wea. Forecasting, 27, 856-877.

Haan, S. de, 2011: High-resolution wind and temperature observations from aircraft tracked by Mode-S air traffic control radar,J. Geophys. Res., Volume 116,pp D10111-,doi:10.1029/2010JD015264

Haan, S. de, 2013: An improved correction method for high quality wind and temperature observations derived from Mode-S EHS, KNMI Technical Report, No. TR338

Holland, G. J., T. McGeer, and H. Youngren, 1992: Autonomous aerosondes for economical atmospheric soundings anywhere on the globe. Bulletin of the American Meteorological Society, 73, pp. 1987–1998.

International Civil Aviation Organization, 1964: Manual of the ICAO Standard Atmosphere. Second edition, Doc. 7488, Montreal.

Lawson, R.P. and W.A. Cooper, 1990: Performance of some airborne thermometers in clouds. Journal of Atmospheric and Oceanic Technology, 7, pp. 480–494.

May, R.D., Webster, C.R., 1993: Data processing and calibration for tuneable diode Laser harmonic absorption spectrometers. J. Quant. Spectrc. Radiat. Transfer, 49, No. 4, pp. 335-347.

May, R.D., 1998: Open-path, near-infrared tuneable diode laser spectrometer for atmospheric measurements of H2O. Journal of Geophysical Research, 103, pp. 19161–19172.

Meteorological Service of Canada, 2003: The Effect of Pitch and Roll Attitude on the Calculation of Wind. A report by G. Bruce, Aeromechanical Services Ltd., 1118-1c, Rev. 1.0.

Moninger, W. R., S. G. Benjamin, B. D. Jamison, T. W. Schlatter, T. L. Smith, E. J. Szoke, 2010: Evaluation of Regional Aircraft Observations Using TAMDAR. Wea. Forecasting, 25, 627–645.

Mulally, D. J., and J. T. Braid, 2009: The TAMDAR Sensor's Relative Humidity Performance on ERJ Commercial Aircraft,13th Symposium on Integrated Observing and Assimilation Systems for Atmosphere, Oceans, and Land Surface (IOAS-AOLS), AMS, Phoenix, AZ.

Nash, J., 1994: Upper wind observing systems used for meteorological operations. Annales Geophysicae, Volume 12, pp. 691–710.

Rodi, A.R. and P.A. Spyers-Duran, 1972: Analysis of time response of airborne temperature sensors. Journal of Applied Meteorology, Volume 11, pp. 554–556.

Petersen, R. A. et al, 2011: Validation Studies of WVSS-II Moisture Observations, 15th Symposium on Integrated Observing and Assimilation Systems for the Atmosphere, Oceans and Land Surface (IOAS-AOLS), AMS, Seattle, WA.

Sherman, D.J., 1985: The Australian Implementation of AMDAR/ACARS and the Use of Derived Equivalent Gust Velocity as a Turbulence Indicator. Structures Report No. 418, Department of Defence, Defence Science and Technology Organisation, Aeronautical Research Laboratories, Melbourne, Victoria.

Smith, W. L., P. Minnis, C. Fleeger, D. Spangenberg, R. Palikonda, L. Nguyen, 2012: Determining the Flight Icing Threat to Aircraft with Single-Layer Cloud Parameters Derived from Operational Satellite Data. J. Appl. Meteor. Climatol., 51, 1794–1810.

Stickland, J.J., 1998: An Assessment of Two Algorithms for Automatic Measurement and Reporting of Turbulence from Commercial Public Transport Aircraft. A report to the ICAO METLINK Study Group. Observations and Engineering Branch, Bureau of Meteorology, Melbourne.

Stranjar, B, 2012: Validation of mode-s meteorological routine air report aircraft observations, Journal of Geophysical Research: Atmospheres, Vol. 117, ISSN 2156-2202, http://dx.doi.org/10.1029/2012JD018315

Wells, V. E. and others, 1990: Migration of ACARS to the Aeronautical Telecommunication Network. Proceedings of the Aeronautical Telecommnications Symposium on Data Link Integration, Annapolis, Maryland, May 1990, pp. 209–216.

World Meteorological Organization, 1992: Development of the aircraft to satellite data relay (ASDAR) system (D.J. Painting). Papers Presented at the WMO Technical Conference on Instruments and Methods of Observation (TECO-92), Instruments and Observing Methods Report No. 49, WMO/TD-No. 462, Geneva.

World Meteorological Organization, 1995: Manual on Codes. Volume I.1, WMO-No. 306, Geneva.

World Meteorological Organization, 2003: Aircraft Meteorological Data Relay (AMDAR) Reference Manual, WMO-No. 958, Geneva.

World Meteorological Organization, Commission for Instruments and Methods of Observations, 2013: AMDAR Onboard Software Functional Requirements Specification, Instruments and Observing Methods Report No. 114

# Text boxes

Angle of sideslip

S

P

Pitot-Static-Probe