2.	PRINCIPLES OF EARTH OBSERVATION FROM SPACE

This Chapter provides an overview of Earth observation from space, as necessary to understand its potential benefits and limitations.  It describes basic concepts of orbits and characteristics of Earth viewing from space and introduces the principles of remote sensing.

# 2.1	Orbits and Earth viewing from space

The Earth can be observed from space from different orbits under different viewing conditions.  The following issues are considered in this section:

- satellite instrument swath

- orbital period, observing cycle, repeat cycle

- orbital precession, Sun-synchronous orbits, drifting orbits

- elliptical orbits

- launchers and injection into orbit - services of the platform.

# 2.1.1	Satellite Instrument Field of View

The greatest advantage of observing from a satellite platform rather than from ground or balloon is the wide potential field of view (FOV).  Satellite observing platforms usually orbit at a minimum of 400 km height, often much higher, up to the geostationary orbit (35,786 km).  The FOV depends on the orbital height, the instrument configuration, and the intended application, that may limit the useful range of zenith angles (() under which the Earth is viewed.  If we characterize the satellite FOV as the maximum ground distance potentially viewed from the satellite height under a given zenith angle, the relation is (see Fig. 2.1):

FOV = 2٠R٠(           		[1]

with R = 6371 km mean Earth’s radius, H orbital height, ( geocentric angle.

Table 2.1 records values of the satellite FOV as a function of the orbital height for typical values of zenith angle (.  The corresponding geocentric angle ( also is recorded.

| Table 2.1 – Potential satellite field of view and corresponding geocentric angle as functions of satellite height and of zenith angle under which the Earth’s spot is viewed |
| --- |
| Zenith angle for | H = 400 km | H = 600 km | H = 800 km | H = 35,786 km |
| various applications | FOV | ( | FOV | ( | FOV | ( | FOV | ( |
| ( = 90° (horizon-to-horizon) | 4,401 km | 19.79° | 5,326 km | 23.95° | 6,076 km | 27.32° | 18,082 km | 81.31° |
| ( = 85° (telecommunications) | 3,423 km | 15.39° | 4,322 km | 19.43° | 5,057 km | 22.74° | 16,978 km | 76.34° |
| ( = 70° (qualitative use) | 1,746 km | 7.85° | 2,405 km | 10.82° | 2,980 km | 13.40° | 13,752 km | 61.84° |
| ( = 60° (quantitative use) | 1,207 km | 5.43° | 1,707 km | 7.68° | 2,157 km | 9.70° | 11,671 km | 52.48° |

The potential satellite FOV may not be entirely covered by the instrument.  Either the sensing principle or technological features of an instrument may set an upper limit to its FOV.  For instance, radar altimeters can only operate in a nadir geometry, and therefore have no proper FOV, except the broadening of the beam due to diffraction.  Very-high resolution imagers usually have a FOV in the range of few tens of kilometres, as do Synthetic Aperture Radar (SAR).

The satellite motion along the orbit lets the instrument cover successive FOVs along the orbit, and these constitute a strip of observed Earth surface, called swath.  The swath may be centered along the sub-satellite track, or parallel to it for side-looking instruments (e.g. SAR).  For several purposes (strategic pointing for emergencies, stereoscopy in association with successive orbits, etc.), certain instruments with limited swath may tilt the swath aside of the track within what is called a Field of Regard .  The swath width is the cross-track component of the actual FOV of the instrument. The swath is not defined for instruments in geostationary orbit.

# 2.1.2	Orbital period, geostationary orbit, observing cycle, repeat cycle

The orbital height H determines the orbital period T.  The relation is:

with a = 84.47 min  (T resulting in minutes)		[2]

The height corresponding to the period of one sidereal day (23 h 56’ 04’’) is 35,786 km.  A satellite orbiting at this height is called geosynchronous.  If the orbit lies in the equatorial plane and is run eastward the satellite is apparently steady with respect to the Earth surface, on the nadir of the equatorial sub-satellite-point (s.s.p.), and the orbit is called geostationary.

For an inclined orbit with respect to the equatorial plane, the satellite will cross the equator at a certain longitude.  After T minutes there will be another equatorial crossing at a longitude displaced westward by a number of degrees corresponding to the Earth rotation during the interval T.  The difference of longitude (or space distance) between two successive equatorial crossings in the same phase (descending or ascending) is called decalage and, in association with the instrument swath, determines the time needed for a full Earth surface observation (observing coverage) (Fig. 2.2).

Fig. 2.2 - Decalage between two successive orbits and instrument swath.

It is noted that, if the instrument swath is at least as large as the decalage, the coverage provided by the two contiguous orbits is continuous.  Therefore, the time needed for global coverage (observing cycle) depends on the ratio between instrument swath and decalage.

Table 2.2 reports period and corresponding decalage for the examples of orbital heights indicated in Table 2.1.  In addition, the observing cycle corresponding to several instrument swaths (those associated with qualitative and quantitative use, i.e., to 70° and 60° zenith angle, respectively), are quoted.  In this case, it is noted that, for instruments capable of observation in both day time and night time, the observing time is divided by two.  Decalage and observing cycle are not quoted for H = 35,786 km (geostationary altitude).

| Table 2.2 - Period, decalage and observing cycle for the orbits indicated in Table 2.1 |
| --- |
| Orbital parameter | H = 400 km | H = 600 km | H = 800 km | H = 35,786 km |
| Period T | 92.6 min | 96.7 min | 100.9 min | 23 h 56’ 04’’ |
| Decalage | 2,570 km | 2,690 km | 2,800 km | 0 km |
| Observing cycle for ( = 70° (day only) | 35 h | 27 h | 23 h | From instrument |
| Observing cycle for ( = 60° (day only) | 51 h | 38 h | 31 h | From instrument |
| Observing cycle for ( = 70° (day and night) | 18 h | 13 h | 11 h | From instrument |
| Observing cycle for ( = 60° (day and night) | 26 h | 19 h | 16 h | From instrument |

For a geostationary satellite, that is continuously viewing the same area of the Earth’s surface, the observing cycle is only determined by instrument characteristics and may be a few minutes or less depending on the area scanned. Within its area of coverage, geostationary observation is perfectly suited for continuous monitoring, as needed for example to detect instantaneous events like lightning strokes, or for high frequency temporal sampling of rapidly evolving situations such as active convection.  However, the coverage excludes very high latitudes or any locations too far from the s.s.p..  Table 2.1 shows that ( = 81.31° is the maximum geocentric angle.

For a non-geostationary satellite, the orbit is said to have a repeat cycle if it overpasses the same track exactly after a given number of revolutions. During the time span of a repeat cycle, the satellite track may shift from day to day following a determined pattern that may exhibit certain periodicities called sub-cycles. Some sub-cycles may be of interest because distinct areas relatively close to each other are visited within short time intervals; other sub-cycles may be of interest because the covered areas are spatially adjacent.

If the orbit is sun-synchronous (See Section 2.1.3 below) the existence of a repeat cycle means that a whole number of revolutions can be completed in exactly a whole number of days.  The orbital period determines the number of orbits N that the satellite runs in 24 hours, which is normally not an integer. In order to obtain a repeat cycle of m days, the orbital period is adjusted to ensure that “N times m” is an integer. N can then be expressed in the following form where n and ℓ are respectively the quotient and remainder of the integer division of “N.m” by m:

N = n + ℓ /m     with n, ℓ and m integers (ℓ < m)		[3]

Equation [3] also applies to non Sun-synchronous orbits, however in that case the repeat cycle m is no longer expressed in solar days of 24 hours but must account for a slight correction due to the drift of the orbit. Table 2.3 provides examples of repeat cycle and main sub-cycles for a few orbits.

| Table 2.3 - Repeat cycle and main sub-cycle of a few orbits |
| --- |
|  | Sun-synchronous orbits | Non sun-synchronous orbit |
| Orbital height | 909 km (e.g., Landsat 1-3) | 705 km (e.g., Landsat 4-8) | 832 km (e.g., SPOT) | 791 km (e.g., Envisat) | 820 km (e.g., MetOp) | 1336 km (e.g. Jason) |
| Period | 103.2 min | 98.9 min | 101.5 min | 100.6 min | 101.3 min | 112.4 min |
| No. of orbits/day | 13 + 17/18 | 14 + 9/16 | 14 + 5/26 | 14 + 11/35 | 14 + 6/29 | 12 + 7/10 (*) |
| Cycle | 18 days | 16 days | 26 days | 35 days | 29 days | 10 days (*) |
| Revolutions/cycle | 251 | 233 | 369 | 501 | 413 | 127 |
| Main sub-cycle(s) | 1 day | 7 days, 2 days | 5 days | 16 days, 3 days | 5 days | 3 days (*) |

(*)  In the case of Jason, which is not sun-synchronous, the figures refer to a duration of the day of 23h 48 min, i.e. 0.99156 of the duration of a solar day.

An orbit with a repeat cycle is a necessary feature when the location needs to be viewed at fixed intervals under exactly identical conditions. This is the case, for instance, of altimetric measurements for geodetic application, or of high-resolution land observation imagers to detect local variations.

Repeat cycles may be useful when the instrument swath is substantially narrower than the decalage, and global coverage cannot be achieved in a single day; then the sequence of coverage in the successive days can be arranged to follow a certain logic if requested e.g., to provide regular progression or to avoid biases due to unsuitable sampling.

Fig. 2.3 shows the pattern evolution of orbital passes for an orbit with a 1-day sub-cycle (example: early Landsat).  It is shown that the 1-day sub-cycle ensures that each day the covered strip is adjacent to that observed on the previous day. The width of the covered strip can be tuned to the instrument swath so as to ensure no gaps.  The drawback is that, after the first few daily visits over or close to the target area, the next sequence of visits occurs only after the completion of the repeat cycle.

In the current Landsat, the temporal evolution of the orbit tracks during the repeat cycle (16 days) results in two main sub-cycles as shown in Fig. 2.4.  The 2-day sub-cycle ensures a shorter temporal gap, but the 7-day sub-cycle provides a closer geographical match.

Although the concept of repeat cycle and sub-cycles stems from the requirements placed on the exploitation of narrow-swath instruments, including those nadir-only viewing, orbits with sub-cycles may also be useful for relatively large-swath instruments. For example, sounding instruments may have swath as large as several thousand kilometers (e.g., AMSU or IASI have over 2200 km).  The quality of the retrieved products, however, is higher closer to the nadir sub-track; therefore, there is an interest to ensure that the coverage provides a fair blend of higher and lower quality data.  NOAA and MetOp orbits have a 5-day sub-cycle as shown in Fig. 2.5 for MetOp.

Repeat cycle and sub-cycles are convenient for several aspects, but a few drawbacks should also be noted:

- If the instrument swath is too narrow with respect to the decalage and to the number of orbital passes during the repeat cycle, there will be areas that will never be observed.  An extreme case is a nadir-only viewing instrument such as an altimeter.

- The day-to-day sequence of observations from a repeat-cycle orbit may introduce sampling biases in the observations (a spurious wavelength corresponding to the repeat cycle or sub-cycles).

- Maintenance of the repeat cycle/sub-cycles requires costly satellite orbit control systems.

Therefore, if all instruments onboard have sufficiently wide a swath, a repeat cycle/sub-cycle is generally not pursued.

# 2.1.3	Orbital precession, Sun-synchronous orbits, drifting orbits

The orbital plane can lie in the Earth’s equatorial plane or be inclined by ε degrees (see Fig. 2.6).

For ε = 90° the satellite follows a meridian line and the orbit is polar.  It is very convenient for observing the Earth surface pole-to-pole.

The gravity field acting on the satellite is perpendicular to the geopotential surface at satellite altitude, which is slightly ellipsoidal like the geoid.  For ε ≠ 90° the effect of these forces is a precession of the orbital plane around the polar axis.  The precession rate α is computed as:

(degree/day)			[4]

For a purely polar orbit (ε = 90°) the precession rate is thus zero.  The orbital plane has invariant orientation with respect to the fixed stars.  However, as the Earth rotates around the Sun over one year, the illumination conditions of the surface viewed by the satellite change every day by (360/365) degree, that is 59 angle minute.  An area viewed in daylight at 12:00 on day t0 will be viewed in dawn conditions on day t = t0 + 3 months (Fig. 2.7, left panel).  For measurements in daylight this would mean different observing conditions day after day, with seasonally-dependent observation time.  In particular, when the Earth-Sun direction becomes perpendicular to the orbital plane, the illumination in dawn-dusk conditions makes many measurements impossible.

The orbital inclination ε can be set in such a way that the precession rate exactly matches the yearly revolution of the Earth around the Sun.  By imposing the value α = 360/365 (degree/day) in eq. [4] it is found that the inclination ε0 must satisfy:

[5]

An orbit that satisfies this condition is called Sun-synchronous.  The negative sign of ε0 indicates that the orbit is retrograde with respect to the Earth’s rotation.  The Local Solar Time (LST) of the areas overflown by the satellite at a given latitude is constant across the whole year (see Fig. 2.7). Table 2.4 lists the ε0 values of a number of Sun-synchronous orbits, as a function of the orbital height.

| Table 2.4 - Inclination values of Sun-synchronous orbits function of the orbital height |
| --- |
| 400 km | 600 km | 800 km | 1000 km | 1200 km | 1400 km |
| 97.02° | 97.78° | 98.60° | 99.47° | 100.41° | 101.42° |

It is noted that the deviation from the polar axis increases with orbital height.  This causes a drawback for high Sun-synchronous orbits: the poles might not be observed unless the instrument swath is wide enough.  However, for relatively low orbital heights, the orbital plane is near-polar.

The most important feature of the Sun-synchronous orbit, the fixed LST, may be a disadvantage for certain types of measurements.  Diurnally-varying phenomena (e.g., convective clouds, precipitation, radiation budget, sea level affected by astronomical tide) have biased sampling if observed from a Sun-synchronous satellite, i.e., at a fixed local solar time.

In general, satellites for operational meteorology, land observation, and for oceanography except for altimetry of geodetic quality, utilise a Sun-synchronous orbit.  Scientific missions with emphasis on processes affected by diurnal variation, which require unbiased sampling, may favour non-Sun-synchronous (drifting) orbits.

# 2.1.4	Elliptical orbits

What has been addressed above is applicable to circular orbits that are by far the most utilised in Earth observation, particularly, the Sun-synchronous and the geostationary ones.  However, both near-polar Low Earth Orbits (LEO) and Geostationary Earth Orbits (GEO) have several limitations.

A near-polar LEO satellite provides global, but infrequent coverage.  Even if the instrument swath is as large as the decalage, thus providing contiguous coverage by consecutive orbits, one satellite can cover the full Earth surface at the most twice per day (or even once per day if sensing can only be performed in daylight or in night time conditions).  If more frequent global coverage is needed, additional satellites in complementary orbital planes are necessary (see Table 2.5).

| Table 2.5 - Number of LEO satellites needed to achieve a required observing cycle (assumed height: H = 800 km) |
| --- |
| Instrument swath | Observing capability | Required observing cycle |
|  |  | 24 hours | 12 hours | 8 hours | 6 hours | 3 hours | 2 hours | 1 hour |
| 2800 km | Only in daylight | 1 sat | 2 sat | 3 sat | 4 sat | 8 sat | 12 sat | 24 sat |
|  | Night and day | 0.5 sat | 1 sat | 1.5 sat | 2 sat | 4 sat | 6 sat | 12 sat |
| 1400 km | Only in daylight | 2 sat | 4 sat | 6 sat | 8 sat | 16 sat | 24 sat | 48 sat |
|  | Night and day | 1 sat | 2 sat | 3 sat | 4 sat | 8 sat | 12 sat | 24 sat |

It is clear from Table 2.5 that any observing cycle shorter than, say, three hours, would be extremely demanding as it would require a constellation of LEO satellites in coordinated orbits.  The coverage improves substantially for high latitudes (see Fig. 2.2), being, for example, twice more frequent at 60° latitude than at the equator.  In polar regions the frequency of coverage becomes close to the orbital period T (i.e. ~ 100 min) or sub-hourly with more satellites.

A shorter observing cycle may be obtained by leaving aside the Sun-synchronous feature and adopting a lower inclination, but the coverage is then no longer global.  Low inclination orbits are used for monitoring the inter-tropical zones.

The GEO orbit provides observations at a rate that is only limited by the instrument. However, a constellation of about six satellites around the equator is needed to cover all longitude sectors up to a latitude of at least 55°, and the highest latitudes cannot be covered.

Some of these limitations can be mitigated by adopting an elliptical orbit.  For an elliptical orbit the satellite speed changes along the orbit; it is minimal around the apogee where a longer time is therefore available for acquiring measurements of the overflown area.  Elliptical orbits are usually optimised for specific purposes, particularly for space science, e.g., for collecting in situ measurements up to very high altitudes by physically passing through the ionosphere and plasmasphere.

One problem of elliptical orbits is that, since the argument of the perigee is affected by the secular perturbation, the apogee occurs at latitudes that change with time.  The secular perturbation can be compensated if the orbital inclination is ε = sin-1 (4/5)1/2 ≈ 63.4°.  In this case the apogee region where the satellite dwells most of the time is stable.  In that position, measurements can be taken very frequently, in a quasi- geostationary fashion.

Fig. 2.8 - The Molniya orbit.

Two orbits of this kind have been used for telecommunication satellites and are planned to be used for Earth observation: Molniya (see Fig. 2.8) which has a 12 h period and an apogee at 39800 km, and Tundra, which has a 24 h period and an apogee at 48300 km.  In the Molniya orbit the satellite is nearly-geostationary for about 8 hours out of the 12-hour period; in the Tundra orbit for about 16 hours out of the 24-hour period.

It is noted that the Molniya or Tundra orbits only serve one hemisphere.  In addition, the 8 h or 12 h quasi-geostationary observing area is centred on a specific LST.  If all latitudes above 60° have to be covered 24 hours a day, three Molniya satellites or two Tundra satellites are required.  An interesting variant is the three-apogee orbit with a 16-hour period and an apogee at 43500 km.  Table 2.6 records the main features of Molniya and Tundra orbits.  It is noted that, in the apogee position useful for frequent sampling, the height of the satellite exceeds the GEO height.

| Table 2.6 - Main features of Molniya and Tundra orbits (apogee and perigee heights can be somewhat adapted to need) |
| --- |
| Orbit type | Inclination | Period | Apogee | Perigee | Coverage (from one satellite) | Sats for hemispheric coverage |
| Molnya | 63.4° | 12 h | ~39,800 km | ~1,000 km | Visible over two positions for ~ 8 h | 3 |
| Tundra | 63.4° | 24 h | ~48,300 km | ~24,000 km | Visible over one position for ~ 16 h | 2 |

2.1.5	Launchers and injection into orbit

Satellites are injected into orbit by a launcher.  A launcher has to perform the following functions:

- To host the satellite in the fairing, where vital functions for the satellite are ensured.  When in the fairing, the satellite is stowed in a compact configuration to minimise volume occupancy and to be protected against accelerations.

- To bring the satellite to orbit.  In order to minimise the total mass to be brought to high altitudes, the launcher is generally structured by stages.  The first stage, that is the heaviest since it has to provide the maximum thrust for lift-off, is separated early.  The fairing is released at an appropriate altitude.  Further stages (one or two) are fired and separated in sequence.

Fig. 2.9 - Achievement of GEO.

- To release the satellite. For satellites in LEO circular orbits the launcher releases the satellite directly on the final orbit.  For elliptical orbits, the launcher releases the satellite at the perigee and provides it with a last acceleration to acquire the energy corresponding to the intended orbit.

When on orbit, the satellite deploys the solar panels and starts autonomous operations.  One of the operations is to reach the final orbit by activating its propulsion system.  In the case of a geostationary orbit, the satellite is released at a perigee in an elliptical orbit that has the apogee at 35,786 km, and is equipped with an apogee boost motor (ABM).  The ABM, which makes use of either solid, hybrid or, more often, liquid propellant (Liquid Apogee Motor, LAM) is fired at the apogee to provide the acceleration necessary to circularise the orbit (see Fig. 2.9).

Launching a satellite is a complicated and costly exercise.  In order to optimise cost-effectiveness, a launch is often shared by several satellites.  In this case, the task of the last stage is extended to release the various satellites at different times to separate the orbits. The respective platform propulsion systems will thereafter achieve the transfer to the final orbits.

Constellations of mini-satellites, whose individual launches would be dramatically un-economical, are a good case for multiple launches.  An effective launching strategy is the so-called Walker Delta Pattern.  The orbital inclination ε of all satellites must be the same.  Either the launcher releases the satellites at different altitudes, or the satellite propulsion systems spreads them into different altitudes.  Therefore each orbit will have a different precession rate, according to eq. [4], and the orbital phases will differentiate as time elapses.  When the orbits of all satellites are appropriately-spaced, the platform propulsion systems will bring each of them to the desired altitude H.  Eq. [4] shows that, in practice, the strategy works well for relatively low inclinations and relatively low altitudes, otherwise the time needed to deploy the constellation becomes too long.  For example, the COSMIC constellation (6 satellites, H = 800 km, ε = 71°) took one year to deploy.

# 2.2	Principles of remote sensing

Earth observation from space is mainly performed by exploiting electromagnetic radiation.  The few exceptions are in situ measurements at platform level (of gravity field, magnetic field, electric field, and charged particle density in the solar wind).  This section deals with remote sensing of the Earth and includes consideration of:

- the electromagnetic spectrum and the ranges utilised for remote sensing

- the basic laws of interaction between electromagnetic (e.m.) radiation and matter

- observations in the atmospheric windows

- observations in absorption bands

- limb sounding and radio occultation

- active sensing.

# 2.2.1	The electromagnetic spectrum utilised for remote sensing

The spectrum of e.m. radiation as observed from space (with nadir viewing) is shown in Fig. 2.10.  The displayed range, 0.2 (m to 3 cm (or 10 GHz) includes all that is used for remote sensing from space.  The variation with wavelength is due to the interposed atmosphere, with transmissivity ranging from 1 (atmospheric window) to 0 (full opacity due total atmospheric absorption).

Table 2.7 introduces definitions of the subdivisions of the spectrum that are generally accepted though not standardised.  In addition to the commonly used wavelength ( and frequency (, the wave number (*, mostly used in spectroscopy, is also quoted.

| Table 2.7 - Bands of the electromagnetic spectrum exploited for Remote Sensing |
| --- |
|  |  | Wavelength ( | Wave number (* = 1 / ( | Frequency ( = c / ( |
| UV | Ultra-Violet | 0.01 - 0.38 (m | 26,320 - 1,000,000 cm-1 |  |
| B | Blue | 0.436 (m | 22,935 cm-1 |  |
| G | Green | 0.546 (m | 18,315 cm-1 |  |
| R | Red | 0.700 (m | 14,285 cm-1 |  |
| VIS | Visible | 0.38 - 0.78 (m | 12,820 - 26,320 cm-1 |  |
| NIR | Near Infra-Red | 0.78 - 1.30 (m | 7,690 - 12,820 cm-1 |  |
| VNIR | Visible and Near Infra-Red (VIS + NIR) | 0.38 - 1.3 (m | 7,690 - 26,320 cm-1 |  |
| SWIR | Short-Wave Infra-Red | 1.3 - 3.0 (m | 3,330 - 7,690 cm-1 |  |
| SW | Short Wave | 0.2 - 4.0 (m | 2,500 - 50,000 cm-1 |  |
| LW | Long Wave | 4 - 100 (m | 100 - 2,500 cm-1 |  |
| MWIR | Medium-Wave Infra-Red | 3.0 - 6.0 (m | 1,665 - 3,330 cm-1 |  |
| TIR | Thermal Infra-Red | 6.0 - 15.0 (m | 665 - 1,665 cm-1 |  |
| IR | Infra-Red (MWIR + TIR) | 3 - 15 (m | 665 - 3,330 cm-1 |  |
| FIR | Far Infra-Red | 15 (m - 1 mm | 10 - 665 cm-1 | 300 - 20,000 GHz |
| Sub-mm | Submillimetre wave (part of FIR) | 0.1 - 1 mm | 10 - 100 cm-1 | 300 - 3,000 GHz |
| Mm | Millimetre wave (part of MW) | 1 - 10 mm | 1 - 10 cm-1 | 30 - 300 GHz |
| MW | Microwave | 0.1 - 30 cm | 0.033 -10 cm-1 | 1 - 300 GHz |

##### A finer subdivision of the MW range and nearby FIR, utilised for radar but also, by extension, passive radiometry, is provided in Table 2.8.

| Table 2.8 - Bands used in radar technology (according to ASPRS, American Society for Photogrammetry and Remote Sensing) |
| --- |
| Band | Frequency range | Wavelength range |
| P | 220 - 390 MHz | 77 -136 cm |
| UHF | 300 - 1000 MHz | 30 -100 cm |
| L | 1 - 2 GHz | 15 - 30 cm |
| S | 2 - 4 GHz | 7.5 - 15 cm |
| C | 4 - 8 GHz | 3.75 - 7.5 cm |
| X | 8 - 12.5 GHz | 2.4 - 3.75 cm |
| Ku | 12.5 - 18 GHz | 1.67 - 2.4 cm |
| K | 18 - 26.5 GHz | 1.18 - 1.67 cm |
| Ka | 26.5 - 40 GHz | 0.75 - 1.18 cm |
| V | 40 - 75 GHz | 4.0 - 7.5 mm |
| W | 75 - 110 GHz | 2.75 - 4.0 mm |

The overall spectrum shown in Fig. 2.10, comprises five distinct regions of rather different features.

In the UV region atmospheric absorption is strong, mainly due to the major air constituents (nitrogen N2 and oxygen O2) and trace gases (the most important being ozone).  The Earth surface cannot be observed in this spectral region.  The radiation source for remote sensing consists of the reflected solar radiation.

The VIS, NIR and SWIR regions, from 0.4 to 3 (m and up to 4 (m, can be sensed by means of the reflected solar radiation.  It includes several transparent regions (windows) and many absorption bands (see Fig. 2.11).

In the MWIR and TIR regions, from 4 to 15 (m, the radiation source consists of the thermal emission from the Earth surface and the atmosphere, which  is mainly driven by water vapour and carbon dioxide absorption/emission. These are important contributors to the greenhouse effect. Combined with the main atmospheric window, this enables the Planet’s thermal equilibrium to be maintained at agreeable values.  See Fig. 2.12.

The next spectral region, the Far IR from 15 (m to 1 mm (or 300 GHz), is fully opaque because of the water vapour continuum.  In this region, difficult to explore because of the lack of efficient detection techniques, there are absorption lines of several important species such as the Hydroxil radical (OH), a “cleaner” of the atmosphere, and the Hydrogen chloride (HCl), a reservoir species releasing ozone-aggressive chlorine.  OH and HCl are only observable in the FIR (e.g., around 120 (m ( 2,500 GHz and 480 (m ( 625 GHz, respectively).

In the MW range, from 1 to 300 GHz, the radiation source consists of the thermal emission from the Earth surface and the atmosphere.  The atmospheric spectrum, starting from 2 GHz and extending to sub-millimetre frequencies up to 1000 GHz, is shown in Fig. 2.13.

In the portion of the MW range where the atmosphere is more transparent, i.e., at frequencies below, say, 100 GHz, the wavelengths exceed 3 mm and are therefore much larger than cloud drop size, except for precipitating clouds.  Therefore, the MW range is utilised for observing the Earth surface or the atmospheric properties in nearly-all-weather conditions.

Active sensing is conditioned by technology and, in the case of MW, by radio-frequency spectrum regulations.  Radar makes use of MW, lidar of optical wavelengths where suitable sources (crystals) are available.  Table 2.9 lists a few commonly used radar frequencies (see Table 2.8) and lidar wavelengths.  For comparison purpose, the table also lists the frequencies used by the Global Navigation Satellite System (GNSS) and associated radio-occultation sensing of the atmosphere (See Section 3.2.7).

| Table 2.9 - Spectrum utilisation from active instruments (radar and lidar) and radio-occultation |
| --- |
|  | Observation | Instrument | Frequency or wavelength |
| Radar | Sea surface wind | Scatterometer | C-band (~ 5.3 GHz) or Ku-band (~ 13.4 GHz) |
|  | Ocean topography | Altimeter | C-band (~ 5.3 GHz) + Ku-band (~ 13.6 GHz) |
|  | Cloud and precipitation | Rain radar, Cloud radar | Ku-band (~ 13.6 GHz) and/or Ka-band (~ 35.5 GHz) or W-band (~ 94 GHz) |
|  | Imagery | Synthetic Aperture Radar | L-band (~ 1.3 GHz) or C-band (~ 5.4 GHz) or X-band (~ 9.6 GHz) |
| Lidar | Clear-air wind | Doppler lidar | UV-lidar (355 nm) |
|  | Aerosol, cloud top | Backscatter lidar | UV-lidar (355 nm), VNIR-lidar (532 + 1064 nm) |
|  | Ice sheet topography | Altimeter | VNIR-lidar (532 + 1064 nm) |
| R.O. | Atmospheric refraction | GNSS + Receiver in LEO | L-band: ~1580 + ~1250 + ~1180 GHz (GPS, GLONASS and Galileo) |

# 2.2.2	The basic laws of the interaction between e.m. radiation and matter

The macroscopic properties of a condensed body at thermodynamical equilibrium, not affected by chemical or nuclear reactions, are summarised with respect to the e.m. radiation by three coefficients linked by the following equation:

(((,T,(,() + (((,T,(,() + ε((,T,(,() = 1					[5]

(((,T,(,() is the reflectivity, i.e., the ratio of the backscattered radiation I((,T,(,() to the incident radiation I((); (((,T,(,() is the transmissivity, i.e. the fraction of I(() that crosses the body; ε((,T,(,() is the fraction of I(() that is absorbed by the body, called emissivity for reasons that will be explained later.  The three coefficients depend on the radiation wavelength (, the body temperature T and the observing geometry (, ( (zenith and azimuth angles, respectively).

A body that is not reflecting and is totally opaque to radiation on any wavelength, i.e., with ( = ( = 0, thus ε = 1, is called blackbody.  It radiates at any temperature T and over the full ( or ( spectrum according to the Planck law:

or     			[6]

where h = 6.6256(10-34 J(s is the Planck constant, c = 2.99793(108 m.s-1 is the speed of light in vacuum, k = 1.38044(10-23 J.K-1 is the Boltzmann constant.  B((,T) [or B((,T)] is the radiative power per unit surface over the hemisphere per unit of wavelength [or of frequency].  The power radiated per unit of solid angle is B/π.  The Planck function for temperatures of 6000 K and 273.16 K, which are representative of the Sun and the Earth surfaces respectively, is shown in Fig. 2.14.

| B((,T) (10 X W(m-2(sr-1(cm-1) |  |
| --- | --- |
| Fig. 2.14 - The Planck function for T = 6000 K, representative of Sun (higher curve), and T = 273.16 K, representative of Earth (lower curve). X-values in ordinate are power of 10. |

The power radiated over the full spectrum is:

Stefan-Boltzmann law			[7]

with ( = 5.6681(10-8 W(m-2(K-4.  The two curves in Fig. 2.14 illustrate that the Sun and Earth surfaces have very different radiative powers.  However, after scaling down the Sun curve by the square of the Sun-Earth distance, the two integrated areas become comparable, which reflects the Earth radiative balance.  If the upper curve in the figure is scaled, it is easy to see that the solar radiation at Earth is very small for ( > 4 (m whereas Earth radiation is practically negligible for ( < 3 (m.  Solar and Earth radiation are both present in significant amounts in the narrow interval between 3 and 4 (m.

A major difference between the two curves of Fig. 2.14, after scaling, is the wavelength (max where the maximum of emission occurs.  This is given by:

with b = 0.0028981 m(K     Wien law			[8]

What is difficult to appreciate from Fig. 2.14, because of the double-logarithmic scale, is how sharp the Planck function is around (max.  In the case of solar radiation (T = 6000 K) the peak of emission occurs around (max = 0.5 (m and most of the power lies in the 0.2 - 3.0 (m range.  In the case of terrestrial radiation (T = 273.16 K, i.e. T = 0°C) the peak is around (max = 10 (m and most of the power lies in the 3 - 50 (m range.

Another interesting feature of the Planck function is that, moving from (max to shorter wavelengths, the radiative power dramatically decreases, whereas moving to longer wavelengths the decrease is more gradual (in fact roughly 2/3 of the power occurs at wavelengths longer than (max).  For very long wavelengths, or low frequencies, e.g., in the MW range, where the argument of the exponential in the Planck function is  h(/kT << 1, we have eh(/kT ( 1 + h(/kT and the Planck function thus reduces to:

Rayleigh-Jeans law				[9]

Because of this relationship, radiation measurements in the MW range can be considered as  temperature measurements and are expressed as a brightness temperature (TB) in temperature units.  It is noted that, whilst the total radiative power changes with temperature in proportion to T4 according to the Stefan-Boltzmann law [7], it changes linearly in the MW portion of the spectrum.  Conversely, moving towards shorter wavelengths, there is increasing dependence of the Planck function on the temperature.  The terrestrial radiation varies approximately with T5 in the main TIR window around 11 (m and T12 in the window around 3.7 (m.  This is an interesting feature for remote sensing, since it means that the sensitivity to high temperature is higher at 3.7 (m.  Conversely, these shorter wavelengths are less sensitive to low temperatures.

For example:

- for a body at 220 K (such as a cloud top in the upper troposphere) the radiation at 11 (m is ( 1200 times that at 3.7 (m, but at 300 K (surface) it is only ( 130 times;

- the sensitivity to temperature changes, i.e. ((B/(T)/B, is three times higher at 3.7 (m than at 11 (m;

As a consequence, 3.7 (m is well suited for surface observations, optimal for fire detection, and less useful for high clouds.

The relationship represented by equations [6], [7], [8] and [9] are only valid for a blackbody (ε = 1).  For a common body the relationship can be established through the following conceptual experiment.  Considering a number of bodies in an isolated system and only exchanging radiation among them, it could be assumed that, after a transient time, each of them reaches thermodynamic equilibrium, where the radiation it absorbs according to its absorption coefficient ε((,T) is equal to the power it radiates P((,T).  Therefore P((,T) / ε((,T) = constant.  Assuming that one of the bodies is a perfect blackbody, it yields:

Kirchhoff principle				[10]

This shows that the absorption coefficient introduced in eq. [5] also controls the body’s emission properties, hence the name emissivity.  Eq. [10] indicates two important consequences:

- at any wavelength and temperature, a body cannot radiate more than a blackbody at that wavelength and temperature;

- a body can radiate only at those wavelengths where it can absorb.

The emissivity ε is a function of the wavelength and, to a minor extent, of the temperature.  For certain bodies ε may be constant over large portions of the spectrum.  If it is constant through the whole spectrum the body is called grey.  The shape of the radiated power P((,T) is then exactly like B((,T), just damped by a factor ε.  The Wien law [8] applies unchanged.  The Stefan-Boltzmann law becomes W(T) = ε(((T4.

It is important to note that the Kirchhoff principle also applies to gaseous materials.  Therefore, the spectral lines of atmospheric gases are generally (but not always) relevant for both absorption and emission.

# 2.2.3 	Observations in the atmospheric windows

# 2.2.3.1	Emerging radiation

Atmospheric windows are spectral regions where the atmosphere is nearly transparent.  Note that there is no region where the atmosphere is fully transparent.  In any region there is some residual disturbance from species that have a continuum: the most common is water vapour in the IR, MW and to some extent in the SW.  Another factor, particularly in the SW, is the scattering from dry air molecules (mostly N2 and O2) and aerosols.  Ultimately, the most transparent windows are:

- in the SW (Fig. 2.11):	0.5-0.9 (m, 1.6-1.7 (m and 2.0-2.3 (m

- in the IR (see Fig. 2.12):	3.5-4.0 (m and 10-12 (m

- in the MW (Fig. 2.13):	80-100 GHz, 25-50 GHz and below 20 GHz.

Eq. [5] indicates that the coefficients ( (reflectivity), ( (transmissivity) and ε (emissivity), in addition to depending on the radiation wavelength ( and the body temperature T, also depend on the geometric condition ( (zenith angle) and ( (azimuth angle) of the satellite platform with respect to the body.

In order to simplify the discussion, we assume vertical viewing from the satellite (Fig. 2.15), flat surfaces and radiation towards zenith (i.e., irradiance).

One component, (((,T)(I(((), is the transmitted radiation through the body if not totally opaque and if there is a radiation source below the body, in the opposite hemisphere with respect to the satellite.

The component ε((,T)(B((,T) is the emitted radiation expressed through the Kirchhoff principle [10], always present unless the body is at the absolute thermal zero.  It is not present in spectral regions where the body does not absorb.

The component (((,T)(I(((,() is the reflected radiation, present if there is a radiation source in the same hemisphere as the satellite.  The figure indicates the Sun but, in the MW range, where solar radiation is virtually zero, the full hemispheric sky radiates, as a blackbody at temperature T = 2.725 K, where the maximum power occurs at (max = 1.9 mm (160 GHz).  The notation I(((,() indicates that the power of the incoming radiation depends on the incidence angle (.  For the Sun, normally I(((,() = S(()(cos (, with S(() incoming power with Sun at the zenith.

Summing all components, the radiation reaching the instrument on the satellite is:

I((,T) =  (((,T)(I((() + ε((,T)(B((,T) + (((,T)(I(((,()			[11]

This is greatly variable along the spectrum, thus the significance of the measurement is reasonably stable only within narrow bandwidths around a specific wavelength (channels).  However, some general information is also contained in a wider range of wavelengths (VIS+NIR+SWIR; MWIR+TIR; MW).

# 2.2.3.2	Measurements in VIS+NIR+SWIR

In this range there is no thermal emission from Earth (B = 0).  Focusing first on the Earth surface (land and ocean), the transmitted radiation is zero since there is no source below the Earth surface.  Also considering that the reflectivity is nearly independent from the body temperature, eq. [11] reduces to:

ISW(() =  ((()(S(()(cos (						[12]

Since the solar spectrum and the observing geometry are known, the information carried by a measurement in a SW channel is uniquely associated to the surface reflectivity.  Many geophysical variables may be estimated by measuring reflectivity at several wavelengths: vegetation parameters, ocean colour, texture of land, et cetera.  However, the most evident objects observed in the SW are clouds.  Eq. [12] is not strictly correct for a cloud surface, since radiation from the underlying surface can transmit through them.  However, this effect has a limited impact given that:

- the total transmissivity through (downward and upward) the atmosphere and the cloud is low,

- the originating radiation source (the Sun) is stronger than any surface below the cloud,

- the reflectivity of the underlying surface, except for sand desert, snow and ice, is low,

- the reflectivity of clouds ( is generally higher than any other terrestrial surface.

Therefore, eq. [12] is an approximation applicable to most clouds, the exceptions being thin clouds such as cirrus, especially on the bright background of sand deserts, ice and snow.

Using SW reflected radiation for quantitative purposes is not an easy exercise, since reflectivity is generally anisotropic. The simplest case occurs when the body, whatever the direction of the incoming radiation, re-distributes the reflected radiation according to a cosine-law from the zenith, homogeneously for any azimuth.  This is called lambertian reflection.  Fortunately, most Earth surfaces observed from space at relatively large scale appear rather flat and rough, so that Lambertian diffusion may be a good approximation.  In many cases, however, the body exhibits a Bidirectional Reflectance Distribution Function (BRDF) that should be measured a-priori by observations under different viewing directions and for different directions of the incoming radiation.  The final computation of the irradiance towards Space requires hemispheric integration.

Using SW for Earth observation in atmospheric windows requires spectral sampling at several wavelengths (channels), since at any wavelength several bodies may have signatures, and one body may have signature at several wavelengths.  Therefore, a multi-channel capability is necessary, to discriminate and simultaneously retrieve different properties of different bodies.  For instance, clouds and snow have identical reflectance in VIS at 0.65 (m, but very different at 1.6 (m.  The channel bandwidths must be appropriate to the objective.  The most stringent are for ocean colour ((( ( 10 nm), then vegetation ((( ( 20 nm), whereas for other surface features and for clouds, bandwidths of several tens of nanometres are sufficient.

Another feature that affects the quantitative use of VIS+NIR+SWIR is polarisation.  Specular reflection tends to be privileged with damping of the vertical component of the electric field.  The Stokes vector, that in the SW range consists of three components (polarisation under three directions 120°-dephased) fully describes the electric field, thus carries major information about the body’s properties.  Multi-polarisation is important for the observation of those bodies that do not have strong multi-spectral signatures. Main examples are the aerosols and cirrus clouds (elongated ice crystals).

# 2.2.3.3	Measurements in MWIR and TIR

In the 4-15 (m range solar radiation is virtually zero.  On the Earth surface (land and ocean), the transmitted radiation is also zero.  Considering furthermore that the emissivity is nearly independent from the body temperature, eq. [11] reduces to:

IIR((,T) =  ε(()(B((,T)						[13]

Eq. [13] is approximately valid also for clouds, since the transmissivity of clouds in IR is rather low (with the exception of thin cirrus).

Most land surfaces, and certainly the ocean, have an emissivity close to 1 with small variance.  Therefore the information acquired by a measurement in an IR channel is closely associated with the Planck function or, for a given wavelength, with the body’s temperature.

At a specified wavelength ( or for a narrow channel (( around (, the Planck function, eq. [6],  may be easily inverted to retrieve the temperature T:

[14]

However, T will not be the true body’s temperature unless ε = 1.  If the body’s emissivity is known, and the channel bandwidth (( is sufficiently narrow to enable considering ε constant, the emissivity correction can be applied to the measured quantity, i.e. by inverting B((,T) = IIR((,T) / ε((), and the body’s temperature measured.  Otherwise, by inverting the measured quantity B((,T) = IIR((,T) we obtain a temperature TBB, equivalent blackbody temperature, that is lower than the true body’s temperature.

For a large variety of bodies with ε close to 1, a radiance observation in a TIR atmospheric window enables rather accurate temperature measurement.  It is particularly accurate in the case of the sea, that has an emissivity close to 0.98.  However, the emissivity is not the only effect that needs to be corrected.  As previously mentioned, the atmospheric windows are not perfectly transparent.  For instance, the main window in TIR, 10 - 12 (m, is contaminated by the water vapour continuum, particularly on the long-wave side.  A method to reduce this disturbance is to split the window into two channels, generally 10.3-11.3 and 11.5-12.5 (m, so that differential absorption is used to estimate a correction (and, as a by-product, the total-column water vapour).

Because of these effects, Eq. [14] indicates a dependence of the retrieved temperature from the wavelength (that should not be there !  There is only one body temperature).  The spread of values with wavelength implies certain information content.  For instance, by comparing TBB measured at 3.7 (m and 11 (m it is possible to explain the difference in terms of different emissivity, or in terms of different contamination of the measurement from clouds.

It is important to note that the 3.7 (m window behaves very differently in daylight and night time.  In daylight it is strongly contaminated by reflected solar radiation, that needs to be subtracted before using the channel for quantitative thermal emission estimates.  Another feature, that was pointed out previously, is that the 3.7 (m window is much more sensitive than the 11 (m to high temperatures, whereas it is of little use for low temperature such as that of cloud tops in the upper troposphere.  The differential response to temperature of the 3.7 and 11 (m windows can also be used for detecting fog at night.

As regards clouds, eq. [13] is still approximately valid, but the emissivity is substantially lower than unity, except for very thick clouds (cumulus, nimbus-stratus). The equivalent blackbody temperature substantially underestimates the true temperature, and a correction must be applied to account for the low emissivity.  The usual method consists of coupling the window channel with a channel strongly sensitive to water vapour.  The difference between the two TBB values indicates the cloud emissivity (the larger the difference, the lower the emissivity).

It is noted that the penetration of infrared radiation in clouds is very low. The measured temperature refers to the top surface, and the information on cloud interior is poor, especially for dense clouds.  The temperature of the cloud top, that is in equilibrium with the one of the air at the same level,  is however very important because it indicates the altitude of the cloud in the troposphere, therefore the cloud type.

Fig. 2.16 - Scatterplot VIS (0.65 (m) v/s IR (11.5 (m) enabling to classify 10 bodies. If projected on one of either two axes, several clusters would be unresolved. (from Bizzarri and Tomassini 1976, proc. of COSPAR Symposium, Filadelfia, p. 140-144).

The  cloud top level information derived from blackbody temperature is often inaccurate.  If the cloud is too thin (e.g., thin cirrus), since the background surface is much warmer that the air at cloud level, surface radiation transmitted through the cloud adds to the cloud emission, the cloud appears warmer and the assigned level is thus underestimated. Conversely, thick cirrus with high emissivity are observed as very cold, and may be confused with cumulonimbus.

In order to resolve ambiguities, it is useful to plot the VIS brightness and the IR temperatures as bi-dimensional histograms (Fig. 2.16).  It can be appreciated that, by using only one band (the projection of the 2-D pattern on one axis), several clusters would be unresolved whereas, by performing multi-band analysis, in this example 10 different objects can be identified.  This is a simple example with only two channels, one in VIS and one in IR, from an old instrument (VHRR).  Current multi-band analysis techniques may operate with many more channels.

# 2.2.3.4	Measurements in MW

In the MW range the solar radiation is virtually zero, but there is a diffuse source of incoming radiation: the sky.  As concerns the Earth surface, including land and sea, the transmitted radiance is zero.  There are only two contributions: the thermal emission and the reflected radiation. They are controlled by the emissivity and reflectivity coefficients that, since ( = 0, are linked by the condition ε + ( = 1, i.e. ( = 1 – ε.  By expressing the radiative power in temperature units according to the Rayleigh-Jeans eq. [9] we have for the observed brightness temperature TB:

TB(() =  ε(()(T + [1- ε(()](Tsky(()					[15]

Tsky((), the sky brightness temperature, is composed of the background cosmic radiation and of the contribution from precipitating clouds.  It changes with frequency.  In the main window with ( ( 40 GHz, under non-precipitating conditions, Tsky(() may be ( 140 K.  Under heavy precipitation conditions Tsky may reach values as large as ( 250 K.

The impact of Tsky(() strongly depends on the value of the emissivity ε.  Sea and land have substantially different ε values.

Fig. 2.17 - Sensitivity ( defined as ∆TB/∆P) of MW frequencies to several geophysical variables ( P).

The emissivity of the sea at MW region is very low: ε ( 0.5,  so the two components in eq. [15] have equal weights.  In the absence of precipitating clouds Tsky is low and known, therefore the measurement can be associated to sea surface temperature.  The optimal frequency for sea surface temperature is around 5 GHz (see Fig. 2.17) where Tsky is much smaller than that at 40 GHz.  The measurement is rather accurate and all-weather applicable since the wavelength (( = 6 cm) is much longer than any rain droplet.  The 5 GHz sea surface signal  intensity is representative of the temperature of a few millimetres deep water layer (sub-skin), to be compared to few tens of micrometres in the case of IR (skin temperature).  At higher frequencies Tsky strongly increases, especially in the presence of heavy precipitation, and the high value of  the reflectivity (1 – ε) is such that the observation is mainly an indicator of precipitation.

Over land the emissivity is close to unity, thus the second component in eq. [15] is ineffective, and precipitation is poorly detected.  At higher frequencies (e.g., ( 90 GHz ((= 3 mm)), the upwelling radiation from the surface is scattered by large droplets and, even more, by ice crystals in clouds, thus the radiation reaching the satellite is decreased.

Polarisation can also be used for measuring precipitation.  The radiation reflected from the sea is strongly polarised: when crossing a precipitating cloud, it undergoes de-polarisation that can be measured to infer precipitation.  The differential polarisation can also be exploited over land, since the emerging radiation scattered from droplets and ice crystals is polarised.

Observation under several polarisations may also be useful regardless of the objective of precipitation measurement.  Differential polarisation is sensitive to surface roughness, an effect that must be accounted for in sea surface temperature measurements, and that can be utilised for inferring wind speed over the sea, as indicated in Fig. 2.17.

Fig. 2.17 also indicates that MW radiation is sensitive to ocean salinity, but only at very low frequencies, typically around 1.4 GHz (L-band).  The figure indicates that, in order to measure ocean salinity, it is necessary to account for sea surface temperature and wind speed (or roughness).  Similarly, there is a water vapour absorption band that contaminates the observation of temperature, wind and liquid cloud (precipitation), but also can be exploited to infer total column water vapour (precipitable water) over the sea.  In other words, in MW as in the optical field, different variables may have different signatures in various channels, therefore multi-channel analysis is needed.

Because of the totally different emissivity values of sea and land surfaces, the most obvious feature in a MW image is the land/sea boundary.  Since the emissivity of ice is close to unity, sea ice is also an obvious observable in all-weather conditions, which is particularly useful for often overcast geographical regions.  Over land, in a scene with emissivity close to unity, a decrease of emissivity indicates the presence of water on the surface. This is because the emissivity of a body is controlled by its dielectric constant: water on land is a salt solution, which increases conductivity and thus decreases the emissivity.  This effect can be exploited to measure surface soil moisture and snow properties.

Soil moisture measurements can be rather accurate on bare soil, but lose accuracy with increasing vegetation.  In order to penetrate vegetation and to measure soil moisture in the roots region, very low frequencies must be used, either in L-band or even lower in P-band.  At higher frequencies (above 10 GHz), sensitivity to soil moisture is only significant if the disturbance by vegetation is accounted for.

Snow properties detectable in MW are the surface melting conditions and, in the case of shallow snowpack, the water equivalent.  In this latter case, relatively high frequencies are preferred, since snow tends to be transparent at low frequencies; however, the signal at very high frequencies saturates in the upper layers of the snowpack. Therefore several frequencies are needed with different penetration depths.

# 2.2.4 	Observations in absorption bands

# 2.2.4.1	The radiative transfer equation

In an atmospheric absorption band each layer of thickness dz absorbs radiation coming from below and re-emits it.  Assuming zero reflectivity of the atmosphere in IR, the atmospheric transmittance from the height z to the satellite altitude H is given by:

where N(z) is the concentration of the absorbing gas		[16]

The radiative contribution of an atmospheric layer of thickness dz at height z, associated with a transmittance change of d( (l,z) is: dI((,z) = B[(,T(z)](d(((,z), and the radiation from the total atmospheric column to the satellite is:

where zs is the height of the Earth surface			[17]

It is necessary to add a terrestrial contribution attenuated by the total atmospheric transmittance.  It is also convenient to define the weighting function:

[18]

Together, the radiation reaching the satellite is given by the radiative transfer equation:

[19]

Fig. 2.18 - Transmissivity and corresponding weighting functions for 7 channels in the CO2 14 (m band.

Fig. 2.18 shows that the transmittance [16] tends to 1 with increasing height z (i.e., decreasing thickness of the atmospheric layer between the height z and the satellite altitude H), with decreasing emissivity ε and decreasing concentration N of the absorbing gas.  The weighting functions have peak values corresponding to the inflection point of the transmittance function.  A simple way to read eq. [19] is that each atmospheric layer of thickness dz contributes to the radiation reaching the satellite according to its temperature (through the Planck function), and to its effectiveness to contribute as quantified by the weighting function. The weighting function depends on the concentration of the absorbing gas and the strength of absorption/emission (ε).  The shape is such that low atmospheric layers are penalised because of the absorption by the upper layers, and the high layers are penalised because of their low concentration of the absorbing gas.  The atmospheric layer that exhibits the greatest change in transmittance is usually the layer that contributes the most.

# 2.2.4.2	Profiles retrieval

Inverting equation [19] is not a trivial matter.  It is a Fredholm equation of 2nd kind, for which the existence or the uniqueness of the solution are not mathematically guaranteed.  In our case, the existence is granted by nature. To ensure uniqueness of the solution it is necessary to add constraints to the solution, since the problem is ill-conditioned. Many methods have been developed in the history of profile sounding from space, some of them are statistical and linear, others physical and non-linear, and others a combination of both approaches.

The primary objective is to invert eq. [19] to retrieve the atmospheric temperature profile.  This is only possible if the transmittance function is known in advance, which implies working in the absorption bands of a gas having a known and stable concentration profile.  In the IR, this is the case for CO2 in the bands around 4.3 and 15 (m (see Fig. 2.11).  As pointed out above, the 4.3 (m band is more sensitive to high temperature, thus representative of the lower troposphere.  However, it may be contaminated by radiation from other species, and in day time the tail of the solar blackbody curve (>4(m) cannot be neglected.  The 15 (m band is spectrally more pure, but is somewhat contaminated by the water vapour continuum, therefore requiring correction of the transmittances, either a-priori by using external information, or a-posteriori by iterating after retrieval of the water vapour profile.

Retrieval of the water vapour profile is the next step.  Once the temperature profile is retrieved by using CO2 absorption band channels, other channels are used, in H2O absorption bands.  The main band is centred around 6.3 (m, and responds well to high temperature, i.e. in the low- to mid- troposphere. For climate monitoring it is important to measure water vapour in the upper troposphere, but this requires using an 18 (m band, which is technologically difficult to construct due to a lack of efficient detectors in the FIR.

Retrieval of the water vapour profile or, in general, of the concentration of an absorbing gas, is not an easy task.  The  weighting functions of the absorbing gas peak at varying altitudes in the atmosphere depending on the concentration and remote sensing frequency.  In addition, the retrieval is intrinsically inaccurate because the transmittance function to be inverted [16] defines the content in a (thin) layer at altitude z as the difference of the contents in the (very thick) layers H to z and H to (z - (z): i.e., a small number is computed as the difference between two large numbers.

Further difficulties arise in the presence of clouds.  If the Instantaneous Field Of View (IFOV) is entirely filled by a cloud of uniform features, the profile may still be retrieved by the same method, however limited to the atmosphere above the cloud.  If the IFOV is only partially filled by a fraction ( with a cloud of emissivity εcloud, the transfer equation becomes:

I(() = (1 - εcloud(()(Iclear(() + εcloud(((Icloud(()	where εcloud(( is the effective cover		[20]

Several methods are used to deal with the effects of clouds.  One is based on starting the retrieval using the channels with weighting functions peaking above the cloud top level, to achieve a first-guess profile that thereafter is iterated by changing effective cover values until the measurements in all other channels fit best.  Another method compares a number of nearby IFOVs assuming that the signals differ only because of different fractional covers (, and then extrapolates to zero (.

In any event, it is acknowledged that, when cloud cover in the IFOV exceeds, say, 20 %, no attempt should be made to retrieve profiles  in IR.  Fortunately, nowadays the IFOV of sounding instruments, that used to be several tens of kilometres, has been reduced to the order of 10 km, thus the probability of finding a substantial number of cloud-free IFOVs in a given area is much higher.

The problem of clouds is greatly alleviated in the MW range where sounding is possible for all-weather except heavy rain conditions.  The species of well known and constant concentration used for temperature profile retrieval is O2, with absorption bands in the 50-70 GHz interval and around 118 GHz (not yet exploited from satellite).  For water vapour, the 183 GHz band is effectively used; the 22 GHz band provides a weak signal that can provide total column-integrated amount over the sea.  There are other absorption bands for temperature and water vapour at higher frequencies, but the radiative effect of the water vapour continuum makes it impossible to observe the troposphere using these spectral bands.

The transfer equation in MW is essentially the same as in the IR, i.e. [19], but is simpler because instead of the Planck function [6], the Rayleigh-Jeans approximation with linear dependence in temperature [9] may be used.

One can ask why MW is not the exclusive band used for temperature and humidity sounding, since it performs in nearly-all-weather conditions.  The reason is vertical resolution.  The vertical resolution requires high sensitivity to temperature variations (with z).  Vertical resolution is best in the 4.3 (m band, where Planck function varies roughly with T12.  In the 15 (m band sensitivity is lesser because Planck function varies with T5.  In the MW range, since B is a linear function of T (see eq. [9]) the sensitivity ((B/(T)/B varies with T-1, i.e., it decreases with increasing temperature.  One interesting feature of the various bands is that, whereas the 4.3 (m band is well suited to the lower troposphere and the 15 (m band well suited to the middle and high troposphere, the MW band at 57 GHz is better suited to the stratosphere.

The subject of vertical resolution is crucial for temperature and humidity sounding.  Fig. 2.18 shows an example where the weighting functions are rather broad, which implies that the degrees-of-freedom (i.e., the number of independent pieces of information) are limited.  Weighting functions become narrower when the spectral resolution of the instrument improves.  Fig. 2.18 is relative to a radiometer with only 7 channels and low resolving power: (/(( ( 100.  The corresponding vertical resolution is ( 1.5-2 km in the mid-troposphere.  Current sounding instruments, spectrometers, have thousands of channels and a higher resolving power: (/(( ( 1,000.  The corresponding vertical resolution is less than 1 km in the mid-troposphere.  Further increasing the resolving power to (/(( ( 10,000 would not improve the vertical resolution of temperature and humidity profiles, but would enable single lines of trace gases to be observed, for atmospheric chemistry purposes.

It should be noted that, for MW, the current instruments have already reached maximum performance in terms of vertical resolution, which cannot be better than ( 1.5 km in the mid-troposphere, and worse in the lower troposphere because of strong contamination from the ground.

In the shortwave range (UV, VIS, NIR, SWIR) the measurements in absorption bands are mostly used for atmospheric chemistry, through spectroscopic methods.  The radiative transfer equation is more complicated than eq. [19] since instead of thermal radiation, described by the Planck law,  there is scattering, a more complex process.  Retrieval of geophysical variables relies on modelling rather than on explicit equations.  In addition to atmospheric chemistry, the analysis of absorption bands is used for other purposes, such as (with reference to the spectrum shown in Fig. 2.11):

- Atmospheric pressure at Earth’s surface, derived from estimates of oxygen total column in the band around 0.77 (m as compared with nearby windows;  this is one of the very few approaches available to measure surface pressure from space.  Accuracy is limited by the scattering effect of aerosols, implying that the measurement also provides information on aerosols.

- Cloud top height, derived from the deficit of measured total column of O2, resulting  from the cloud masking the lower part of the column.  This is in principle more accurate than computing the top height from the equivalent blackbody temperature in IR, correcting for the cloud emissivity, and transforming temperature into height by means of a temperature profile.

- Lightning, by using a very narrow bandwidth channel at 0.774 (m, where the strong absorption from oxygen obscures the Earth surface and enables detection of flashes even in daylight.  The intensity and the number of flashes in a given time over a given area are representative of convection, hence a proxy of precipitation; in addition, lightning activity causes NOx generation in the atmosphere, and reflects the Earth’s electric field.

- Total column water vapour, by comparing the signal in one or more of the water vapour bands (around 0.94, or 1.37 (m) with one from nearby windows.  This can be more accurate than using IR or MW profiling.

# 2.2.4.3	Limb sounding

Fig. 2.18, showing the broadening of the weighting functions with height, indicates that the vertical resolution of temperature and humidity profiles by passive IR or MW radiometry degrades with increasing altitude.  Currently, by using spectrometers, the resolution is considered adequate (( 1 km) in the mid-troposphere; but becomes marginal (( 2 km) at tropopause level, where much better resolution is required.  In the stratosphere the vertical resolution further degrades and rapidly becomes unusable.  Two techniques offer help: limb sounding (including through occultation of the Sun, of the Moon or of Stars) and radio occultation.

Fig. 2.19 - Geometry of limb scanning.

In the cross-nadir sensing mode vertical resolution is determined by the sharpness of the weighting functions, that is controlled by the spectral resolution.  In the limb mode vertical resolution is determined by mechanical scanning, i.e., by the instrument IFOV across the atmosphere when viewed transversally, in the Earth’s limb region (Fig. 2.19).  The vertical resolution depends on the step changing rate, that is tuned to the instrument viewing aperture and the intensity of available radiation.  It is generally set to 1 to 3 km.  The horizontal resolution is coarse since the measurement is integrated  over a large optical path, as shown in the Figure 2.19.  The total optical path may be thousands of kilometres, but the effective path, once weighted by atmospheric density, extends to some 300-500 km around the tangent point.

The radiation source is the solar radiation reflected from the atmosphere, or the atmospheric thermal radiation in the IR or MW.  In general, limb observations address not only temperature and humidity profile, but also trace gases for atmospheric chemistry purposes.

In the short wave range (UV, VIS, NIR, SWIR), the atmosphere can be scanned by directly pointing to the Sun while the Sun is setting or rising (occultation).  The observation consists of measuring the damping of spectral lines in the solar spectrum. The Sun occultation method has the great advantage of not requiring any mechanical movement of the instrument telescope, nor any calibration, since the spectra measured during occultation are used by comparison to the solar spectrum measured shortly before (or after) occultation under the same conditions.  One disadvantage is that, at least for polar-orbiting satellites, coverage is limited to high latitudes, where the satellite experiences sunrise  (sunset) as it enters (leaves) the night arc of the orbit.  More extended coverage is possible by using Moon occultation.  Further extension,  covering all latitudes, is possible by using occultation of stars. In these cases, however, less radiation is available.

# 2.2.5	Active sensing

The sensing methods described above assume that the sources for remote sensing are the reflected solar radiation and the Earth’s emitted thermal radiation (plus other minor sources, such as the background sky radiation in MW, the Moon and the stars observed in occultation).  These natural sources enable passive sensing, for which the observation wavelengths are largely determined by the natural targets.  In active sensing the source is artificial and the sensing wavelength  is not entirely driven by the physical properties of the target, but can be chosen taking also into account the signal generation and propagation constraints.  The following active sensing principles are considered:

- radio occultation (for high vertical resolution profiles of temperature and humidity)

- radar (for altimetry, scatterometry, cloud and precipitation, imagery)

- lidar (for clouds and aerosols, air motion, altimetry, atmospheric chemistry).

# 2.2.5.1	Radio occultation

Radio occultation is one of the limb-sounding techniques, but it exploits a totally different approach from the passive radiometric one.  An artificial source, in this case the signal from a navigation satellite (GPS, GLONASS, Galileo or Compass), is tracked by a receiver on a satellite in LEO (Fig. 2.20).

The change of propagation direction due to refraction by the atmosphere crossed (bending angle () is converted into a phase shift that is accurately measured and is converted into the refractivity profile as time elapses during the occultation process, lasting about 90 s.

Fig. 2.20 - Principle of radio-occultation sounding. During setting or rising of the GPS satellite over the horizon of the LEO satellite, the refraction induced by the crossed atmosphere changes the direction of propagation by a bending angle (.

The refractivity is linked to the atmospheric variables by the following relation:

N = (n-1)(106 = 77.6 ( p / T + 3.75(105 ( pw / T2				[21]

with N = refractivity, n = refractive index, p = dry-air pressure, pw = water vapour partial pressure, T = temperature.  The coefficients are given for p and pw in hPa, and T in Kelvin.

It is noted that the phase shift is ultimately a time measurement, one of the most accurate measurements in physics.  The other measurement is the distance between satellites.  Since time and distance are fundamental metric quantities, radio occultation provides “absolute” measurements (not requiring calibration): this is a very attractive feature for application to climate monitoring.  In fact, long-term observations of radio occultation is considered a benchmark to detect climate change.

Radio occultation data are difficult to process, first because the position of the tangent point (see Fig. 2.20, right hand panel) moves during the profile measurements, and second because pressure, temperature and humidity are not measured independently.  Therefore, 4-D assimilation in a Numerical Weather Prediction model (NWP) is needed.  It is less an issue for temperature retrieval in the upper troposphere and stratosphere since water vapour content is very low, and in the lower troposphere where water vapour is responsible for most of the variance.

The vertical resolution of radio occultation profiles in the upper troposphere and stratosphere, some 0.5 to 1.0 km, cannot be matched by cross-nadir viewing IR or MW measurements (1.5 to 2 km).  In addition, the frequencies utilised (L-band, see Table 1.9) are insensitive to clouds, even if precipitating, therefore the measurement, although essentially performed in a limb mode, can be extended down to the Earth surface, for example, to observe atmospheric discontinuities such as the height of the top of the Planetary Boundary Layer.  Furthermore, through the correlation between the tropopause height and the air pressure at ground, radio occultation is one of the few methods to infer surface pressure.

In order to account for the signal rotation induced by the ionosphere, the transmission from navigation satellites exploits at least two nearby frequencies.  The correction process provides, as by-products, information relevant to Space Weather such as:

- the Total Electron Content (TEC)

- the electron density profile.

# 2.2.5.2	Radar

The radar (RAdio Detection And Ranging) transmits pulsed signals to the object to be observed, and collects the backscattered signal.  In essence, it measures distance (or range) and the backscattered power as a consequence of the radar reflectivity or radar cross-section of the body.

The radar equation may be written in different forms.  The easiest to understand is:

[22]

where Ps is the power backscattered to the antenna, Pt is the power transmitted by the antenna, G the antenna gain, Aeff the effective area of the radar receiving antenna, r the distance, and ( the radar cross section.  PtG/4(r2 is thus the power hitting the target at distance r, PtG/4(r2(( the power reflected by the target, PtG/4(r2(( / 4(r2 the fraction of (isotropically) reflected power reaching back the antenna.

It is of interest to note that the antenna gain may be expressed as G = 4((Aeff / (2 (a relation directly deriving from the diffraction law) that, by replacing Aeff in [22], yields:

[23]

Different types of radar favour either the accuracy of measuring range (e.g., altimeters) or reflectivity / cross-section (e.g., scatterometers).  Radar for clouds and precipitation focus on both range (for vertical profiling) and reflectivity. Another feature that can be emphasized is image resolution by Synthetic Aperture Radar (SAR).

# Radar altimetry

The main purpose of altimetry is to measure the sea level and to map it so as to determine the ocean dynamic topography. The radar characteristics are optimized to enhance as much as possible the range measurement. The sea level is measured by the time spent by the radar pulse in reaching the sea surface and returning to the satellite. The sea level is computed as distance from the satellite, that therefore needs to be located with extreme accuracy.  Precision orbit is retrieved by means of one or more of the following systems:

- laser tracking of the satellite by ground stations and laser reflecting mirrors on the satellite;

- radio positioning based on networks of ground transmitting-receiving stations and a transponder on the satellite;

- GPS receiver aboard the satellite.

A drawback of radar altimetry is the need to limit viewing to nadir, otherwise the echoes from surrounding areas interfere in the time analysis.  The observing cycle is therefore very long.  Corrections to the signal are requested to account for ionospheric rotation (two frequencies are used to this end: main ( 13.6 GHz, supportive ( 5.3 GHz) and water vapour (a co-aligned MW radiometer is used, with main channel ( 23 GHz and supporting channels ( 35 and/or ( 19 GHz).

In addition to measuring the range, an altimeter also records and analyses its fluctuations; and measures the intensity of the echo.  The observations provided are:

- significant wave height, from the analysis of the spread in time of the collected echoes;

- sea level, after filtering the fluctuations due to waves and considering the instantaneous satellite altitude with respect to the geoid;

- wind speed, from the analysis of the fluctuation of the echoes’ intensity;

- improvement of the knowledge of the geoid, from long-term statistics of the observed sea level;

- Total Electron Content (TEC), as a by-product of the correction for ionospheric rotation performed by using two frequencies.

# Radar scatterometry

Unlike radar altimetry, where the focus is on range measurement, radar scatterometry optimizes the accuracy of the measured radar cross section ( (see eq. [23]), often normalised and called (0 (sigma-naught).  The ranging subsystem may even be absent from the instrument, but calibration must be extremely accurate.

The radar cross section is a function of the target’s dielectric property, the viewing geometry, and the incident radiation (wavelength, polarisation).  In the case of scatterometers, the main application is sea surface wind.  The target consists of the capillary waves, closely associated to wind stress.  (0 changes with wind speed and relative direction of wind and sight line.  By measuring (0 under several azimuth angles, both speed and direction can be determined.

The relation between (0 and wind is rather complicated, and the practical solution is empirical or semi-empirical.  Furthermore, it is not unique in terms of direction: with two viewing angles several ambiguities remain, less with three.  When the (0 values are directly assimilated in a NWP model accounting for wave-atmosphere interaction, ambiguities are solved by the model.

The differences between wind measurements by scatterometers and by passive MW radiometers can be summarized as follows:

- passive MW in general provides information on wind speed only.  The information on direction can only be acquired if several radiometric channels are equipped with full-polarisation capability;

- the information from scatterometry has generally better quality, especially for low wind speed (less than ( 3 m/s), whereas for high speed (more than ( 20 m/s) passive MW may perform better.

Primarily designed for sea surface wind, scatterometers provide several kinds of observations, including:

- sea surface wind in all-weather conditions (C-band) or nearly-all weather conditions (Ku-band);

- air pressure over the sea surface by applying geostrophic relations to the wind maps;

- soil moisture in scarcely vegetated areas (by C-band, whilst marginally with Ku-band);

- Leaf Area Index (LAI) or total biomass on dense vegetation (forest);

- ice type (age, roughness) in the polar caps;

- snow water equivalent (Ku-band preferred).

# Cloud and Precipitation radar

While the radar altimeter focuses on ranging and the radar scatterometer on the radar cross-section, cloud and precipitation radar place emphasis on both.  Ranging is necessary to measure the vertical profile of the cloud particles, and ( to infer the concentration and size of the reflecting particles.  However, the ranging accuracy requirement for precipitation profile retrieval is of the order of 100 m, instead of 1 cm for altimetry.

For rain droplets, provided that their diameter D is less than (/10 (i.e. in Rayleigh scattering conditions), the radar cross section is:

where K is the dielectric constant				[24]

The total backscattered radiation received by the radar is the sum of all reflectors of all diameters in the IFOV.  Assuming a Marshall-Palmer distribution (N0(e-(D) for the particle diameters we have for the total reflectivity:

(valid for D << ()			[25]

Eq.s [24] and [25] are generally applicable to ground-based meteorological radar, that exploits S-band (( 10 cm) or C-band (( 5 cm), to be compared with D ( 0.5 cm (typical of precipitating clouds).  These frequencies are not used from space since the corresponding IFOV at ground, with an antenna of reasonable size, is too coarse.  Because of frequency regulations, the frequencies that can be exploited by a spaceborne radar are ( 14 GHz (( 2 cm), ( 35 GHz (( 0.9 cm) and ( 94 GHz (( 0.3 cm).  Therefore, eq.s [24] and [25] are not fully applicable, but must be corrected in a complicated way to account for Mie scattering conditions.

Once the reflectivity Z is measured, several relations are available to convert Z into precipitation rate R.  The next step is to infer the precipitation rate at the surface, that cannot be directly measured from space, but must be derived from the measured properties in the vertical column associated with the precipitation profile.

Cloud and precipitation radar is the only technique that can provide measurements of the cloud base, an important variable for aeronautical meteorology and for climate.  The accuracy and reliability of the measurement depends on the radar frequency, that must penetrate the full cloud thickness. From an operational viewpoint, cloud and precipitation radars have several limitations, particularly the limited swath that prevents frequent observing cycles.  Therefore, passive MW imagery remains the basis for frequent precipitation observation.  However, the accuracy of precipitation data from passive MW radiometry needs improvement.  The continuing availability of at least one radar in space is necessary for “calibrating” the system of passive MW radiometers, along the lines of the concept for the Global Precipitation Measurement (GPM) mission.

# Synthetic Aperture Radar (SAR)

In the MW range, spatial resolution is limited by diffraction.  For a side-looking radar viewing (° off nadir, at orbital height H and with an antenna diameter L, assuming flat surface, the IFOV is:

[26]

Table 2.10 shows the IFOV and L relationship for radar in several bands, assuming ( = 23° and H = 700 km (parameters of the SAR on SeaSat, Fig. 2.21).  It illustrates that requirements for IFOV = 1 km would be very difficult to meet, and requirements for IFOV = 100 m or below would be impossible with a  real-aperture antenna concept.

| Table 2.10 - Examples of corresponding resolutions and antenna sizes for typical frequencies used in SAR |
| --- |
|  | L-band (~ 1.3 GHz) | C-band (~ 5.4 GHz) | X-band (~ 9.6 GHz) |
| IFOV for L = 1 m | 220 km | 60 km | 30 km |
| Required L for IFOV = 1 km | 220 m | 52 m | 30 m |
| Required L for IFOV = 100 m | 2,200 m | 520 m | 300 m |
| Required L for IFOV = 10 m | 22,000 m | 5,200 m | 3,000 m |

Fig. 2.21 - Principle of SAR.

In the SAR concept (Fig. 2.21) the antenna is elongated along the satellite motion.  Its narrow  dimension determines the swath, parallel to the sub-satellite track.  The longer side determines the area where signals are to be analysed. Although the radar footprint corresponds to that of a real-aperture antenna, the resolution elements in the field (pixels) have different situations. The pixels across the swath are at different distances from the satellite, therefore the capability of discriminating small range changes enables locating them.  The echoes from the pixels ahead of the sub-satellite cross-track line are affected by positive Doppler shift (frequency higher than the transmitted one); those from pixels behind this line undergo negative Doppler shift: capturing the instant of shift inversion enables assigning the pixels with a location along the satellite motion direction.

SAR may be used in different operating modes, depending on the trade-off between resolution and swath, and of the combination of transmitted and received polarisations.  One particular operating mode is for wave spectra.  A small part of the image (vignette) is sampled at intervals (for Envisat, a 5 km x 5 km vignette at best spatial resolution, 30 m, each 100 km along track).  The echoes in the vignette are analysed to plot the power spectra from which it is possible to determine the dominant wave direction, the dominant wave length/period and power, associated to the significant wave height.

The list of SAR applications is rather large, although not all bands are suitable for all applications:

- ocean circulation features (eddies) and waves (preferably L-band)

- ocean pollution and oil spills (preferably C-band)

- sea ice cover and type (age) (any band)

- land ice cover (glaciers) (any band)

- snow melting conditions and snow water equivalent (preferably X-band)

- surface soil moisture (L-band preferred, especially for the roots region)

- vegetation type (preferably C-band) and total biomass (preferably P-band)

- land use and urbanisation (preferably C-band)

- geological structures detection (preferably X-band)

- disaster monitoring and damage inventories (preferably X-band)

- ship traffic surveillance and military surveillance (preferably X-band).

Other important applications are possible by exploiting interferometry.  This is possible because the phase control of the SAR signal is extremely accurate, thus signals from different orbits of the same satellite or different satellites can be accurately co-registered to implement interferometry.  This enables, for instance:

- retrieving land surface topography for improved Digital Elevation Model (DEM)

- measuring iceberg height.

By exploiting interferometry between passes of the same satellite in an orbit with a repeat cycle, changes can be measured, for instance:

- iceberg drift

- variations of glacier cover and lake extent

- volcanic surface topography changes and bradyseisms

- coastal erosion

- urbanisation.

# 2.2.5.3	Lidar

The principle of lidar (LIght Detection And Ranging) is the same as that of radar, but the e.m. range is different: MW for radar, short-wave for lidar.  Most lidars make use of wavelengths in the UV (e.g., 355 nm), VIS (e.g., 532 nm), NIR (e.g., 1064 nm) or SWIR (e.g., 1550 nm); but longer wavelengths (e.g., 10.6 (m) may be used.  The source, a laser (Light Amplification by Stimulated Emission of Radiation), is extremely directional, but the large satellite-Earth distance requires high electric power; and the collection of the backscattered signal requires large telescopes.  Therefore, the use of lidar in space implies considerable resources.  As a consequence, although, in principle, lidar could be driven to scan an area for imaging purposes, lidar systems in space, so far, have only been nadir-pointing or, in any case, mono-directional.  The following missions are lidar-based:

- Backscatter lidar, for aerosol and cloud top height

- Doppler lidar, for wind profile in clear-air

- Lidar altimeter, specifically for sea ice

- Differential Absorption Lidar (DIAL) for atmospheric chemistry.

# Backscatter lidar

Backscatter lidar primarily addresses observation of aerosols.  This implies the use of wavelengths comparable with the size of very small aerosols (( 1 (m).  In order to capture more aerosol properties (size, phase, absorption/scattering ratio, ultimately type) more concepts have been elaborated, some based on the use of two wavelengths, some on High Spectral Resolution Laser (HSRL) to discriminate Mie and Rayleigh scattering components.  In any case, a backscatter lidar is a very large instrument (the telescope may have ( 1 m aperture).  The footprint may be as small as a few tens of metres, but more decorrelated echoes are averaged to increase Signal-to-Noise Ratio (SNR), so that the final resolution lies in the range of a few hundred metres.  The vertical resolution, determined by the lidar ranging system, is set to a few hundred metres.

Designed primarily for aerosols (the most demanding mission), the backscatter lidar provides different kinds of observations, including:

- aerosol profile and aerosol properties (size, phase, absorption/scattering ratio, type)

- cloud top height much more accurately than with passive NIR and IR techniques

- optical thickness of thin clouds (cirrus) and cloud base of semi-transparent clouds

- Polar Stratospheric Clouds (PSC)

- atmospheric discontinuities such as tropopause and top of the Planetary Boundary Layer as revealed by the change of refractivity index.

# Doppler lidar

Doppler lidar primarily addresses observation of wind profiles, a primary variable for weather forecasting.

The current operational technique available to observe wind profile consists of tracking the movement of clouds or water vapour patches in frequent images from geostationary satellites, or from polar orbiting satellites in polar areas with frequent satellite overpasses. This limits the measurement availability to altitudes where tracers are present (generally one layer, sometimes two). With the expected advent of hyperspectral IR sounding in GEO, frequent water vapour profiles will be available, and water vapour patterns will be tracked at several heights, but vertical resolution and accuracy are expected to be limited and coverage will not include high latitudes.

While cloud motion tracking is the only technique available for cloudy areas, the Doppler lidar enables tracking features in clear air.  The tracer consists of eddies of the turbulent atmosphere, of aerosols, and of molecular scattering.

Exploitation of the Doppler shift due to the wind implies oblique viewing.  The laser pulse repetition frequency is such that the corresponding IFOV may be less than 100 m.  However, as in any radar or lidar, a number of decorrelated echoes need to be averaged to improve SNR: the final resolution is an IFOV as large as several tens of kilometres.  Because of limited availability of electric power, the instrument has a limited duty cycle, for instance sampling at 200 km intervals along a line parallel to the sub-satellite track.  The vertical resolution of the retrieved wind data depends on the time sampling rate of the return echo.  This is adjusted for a vertical resolution of about 1 km in the mid-troposphere, less in the PBL, more in the stratosphere.  Obviously, no technique based on cloud and water vapour tracking from GEO can compete with this performance.  The anticipated accuracy of the wind horizontal component is less than 2 m/s.

A Doppler lidar is a very large instrument (the telescope may have 1.5 m aperture) and requires a dedicated satellite in an orbit lower than that usually employed for meteorological satellites.  A major limitation of wind lidar is the coverage. Since one instrument only covers a line parallel to the sub-satellite track, a constellation of satellites would be required to provide frequent coverage.  As long as the sustainability of such a constellation cannot be achieved, the baseline system for wind profile will continue to consist of imagery and hyperspectral sounding from GEO, with Doppler lidar only providing support for the overall system calibration.

Another difficulty with wind lidar is that the measurement is only along-sight (1-D) and the retrieval of the required 2-D horizontal component requires assimilation in a NWP model.

Designed primarily for wind, which is the most demanding mission, the Doppler lidar provides several kinds of observations, including  :

- wind profile in clear-air or in the presence of thin cirrus

- aerosol profile (from echo intensity)

- cloud top height.

# Lidar altimeter

Although radar altimeters may provide measurements as accurate as a few centimetres, their horizontal resolution is rather coarse (above 20 km).  By implementing SAR processing of the along-track signal, the resolution can be brought to ( 300 m which is still insufficient for accurate detection of boundaries.  Another limitation of radar altimeters is their unsuitability for observing surfaces with high emissivity, thus low reflectivity, in the MW range, for examples: land and ice.

Lidar does not have these problems.  The horizontal resolution may be a few tens of metres and the vertical resolution less than 10 cm.  This fine resolution makes it possible to capture the border between sea water and polar ice and to profile the height along-track, i.e., after successive passes, to map ice thickness.

In order to operate over the sea in spite of very low reflectance in the VNIR, a lidar altimeter must have a rather large telescope (aperture ( 1 m).  Thus, to improve cost-effectiveness, a sensor using a second wavelength to observe the atmosphere is usually added (e.g., 1064 nm for surface and 532 nm for atmosphere) to operate as an ordinary backscatter radar.

As for any other altimeter, the lidar altimeter requires extremely accurate orbit determination since the basic ranging measurement provides the distance of the object from the satellite in orbit.  Precise orbit determination is achieved by a GPS receiver, and laser ranging from a network of ground stations with an array of retroreflectors to the satellite.

Lidar altimeter applications include:

- sea ice thickness and polar cap topography

- sea level and ocean dynamic topography

- contribution to the improvement of the knowledge of the geoid

- land surface topography, including glaciers and lakes

- aerosol profile and aerosol properties

- cloud top height, optical thickness of thin clouds and cloud base of semi-transparent clouds

- Polar Stratospheric Clouds (PSC)

- atmospheric discontinuities such as tropopause and top of the Planetary Boundary Layer.

# Differential Absorption Lidar (DIAL)

The principle of Differential Absorption is to perform complementary observations at an absorption peak of a target species and in a nearby atmospheric window.  Using lidar for this purpose constitutes the only way to achieve high-vertical-resolution profiles in the Planetary Boundary Layer, where high-vertical-resolution is most important.  Of course the profile is also observed in higher layers including the stratosphere.

The conditions for DIAL to be applicable are that the species is relatively abundant; that the absorption line is strong and lies in a spectroscopically “clean” region; and that there is a nearby “clean” atmospheric window.  Examples of possible applications are:

- CO2 by exploiting lines at 1.57 (m in the 1.6-1.7 (m or 2.05 (m in the 2.0-2.3 (m window

- H2O by exploiting lines at 935 nm with windows on both sides

- O3 by exploiting lines and windows in the 305-320 nm region.

Missions exploiting DIAL are only at the stage of proposal or feasibility study.  Since the spectral bandwidth (thus the energy available for the observation) is very narrow and the reflector (a gas) is very weak, the instrument has to be very large and the overall measurement is technologically challenging.

# 2.3	Space and Ground segments

Earth observation from space implies a complex system composed of:

- a Space segment to perform the observations

- a Ground segment to manage the space segment and process the observation data.

# 2.3.1	The Space segment

The space segment of a satellite system includes:

- the platform (also referred as bus)

- the embarked instruments

- the communication tools to receive commands and convey the instrument output to the ground.

Satellites for Earth observation may be of size/mass ranging over two orders-of-magnitude:

- nanosat: < 10 kg (actually unlikely to be used for operational Earth observation)

- microsat: 10-100 kg

- minisat: 100-500 kg

- smallsat: 500-1000 kg

- mediumsat: 1-2 tons

- large facility: > 2 tons.

# 2.3.1.1	Platform services

The satellite platform hosts the instruments and provides several services:

- power supply for instruments, telecommunications, and all other satellite subsystems

- navigation facilities for geographical referencing of the observations

- attitude control for correct pointing of instruments and stabilisation

- thermal control to keep the instruments within the specified operating condition

- housekeeping devices to monitor and control the status of all satellite sub-systems

- propulsion for orbit keeping and, if needed, orbit change

- processing capability to administrate the various platform sub-systems

- processing capability to handle the instruments data and format data streams to be transmitted

- storage device for onboard global data recording

- communication facilities to receive commands from the ground

- communication facilities to transmit the observational and housekeeping data to the ground

- other communication services where the platform has only a data relay function.

# 2.3.1.2	Navigation and positioning systems

Navigation and positioning systems are necessary for geo-location of the observed data, both during viewing and after, for ground processing.  The following systems are utilised:

- Laser retroreflectors

- GNSS receivers

- Radio-positioning systems

- Star trackers.

# Laser retroreflectors

These are mirrors (generally cube corners) reflecting laser beams sent to the satellite by ground laser-equipped sites during positioning sessions.  Laser retroreflectors are used on many satellites for a-posteriori precise orbit determination by post-processing of a few measurements in night time and clear sky only.  The analysis involves a full network of coordinated ground stations.  The results are sparse and only available with delay but very accurate to the extent that they can be used for space geodesy applications.

# Radio-positioning systems

These systems imply radio links between the satellite and ground transmitting and/or receiving stations.  Positioning is performed in near-real-time and, with improved accuracy, after post-processing.  Specifically designed to support altimetry missions, two such systems are:

- DORIS (Doppler Orbitography and Radiopositioning Integrated by Satellite), measuring the Doppler shift  of signals from ground stations;

- PRARE (Precise Range And Range-rate Equipment), measuring differential signals from a ground stations network.

# GNSS receivers

These systems exploit the phase difference of signals from several satellites of the Global Navigation Satellite System (GNSS).  The GNSS includes the navigation satellite constellations of the USA (GPS), the Russian Federation (GLONASS), the European Union (Galileo), and China (Compass, also named Beidou in Chinese).  A large number of satellites currently utilise GNSS receivers to support their navigation.  Positioning is performed in real-time.

# Star trackers

These are charge-coupled device (CCD) imagers that track bright stars, recognise their pattern, and send information to the satellite attitude control system.  Star trackers provide continuous monitoring of the satellite attitude, much more accurately than systems based on horizon sensing.  This is necessary for instruments requiring accurate pointing information (e.g., limb sounders), both for active attitude control during flight and for the subsequent instrument data processing.  An increasing number of satellites is presently equipped with star trackers.

# 2.3.1.3	Orientation and stabilisation

The orientation and stabilisation systems are primary platform features that determine the instrument pointing capability.

The orientation of the platform’s side equipped with the sensors should ideally be kept towards the Earth surface, unless the satellite mission has a different purpose (e.g., monitoring the Sun).  Since the platform, during its orbital motion, tends to keep a steady orientation with respect to the stars, a stabilisation mechanism is necessary.

The easiest (passive, inertial) stabilisation mechanism is spinning.  The spin axis tends to have constant orientation with respect to the stars, therefore it does not fulfil the Earth orientation requirement.  For GEO satellites, the spin axis may be set parallel to the Earth rotation axis, thus the Earth surface is scanned for a fraction of time (about 5 %) at each satellite rotation.  For low orbiters, the orientation of the spin axis may be set specifically to enable instrument pointing towards the Earth surface for a fraction of time.  In any event, spin stabilisation: (i) is only suitable when the instrument radiometric budget is sufficient to the measurement purpose in spite of the small fraction of useful observing time, and (ii) can be implemented only for one or very few instrument(s) on one platform.

Three-axis stabilisation is much more suitable to keep constant Earth-orientation and support more instruments on one platform.  This implies active control of the satellite attitude with respect to rotations around:

- the axis perpendicular to the orbital plane (pitch)

- the axis tangent to the instantaneous motion in orbit (roll)

- the nadir direction (yaw).

Active control is critical because it implies accurate attitude determination (e.g., by horizon detection, star trackers, GNSS receivers) and efficient actuators (micro-propulsion devices, gyros, very fine angle change detectors, efficient control electronics).  It is among the primary causes of mission failures.  It is noted that active control may affect data quality because of:

- limited accuracy, particularly in the case of high-resolution instruments and high orbits (GEO)

- mechanical perturbation of the instrument pointing associated with turning-on the actuators.

In addition to the main orientation and stabilisation systems (by spin and by 3-axis control), smart attitude control systems are in use, especially for small satellites.  For instance, the gravity-gradient system exploits a long boom that tends to the nadir direction, thus keeping one platform side oriented toward the Earth surface.

# 2.3.1.4	The housekeeping system

A basic trade-off for satellite design lies between the capabilities that are implemented onboard and those that can be achieved on the ground if sufficient information regarding onboard features is available.  Hardware implementation onboard may be expensive, prone to irrecoverable failure, and provide limited performance.  Therefore, it is convenient to reserve hardware implementation to cases when it is absolutely indispensable and reasonably safe.  Moreover, the housekeeping system provides the ancillary information necessary to accurately process the data on the ground.

The housekeeping system manages both the platform (deformations, temperature of radiant surfaces, attitude, status of the power generators and all other sub-systems) and the instruments (status and temperatures of the various parts, control signals for the electronics, etc.).  In general, instrument housekeeping is, at least partially, implemented inside the instrument itself.

The amount and completeness of housekeeping constitutes a discriminating factor for the class of a satellite.  In particular, operational satellites are equipped with plenty of housekeeping devices for sub-systems monitoring and possible activation of recovery manoeuvres (e.g., by switching to redundant units).  It is important to note that the housekeeping information is also basic for accurate instrument calibration and data geo-referencing.

Notwithstanding the importance of a good housekeeping system, there are limitations to the accuracy of what can be achieved by such software processing.  The residual errors of software corrections or re-constructions may exceed what is allowed by the application.  Therefore, certain corrections need to rely on onboardhardware.

# 2.3.1.5 	Data transmission

The platform must transmit to the ground the results of the observations from the various instruments.  Whatever the satellite height over the Earth surface, radio transmission to the Earth will have to cross the ionosphere and plasmasphere, blocking the propagation of electromagnetic waves with frequencies lower than the critical plasma frequency (~ 25 MHz).  Direct visibility is needed between the transmitter and the receiver on the satellite and the ground station.

The simplest concept for collecting the observed data from the satellite is by direct broadcast in real time.  For a LEO satellite, a ground station will acquire all data that the satellite transmits when passing within the acquisition range.  The size of the acquisition range is the same as the FOV satellite for zenith angle: ( = 90° (in principle), or ( = 85° (safer from interferences from ground sources or occlusion from orography).  From Table 2.1 it is seen that, for instance, for a satellite height of 800 km, the acquisition range is a circle of 5000 km diameter (for ( = 85° or elevation = 5°).  The satellite velocity being in the range of 400 km/min, the acquisition session lasts at most 15 minutes when the satellite pass is centred over the acquisition station, and is reduced to a few minutes for peripheral passes.

This type of acquisition is the most convenient because it provides the observed data to the user in real time for immediate processing.  However, only data observed and transmitted during the satellite pass inside the acquisition range can be acquired by the local receiving station.  For GEO, direct broadcast can be continuously received by a station located within the field of view.

An alternative type of LEO data reception is to store the observed data onboard and transmit them on command when the satellite overflies a central acquisition station. The central station, also used to send commands to the satellite, has the same acquisition range as any local station;  if it is placed at high latitude, it can collect data from many orbits. Table 2.4 shows that most Sun-synchronous orbits pass less than 10° from the pole, therefore a central station placed at a latitude of, say, 80°, will intercept all orbits and provide global data acquisition.  The store-and-dump acquisition has the advantage of enabling data recovery for the whole globe, but it has several drawbacks:

- Access to data is slower, since the delay includes the time needed to run the whole orbit (up to 100 min), to receive at the central station (order of 10 min), to relay to the central processing facility (order of 10 min) and to re-distribute to the users (order of 10 min), for a total delay of availability of 2-3 hours.

- The satellite has to transmit the data accumulated during one orbit (~ 100 min) within the time spent within the acquisition range of the central station (~ 10 min).  Therefore data rate and bandwidth need to be one order of magnitude higher than for direct read-out, which heavily impacts on cost, size and complexity of the station. This acquisition mode is relevant for the satellite operator but generally not suitable to an individual user.

- There are instruments with data rates so high that they cannot be fully stored onboard: selection of data to be stored may be needed, either by reducing the resolution or by prior selection of frames  (e.g., the Local Area Coverage, LAC, mode of NOAA POES satellites).

If not acquired locally in real-time, the data gathered in a central processing facility need to be retransmitted to the users, generally after pre-processing.  In the case of GEO satellites, a transponder on the same satellite can be used for data re-transmission to local user stations.

For LEO satellites, between the two extreme cases (direct read-out providing data over a limited area in real time; or store-and-dump global data with 2-3 hours delay), there are alternative or complementary data recovery schemes:

- to use several downlink stations spread over the globe, including, e.g., one near each polar region, thus reducing the time of data storage aboard the spacecraft;

- to use a network of direct-read-out stations spread over the globe, each one acquiring data on limited areas and re-transmitting them to data centres, thus reducing the delay of availability to a few tens of minutes, though not necessarily achieving global coverage;

- to use a Data Relay Satellite (DRS) to receive the data in real-time from the observing platforms and relay to the central processing facility, thus reducing the delay to few minutes.

Data recovery timeliness is a critical issue for operational satellites, specifically for meteorology, because of the co-existing requirements for timeliness and global coverage.  For research and development applications the timeliness requirement is less stringent, therefore the store-and-dump modality is the rule, associated with effective archiving and retrieving facility, that provides advanced data stewardship.

# 2.3.1.6 	Data relay services

In addition to providing Earth observation data from the platform in orbit, satellites can support other services acting as telecommunication relay.  The most utilised are:

- Data collection from in situ platforms located on ground, on aircrafts, on balloons, on buoys, on ships and even on migrating animals.  The Data Collection Platform (DCP) may transmit all the time, or at fixed intervals, or upon interrogation from the satellite.  Mobile platforms may be located from the satellite if in LEO.  GEO satellites serve either DCPs within their line of sight (regional) or DCPs carried on mobile platforms (ships, aircraft, etc.) migrating within the view of different GEO satellites (international).

- Search & Rescue by detecting distress signals from small transmitting equipment carried by people lost, and relaying the request for help to one of the centres of a worldwide S&R network.  The S&R mission is cooperatively implemented by several operational meteorological satellites in LEO and GEO.  The service from LEO is named SARSAT (Search and Rescue Satellite-Aided Tracking System), the one in GEO GEOSAR (Geostationary Search and Rescue).

- Relay of meteorological information from the meteorological centres to the end users in a broadcasting modality or to selected centres within view of a GEO satellite.  The up-linking function may be performed by the central facility of the system, or be delegated to auxiliary stations close to the information production centre, equipped to uplink the satellite.

# 2.3.2	The Ground segment

The ground segment of a satellite system includes:

- the central station for satellite command and global data acquisition

- peripheral stations for data acquisition

- the mission and operations control centre(s)

- the data processing and archiving centres

- the data and products distribution systems

2.3.2.1 	Central station for satellite control and global data acquisition

This element of the ground segment may be generically indicated as Command and Data Acquisition station (CDA).  Typical tasks of a CDA are:

- collection of command sequences from the mission and operations control centre and up-link commands to the satellite (for payload configuration, satellite configuration, orbit control, etc.);

- acquisition of satellite telemetry data (for attitude and orbit determination, satellite and payload status, etc.) and immediate delivery to the mission and operations control centre;

- acquisition of geophysical and ancillary (housekeeping, calibration, etc.) data and delivery to the data processing and archiving centre;

- appending the acquired data streams with accurate time and ephemeres information.

It is possible to have only one CDA for geostationary satellites.  For near-polar satellite systems, it is possible to avoid blind orbits by placing the CDA at a very high latitude (e.g., Svalbard at 78°N).  In order to improve the timeliness of observing data availability, auxiliary stations may be utilized (e.g., an Antarctic station).  For low-inclination orbits, a network of CDAs is necessary, with one being the main CDA.

The CDA makes use of frequencies in the S-band (around 2100 MHz) to command the satellite. S-band is nearly insensitive to weather and less critical to pointing accuracy. For geophysical data acquisition, the L-band is used (around 1700 MHz) if the data rate is below 10 Mbps; otherwise the X-band (around 8 GHz) for data rates up to some 100 Mbps; or the Ka-band (around 26 GHz) for data rates of several hundreds of Mbps.

2.3.2.2 	The mission and operations control centres

These elements are generically indicated as Operations Control Centre (OCC).  Their tasks are:

- to collect information on satellite, payload, and orbit status from the CDA and (as the orbit is concerned) from other ranging stations;

- to collect requirements for payload configuration, measurement sequence planning, etc., from the data processing and archiving centre and from other users entitled to input requirements into the mission plan;

- to analyse the information on satellite, payload, and orbit status, and on payload/mission configuration requirements; to generate instrument performance monitoring reports; to elaborate the operations plan and to deliver the commands to the CDA for up-linking the satellite;

- to provide the data processing and archiving centre with ancillary information relevant for data processing, resulting from the operations/payload/mission control activities (accurate orbit determination, satellite attitude behaviour, payload status, etc.).

The mission control centre is closely connected with the users,  application centres, and scientific teams.  The operations control centre is closely connected with the CDA and the units responsible for the satellite development, with full knowledge of satellite design features.  The two centres are often co-located, although this is not compulsory, and preferably secured by a back-up centre.

2.3.2.3 	The data processing and archiving centres

These elements are responsible for:

- acquisition of geophysical, calibration and selected auxiliary data from the CDA

- acquisition of auxiliary data on orbit, satellite and payload from the OCC

- monitoring instrument calibration and performing inter-calibration as appropriate

- generation and quality control of the various products

- archival of all products

- distribution of a selection of products

- analysis of mission and payload status and of requirements for mission planning

- delivery of requirements for payload and mission control to the OCC.

Core product generation is normally performed by the satellite operator at a central facility and may be supplemented by processing of specific products by external specialized centres.

Satellite data archiving requires maintaining high availability of hardware for data ingest, storage, as well as discovery and retrieval services, with provisions for long-term data preservation over decades. Data must be associated with metadata containing all information necessary to use and evaluate the data. Comprehensive and standardized metadata, standardized and globally interoperable catalogue systems enable extending data discovery to the worldwide scale within the WMO Information System (WIS).

2.3.2.4	Data and products distribution

Depending on the data volumes and the timeliness requirement, several means are available to access data and products:

- Direct readout from the satellite, when available, specifically in the case of LEO satellites; this provides the best timeliness but implies the capability to receive the raw data on an appropriate receiving station and to pre-process it with adequate software package;

- Near-real time satellite retransmission of data after on-ground pre-processing or full processing. For GEO satellites, retransmission may be performed through the same satellite. Nowadays, this retransmission is best achieved via commercial telecommunication satellite channels, as for instance the GEONETCast system, consisting of three coordinated services: EUMETCast (of EUMETSAT), CMACast (of the Chinese Meteorological Administration, CMA), and GEONETCast-Americas (of NOAA). With this approach the onward dissemination services can  be optimized within the ground segment, taking into account the various missions and product sources available, independently from the design constraints of any particular satellite;

- Near-real time retransmission of the data via specialised networks such as the WMO Global Telecommunication System (GTS) or other;

- Active FTP retrieval from data centres for off-line data, specifically from archives.

Data and product distribution may be subject to conditions, depending on the status and data policy of the space agency running the programme (operational, Research & Development, commercial) and the nature of the use. Access to data retransmission services is generally  controlled by encryption, and subject to registration, even if no cost is charged.

2.3.2.5	User receiving stations

User stations are installed to take benefit of real-time or near-real-time data transmission from the satellite.  Depending on the satellite access modality and the user requirement, there may be:

- high-data-rate acquisition stations for full information reception of data available either by open-access or under appointment with the satellite owner;

- low-data-rate acquisition stations for a selection of data reduced either in volume or in quality;

- receiving terminals of commercial telecommunication satellites used for data dissemination after pre-processing or processing in the data processing and archiving centre.

Frequencies used by the high-data-rate acquisition stations are in the L-band (around 1700 MHz) if the data rate is below, say, 5 Mbps; otherwise the X-band (around 8 GHz) for data rates up to some 100 Mbps.  The low-data-rate acquisition stations make use of relatively low frequencies (L-band around 1700 MHz for GEO, and VHF around 137 MHz for LEO) that can be exploited on mobile stations (e.g., ships).   Commercial telecommunication satellite terminals exploit Ku-band (around 11 GHz) or C-band (around 3.8 GHz).

      - Product processing levels

Satellite observations are retrieved from the raw data acquired from the instruments though a processing chain. Different processing levels are usually referred to, the detailed definitions of which depend on the instrument considered. Table 2.11 provides a generic description of these processing levels.

Level 0 data are processed from the raw data stream by removing communication artefacts (e.g., synchronisation frames, communication headers, etc.) and appending all necessary auxiliary data, including housekeeping and station-added information on timing and tracking.  Level 0 data should be archived permanently to enable reprocessing with an updated instrument model (e.g., for improved calibration or georeferencing).

Level 1a or 1.0 data consist of instrument files (counts) in the original instrument projection, with appended (but not applied) deformation matrix or algorithm for georeferencing, and calibration coefficients.  The process from Level 0 to Level 1a/1.0 is fully reversible.  Level 1a/1.0 data are normally permanently archived, although in principle they could be reproduced if Level 0 data have been archived.

Level 1b or 1.5 data consist of calibrated, co-registered and geolocated data in physical units (generally radiances) still in the original instrument projection.  The process from Level 1a/1.0 to Level 1b/1.5, because of truncation, discretization and resampling operations, is not reversible.  Although Level 1b/1.5 may in any case be re-processed from Level 1a/1.0 or Level 0, the processing effort is such that, in general, Level 1b/1.5 data are permanently archived.

Level 1c data are processed from Level 1b data of certain instruments to facilitate their utilisation by end-users.  The process may be fully reversible (e.g., spectra from interferograms by Fourier Transform) or not (e.g., apodised spectra). Generally archived permanently.  For certain instruments further Level 1 steps (1d, 1e, etc.) may be defined (e.g., addition of a cloud flag).

The Level 0 and Level 1 processing is performed by the satellite operator. In case of direct readout, the satellite operator generally ensures the availability of a Level 0 and Level 1 pre-processing software for local data users.

Level 2 products are generated from Level 1 by applying algorithms making limited use of external information.  Data quality information is appended.  Generated in the original instrument projection.  Generally archived permanently.

Level 3 products are generated by compositing a sequence of Level 2 products from successive orbits (LEO) or at successive times (GEO).  Possible gaps in the sequence may be filled by interpolation.  Due to the re-sampling operations implied by mapping on uniform space and time grids, Level 3 is an irreversible process. Products generated off-line by the satellite operators or by end-users, and generally archived permanently.

Level 4 products are generated by blending data from different instruments on the same or different satellites, or with other data sources, or by assimilation in a model.  In Level 4 products the contribution of a specific satellite instrument may be hardly recognisable.

| Table 2.11 - Generic description of processing levels (to be adapted to each instrument) |
| --- |
| Level | Description |
| 0 | Instrument and auxiliary data reconstructed from satellite raw data after removing communications artefacts |
| 1 | Instrument data extracted, at full original resolution, with geolocation and calibration information | 1a (for LEO) or 1.0 (for GEO): calibration and geolocation attached but not applied. |
|  |  | 1b (for LEO) or 1.5 (for GEO): calibration and geolocation applied. |
|  |  | 1c, 1d, etc: optional for specific instruments |
| 2 | Geophysical product retrieved from a single instrument in the original projection |
| 3 | Geophysical product retrieved from a single instrument, mapped on uniform space and time grid scales, possibly on a multi-orbital (for LEO) or multi-temporal (for GEO) basis. Irreversible process due to re-sampling operations. |
| 4 | Composite multi-sensor and/or multi-satellite products, or result of model analysis |

# Text boxes

(

(

H

R

Fig. 2.1 - Field Of View versus zenith angle (.

Swath

Decalage

ε

Fig. 2.6 - Definition of inclined orbit.

Winter

Summer

Spring

Autumn

06 / 18 LST

18 / 06 LST

00 / 12 LST

12 / 00 LST

Sun-synchronous orbit

Autumn

Winter

Summer

Spring

06 / 18 LST

18 / 06 LST

00 / 12 LST

12 / 00 LST

Polar orbit

Fig. 2.7 - (Left) Pure polar orbit with changing LST cross the year. (Right) Sun-synchronous orbit with fixed LST. cross the year.

Fig. 2.10 - Spectrum (transmissivity) of the electromagnetic radiation as observed from space with nadir viewing.  Range: 0.2 (m to 3 cm.

0.3 (m                    1.0 (m                   3.0 (m                   10 (m                    30 (m                    100 (m         0.3 mm ( 1000 GHz    1.0 mm ( 300 GHz   3.0 mm ( 100 GHz    1 cm ( 30 GHz     3 cm ( 10 GHz

0

0.3 (m                   1.0 (m                   3.0 (m                 10 (m                     30 (m                    100 (m         0.3 cm ( 1000 GHz   1.0 cm ( 300 GHz   3.0 cm ( 100 GHz   10 cm ( 30 GHz   30 cm ( 10 GHz

Wavelength ((m)

Fig. 2.11 - Atmospheric spectrum in the range 0.4 to 4.0 (m.  It includes several windows as well as absorption bands from Carbon monoxide (CO, around 2.3 (m), Carbon dioxide (CO2, around 1.6, 2.1 and 2.8 (m, Methane (CH4, around 2.3 and 3.4 (m), several Oxygen bands (main: around 0.77 (m), some nitrogen (N2) and ozone (O3) bands and many important bands  of water vapour (main : 0.94, 1.13, 1.37, 1.8 and 2.7 (m.

CO2

O3

H2O

N2O

CO2

CO

N2OCH4

H2O

Fig. 2.12 - Atmospheric spectrum in the range 3.33 to 16.67 (m.  The main atmospheric windows are in the ranges 3.7 to 4.0 and 10 to 12 (m.  There are large absorption bands from H2O and CO2.  Other species are: ozone (around 9.7 (m),  CH4 (around 7.7 (m), CO (around 4.6 (m) and N2O (around 4.5 and 7.7 (m).

Fig. 2.13 - Atmospheric spectrum in the range of 2 to 1000 GHz.  The dominant feature is the water vapour continuum that grows in opacity as frequency increases into the FIR range.  This prevents viewing the Earth surface at high frequencies from Space.  Invasive lines of ozone also dominate the spectrum.  The most useful features are the oxygen bands (around 57, 118, 388, 424, 487 GHz and above), used to infer atmospheric temperature, and the water vapour bands (around 22, 183, 325, 380, 448 GH and above). (from Klein and Gasiewski 2000, J. Geophys. Res.- Atmospheres, v.13, p.17481-17511).

I((()

(((,T)(I((()

ε((,T)(B((,T)

(((,T)(I((()

I(((,()

Fig. 2.15 - The three components of irradiance to Space.