Desired Learning Outcomes of the Technical Officer (Engineering) Initial Training Course

Scope:

Given the correct tools, reference material and within the existing environment at the BoM training facility at Broadmeadows, all trainees should be able to achieve the following Learning Outcomes within the 30 weeks allocated to the Initial Training course.

Key:  Existing; Safety related; Documentation; Suggested but not yet implemented

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Automatic Weather Stations (AWS) |  |  |  |  |  |  |  |  |
| Surface Observations (Observations Training Unit) | List the common manual observation instruments | Explain the principles of Surface Observations | Explain the practices of Surface Observations | Describe the duties of Observer Inspectors | Perform a simple observation to understand time/ task work difference | Explain the difference between Co-op and AWS data |  |  |
| AWS Data Quality | Explain the importance of correct AWS Siting and its documentation, and why these are not always achievable. | Explain the need for specifications of AWS sensors | Explain the importance of correct and accurate data | List the uses of AWS data | Analyse AWS data set and correctly identify erroneous, spurious or truncated information | Check data from AWS using SitesDb |  |  |
| Almos DDT | Describe hardware and software operation | Install new software | Correctly install hardware (eg. circuit cards and sensors) | Setup parameters for correct operation | Monitor remotely to ensure correct operation | Enter new equipment in SitesDb |  | Find and clear a SitesDb Action against AWS for software upgrade |
| Milos DDT | Describe hardware and software operation | Install new software | Correctly install hardware (eg. Modules and sensors) | Setup parameters for correct operation | Monitor remotely to ensure correct operation | Enter new equipment in SitesDb |  |  |
| Telmet 320 DDT | Describe hardware and software operation | Install new software | Correctly install hardware (eg. Modules and sensors) | Setup parameters for correct operation | Monitor remotely to ensure correct operation | Enter new equipment in SitesDb |  |  |
| AWS Performance checks | Explain sensor performance standards, tolerances and traceability | Complete visual Inspection: Screen earths, earth-loops, lightning protection etc. | Correctly monitor AWS 1-sec data output | Correctly complete a performance check of all sensors | Check data output for correct operation | Identify the hazards associated with performance checks | Enter sensor performance results into SitesDb | Carry out a full site inspection incl. skyline photographs |
| Ceilometer & Vismeter, (including “Thunder Storm” and “Present Weather” sensors) | Describe the hardware operation | Perform maintenance as per handbook | Remotely monitor and ensure correct performance | Identify the hazards associated with these equipments |  | Enter sensor performance results into SitesDb |  |  |
| Met Console | Install software manually | Re-install software from a Ghost image | Check data inputs and outputs using the “Debug” window to correctly diagnose data flow problems. | Correctly use “Maintenance mode” to disable Almos sensors and check Almos parameters | Correctly perform maintenance on main database: - Compact - Replace |  |  | Enter parameters in SitesDb under “Stored Objects” |
| Wind Data Transmitter (WDT) | Describe the hardware operation | Locally monitor data output and ensure correct performance | Remotely monitor data output and ensure correct performance | Identify the hazards associated with these equipments |  |  |  |  |

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Upper Air |  |  |  |  |  |  |  |  |
| Upper Air Soundings (Observations Training Unit) | Understand safe inflation of a meteorological balloon | Explain how an Upper Air Sounding is taken and why. | Explain how the Ground Check is performed prior to a sounding. | Explain how the Metgraph application is used by Observers |  |  |  | View data from an Upper Air sounding in SitesDb |
| Radiosonde Ground Station (DigiCORA III) | Back up the Parameters database and other essential files on the HDD | Make a Ghost image of the C: drive then restore the image | Update the files on the SPS311 receiver | Explain how the Radar communicates with Digicora III | Demonstrate correct maintenance procedures on the RB32 antenna |  |  |  |
| Hydrogen Safety | Explain the dangers of hydrogen and KOH | Explain the safety precautions required when working with hydrogen & KOH | Explain Hazardous Area Zones and Hazchem issues associated with H2 balloon facilities | Demonstrate understanding of need for and correct use of PPE. | Complete the 5-day training course on EEHA “Installation and Maintenance” | Conduct Earthing system checks for all hydrogen facilities |  |  |
| Electrolyser | Explain the operation of each major section | Perform standard TOeng maintenance checks & tasks | Successfully locate and rectify faults | Document faults adequately | Identify the hazards associated with Electrolyser |  |  |  |
| Hogen | Explain the operation of each major section | Perform standard TOeng maintenance checks & tasks | Perform common repair work |  | Identify the hazards associated with Hogen |  |  |  |
| Autosonde | Explain the operation of each major section | Demonstrate proficiency using Service Mode | Explain the operation of each sub-system | Calibrate the Hydrogen flow meter | Demonstrate safe procedures whilst working on the H2 Control unit. | Identify the hazards associated with Autosonde |  |  |
| Faultfinding 2 (Autosonde) | Successfully locate and rectify faults | Document faults adequately | Enter and clear an Action for a task in SitesDb |  |  |  |  |  |
| Remote Balloon Launchers | Explain the operation of each of the three types of RBL system | Perform standard TOeng maintenance checks & tasks | Demonstrate safe procedures whilst working on the H2 section. | Identify the hazards associated with RBL |  |  |  |  |
| Auto-ChangeOver Manifold for hydrogen cylinders | Explain the operation of the ACOM | Perform standard TOeng maintenance checks | Demonstrate safe procedures whilst working with H2. |  |  |  |  |  |
| Hydrogen Pipe Fittings | Attend a Swagelok course | Certificate |  |  |  |  |  |  |

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Radar |  |  |  |  |  |  |  |  |
| Doppler Radar principles | Explain the principles of operation | Explain how a Doppler radar measures rainfall rates |  |  |  |  |  |  |
| Wind Profiler principles |  |  |  |  |  |  |  | Explain the principles of operation |
| Pulsed Radar principles | Explain the principles of operation | Explain the operation of each major module | Explain the operation of major radar Tx components |  |  |  |  |  |
| EEC Radar WF100 5c | Explain the operation of the Transmitter | Demonstrate correct procedures for testing and adjusting the Transmitter | Explain the operation of the Receiver | Demonstrate correct procedures for testing and adjusting the Receiver | Explain the operation of the Servo system | Demonstrate ability to correctly setup the Servo System | Search SitesDb for past occurrences of Cleared Actions for a common fault. |  |
| EEC Radar WF100 6c (& TVDR2500) | Explain the operation of the Transmitter | Demonstrate correct procedures for testing and adjusting the Transmitter | Explain the operation of the Receiver | Demonstrate correct procedures for testing and adjusting the Receiver | Explain the operation of the Servo system | Demonstrate ability to correctly setup the Servo System | Search SitesDb for past occurrences of Cleared Actions for a common fault. |  |
| EEC Radar WF100 (5c & 6c) | Explain the differences between the 5c & 6c | Explain the differences in mechanical construction of the Pedestal between the 5c & 6c | Demonstrate ability to effectively use all the Handbooks. | Explain why the Safety Interlock systems exist and how they are used. | Identify the hazards associated with Radar |  |  |  |
| Mechanical maintenance General | Explain correct Radar mechanical maintenance schedules | Demonstrate correct Radar mechanical maintenance techniques | Demonstrate appropriate housekeeping procedures when working on the radar pedestal | Demonstrate correct tool usage | Demonstrate correct lubrication procedure of drive gears | Demonstrate safe work practises whilst working in or on a radar pedestal. | Demonstrate safe work practises whilst working in or on a radar tower. |  |
| Mechanical maintenance Practices | Demonstrate ability to correctly adjust the Elevation Limit Switch | Demonstrate correct removal & installation of 5c data pack | Demonstrate correct removal & installation of synchro Tx | Demonstrate correct removal & installation of motor (5c), and motor/gearbox (6c) | Demonstrate correct setting of servo drive gear backlash (6c) | Demonstrate correct procedure for changing scanner motor (5c & 6c) | Demonstrate correct pedestal levelling procedure | Correctly explain the method of balancing the antenna |
| Radwin Console | Explain the operation of the Software application | Explain the operation of the hardware Interface unit | Demonstrate correct procedures for adjusting the software parameters | Demonstrate correct procedures for adjusting the Interface pre-sets | Demonstrate correct procedures for adjusting the Servo System | Explain the safety issues around Synchro voltages |  |  |
| Rapic Transmitter Console | Explain the operation of the software | Explain the operation of the Tx and the Interface | Demonstrate correct set-up and testing procedures | Demonstrate correct procedures for adjusting the servo drive |  |  |  |  |
| Radar Performance Checks | Perform a system check as per UAH ch16 | Perform a Solar Angle Tracking calibration check | Perform routine Tx/Rx checks: MDS, VSWR, Power, Xtal currents | Set up rain-rate levels in Rapic Transmitter | Perform full ES Inspection procedure | Enter performance data in SitesDb |  | Explain “Lockout” procedures for safely isolating a radar during maintenance. |
| Faultfinding 1 (WF100 radar) | Demonstrate correct use of specialised radar test equipment | Successfully locate and rectify faults in all sections of the radar and consoles | Remotely diagnose radar operations and faults | Enter Actions in SitesDb for faults and tasks performed | Use SitesDb to return a rotatable stores item to the ESMC for repair. | Search SitesDb for past occurrences of uncleared Actions for a common fault. | Radar Service Interruption Notification |  |

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Data Communications |  |  |  |  |  |  |  |  |
| Modems | Explain the RS232 and RS422 protocols | Describe the three different modem types (PSTN, Lease Line, Radio) | Explain the differences between an onboard modem and a stand-alone | Correctly use the common Hayes commands | Demonstrate a typical setups for each of the three modem types to send Almos data | Use “test” mode with a PSTN modem |  |  |
| Radio Modem Communications | Explain radio modem operations and performance at different frequencies | Explain the concepts of full, half and simple duplex (simplex) | Explain the concept of radio networks and addressing | Explain the concepts of Antenna types and applications | Setup a simple radio link between AWS and MetConsole | Install and setup radio modems in use in the Bureau. | Explain basic lightning protection methods | Explain licensing issues |
| Router & Terminal Server | Explain the use and configuration of a Terminal Server | Successfully Telnet into a Terminal Server then clear a port | Explain what is a “Frame Relay” |  |  |  |  |  |
| TCP/IP and Networks | Explain the TCP/IP protocol | Print out and explain a network diagram from the CCSB website | Demonstrate correct use of network diagnostics (ping, ipconfig traceroute) | Explain the Bureau’s policy on installing devices onto the LAN | Explain what is VPN | Explain the various ways to gain access to the Bureau’s network from outside. | Explain security techniques necessary with PC’s connected to the BoM LAN and WLAN | Setup a WLAN inc antenna installation |
| AIFS | Explain what is “AIFS” | Demonstrate how to monitor AWS and Radar data using AIFS |  |  |  |  |  |  |
| Cell-phone modems |  |  |  |  |  |  |  |  |
| Cell-phone Routers |  |  |  |  |  |  |  |  |

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Miscellaneous Equipment |  |  |  |  |  |  |  |  |
| OH&S (Also incorporated into all aspects of the training) | Conduct a workplace inspection | Perform a Risk Assessment on one identified hazard | Explain BoM vehicle driving policy | Use Chemwatch to view MSDS and identify relevant information |  | Explain the need for Testing and Tagging. | Correctly fill in an Incident & Accident report form. | Show a knowledge of the BoM OH&S management structure |
| UPS | Explain the maintenance required | Replace batteries |  |  |  |  | Use UPS – PC interface. | Awareness of safety issues with UPS not being switched off during a fire event. |
| Hand Tools & “Safe Operating Practices” | Demonstrate OH&S awareness | Demonstrate correct use of common hand tools | Demonstrate correct use of common small power tools | Identify hazards associated with commonly used tools |  |  |  | Explain types of smoke extraction devices and why they are necessary. |
| Cable making | Correctly terminate coax cables with coaxial connectors and test. | Correctly terminate RS232 cables with DB connectors and test | Construct common RJ-DB adapters and test | Correctly use a Krone tool to terminate jumper wires onto a Krone block |  |  |  |  |

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Documentation & HR |  |  |  |  |  |  |  |  |
| ES Information Systems (Also incorporated into all aspects of the training) | Demonstrate proficiency in the use of EDMS to search for documents and software | Demonstrate proficiency in the use of EDMS to download documents and software | Demonstrate proficiency in SAP to search for stores items l | Demonstrate proficiency in SAP to order stores items |  |  |  | Demonstrate proficiency to process purchases made with an AGCC |
| SitesDb (Also incorporated into all aspects of the training) | Explain Data flow | Explain the importance of As-At date | Explain station-level Actions and an equipment-level Actions | Demonstrate proficiency in using Actions | Demonstrate proficiency in the use of Equipment Movements | Demonstrate proficiency in the use of Performance Records | Demonstrate proficiency in generating Reports |  |
| Administration | Explain different types of Leave and how to apply. | Demonstrate ability to keep Attendance Record up to date | Demonstrate application of APS Code of Conduct and APS Values | Understand the BoM Staff Performance Management Scheme and IDP process |  |  | Explain personal responsibility for BoM issued equipment (eg. laptops) | Explain BoM Fraud Policy and its application to AGCC use |
| Supervision of non-TOeng personnel | Explain the legal obligations of supervision of non-TOeng personnel | Explain the responsibilities of supervision of non-TOeng personnel | Explain the legal liabilities associated with supervision of non-TOeng personnel | Demonstrate understanding of the issues associated with Contractors | Demonstrate understanding of the issues of remote supervision (eg. by telephone) |  |  |  |
| Induction | Attend Induction sessions for HO and Annexe | Attend OH&S awareness session | Successfully complete the online OH&S courses | Successfully complete the BoM online APS Values course | Successfully complete the BoM online Workplace Discrimination course | Successfully complete PSPLEGN301B “Comply with legislation in the public sector” | Successfully complete PSPETHC301B “Uphold the values and principles of public service” |  |
| Travel | How to apply for Travel Allowance | How to book travel using HRG | How to fill in Spending Proposals | How to use Cab-Charge |  |  |  |  |

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LEGAL COMPLIANCE |  |  |  |  |  |  |  |  |
| Electrical Equipment in Hazardous Areas | Installation, Maintenance & Inspection - 5day course | Certificate |  |  |  |  |  |  |
| Restricted Electrical Licence | Obtain qualifications: NREL 1V NREL 2V | Practical Assessment | Licence |  |  |  |  |  |
| Fire Control competencies | First Response to Fire Incidents PMAOHS212A | Portable Fire Fighting Equipment PRMPFES05B | Certificate |  |  |  |  |  |

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| REGION BASED TRAINING (where applicable) |  |  |  |  |  |  |  |  |
| Safe use of a chain saw | Attend course | Theory exam | Practical test | Certificate |  |  |  |  |
| First Aid Course | Attend course | Theory exam | Practical test | Certificate |  |  |  |  |
| Advanced Driving Course | Attend course | Theory exam | Practical test | Certificate |  |  |  |  |
| NREL | Transfer licence to the home State. |  |  |  |  |  |  |  |
| Test and Tag course | Theory exam | Practical test | Certificate |  |  |  |  |  |
| Climbing & Working Aloft competencies | Safe Working at Heights MNMG237A | Certificate |  |  |  |  |  |  |
| OH&S – State regulations | Investigate regulations pertaining to Test & Tag | Investigate regulations pertaining to climbing a ladder | Investigate regulations pertaining to hazardous materials | Identify items in a standard TOeng cupboard that require MSDS | Create and interpret a JSA form. |  |  |  |
| Local procedures | Report a faulty PSTN and Frame Relay line. | Remotely interrogate an AWS |  | Demonstrate performance checks on a wind profiler | Priority of repairs with multiple equip failure. |  |  |  |
| Base cabling licence | Attend course | Theory exam | Practical test | Certificate |  |  |  |  |
| Cabling Licence endorsements | Co-axial | Fibre Optic | Aerial and Underground | Certificate |  |  |  |  |
| Diesel maintenance | Attend Diesel Maintenance short course |  |  |  |  |  |  |  |

| COMPETENCIES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Discontinued Training |  |  |  |  |  |  |  |  |
| PC Maintenance | Demonstrate awareness of, and correct implementation of, ESD protection | Explain the common terms for devices and processes used in a PC | Correctly install and configure Windows OS | Successfully install Virus scanning and Firewall software | Successfully configure auto-updates for Windows and Virus definitions | Successfully establish a LAN connection | Successfully install MS Office suite. | Demonstrate proficiency using software diagnostic tools |
| Rapic Display PC | Demonstrate proficiency using MS-DOS | Upgrade the software to version 9.04 | Customise maps | Use Comminfo to set up station calling list |  |  |  |  |
| Faultfinding 1 (PCM Rx) | Correctly setup alignment of a superhet receiver | Correctly locate faults on the PCM Receiver | Enter Actions for each fault in SitesDb |  |  |  |  |  |
| Linux & Unix | Demonstrate installation of Linux OS | Demonstrate configuration of Linux | Demonstrate correct use of simple Unix commands | Install and configure 3D-Rapic |  |  |  |  |