##### WMO TRAINING WORKSHOP ON UPPER-AIR OBSERVATIONS

For RA III (South America), Buenos Aires, 8-12 May 2005

Draft WORKSHOP PROGRAMME

# 1st day

- Basic introduction to radiosonde soundings

1.1 	Purpose, use and importance of upper air data followed by a discussion

1.2	Description of radiosonde sensors

1.3 	Description of GPS wind measurements

1.4	Description of radiotheodolite wind measurements

1.5	Discussion on which method of wind measurement is most useful in South America

# 2nd day

2.	Review of operational radiosonde problems experienced in South America

2.1	Country presentations of operational problems

2.2	HMEI representative to answer queries about procurement and use of equipment.

2.3	Discussion on problems of sensors in South American conditions, and the best way to optimize sensor performance to meet customer requirements

3.	Preparation of radiosondes for flight

3.1	Procedures for checking and calibrating PTU

3.2	Procedures for preparing GPS radiosondes

4.	Avoidance of outside interference

4.1	Interference from radars

4.2	Interference from other radio-frequency sources

5.	Surface Observations for Sounding

5.1.	Accuracy requirement

5.2	Timing of surface and radiosonde readings

5.3	Location of observation site relative to release site

6.	Data checking and reporting procedures

6.	Data checking and reporting procedures

3rd day

7.	 Practical demonstration at radiosonde station – 1st part

7.	Procedures regarding balloons (storage, inflation and handling, attaching the radiosonde to the balloon, releasing the balloon

7.	1st  launch of radiosonde

7.	2nd launch

7.	3rd  launch

### 4th day

7.	Review of results of 1st practical work

8. 	Keeping of records regarding radiosonde performance

8. 	Keeping of records regarding radiosonde performance

9.	Future developments

9.1 	Changes to radiosondes in use expected before 2005

9.2 	New ground-based observing systems

7.	Practical demonstration at radiosonde station – 2nd part

7.	4th launch

7.	Two (different) radiosondes launches on one balloon

5 the day

7.	Review of results of 2nd practical work

10.	Discussion on associated training problems in South America

Discussion and proposals for further training

2. 	Operational radiosonde problems in South America (cont.)

2.5	Review drafted materials on operational problems

2.6	Proposals for co-ordination of radiosonde operations and improving upper-air network in Region III

11. 	Closure

Review the effectiveness and contents of the training workshop

# Footnotes

It is expected that representatives of the HMEI will prepare additional lectures on systems used in RA III

Type of the radiosonde(s) and the ground station(s) to be decided on regional preferences