| WORLD METEOROLOGICAL ORGANIZATION __________________ COMMISSION FOR INSTRUMENTS AND METHODS OF OBSERVATION CIMO MANAGEMENT GROUP Tenth Session Brussels, Belgium 19 – 20 October 2012 |  | CIMO/MG-10/Doc. 5.2 (8.X.2012) _______ ITEM: 5.2 Original: ENGLISH |
| --- | --- | --- |

SPECIFIC ISSUES RELATED TO PLANNING, COORDINATION AND MANAGEMENT OF COMMISSION ACTIVITIES

CIMO GUIDE

(Submitted by the Secretariat)

Summary and purpose of document This document provides information on the procedure and guidelines that were developped by the CIMO Guide Editorial Board concerning the updating process for the CIMO Guide. It also provides information on the status of the developments of the CIMO Guide.

Action proposed

The Meeting is invited to review the procedure and guidelines provided in this document towards approving them as formal CIMO procedures for the update of the CIMO Guide.

________________

Appendices:	I	Guidelines for the Edition of the CIMO Guide (2012)

II	Procedures for updating the CIMO Guide

CIMO GUIDE

Status of the publication

- The new version of the WMO Guide to Meteorological Instruments and Methods of Observation (WMO-No.8, CIMO Guide) incorporating the changes approved by CIMO-XV was published earlier this year in English and is available under: http://www.wmo.int/pages/prog/www/IMOP/CIMO-Guide.html. It is referred to as 2008 Version, Updated in 2010 to account for the date of the constituent body session (CIMO-XV, 2010) that approved the last changes.

- The WMO Secretariat is looking at possibilities to publish translated versions of the CIMO Guide. It therefore approached the Permanent Representatives of a few countries to seek their willingness to do the editing of the translated versions.

- A major update of the CIMO Guide is presently in preparation and consists of a new part on Satellite Observations. This part was developed by the WMO Space Programme with support of the CBS Expert Team on Satellite Systems (ET-SAT) and is presently being reviewed/amended by Bruce Forgan to ensure the terminology used in this new part is in agreement with the rest of the CIMO Guide.

Recommendations from the CIMO Guide Editorial Board

- The CIMO Guide Editorial Board (EdBd) met from 2 to 4 May 2012. The EdBd made a number of recommendations to the CIMO Management Group, as listed below:

- Manual on IMO: CIMO had considered developing a Manual on Instruments and Methods of Observations (Manual on IMO) and had requested the EdBd to consider the appropriateness to develop such a manual in the context of the development of the WIGOS regualory documents (in particular in the context of the WIGOS Manual). The EdBd recognized that the development of new manuals required significant costs and resources. Furthermore, developing a new Manual on IMO in addition to the Manual on WIGOS would be contrary to the aim of WIGOS to strive for integration. Therefore, the EdBd recommended to the CIMO Management Group not to develop a separate Manual on IMO, but to contribute relevant standard practices elevated from the CIMO Guide to the Manual on WIGOS. However, the EdBd stressed that this approach would require CIMO to have the ownership and responsibility for updating the part of the Manual on WIGOS where these practices are described. Finally, the EdBd questioned the need to develop a Guide on WIGOS in view of the large number of guides already available and appropriately covering all contributing observing systems.

- Principles for drafting updates/new editions of the CIMO Guide: The CIMO Guide is expected to be a generic document and to be as homogeneous as possible in the presentation it makes of the various observing technologies. In view of the large number of experts that contribute to the updating process of the CIMO Guide, editing principles would help them in drafting their contributions in a homogeneous way. Furthermore, such guidelines would also help in achieving a consensus on the final revised text and so would shorten the development and review process of new updates. The EdBd reviewed the guidelines on the edition of the CIMO Guide that were used for the Sixth Edition of the CIMO Guide (1996) and further developed them as provided in Appendix I. It recommended to the CIMO Management Group to adopt these guidelines and to post them on the CIMO/IMOP website.

- Updating procedures: The EdBd reviewed the principles used in updating of the CIMO Guide to clarify to all possible contributors the review and approval processes for changes to the CIMO Guide and how contributions could be submitted for consideration. Furthermore, these principles should ensure proper coordination with other technical commissions in charge of updating some chapters, while keeping the procedures as light as possible to avoid unnecessarily delaying the updating process. The EdBd agreed on the version provided in Appendix II and recommended to the CIMO Management Group to adopt these principles and to post them on the CIMO/IMOP website.

- Pressure reduction formula: A request to clarify which pressure reduction formula should preferably be used was received from Sweden, but has not been addressed by CIMO Expert Teams yet. The EdBd recommended to the CIMO Management Group that this request be forwarded to the CIMO Expert Team on Standardization to develop a position on it and in case of need an update to the relevant CIMO Guide chapter(s).

- Rocket Observations: The chapter on Rocket Observations was not updated since the Sixth Edition of the CIMO Guide and no update is presently in progress. The EdBd was of the opinion that these techniques are not anymore in operational use for meteorological observations. The EdBd therefore recommended removing this chapter from the next major edition of the CIMO Guide, following consultation with all CIMO Expert Team and Management Group members on their views.

- AWS Portal: The EdBd recalled that Dr I. Zahumensky, while being the Rapporteur on the CIMO Guide, had developed a webportal providing links to numerous document sources in support of capacity building and was of the opinion this should be reinitiated. It therefore recommended to the CIMO Management Group to consider putting it under the auspices of the Theme Leader on Training Material and Training Activities.

_________________

GUIDELINES FOR DRAFTING UPDATES/ NEW EDITIONS OF THE CIMO GUIDE (2012)

(Based on the guidelines used for the Sixth Edition)

1.	A degree of standardisation for the chapter headings was rather strictly applied to the chapters of Part I. The outline of the headings is in the Annex to this document. Headings in Parts II and III are much more flexible. When a new chapter is drafted for Part II to IV, its structure should be, as far as possible, consistent with the other chapters of that Part.

2.	The CIMO Guide is intended primarily for national meteorological services, but many other organisations and institutions also make use of it, and its purpose is to give guidance on the most effective practices for meteorological measurements and observations, to achieve a standard quality. Emphasis is given to practical advice on techniques which are well established and in regular use. The theoretical basis of the techniques should be outlined in the text, supported by references to background literature. Manufacturers are also using the CIMO Guide as guidance for their own products.

3.	The level of technical detail and the content should be appropriate for the intended readers of the CIMO Guide. These are taken to include:

- supervisors of observations programs in meteorological and related services, both at the managerial and technical/operations levels,

- people with scientific background in other fields in research institutions, government agencies etc who need to make meteorological measurements,

- teachers, instructors and students in a wide range of studies.

4.	The CIMO Guide deals only with techniques in routine use. Techniques that are rare may be included so long as they are fully operational. Techniques under development or in use only at specialised centres or not easily documented may be alluded to and referenced but not described at length.

5.	The CIMO Guide should give practical advice on aspects of meteorological observations and measurements, especially those that are known from experience in meteorological operations but are not commonly published or otherwise readily available.

- Advice should be given on uncertainty, reliability and other aspects of performance, with comprehensive discussion of sources of error.

- It is desirable to give advice in general terms on management considerations, such as unusual demands on resources that a particular observational technique may incur, or particular difficulties in implementation.

- Well-documented comparisons or evaluations of instruments should be described or referenced.

- Recommendations or decisions of the Commission for Instruments and Methods of Observation must be included.

6.	It is not practicable to give in the CIMO Guide detailed advice on operations and equipment, especially for the complex systems described in Part II and IV. For such systems the CIMO Guide provides an outline, and an introduction to the literature, for the well-informed non-specialist. It should give a perspective on the technique in the general context of meteorological observing systems, and advice on the practice and practicability of the technique.

7.	The CIMO Guide does not explicitly describe national practices and observing networks, and neither does it mention particular manufacturers or suppliers nor their observing networks.

8.	Relevant material in WMO Manuals and other Guides should be referenced. Usually it should not be reproduced or re-stated, but there may be some instances where basic material should appear in the CIMO Guide as well as in other WMO documents.

9.	The following practices have been adopted for references to literature.

- Reviewed and readily available papers and documents are preferred, but are not always sufficient. The Instrument and Observing Methods Reports issued by WMO may be useful references if suitable material does not appear elsewhere. Reports of conferences and in-house papers are often too transient or inaccessible to be very useful and should be used only if necessary and if no other material is available.

- Recent general and review papers are particularly useful, and recent papers which contain other references to lead the reader into the literature.

- References are particularly appropriate in the sections dealing with scientific discussion of methods of measurement and sources of error, and for discussion of performance and results of evaluations. They are also appropriate for advice on advanced techniques.

10.	Glossaries are not used: readers may be assumed to be familiar with normal scientific and technological terminology, and specialist terms should be defined in the text where appropriate.

However, some key vocabulary should be introduced to promote uniform terminology. The terminology used in the CIMO Guide has to conform to the internationally adopted standards. These are in particular the International Meteorological Vocabulary (WMO-No. 182) and the International Vocabulary of Metrology – Basic and General Concepts and Associated Terms  http://www.bipm.org/en/publications/guides/vim.html)

11.	Uncertainties of instruments and systems should be expressed in compliance with the GUM (Evaluation of measurement data – Guide to the expression of uncertainty in measurement, http://www.bipm.org/en/publications/guides/gum.html)

12.	Reporting practices should not be included in the CIMO Guide, but in the Manual on Codes (WMO-No. 306).

13.	The presentation of the material should follow the WMO Style Guide and the WMO Editorial checklist available under: http://www.wmo.int/pages/pubsguides/index_en.html.

14.	Pictures may be included, but require obtaining written agreement of the copyright holders.

ANNEX

SCHEMATIC HEADINGS FOR CHAPTER x of PART I

Contents (1)

x.1	General  Put introductory text here if it is required, then...

x.1.1	Definitions  (2)

x.1.2	Units and/or scales

x.1.3	Meteorological requirements (3, 4)

x.1.4	Methods of measurement (4, 5)

x.2	Quantity and/or technique and/or sensor and/or instrument no. 1 (6)

Use paragraph numbers x.2.1, x.2.3.4

x.3	Quantity/technique/sensor/instrument no. 2

Etc. If there are only 2 techniques, go to...

x.4	Additional headings (6)

x.5		"	"

Etc

x.last	References

Annex x.A  (7)

Annex x.B

Etc

NOTES

Bold 	means this layout has been used in all chapters of Part I.

Italic	means very flexible.

(1)	A list of chapters will appear at the front of the volume.  A list of headings (down to x.a.b.c) will appear at the front of each chapter.

(2)	This means definitions specific to this chapter.

(3)	Includes applications for the data, reference to WMO documents, etc., and requirements for desirable and achievable accuracy which are not covered in Chapter 1 of Part I.

(4)	As they apply to the whole chapter.  Subsets of these may appear in subsequent sections on particular techniques.

(5)	General principles, overview of systems, physics and chemistry, as appropriate.

(6)	In principle, for each quantity/technique/instrument it should be possible to find, somewhere in the chapter, general or specific information on:

description (including the scientific principle)

procedures

exposure and siting

standards

sources of error

comparisons/calibration in field/laboratory

corrections

maintenance.

These will not all be necessary for all cases, and they can be in sections like x.2 or in more general sections like x.4. This is all very flexible, and at the author's discretion.

- Annexes can include almost anything that is inconvenient elsewhere in the text, eg formal statements of requirements or procedures, formulae, constants, detailed tables, etc.

_______________

Procedures for updating the CIMO Guide

Generalities

- Updates/revisions of the Guide are initiated as soon as a sound proposal is submitted.

- Proposals (apart from minor changes and typos) have to be included in track-change mode in the MS-Word file of the most recent version of the CIMO Guide. (The author of the proposal should contact the Secretariat to get the most up-to-date MS-word file of the corresponding chapter).

- Proposals for updates of the CIMO Guide have to be submitted to the CIMO Guide Editorial Board, with copy to the Secretariat.

- CIMO Expert Teams (ET) and Theme Leaders (TL) are responsible for developing updates of the CIMO Guide incorporating the relevant outcomes of their ET/TL work programme and for identifying technical aspects needing to be updated within their Terms of Reference, while the CIMO Guide Editorial Board should address aspects relating to the homogeneity of the CIMO Guide and identifying areas/parts that need to be completely rewritten. ETs are encouraged to inform HMEI (hmei(at)wmo.int) when they are working on an up-date or a specific revision to incorporate relevant contributions from manufacturers.

- People interested in contributing to on-going revisions or reviewing/commenting draft updates should liaise with the relevant ET, as listed on the CIMO/IMOP website.

- Some chapters of the Guide (such as for example Marine Observations (JCOMM), Satellite Part (ET-SAT/CBS), Measurement of Ozone and Measurement of Chemical Composition (CAS)), are maintained/updated by other Technical Commissions or groups and will be handled accordingly.

- Proposals for improvement are also welcome from experts outside of the CIMO expert teams/theme leader membership. Proposals from manufacturers are also welcome and should preferably be submitted through the HMEI representative on the CIMO Guide Editorial Board to ensure they are neutral and not biased towards the systems of some companies.

General approval steps (shown in track change with respect to the version presently in force and provided in Doc. 4)

The principles below summarize the approval of updates/new edition of the CIMO Guide and are illustrated in the attached diagram.

- Responsibility for coordinating updates/revisions resides with the CIMO Guide Editorial Board;

- Proposals for changes must be submitted to the CIMO Guide Editorial Board and the Secretariat, which will direct it to the relevant CIMO Expert Team;

- Soundness of proposal is reviewed / corrected /further developed by the relevant Expert Team, in collaboration with the author of the proposal;

- In the case of proposals submitted by other Technical Commissions or groups, the CIMO president will appoint a CIMO authority (likely Expert Team Chair or MG members) to review and provide approval on the scientific and technical content of the document and its relevance and consistency to the CIMO Guide in the context of WIGOS;

For major updates only:

- The CIMO Guide Editorial Board coordinates activities with the Secretariat when addressing substantial updates/revisions, especially when a paid pre-editor is required or when a task to update/revise a particular part of the Guide is needed to be addressed by an expert requiring payment;

- Technical editors are selected by the relevant OPAG co-chairpersons and approved by the president of CIMO;

- The CIMO Guide Editorial Board ensures conformity of the proposal with the editorial guidelines and submits updates/revisions to the Secretariat in a form of tracked text of the current version. The Secretariat assures, in this way, the traceability to older versions;

- The CIMO president approves preliminary issue of updates/new editions on behalf of the CIMO-MG for a general consultation of all WMO Members;

- Preliminary issues are posted on a web repository after approval by the CIMO President. People wanting to comment on them should provide their comment to the Permanent Representative of their country.

- The Permanent Representatives of all WMO Members are requested to provide their comments to the preliminary issue, as well as a focal point to solve any divergence of views. Comments are reviewed and consolidated by authors, relevant ET or the technical editors, as appropriate, in collaboration with the CIMO Guide Editorial Board and Secretariat;

- The consolidated updates/revisions are approved for publication by CIMO, or by the CIMO president with the support of the CIMO Management Group on behalf of the Commission between sessions;

- The Secretariat publishes the Guide as a new edition or updated edition;

- A report is provided to regular sessions of CIMO for information.

Proposal for chapters maintained by other Technical Commissions follow the same principles, using the relevant groups of those commissions. In such cases, the approval of the proposal by the president of that Technical Commission is also required in addition to the approval by the president of CIMO.

________________

Diagram summarizing the approval process

(for additional details, see accompanying text)

________________

# Footnotes

According to WMO General Regulation 66, consultation shall be that of Members represented on the commission. Here a wider consultation of all WMO Members is proposed to ensure even wider endorsement of the proposal, and in particular that the consultation covers the membership of other relevant WMO technical commissions for those chapters not maintained by CIMO itself.

According to WMO General Regulations 77, the CIMO president may approve a proposal on behalf of CIMO (provided among others that 90 days were allowed for replies and that no objections were received).

# Text boxes

Posted on web repository

Review by CIMO authority

CIMO Edit. Board

Other TC President

Review and approval by relevant ET

Revised chapter developed by expert

Final Approval by CIMO or CIMO President

Consultation of WMO Members – Nomination of Focal Point in case of comments

CIMO President

CIMO Edit. Board

Review and approval by relevant ET

Revised chapter developed by expert

Contributions by other TC / groups

CIMO contributions