| WORLD METEOROLOGICAL ORGANIZATION |
| --- |
| COMMISSION FOR INSTRUMENTS AND METHODS OF OBSERVATION CIMO MANAGEMENT GROUP Third Session GENEVA (SWITZERLAND), 3-7 JULY 2006 |  | CIMO/MG-3/ Doc. 2.3(6) (27.VI.2006) _________ ITEM: 2.3 Original: ENGLISH ONLY |

##### Report of the OPAG-UPPER-AIR

Report of the ET-RSUT&T Chair

(Submitted by Dr. A. Ivanov, the Co-Chairperson, OPAG-Upper-Air)

______________________________________________________________

#### Summary and purpose of document

This document summarizes the activities and outcomes of the work of the Expert team on Remote Sensing Upper-Air Technology and Techniques and proposals to CIMO-XIV Session.

Action proposed

The MG is invited to consider the information provided in this document, review and endorse appropriate proposals and recommendations and take them into account when defining the future structure and future tasks of the Commission.

The session of the Expert Team on Remote Sensing Upper-Air Technology and Techniques (ET-RSUT&T) was held in Geneva, Switzerland, 14-17 March 2005.      The main results in various areas of Remote Sensing were presented and discussed. Experts have presented his reports.

- GPS WATER VAPOR MEASUREMENTS

Each reporting member briefly discussed their experiences in developing their network, techniques used in validating the performance of their systems and how they were applying these measurements to various aspects of their operations.

Members of the ET who are also associated with COST716 provided information on an upcoming investigation of GPS and its uses.  Several members reported that GPS derived Integrated Water Vapor (GPS-IWV) in near-real time and applications vary from being used to compliment their operational radiosonde network to using the measurements as a proxy for moisture soundings in Numerical Weather Prediction.  These measurements have found application in operational weather forecasting, climate monitoring, atmospheric research, as well as satellite calibration and validation.  The members were in agreement that these measurements could be made with high reliability under all weather conditions. Retrieval accuracies have been shown to be comparable to radiosonde measurements, and GPS-IWV appears to provide a cost-effective approach to measuring atmospheric water vapor.

GPS MET is thought to be compatible to that obtained from radiosonde observations.  GPS MET data have proven to provide high temporal resolution when compared with conventional measurements.

However, IWV from GPS MET only provides an integrated value of the profile.  The vertical information of water vapor can be retrieved from GPS-derived slant water vapor (SWV) and tomography techniques.

2. COMPLEMENTARY USE OF MODERN DOPPLER RADARS AND PROFILERS IN THE UPPER-AIR NETWORK

2.1 Modern Doppler Radars

In many countries individual radars or radar networks are in operational  use. They use for severe weather and precipitation measurements. Members reported that they have either completed the upgrading of their radar network or will be upgrading their radar network with Doppler radar systems. Many of the presenters made reference to the extensive use of the Doppler radars for nowcasting and the use of Velocity Azimuth Display (VAD) wind profiles as one element in identifying severe weather environments.

The advances in Doppler radar technology and algorithms have proven the value of the system not only in localized severe weather situations, but on a larger scale when investigating synoptic systems such as tropical cyclones and their application to the investigation of the lower atmosphere for lower and middle level wind shear.  For this reason alone some national agencies have positioned Doppler radars at or near airports.  Independent investigations have documented the accuracy of wind speed measurements to be accurate within about 1m/s, and wind direction to an accuracy of about 10 degrees.  Doppler radars are used not only for wind calibrations but for calibration of rainfall mapping as well as a complementing technology to surface rain gauge networks and satellite rainfall estimates.  Considerable processing is required to produce rainfall mapping and this is still evolving. These techniques allow the forecaster to provide accurate precipitation now-casts up to 1 hour and short-term precipitation forecasts up to 6 hours by combining with NWP.

Doppler radar systems have proven their potential  as an additional tool for nowcasting purposes.  The technical advances and operational advances make this system suitable for deployment in national or regional networks. NWP data assimilation systems emphasize the need for estimates of uncertainty of the radar data that are consistent within and across national boundaries.  This requires the development of the science and algorithms for the estimation of these measurements and their uncertainties.  These measurements included reflectivity, precipitation rate, radial wind and VAD wind.  Science, algorithm and Intercomparison workshops should be developed.

2.2 Wind Profilers (WPR)

Active ground-based remote sensing systems such as profilers are used by some countries to provide wind speed and direction, profiles of vertical motions, position of the melting layer and other related information.

Regional experiments and thorough investigations have been conducted with various tropospheric WPRs to determine their operational suitability.  These experiments have shown that WPR direction and speed detected by these systems compare favorably with radiosonde profiles.

These results have of these experiments have led to high space- and time-resolution wind measurements suitable for weather warnings, watches, and numerical forecasts.  These data have produced improvements in forecast and warning accuracy as well as statistical improvements in model output. Some national meteorological and hydrological agencies assimilate these data into the NWP model, use these data in weather now-casting, or used in an integrated fashion to complement their radiosonde network providing improvements to atmospheric profiling, and used in support of airport safety.

Special emphasis is still being placed on improving the standard signal processing for WPRs, which will improve the system performance characteristics such as data accuracy and availability under all kind of meteorological conditions. At present many of these networks show a technical reliability of about 98% or more and provide data up to 12 km in height (dependent on frequency) with the data availability greater than 70 percent.  Depending on the type of profiler (frequency used, pulse length, vertical resolution, etc.), the maximum measuring height may be as high as 16 km, however, with the data availability progressively reduced.

Another concern was the concern over discrete characteristics of WPR data. There is the variation in height coverage due to seasonal variation.  For example in the summer the JMA network provides height coverage between 6 and 7 km and during the winter season only between 3 and 4 km.  This seasonal variation of the height coverage results from the seasonal difference in water vapor in the lower troposphere.

During the last decade WPR systems have proven their technical and operational suitability and usefulness for improving numerical weather forecasts and for short-term forecasting and now-casting purposes. The usefulness of WPRs for NHMS has been well illustrated through the operational experience of profilers in Europe, the United States and Japan, the EUMETNET-WINPROF experiment and its focus on assimilation of WPR data into NWP models, and finally COST720 with its focus on integration of systems with the goal of improving temperature and humidity profiling. Mr Engelbart (Germany) presented results of the IOM Report No.79 on the Operational Aspects of WPRs.

3. OPERATIONAL USE OF LIGHTNING DETECTION METHODS

The Lightning Detection Systems (LDS) of UK, Brazil, Canada, Korea, Japan and other countries were presented. Such networks being used the various techniques, sensor types and quality of network measurements.

Despite the number of regional networks much of Asia, Africa, India and South America are still poorly covered. Lightning detection networks would be easily extended to other national or regional areas. The UK representative indicated that that addition of a few additional sensors in the southern hemisphere would extend their coverage towards African and India.

Performance of LDS may vary from 70 to 90 percent at an accuracy of around 2 km depending on range, location, season (during the winter, 30 to 60 percent, than summer, 80 to 90 percent). Technical difficulties diminished, but the effects of propagation and topography still remain.

Most of the existing networks are heterogeneous (either LF or VLF, or both). Few manufacturers have combined LF/VHF networks to detect both cloud-to-cloud and cloud-to-ground lightning within one network.

The technology to identify both cloud-to-cloud and cloud-to-ground lightning currently exists, but the majority of systems measure cloud-to-ground lightning only. LDS network performance needs to be verified this includes detection efficiency, peak current estimates and location accuracy.  Methods including independent measurements should be applied as much as possible as well as conducting inter-system comparisons should also be encouraged at both national and regional levels. It was noted by that any of the following methods independently or in combination could be used to verify performance.  The different methods include instrumented towers, rocket triggered lightning, video camera studies and network inter-comparisons.

4. INTEGRATED PROFILING SYSTEMS AND OTHER UPPER-AIR MEASUREMENT TECHNIQUES

The integration of profiling systems improves vertical resolution, vertical coverage and/or data quality the and therefore improves measurements of  meteorological parameters such as wind, temperature, humidity or cloud parameter.

Main projects for integration of different ground-based observing techniques:

- Experiments such as Operational Wind Profiler Program (WINPROF) and the Coordinated Wind Profiler Network in Europe (CWINDE) have proven the value of integrating complimentary data from different systems that can provide a positive impact to the quality of forecast products. The comparison between NWP analysis data (model background) and WPR measurements from the 482 MHz system at Lindenberg Observatory, Germany showed that the WPR data, which are available every 30min, provide equal or higher quality data than the radiosonde wind measurements.

- With the improvements in data quality and availability of WPR networks, the continuation of the EUMETNET activity, WINPROF-II, is under way.  The goal of this effort is to integrate European WPR network into the EUCOS (European Composite Observing System) Program.

- The activity known as COST-720 will focus on the development of “integrated ground-based remote-sensing stations for atmospheric profiling”. The effort is addressing the development of complex algorithms taking into account measurements of more than one basic technology (WPR, cloud radar, microwave profiler, ceilometers or others) in order to derive standard parameters of higher quality and vertical resolution with the goal of deriving new parameters through the combination of several different remote-sensing instruments.

- Within COST-720 an experiment, TUC-2003, was conducted in the aerological station Payerne, Switzerland.  The objective of this experiment was to use several technologies in combination to detect the upper boundary of fog and its change with time.

- A second and final major campaign of COST-720 is being organized to assess the effectiveness of new techniques derived for the use in the integration of different water-vapor lidar systems, FTIR spectrometer, doppler wind lidar, and Ka-band cloud radars.  First results of this campaign are envisaged to be available with the end of COST-720 in 2006.

-  The Russian remote sensing community will prepare a draft review for operation aspects of different ground-based remote sensing observing techniques for vertical profiling of temperature, wind, humidity and cloud structure using various systems.  The Russian presenters were of the opinion that it would be useful to combine microwave tropospheric profilers data with doppler radar data for acquiring water vapor profiles and liquid water profiles in clouds.  For determining narrow elevated temperature inversions it will be useful to integrate microwave temperature profiler data with SODAR and weather radar data.

- The future “system of systems” is NOAA’s Integrated Observing system (IOS) consisting of three elements; the Integrated Upper-Air Observing System (IOUS) – a network with a Climate, Aviation, and NWP focus; the Integrated Surface Observing System (ISOS) – a network with a Climate, Public, and Surface Transportation focus; and the Integrated Ocean Observation System (IOOS) – a network with a Climate and Marine Transportation focus.

Mr Kadygrov (Russian Federation) presented first draft IOM Report on Operational Aspects of Different Ground-Based Remote Sensing Observing Techniques for Vertical Profiling of Temperature, Humidity, Wind and Clouds.

6.  RADIOFREQUENCY  ISSUES

Due to the increasing demand for radiofrequency spectrum, there is more or less constant pressure on the frequency bands presently assigned for meteorological purposes. They are particularly attractive for other users such as satellite operators because they are almost always allocated on a worldwide basis and not regional.

As concerned study the problems related to Frequency allocation for wind profiler and weather radars all designs and resolutions are adopted by WARC-2003, and other problems are related with national radio-frequency administrations. The next step is to get more full information about possibility in using frequencies for radars in NMS.

Active radiofrequency systems must be licensed and they are registered. Since a number of years, WMO keeps also a database covering satellite-based passive systems, i.e., radiometers. However, at present there is no inventory of surface-based radiometers, making it difficult to argue for protecting certain bands for passive observations. The WMO Steering Group for Radiofrequency Coordination will deal with this issue at its next meeting.

6. CALIBRATION OF SATELLITE INSTRUMENTS

The consultations with Active President of CBS and expert OPAG on IOS has shown that this question remains important and under investigation. In ditto time, CBS does not lead direct work on calibration instrument, sparing main attention to validation of data. In this connection best of interest is the report of the chair of the OPAG on IOS (Integrated Observing Systems), presented on CBS-XIII (2005). After investigation of this report, as also the report of CGMS-XXXII (2004), the understanding of current state of resolution and accuracy may be presented to CIMO. There are other important documents like CURRENT STATEMENTS OF GUIDANCE REGARDING HOW WELL SATELLITE AND IN SITU SENSOR CAPABILITIES MEET WMO USER REQUIREMENTS IN TEN APPLICATION AREAS (2004). The report by Tony Reale (NOAA/NESDIS, 2004) proposes a network of about 40 upper-air sites (and available ships) that would routinely launch reference radiosondes coincident with polar satellite overpass, referred to as the Satellite Upper Air Network (SUAN).