## Slide 1: WMO SPICE Hala Gąsienicowa(Poland)
Site Configuration Update
Oct 10th, 2012
Information from Maciej Karzyński
Prepared by Maciej Karzyński

## Slide 2: Hala Gąsienicowa: layout

## Slide 3: Hala Gąsienicowa: References
R3 reference:
  OTT Pluvio2 850mm + Ring heating
  OTT Parsivel2
  Sampling frequency: 6 seconds (1500 cycles)

## Slide 4: Hala Gąsienicowa: Instruments Under Test
Currently there is no sensor tested

## Slide 5: Hala Gasienicowa: Ancillary Measurements
DOPISAC!!!!!!!!!!
Parameter | Instrument used | Data avaiable | Reporting Interval
Air Temperature | Vaisala HMP 45 D | ASCII | 1-minute
Relative Humidity | Vaisala HMP 45 D | ASCII | 1-minute
Wind Speed 10 m | Vaisala WMS302 | ASCII | 1-minute
Wind Direction 10 m | As above | ASCII | 1-minute
Precipitation Detector (Y/N output) |  |  | 
Snow Depth | Sommer - Snow Pack Analysing System | ASCII | 1-minute
 | manually |  | 24 h
Precipitation | Hellman |  | 6 h
 | ASTER | ASCII | 1-minute
Pressure | Vaisala PA 11 | ASCII | 1-minute
Temp 5 cm n.g. | Vaisala PT-100 | ASCII | 1-minute
Ground temperature | Vaisala QMT 107 | ASCII | 1-minute
Sunshime time | Heliograf |  | 

## Slide 6: Data Flow and Archive
Instruments
Datalogger
Radio/GPRS link to server
Push to ORACLE Database
Current data transfer from Hala Gasienicowa station

## Slide 7: Site Commissioning
Anticipated date of commissioning: December, 2012
Expected status on commissioning:
  References (where applicable):
    S3: The planned installation of the supplied Cammbel SR50 on 30 November
Expected status on Nov 30th:
  100% functional,
  Start measurements and archiving data

## Slide 8: Additional Info
I see the need to include the program SPICE sensors and OTT Pluvio2 and OTTParsival2. The term of the measurement setup and start within 1 month of delivery.