## Sheet1
SoG instruments allocation to the participating sites – SECTION A3 Commissioning Report | [12 empty] | SITES
M=Manuf, N=NMHS, S=Site | Name of Institution | Country | # in submission | Manuf | Inst. Name | Model | Principle | Height (m) | Heating (0/1) | Sampling (s) | Acquisition (s) | Shield | Col De Port (France) | Aramon-Formigal (Spain) | Guthega Dam (Australia) | Bratt's lake (Canada) | CARE (Canada) | Caribou Creek (Canada) | Sodankyla (Finland) | Haukeliseter (Norway) | Mueller Hut (New Zealand) | Weissfluhjoch Davos (Switzerland) | Marshall (USA)
M? | Sommer GmbH & Co KG | Austria |  | Sommer | SGG1000 | SGG1000 | WG | 0 | 0 | 60 | 60 | 0 | [6 empty] | 1
M | Campbell Sci. | Canada |  | Campbell Scientific | CS725 SWE Sensor | CS725 | G | 1.9 | 0 | 21600 | 21600 | 0 | [6 empty] | 1
M | Campbell Sci. Canada | Canada | 4 | Campbell Scientific | SR50ATH-316SS | SR50ATH | US | 2 | 1 | 60 | 60 | 0 | [6 empty] | 1
M | Campbell Sci. Canada | Canada | 4 | Campbell Scientific | SR50ATH-316SS | SR50ATH | US | 2 | 1 | 60 | 60 | 0 | [6 empty] | 1
M | ESW GmbH (Jenoptik) | Germany |  | ESW GmbH (Jenoptic) | SMH30 Snow Depth Sensor | SMH30 | LD | 2 | 1 | 60 | 60 | 0 | [6 empty] | 1
M | Sommer GmbH | Austria |  | Sommer GmbH | USH-8 Snow Depth Sensor | USH-8 | US | 2 | 0 | 60 | 60 | 0 | [6 empty] | 1
M | Sommer GmbH | Austria |  | Sommer GmbH | USH-8 Snow Depth Sensor | USH-8 | US | 2 | 0 | 60 | 60 | 0 | [6 empty] | 1
M | Felix Technology Inc. |  |  | Felix Technology Inc. | SL300 Snow Depth Sensor | SL300 | US | 2 | 0 | 1 | 60 | 0 | [6 empty] | 1
M | Campbell Sci. | Canada |  | Campbell Scientific | CS725 SWE Sensor | CS725 | G | 2 | 0 | 21600 | 21600 | 0 | [5 empty] | 1
S? | NWS? | Norway |  | Jenoptik | Laser Snow Height sensor | SHM30 | LD | 9 | 1 | 60 | 60 | 0 | [7 empty] | 1
S? | Aemet | Spain |  | APG | Snow depth sonic ranging sensor | DCU‐7210 | US | 4.2 | 0 | 60 | 60 | 0 |  | 1
M | Campbell Sci. Canada | Canada | 4 | Campbell Scientific | Sonic Ranging Sensor | SR50A | US | 1.9 | 0 | 15 | 15 | 0 |  |  |  |  | 1
S | Météo-France | France |  | Campbell Scientific | Sonic Ranging Sensor | SR50A | US | 3 | 0 | 3600 | 3600 | 0 | 1
S | Météo-France | France |  | Dimetix | SDDIM0 | DLS-B 15 | LD | 3 | 1 | 3600 | 3600 | 0 | 1
M | Campbell Sci. Canada | Canada | 4 | Campbell Scientific | SDUS1 | SR50ATH-316SS | US | 4 | 1 | 60 | 60 | 0 | 1
S | Météo-France | France | 4 | Campbell Scientific | SDUS2 | SR50 | US | 4 | 0 | 60 | 60 | 0 | 1
M | Jenoptik | Germany |  | Jenoptik | SDJEN | SHM 30.11 | LD | 4 | 1 | 60 | 60 | 0 | 1
S | Météo-France | France |  | Apical Technologies | SDAPI | TLN35-R | LD | 4 | 1 | 60 | 60 | 0 | 1
S | Météo-France | France |  | Dimetix | SDDIM | FLS-CH 10 | LD | 4 | 1 | 60 | 60 | 0 | 1
S | SLF | Switzerland |  | ? | Snow Board | Snow Board | M | 0 | 0 | 86400 | 86400 | 0 | [9 empty] | 1
S | SLF | Switzerland |  | Sommer Mess-Systemtechnik | Snow Pillow | SP 3 | HyP | 0 | 0 | 60 | 1800 | 0 | [9 empty] | 1
S | SLF | Switzerland |  | Markasub | Lysimeter | Lysimeter | TB SWE | 0 | 1 | 600 | 600 | 0 | [9 empty] | 1
M | Colorado University | USA |  | Colorado University | FROS-D GPS | FROS-D GPS | GPS | 4 | 0 | 86400 | 86400 | 0 | [9 empty] | 1
S | SLF | Switzerland |  | ? | Graduate Stake | Graduate Stake | M | 0 | 0 | 86400 | 86400 | 0 | [9 empty] | 1
S | SLF | Switzerland |  | Campbell Scientific | Sonic Ranging Sensor SR50 | SR50AT | US | 4.6 | 0 | 180 | 1800 | 0 | [9 empty] | 1
S | SLF | Switzerland |  | Jenoptik | Jenoptik | SHM30 (012840-630-22) | LD | 5 | 0 | 300 | 300 | 0 | [9 empty] | 1
S | SLF | Switzerland |  | N/A | Manual measurement of SoG | Manual measurement of SoG | M | 0 | 0 | 2/month | 2/month | 0 | [9 empty] | 1
S | SLF | Switzerland |  | Sommer Mess-Systemtechnik | SSG Snow Scale | SSG Snow Scale | WG | 0 | 0 | 1800 | 1800 | 0 | [9 empty] | 1
[13 empty] | 7 | 1 | 0 | 0 | 1 | 1 | 8 | 1 | 0 | 9 | 0
[5 empty] | Principle | [16 empty] | Total | 28
|  |  |  | legend: | WG | Weighing Gauge
[5 empty] | G | Gamma
[5 empty] | US | UltraSound |  |  |  | heating: | 0 = unheated
[5 empty] | LD | Laser Detector |  |  |  |  | 1= heated
[5 empty] | M | Manual
[5 empty] | HyP | Hydrostatic Pressure
[5 empty] | TB SWE | Tipping Bucket (Snow Water Equivalent)
[5 empty] | GPS | Global Positioning System