| WORLD METEOROLOGICAL ORGANIZATION ____________________ COMMISSION FOR INSTRUMENT AND METHODS OF OBSERVATION OPAG-SURFACE JOINT CIMO EXPERT TEAM ON SURFACE-BASED INSTRUMENT INTERCOMPARISONS AND CALIBRATION METHODS Second Session AND INTERNATIONAL ORGANIZING COMMITTEE (IOC) ON SURFACE-BASED INTERCOMPARISONS Second Session Geneva, Switzerland, 5-9 December 2005 |  | CIMO/OPAG-SURFACE/ /ET-SBII&CM-2/IOC-2/Doc. 4(1) (15.XI.2005) _________ ITEM: 4 Original: ENGLISH ONLY |
| --- | --- | --- |

# WMO FIELD INTERCOMPARISONS OF RAINFALL INTENSITY (RI) GAUGES

(Submitted by Mr E. Lanzinger, Germany and by the Secretariat)

______________________________________________________________

Summary and purpose of  document

This document summarizes the discussion on the subject at the first session of the Joint meeting of the CIMO Expert team on Surface-based Instrument Intercomparisons and Calibration Methods and the International Organizing Committee on Surface-based Instrument Intercomparisons, provides a proposal of the Questionnaire on potential participants of the WMO Field Intercomparison of RI Gauges and a description of the data acquisition system of the Vigna di Valle test site.

Action proposed

The Expert Team and the International Organizing Committee is invited to review the procedures for the organization of the WMO Field Intercomparison of RI Gauges and take into account the a proposals attached in the annexes.

4. WMO FIELD INTERCOMPARISONS OF RAINFALL INTENSITY (RI) GAUGES

4.1 The Expert Team (ET) and the International Organizing Committee (ET) evaluated the proposal of Italy to host the WMO Field Intercomparison of RI Gauges in Vigna di Valle, Italy. The joint ET/IOC meeting considered the results of the evaluation of the testing site done by CIMO experts on 20 April 2005 (Annex I) as well as the Climatology of the site, presented in Doc. 4(2), and decided that  ………………………

4.2 The ET/IOC reviewed the procedures for conducting the intercomparison, proposed by the first session of the joint ET/IOC meeting (Annex II), and agreed on the revised procedures as follows:

4.2.1 …

4.2.2 …

….

4.3 The project leader, in collaboration with the ReSMA experts, prepared description of the data acquisition system of the Vigna di Valle (Italy) testing site (Annex III).

4.4 To collect the necessary information on potential participants and to assist in the selection of the instruments for the intercomparison, the project leader proposed the Questionnaire on potential participants (Annex IV).

Annex I

Report on the meeting with 
the Italian Air Force Center of Aeronautical Meteorological Experimentation

Vigna di Valle, Italy, 20 April 2005

(by Miroslav Ondráš, WMO Secretariat)

# I. INTRODUCTION

## In accordance with the CIMO-XIII Plan for urgently needed intercomparisons, the consultations are going on with the Italian Air Force Centre of Aeronautical Experimentation (RESMA), on possible hosting of the WMO Field Intercomparison of Rainfall Intensity (RI) Gauges in their testing ground in Vigna di Valle, Italy. The purpose of this meeting was to evaluate the infrastructure and technical support available at the test ground and a possible host country support.

## The Permanent Representative of Italy with WMO was represented by Mr P. Pagano and RESMA by Mr G. Casu, the Director of the test site. Several other RESMA staff members participated in the meeting. The evaluation was done by SSO/OSY, who was assisted by members of the International Organizing Committee (IOC) for Surface-Based Intercomparisons involved in the WMO Laboratory Intercomparison of RI gauges, namely: Prof. L. Lanza, Mr. L. Stagi (both Italy) and Mr Ch. Alexandropoulos (France).

#### II. PRINCIPAL POINTS

RESMA has experienced staff to oversee all the intercomparison tasks, such as installation of instruments, regular observations, data acquisition and preventive maintenance. Having regard to the work load needed to accomplish the necessary activities, it would be necessary to find a person who could support RESMA staff for the field RI gauges intercomparison. In this way, it could be possible to conduct more easily all activities during this period, realize database, perform data quality control throughout the intercomparison and make the requested WMO data analysis in order to prepare a draft final report for the IOC. It would be a responsibility of WMO, in consultation with RESMA, to find a support-person and provide a financial support to him/her for mentioned purpose.

Within a test site a required area of about 30x30 meters could be available for the test instruments. The test site is not ideal (the ground is slightly inclined), however it could be adapted (levelled) to satisfy the needs for the intercomparison site. The necessary infrastructure including the data acquisition system is available at the site.

Operational meteorological station is at the site, providing all necessary additional meteorological information for the intercomparison.

RESMA presented some climatological statistics that however do not provide necessary information to justify the selection of this site for the RI intercomparison. It was agreed that RESMA would provide rainfall statistics based on the last 5-year period from the pluviograph records by the end of May 2005.

#### III PROPOSALS

- RESMA will provide requested climatological statistics of the site by the end of May 2005;

- The final decision on the suitability of the Vigna di Valle test site will be made by the IOC based on the evaluation and the climatological statistics of the site by the and of June 2005;

- Provided a positive decision would be made by the IOC, the agreement between WMO and Italian Meteorological Service should be made by mid September 2005 so that the intercomparison could start in June 2006; and

- The IOC meeting should be held in autumn 2005 to discuss and agree on the rules and procedures for the WMO Field Intercomparison of RI Gauges.

Annex II

- FIELD INTERCOMPARISONS OF RAINFALL INTENSITY (RI) GAUGES, IN VARIOUS CLIMATIC REGIONS

In addition to the general rules and procedures for WMO Intercomparisons as defined in the Guide to Instruments and Methods of Observation, WMO - No.8, Part III, Chapter 5, Annex 5.A and 5.B, the ET/IOC agreed on below rules and procedures:

  - Main objective, place(s), date and duration

    - In defining the main objectives, the meeting took into account proposals made by the Expert Meeting on Rainfall Intensity Measurements (Bratislava, Slovak Republic, 23-25 April 2001) that were endorsed by CIMO-XIII.

    - The ET/IOC concluded that there is enough information available to justify a field intercomparison of both catchment and non-catchment types of instruments with the emphasis on high rainfall intensity (RI).  However, it was felt that low intensity, mixed and solid precipitation were also of interest for a future intercomparison.  It was recognized that non-catchment type instruments could only be evaluated in the field in parallel with catchment type gauges.  It was further decided that remote sensing instruments would not be tested at this time.

    - The ET/IOC agreed on principles and basic procedures for the field intercomparison of RI instruments.

Objectives

    - The main objective of this field intercomparison is to intercompare the performances of in situ rainfall intensity instruments of different measuring principles in high RI conditions.

    - Further objectives have been identified as follows:

      - To evaluate the performance of the instruments in field conditions.

      - To offer advice on the need for additional laboratory tests especially for the non-catching type rain gauges.

      - To provide guidance material for further improvements in the area of intercomparisons of instruments for precipitation measurements.

      - To provide guidance on improving the homogeneity of long-term records of rainfall with special consideration given to high rainfall intensities.

      - To make available the summary of initial results of the intercomparison within three months after the end of the testing period and to publish the Final Report of the intercomparison within the WMO IOM Report Series within twelve months after the testing is finished.

      - To draft recommendations for consideration by CIMO-XIV.

Place

    - Concerning the location, a number of criteria were discussed. These included the occurrence of high rainfall events, availability of technical infrastructure and support for operating the intercomparison.

    - Italy and Slovakia informed on their intention to be host field RI intercomparisons.

    - It was concluded that the offered test site in Slovakia was not appropriate because of low probability of high intensity rainfall events during the test period.

    - It was discussed and decided that the test site in Italy was a possibility.

    - Germany has also test sites but with limited space and very few high RI events.

    - The United States has areas of high RI events and also locations with appropriate infrastructure where the intercomparison could be performed.

    - The tropical and monsoon regions have high RI events with considerable regularity and could be considered for the intercomparison.

    - Further efforts should be made to identify the suitable location for the field intercomparison, given the criteria of high RI events as well as appropriate facilities and resources. The optimal site should have some of the following characteristics:

- Good likelihood of high intensity rainfall events for example a 90% likelihood of the rainfall events higher than 100 mm/hr lasting for at least several minutes.

- Appropriate facilities for running 10-30 instruments and collecting the data.

- Support for installation, maintenance, communication, data collection, storage and analysis.

- An open area with at least 300 m2 with appropriate meteorological measurements nearby (see 5.3.3).

- A long-term record of precipitation from a catchment gauge.

- A pit for containing a standard precipitation gauge similar to that referenced in EN 13798-2002 or the WMO Guide to Hydrological Practices, WMO-No.168.

- Internet connection.

- It is currently not the intention of this field intercomparison to have wind shielding, even while wind is recognized as an important factor in catchment.  To address this, an ideal site would have low wind speeds during rainfall.

Date and duration

    - The field intercomparison should commence as soon as possible after finishing the laboratory intercomparison. If the agreed schedule is maintained for the laboratory intercomparison, the field intercomparison could begin as early as April 2005.

    - The intercomparison should continue for a sufficient period of time to include several high intensity rainfall events.  This time may be adjusted based on logistical considerations and meteorological conditions.  The instruments may be held for as long as one year to complete the goals of this intercomparison.

  - Procedures for intercomparisons

Conditions for participation, type of instruments

    - Participation in the intercomparison will be accepted based on the following conditions:

- Only in situ instruments that are currently being used in national networks or being considered for use in national networks will be considered.

- Only instruments that are capable of measuring rainfall intensity of at least 200 mm/h at a time resolution of 1 minute will be accepted.

- Due to field acquisition system restrictions, only instruments with digital output (serial or pulse) will be considered.  Instruments with other types of outputs may be accepted only with an appropriate adaptor interface.

- To achieve more confidence in the results, preferences will be given to testing of two identical instruments, however it is not a condition for participation.

    - The number of instruments to be tested will depend on both the resources and space available for the field intercomparison.  If the number of instruments applying to participate exceeds capacity of the field site, based on the proposal of the project leader, the ET/IOC will select instruments for participation based on the following criteria:

- Instruments will be selected to cover a variety of measurement techniques;

- Preference will be given to new promising measuring techniques;

- Preference will be given to instruments that are widely used.

- Preference will be given to instruments supplied in pairs.

- For those equipment tested in the laboratory intercomparison, results of the laboratory testing will be taken into consideration.

    - Participants are requested to calibrate their instruments against any suitable recognized standard before shipment and to provide appropriate calibration certificates.  This can be a manufacturer’s certificate.

    - Participants are requested to provide, as far as possible, two identical instruments of each type.

    - The ET/IOC will provide a detailed questionnaire in order to obtain the required information on each instrument proposed for the intercomparison. The Project Leader shall provide further detail and prepare the final version of the questionnaire to the chairman of the ET/IOC. Participants will be requested to specify very clearly the hardware connections and software characteristics in their reply and to supply adequate documentation.

    - The ET/IOC requested Secretariat to invite, at the earliest convenience, Members of WMO and Association of the Hydro-Meteorological Equipment Industry (HMEI) to participate in the field RI instruments intercomparisons and to propose instruments to be tested. The invitation should include all relevant information agreed by ET/IOC.

Responsibilities of participants

    - Appropriate documentation including all detailed instructions and manuals needed for installation, operation, calibration, and routine maintenance have to be provided in advance in order to evaluate the feasibility of the test.

    - The presence of participant’s staff is not required during the intercomparison, however assistance in operation has to be provided on request in order to allow the test to be carried out properly and with minimum effort by the host country.

  - Data acquisition, processing and analysis methodology and publication of results

Equipment set-up

    - The project leader will provide the chairman of ET/IOC with a description of the site facilities, climatological information, available resources and the layout of the proposed instrument installation.  The ET/IOC will evaluate this information and provide feedback.  The PL will consider and approve, if acceptable, on behalf of the ET/IOC, any specific request of participants.

Standards and references

    - The reference rainfall rate will be determined by a catchment gauge set in a pit.  The selection of this gauge will make use of the recommendations of the laboratory intercomparison.  Documentation of the calibration of this instrument will be made available to participating members.  The PL shall propose the method and equipment to be used as the reference for estimating rainfall intensities that will be confirmed by the ET/IOC.

Related observations and measurements

    - The field intercomparison site should be equipped with meteorological measurements including: temperature, humidity, pressure, wind speed, wind direction, present weather, and precipitation.  Measurements of visibility, upwelling and downwelling solar radiation would be additionally useful but not necessary.  The meteorological data will be available to the ET/IOC along with the intercomparison data for diagnostic purposes.

Data acquisition system

    - The host country shall provide the necessary data acquisition system capable of recording the required pulse and digital (serial) signals from all participating instruments.

    - The data will be automatically transmitted daily for preliminary analysis of emerging data.

    - The daily data will be backed up with an appropriate system to be approved by the chairman of ET/IOC.

Data acquisition methodology

    - The data will be acquired sufficiently fast (e.g. every fifteen seconds) to allow data evaluation on a one-minute time base.  The data acquisition system will not average.  If possible, the instrument should provide the most recent one-minute average value updated frequently.

Schedule of intercomparison

    - The ET/IOC agreed that the scheduling of the field intercomparison would be restricted by the completion of the laboratory testing. It was recognized that the high intensity precipitation events may occur at specific times of the year, necessitating possible changes in the timing of the field intercomparison.

    - The ET/IOC agreed on the time schedule of the field intercomparison as synthesized in the following time chart.

| Year | 2004 | 2005 | 2006 |
| --- | --- | --- | --- |
| Month | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| Designation of host country |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Letter of invitation to participants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Response to invitation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Selection of participants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Planned end of the laboratory intercomparison |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Field intercomparison (planned) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Initial report of intercomparison (contingent on dates of intercomparison) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Final report of intercomparison |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

These dates assume appropriate preparations of the host country, all participants and the laboratory testing.  If problems arise, the dates will be adjusted.  The ET/IOC should agree on a more detailed outline of a time schedule for the intercomparison, including normal and specific tasks, and prepare a time chart. Details should be further worked out by the PL.

Annex III

# VIGNA DI VALLE TESTING SITE

Description of the data acquisition system

The data acquisition system as described in Figure 1 is able to connect all RS232, RS422 and RS485 serial sensor output and all common analog output signals. Analog signals like voltages, currents, resistances, pulses and relay contacts are first converted to digital by a data logger or an appropriate A/D-converter with a serial output. All serial lines are connected to one or more port servers which have a large number of individually configurable serial inputs. All these electrical components are installed in an outdoor box beside the test field.

A decision was taken to restrict the allowed types of serial interfaces to RS422 and RS485 because the cable length between the instruments and the port servers will be more than 15 m, which is the maximum specified distance for the RS232 interface. For any sensor equipped with a RS232 interface a suitable interface converter has to be provided by the manufacturer.

The power supply for 220 V AC, 50 Hz and 12 VDC is also provided in the outdoor box and can be distributed to the individual sensor installation sites. All data and power lines are routed by a switch board to insure the most flexible connectivity.

The necessary Ethernet connection between the port servers on the test field and the local data acquisition PC in the Meteorological Station is implemented by a WLAN access point. The data transmission rate is typically better than 11 Mbit/s. Alternatively a DSL modem connection could be installed with a minimum data transmission rate of 2 Mbit/s by using a 2 or 4 wire signal cable. All data are collected by the local data acquisition PC which guarantees good synchronization of all timestamps in the datafiles. The local PC is connected to the intranet of RESMA and routinely transfers all data to an ftp server allowing daily quality control and immediate diagnostics by WMO expert.

The data will be acquired every 15 seconds and will not be averaged by the data acquisition system. If possible the instruments should provide the most recent one-minute average value updated frequently. The final time interval for evaluation will be 1 minute.

Standards and references

The reference rainfall rate will be determined by two catchment gauges set in a pit. The selection of these gauges will make use of the recommendations of the WMO Laboratory Intercomparison of RI Gauges. Documentation of the calibration of this instrument will be made available to participating members.

Related observations and measurements

The field intercomparison site will be equipped with meteorological measurements including: temperature, humidity, pressure, wind speed, wind direction, present weather, visibility, upwelling and downwelling solar radiation and precipitation.

Figure 1: Schematic setup of the data acquisition system at the ReSMA test site in Vigna di Valle.

#### Annex IV

WORLD METEOROLOGICAL ORGANIZATION

QUESTIONNAIRE

on potential participants 
of the WMO field intercomparison of Rainfall Intensity (RI) gauges

Italy 2006-2007

Note: please complete a separate questionnaire for each type of Sensor /System.
If necessary, attach additional pages.

Electronic version of the Questionnaire is available at: http://www.wmo.int/web/www/IMOP/intercomparisons.html

| 1. | Member country |
| --- | --- |

| 2. | Name of participating institution/company |
| --- | --- |
|  | Address |

| 3. | Person responsible for the intercomparison |
| --- | --- |
|  | Surname | First name |
|  | Tel.: | Fax: |
|  | E-mail: | Other: |

| 4. | Alternative contact person |
| --- | --- |
|  | Surname | First name |
|  | Tel.: | Fax: |
|  | E-mail: | Other: |

| 5. | Name and address of the manufacturer (if different from no.2 above) Name |
| --- | --- |
|  | Address |

| 6. | Shipment of participating instruments |
| --- | --- |
|  | Approx. commercial value Euro | Total weight of consignment kg |
|  | Number of boxes | Overall volume of boxes cm3 |
|  | Overall dimension, in cm (i.e. for storage purposes) Length x Width x Height cm |
|  | Other information concerning shipping |

| 7. | Instrument specifications Please enclose a diagram showing, preferably, the different elements (photos are welcomed). |
| --- | --- |
|  | Instrument name | Model/Type |
|  | Number of sites where the instrument is in operational use or intended to be in your country: | Could you submit One or Two identical instruments? (Two identical instruments are preferred.) |
|  | Principle of operation: Tipping bucket Weighing gauge Drop counter Optical disdrometer Other please describe: |
|  | Which parameter(s) does the sensor report? Rainfall Intensity Rainfall Accumulation Time of Tipping |
|  | Rain Intensity (RI) range (for a sensor measuring rain accumulation (RA), it should be possible to calculate RI over a period of one minute. RI range must be stated in such conditions). RI from mm/h to mm/h |
|  | Rain Intensity (RI) resolution (for RI measured or calculated over a period of one minute): mm/h. |
|  | Rain accumulation limit (if the sensor has an accumulation limit (i.e. weighing sensor), please indicate it and the related limitation for RI range (if relevant). Accumulation limit mm, and corresponding RI range from mm/h to mm/h over a period of minutes. |

| 8. | Sensor/System Output |
| --- | --- |
|  | Pulse | Duration | Voltage |
|  | Reed Relay Yes No |
|  | Digital | RS485 RS422 |
|  | Other Please describe Notes: If the sensor output causes problem for the data acquisition system, an appropriate converter may be requested to the participating institution/company. |

| 9. | Information for field installation |
| --- | --- |
|  | Notes on the power supply: Sensors should be able to operate on 220V AC, 50 Hz or unregulated 12V DC (if power supply is necessary); For other voltages, converters must be provided. |
|  | Power supply/Voltage required | Maximum total power consumption (watts) |
|  | Notes on the amount of space for installation: there will be an area of 50 cm x 50 cm on a separate concrete foundation for each instrument. |
|  | Overall dimensions of the instrument, in cm Length x Width x Height cm | Total weight kg |
|  | Dimensions: Length x Width x Height (in cm); and Weight (in kg) of main elements |
|  | Part id L x W x H kg |
|  | Part id L x W x H kg |
|  | Part id L x W x H kg |
|  | Part id L x W x H kg |
|  | Part id L x W x H kg |
| 10. | Sensor/System siting requirements |
|  | Installation alignment required Yes No Please describe |
|  | Notes on the cable lengths: Cable lengths for power supply and signal cable should be at least 4 m. |
|  | Cable length for power supply m for signal cable m |
|  | Will an expert from the Member country assist with the installation of the Sensor/System Yes No |
|  | Will an installation tools kit accompany the shipment? Yes No |
|  | Any special tools required for the installation? Yes No Please describe |
|  | Special fixtures required for the installation? Yes No Please describe |
|  | Any other special requirements? Yes No Please specify |

| 11. | Calibration |
| --- | --- |
|  | Calibration reference |
|  | Calibration intervals |
|  | Procedure |

| 12. | Any other relevant information. For example, if internal processing software introduces smoothing over a period of time longer than 1 minute, this should be carefully documented. |
| --- | --- |

| Date |  | Name/Signature of the Permanent Representative or Name/Signature of a manufacturer if proposed by the HMEI |
| --- | --- | --- |
| Please send the electronic version of the completed form as an E-mail Attachment and at the same time the hard copy by fax to Dr Ondras: Dr Miroslav Ondras E-mail: Mondras@wmo.int Senior Scientific Officer Fax: +41 22 730 80 21 WMO/OMM World Weather Watch P.O. Box 2300 CH 1211 Geneva, Switzerland |