| WORLD METEOROLOGICAL ORGANIZATION COMMISSION FOR INSTRUMENTS AND METHODS OF OBSERVATION OPAG-SURFACE EXPERT TEAM ON SURFACE TECHNOLOGY AND MEASUREMENT TECHNIQUES Second Session (Geneva, Switzerland, 22-26 September 2008) |  | CIMO/OPAG-SURFACE/ ET-ST&MT-2/Doc. 3.2(1) (18.IX.2008) _______ ITEM: 3.2 Original: ENGLISH |
| --- | --- | --- |

REPORTS ON THE PROGRESS IN ADDRESSING THE WORK PLAN OF THE EXPERT TEAM

Automation of Surface Observations

Development of guidelines and procedures for the transition

from manual to Automatic Weather Stations

(Submitted by M. Molyneux)

_________________________________________________________________

Summary and purpose of document

This document presents guidelines and procedures for the transition from manual to automatic weather stations in view of ultimately publishing it in the WMO Guide to Meteorological Instruments and Methods of Observations. It is a preliminary framework document aimed at enabling to determine the scope of the final document that will eventually be needed.

_________________________________________________________________

ACTION PROPOSED

The meeting is invited to critically consider the guidelines and procedures presented in this document.  In particular, the meeting is invited to assess whether all sections should be kept for the development of the final document and whether any additional section would be required.

_____________

Draft for Expert team discussion

Development of guidelines and procedures for the transition

from manual to automatic weather stations

Stage 1 2008 Outline and material for discussion

(Stage 2 “2010 Update for CIMO Guide”)

Mike Molyneux

Met Office FitzRoy Road Exeter EX1 3PB United Kingdom

Tel: +44 (0)1392 885803 Fax: 0870 9005050

E-mail: mike.molyneux@metoffice.gov.uk

This is a preliminary framework document that is presented to allow the scope of the final document to be set.  It is intended to be an agenda for discussion of issues within the ET meeting and plan further text and references

Section Plan

1.	Introduction

2.	How to plan the specification of the stations and system

3.	Audit of the site

3.1	Measurements

3.2	Records

3.3	Activities and processes

3.4	Staffing levels

3.5	Infrastructure

3.6	People Issues

4.	Off-site processes

4.1	Interfaces to other hardware systems owned by the NMS

4.2	Interfaces to customer hardware systems

4.3	System and site management

5.	Future Proofing

6.	Planning and documenting Instrument change

### 7.	Agreeing the completion of the change

## 8.	Lessons Learnt by other Met Services

9.	References

Note:	Ensure that these sections scope the whole of the material needed (Should the sections be included or not.  What other sections are required?)

Timeframe Complete write up in 08-09

### 1.	Introduction

Weather stations simply produce data.  However, the detailed uses of that data are complex and the properties of the data are key concerns to paying customers and users.  The properties can vary in terms of:

- Uncertainty of measurement (WMO Guide No 8);

- Exposure;

- Availability (Amount of data missing);

- Timeliness (Delay before data is available);

- Quality (Processes used to reduce overall measurements uncertainty); and

- Maintenance (Processes used to keep hardware within specification).

The properties are often linked to the use of the data, for example:

-	Climatological temperature measurements - key properties: low uncertainty, unbroken long time series;

-	Safety critical at aerodromes – key properties: high quality, low delay, and low uncertainty; and

-	NWP and very short-range forecasting – key properties: timeliness.

However, it should be noted there are often several users and this increases the need for high performance in several properties.

When making any changes to a station the customers and users will be most concerned that the data output and key properties are maintained.  This should be considered at all times.

Meteorological data from a station also varies considerably in subjectivity, for example the air pressure can be measured with little uncertainty with a calibrated barometer.  However, the observation of cloud amount by skilled staff is much more subjective.  Therefore the changes introduced by automation can be small for highly objective measurements, but significant for subjective observations of cloud amount, visibility and weather.

At an early stage the change process must link changes to the WMO agreed Karl or GCOS Principles.  These have been developed by Climate data users but can be applied to all changes.  These ensure the change process considers all aspects.  These rules are important and stated in full here.

GCOS/GOOS/GTOS CLIMATE MONITORING PRINCIPLES

- Effective monitoring systems for climate should adhere as closely as possible to the following principles.

- The impact of new systems or changes to existing systems should be assessed prior to implementation.

- A suitable period of overlap of new and old observing systems should be required.

- The results of calibration, validation and data homogeneity assessments and assessments of algorithm changes should be treated with the same care as data.

- A capability to routinely assess the quality and homogeneity of data on extreme events, including high-resolution data and related descriptive information, should be ensured.

- Consideration of environmental climate-monitoring products and assessments, such as IPCC assessments, should be integrated into national, regional and global observing priorities.

- Uninterrupted station operations and observing systems should be maintained.

- A high priority should be given to additional observations in data-poor regions and regions sensitive to change.

- Long-term requirements should be specified to network designers, operators and instrument engineers at the outset of new system design and implementation.

- The carefully planned conversion of research observing systems to long-term operations should be promoted.

- Data management systems that facilitate access, use and interpretation should be included as essential elements of climate monitoring systems.

2.	How to plan the specification of the new stations and system

It is suggested that all work of this nature is carried out using the principles of “Project Management”.  These are well known and well documented techniques that have been shown to deliver outcomes in a predictable way.  Techniques can be found in “PRINCE II” (add reference).

Met stations only exist to supply users with data.  It cannot be overstressed that during the process of changing stations the users’ requirements must be central.  Requirement capture is familiar in WMO under Rolling Requirement Review process (link to be added).  However, that system may need to be examined to extend it to all the features that may differ between manned and unmanned sites.

A well developed system to draw out user needs and existing processes can be found in “Business Analysis” methods.  These can be used to plan the changes.  The techniques were initially developed to work with IT systems.  However, AWS systems can increasingly be considered IT data systems and techniques transfer well.  Overall, the main aim is to use a systematic approach to ensure that our customers’ needs are satisfied in a complete and competent manner.  The exact system used is not important; but using one that is widely used, has well prepared methods and pools of skilled staff has considerable advantage. For an introduction see Business Analysis (Paul and Yates).

New business processes will be needed when the new site is installed.  For example, fault identification and resolution.  Where possible these should be incorporated into systems that already exist.  These processes may lead to staff skills changing.

# 3.	Audit of the site

3.1	Measurements

What measurements are made?

What instruments are there?

3.2	Records

What records are there on sites that are not duplicated elsewhere?

3.3	Activities and processes

What activities are underpinned by the staff?  These may not be clear; staffs are resourceful, skilled and good at quality control.  These items are not easy to automate. Interviews can be used to document these processes in detail.

  - Staffing levels

These are examples of site issues that will need to be considered in future.  They are likely to change with automation.

Measurement quality checking

Maintenance

Grass cutting

Service Restoration

3.5	Infrastructure

New infrastructure should be considered so that it is suitable for future use.

For example, using a well designed instrument enclosure may be expensive initially.  However, the infrastructure may last for more than one generation of AWS and prove less expensive in the long-term.

Security - What needs to be kept out of the site?  For example, animals or vandals.  Levels of protection need to be installed according to the threat.

Ownership - Who owns the site?  Will changes impact on any contracts or 	arrangements with the Landowners?

Power supply – what power is required for the AWS and sensors.  Checks on continuity of supply may be needed

3.6	People Issues

People issues may need to be considered.  Levels of staffing and shift patterns may change.  Skills required may change considerably.

# 4.	Off-site processes

Offsite processes can be grouped into 3 main areas:

- Interfaces to other hardware systems owned by the NMS;

- Interfaces to customer hardware systems; and

- Management.

It should be noted that off-site changes can be considerable and often may result in increased costs to set up or run.  These costs should be considered when planning changes.

4.1	Interfaces to other hardware systems owned by the NMS

In simple terms the existing data from a station is delivered to customers in an agreed format using a hardware mechanism.  For example, at an existing station the data may be transmitted in SYNOP format from a PC via a modem.  It is vital that some customers or users can access the data without interruption.  NMS downstream systems may need to be:

- Modified to accept new data or formats; and

- Unmodified retaining data and formats but this needs considerable testing to ensure service is continued.

4.2	Interfaces to customer hardware systems

If dataflow is modified - customers will be impacted by the changes.  These impacts can be mitigated by early communication and help with change planning.  New systems often have additional benefits to customers and these benefits should be stressed.

4.3	System and site management

A new system will change existing structures.  Early planning is required to ensure that the impacts are minimal.  It may be that other processes need to expand to accommodate the changes.  For example, QA Lab activities and replacement systems for sensors may need to be increased.  Often greater staff skill levels will be needed in these systems.

List of Functions or teams needed to run an Automated AWS system:

- Calibration

- Stores

- Repair and service

- IT support

- Comms

- Site Management

- Sensor and Measurement development planning and procurement

- Meteorological Coding and formatting development and planning

- Post measurement quality checking – data and coded output

- Databases for measurement and metadata

### 5.	Future Proofing

The system above is largely designed to continue the service of the existing site or system. However, it is not intended to limit the changes being when a station is automated.

For example, additional items to be considered can include:

- Ability to duplicate sensors of existing type

- Ability to add new type of sensors

- Higher frequency sampling

- Adding or modifying algorithms

For the project to run on time it is vital to identify all the areas of impact so that clear decisions can be made.

### 6.	Planning and documenting instrument change

It is important from the Karl Principles above that measurement changes documented.  However, the risk of change varies considerably.  Below is a Table of parameters and an assessment of the risk of change.

Examples

Temperature measurement Low risk

Cloud cover High risk

## (To be completed by Discussion with ET members and WMO Guide No 8)

Examples of non-ideal performance should be considered here.  For example, sensors at manned stations can be checked daily.  This may change at unmanned stations and data quality be changed.

### 7.	Agreeing the completion of the change

A formal testing system should be agreed and carried out as part of the system change. This should be a sign-off process to show the new system or site is acceptable.  The stakeholders should be involved in the development and approval of the plan.

### 8.	Lessons Learnt by other National Met Services

During the process of change under Project Management two key documents are suggested.  These are titled “Issues Log” and “Risk Log”.  If used, they can add significant value by capturing and enabling planning to deal with problems as they arise and preparing against risks outside immediate control.  In order to propagate these lessons the following key issues have been noted by NMSs who have automated sites in the past or are undergoing that process.

Issues log:	Examples are provided – to be completed by discussion with ET members

Risk log:	Examples are provided – to be completed by discussion with ET members

### 9.	References

## (To be completed by discussion and questionnaire to ET members)

Business Analysis – Paul and Yates – British Computer Society IBSN 978-1-902505-70-1

Recent work - Parallel Expert Team document.

There has been recent activity on this topic documented in “Transition to automated systems”.

This has been checked against the work above with few key differences noted.

See Expert Team on Requirements for Data from Automatic Weather Stations.  Final Report of ET-AWS, Fifth Session, Annex 7 (Geneva, Switzerland, 5-9 May 2008)
http://www.wmo.ch/pages/prog/www/OSY/Reports/ET-AWS-5_Geneva_2008.pdf

________________