| WORLD METEOROLOGICAL ORGANIZATION _______________________________ Joint Meeting of CBS Expert Team on Surface-based Remotely-Sensed Observations (First Session) and CIMO Expert Team on Remote Sensing Upper-air Technology and Techniques (Second Session) Geneva, Switzerland, 23-27 November 2009 |  | CBS-CIMO Remote Sensing/ Doc. 4.1(2) (16.XI.2009) ______ ITEM: 4.1 Original: ENGLISH ONLY |
| --- | --- | --- |

REMOTE SENSING SYSTEMS (SUCH AS GPS, MICROWAVE, AND INFRARED RADIOMETERS, LIDARS, ETC.) FOR THEIR USE IN WIGOS

Evaluation of the survey on lightning detection systems – Report on current operational networks

(Submitted by Mohamed Dahoui)

Summary and Purpose of Document The document presents the analysis of the survey on lightning detection systems that was performed in 2009 to document and review the current operational lightning detection networks, and report on strengths and weaknesses, including coverage, accuracy, reliability and cost effectiveness.

## ACTION PROPOSED

The meeting is invited to review the information provided in this document, in particular the key-findings and recommendations, and agree on its suitability to be published as an IOM report. The meeting will further be invited to identify any follow-up action that would be needed to provide adequate guidance to the Members and in particular whether an intercomparison of lightning detection systems should be undertaken under the auspices of CIMO.

CIMO survey on Lightning detection systems (2009)

Table of Content

1	SUMMARY	2

2	BACKGROUND	2

3	SURVEY PREPARATION	2

3.1 Contents of the survey	2

3.2 Targets and Distribution	2

3.3	Survey Analysis procedure	2

4	SURVEY RESULTS	3

SECTION 1: ACCESS AND USE OF LIGHTNING DATA	3

Survey question 1: Does your organization have access to automatically measured lightning data?	3

Survey question 2: Does your organization own the lightning detection network?	3

Survey question 3: Is data provided by: national public organization, foreign public organization, national private company or foreign private companies?	4

Survey question 4: Is data provided via: Cooperation agreement or Commercialization process?	4

Survey question 6: What is the reason for non-use of lightning data?	5

SECTION 2: CONFIGURATION OF THE NETWORK	6

Survey question 7: Equipment in use (Manufacturer, Type, technology, localization method, number of sensors and telecommunication supports)	6

Survey questions 8 & 9: Is there any component of the processing/archiving software, which is not provided by the manufacturer?	7

Survey question 10: Does the network cover the whole country?	8

Survey questions 11 & 12: Who maintains the network? What’s the maintenance cost?	9

SECTION 3: NETWORK PERFORMANCE	9

Survey question 13: Do you have an estimation of the network performances?	9

Survey question 14:  How the network performances are estimated?	9

Survey question 15: What is the estimation of the network availability?	10

Survey question 16: What is the estimation of individual sensors availability?	10

Survey question 17: What is the estimation of the availability of the telecommunications support?	10

Survey questions 18 and 19: What is the estimation of the network detection efficiency and accuracy?	10

Survey question 21: What is the limitation for not doing performance studies?	12

SECTION 4: APPLICATIONS OF LIGHTNING DATA	13

Survey question 22: In your organization, what is lightning data used for?	13

Survey question 23 & 24: Is lightning data supplied to other public or private entities? What is the main use of lightning data by other entities?	13

SECTION 5: DATA EXCHANGE	14

Survey question 25: Is the network inter-connected to other networks?	14

Survey question 26: What is the form of lightning data exchange.	14

Survey Question 27: What is the networks inter-connection value added?	15

SECTION 6: ADDITIONAL INFORMATION	15

Appendix A: Survey Specimen	18

# SUMMARY

The Survey on lightning detection system has been conducted by WMO to evaluate the current operational lightning detection systems. It aims to report on strengths and weaknesses, including coverage, accuracy, reliability and cost effectiveness.

This document provides the results of an analysis of the NMHSs responses to CIMO survey on lightning detection systems.

An overview of the scope of the Survey and the subsequent analysis approach is provided in section 2 and 3. Section 4 focuses on the detailed analysis of the results. Within the Section 4 “Key Findings” and “Recommendations” extracted from the analysis are provided and shown in the question to which they refer. Individual responses to the survey section 6 are compiled in a table and presented at the end of section 4. NMHSs comments provide valuable information that needed to be preserved as it is.  Appendix A contains a copy of the Survey questionnaire.

# BACKGROUND

The current survey is the first in its category.  It was initiated by the CIMO in its 14th session as part of a review process of the current operational lightning detection systems networks.  In that context, the CIMO has charged the Expert Team on Remote Sensing Upper Air Technology and Techniques to conduct this work.

# SURVEY PREPARATION

## 3.1 Contents of the Survey

The survey has been prepared in a way to reflect the current status of the operational lightning detection networks, and report on strengths and weaknesses, including coverage, accuracy, reliability and cost effectiveness. It comprises six sections covering the following subjects:

Section 1: Access and use of lightning data

Section 2: Configuration of the network

Section 3: Network performance

Section 4: Applications of lightning data

Section 5: Data exchange

Section 6: Additional information

## 3.2 Targets and Distribution

The survey has been sent to all WMO Members’ NMHSs. It was clearly stated in the survey that it’s highly recommended to include also lightning networks owned by national external entities even if the NMHS has his own network.

The survey was conducted in English only as a MS word document.

A total of 68 NMHS have replied to the survey by e-mail and by FAX.  We were not able to process three replies due to corrupted received files.

## 3.3 Survey Analysis Procedure

As replies were received by e-mail and by FAX, it was difficult to follow an automatic collection and processing of the results. Therefore the analysis was done manually. It’s worth to mention that for few replies, some of the answers were not consistent with each other.  The survey results are presented in the form of statistics related to each question. Key findings and recommendations are presented whenever it’s possible after each question or at the end of each section.

# SURVEY RESULTS

## SECTION 1: ACCESS AND USE OF LIGHTNING DATA

### Survey question 1: Does your organization have access to automatically measured lightning data?

All NMHSs have replied to this question (65 replies).  62 % (see Figure 1) confirmed that they have access to automatically measured lightning data. Only few NMHSs are planning to have access to such data.

Fig 1: Access to automatic measured lightning data

Key finding: Large number of NMHSs (38 %) don’t have access to automatically measured lightning data. This situation is not expected to change in the near future as only few countries are planning to establish an access to these data.

### Survey question 2: Does your organization own the lightning detection network?

This question has been included in the survey mainly to appreciate to which extent lightning data are considered as part of the core observing system of NMHSs. Usually; strategic observing systems are owned by NMHS.  Only NMHSs having access to automatically measured lightning data are considered in statistics presented in Figure 2.

Fig 2: NMHSs lightning detection networks ownship status

Key finding: The majority of NMHSs are owning the lightning detection networks. This result higlights the importance of lightning networks for NMHSs.

### Survey question 3: Is data provided by: national public organization, foreign public organization, national private company or foreign private companies?

This question applies only to NMHSs receiving the data but not owning the network.

We got 17 replies for this question. The majority of NMHSs (see Figure 3) are getting the data from foreign public and private organizations.

Fig 3: Category of NMHSs lightning data providers

### Survey question 4: Is data provided via: Cooperation agreement or Commercialization process?

16 NMHSs replied to this question. The majority of them indicated that lightning data is being provided through a cooperation agreement. A significant part (41%) of the data provision is done trough commercialization processes.

Fig 4: Lightning data distribution protocols

### Survey question 5: What is the main motivation for the installation of the network: Now-casting forecasts, Research studies or Commercialization?

Fig 5: Lightning networks installation motivation

From a total of 36 replies, 32 indicated that the main reason for insatlling a lightning network is mainly to satisfy weather now-casting needs. Research activities appear in second order. 3 Network owners indicated that the only reason for insatlling a network is to sell the data.

### Survey question 6: What is the reason for non-use of lightning data?

This question was addressed to NMHSs not having access to automatically measured lightning data. Unfortunately, the survey didn’t contain an indication that NMHSs having access to lightning data should not reply to it.

A total of 25 responses have been collected for this question. The majority of NMHSs indicated that the main reason of not having access to lightning data is a lack of funding. For few NMHSs, the benefit of having lightning data doesn’t justify such investment. Surprisingly, a significant number of NMHSs confirmed that the reason of not seeking access to lightning data is the absence of needs and a lack of knowledge about the data.

Fig 6 : Reasons for non access to lightning data

Key finding: A significant number of NMHSs are not aware about lightning data and their usefulness.

Recommandation 01: WMO is invited to spread widely more information about lightning data and its  fileds of application.

## SECTION 2: CONFIGURATION OF THE NETWORK

### Survey question 7: Equipment in use (manufacturer, type, technology, localization method, number of sensors and telecommunication supports)

This question was addressed to NMHSs having lightning detection networks installed in their country (operated by themselves or by other organizations). Among 65 NMHSs, 38 have responded.

| Manufacturer | Number of networks |
| --- | --- |
| VAISALA | 25 |
| TOA systems, Inc | 2 |
| UK Met Office, ATDNET | 1 (used by 3 NMHSs) |
| BOLTEK | 3 |
| Nowcast Gmbh | 3 |
| Resolution displays VLF-2 | 1 |
| China National Huayun Technology Development Corp | 3 |

Table 1: Lightning detection networks manufacturers

Fig 7 : Strikes types detection capability

Fig 8: Networks classified by frequency types

Fig 9: Used lightning localization methods

Key finding 1: Replies to question 7 showed some inconsistencies. Several networks use the same sensors but the reported stroke detection capability is inconsistent. Sensors based on VLF cannot, in principal, detect cloud-to-cloud strokes. Although these inconsistencies, results presented in this document reflect NMHSs replies.

Key finding 2: Several NMHSs have networks using a combination of different sensor types. Few NMHSs have two different networks with different technologies and manufactures.

Key finding 3: VAISALA hold a significantly dominant position in the provision of lightning detection systems.

### Survey questions 8 & 9: Is there any component of the processing/archiving software, which is not provided by the manufacturer?

This question has been included in the survey to investigate whether or not industrial systems are comprehensively designed to fulfill almost user’s requirements without major adaptations/additions.

Fig 10: Third party lightning detection systems components

Fig 11: Origin of third party components

Key finding: The analysis of replies indicate that a non-negligeable part of NMHSs need add-on components for their lightning detection systems. A significant part of these add-ons are developped by the NMHSs themselves indicating a need for tailored componenets. Almost all add-ons are related to the visualisation, archive and impacts localization.

Recommendation 02: Lightning detection system manufacturers are invited to take note of the nature of add-ons and when possible include them as a basic functions of the system.

### Survey question 10: Does the network cover the whole country?

This question intended to appreciate to how extent the lightning detection coverage is ensured for countries having access to automatically measured lightning data.

Fig 12: Lightning detection networks coverage

Key finding: Almost all NMHSs having access to automatically measured lightning data are covered completely by the detection network. Only few NMHSs are covered poorly.

### Survey questions 11 & 12: Who maintains the network? What’s the maintenance cost?

These two questions were included in the survey mainly to give complementary answers regarding the network availability when it is below a certain percentage.

A total of 32 NMHSs replied to this question. 56% are maintaining the network by themselves. The rest (44%) are delegating this task to private companies trough maintenance contract. NMHSs which have not replied to this question are those not owning the network and therefore not responsible for its maintenance.

## SECTION 3: NETWORK PERFORMANCE

### Survey question 13: Do you have an estimation of the network performances?

This question is the first in a series of questions aiming to evaluate the lightning detection networks performances.

For this first question, 74% of NMHSs are aware of the performances if their networks.  Surprisingly, 26% ignore the performances of the network producing the data being used. It is worth to mention that almost all NMHSs that are not aware of the networks performances do not own the network.

Recommendation 03: WMO is invited to make NMHSs aware of the usefulness of objective systems evaluation. In this context, advertising networks evaluation studies provides NMHSs with practical and objective methods to follow.

### Survey question 14:  How the network performances are estimated?

This question is very important to evaluate the verification method of lightning data. It’s well known that the appropriate method is the use of independent good quality data using an appropriate scoring method.

| Verification method | Number of NMHSs (total of 28) |
| --- | --- |
| Manufacturer estimation | 16 |
| Theoretical estimation based on the lightning data themselves | 15 |
| Feedback from forecasters and the network operators | 14 |
| Statistics based on independent verification data | 12 |
| Other methods | 5 |

Table 2: Lightning detection systems evaluation method

The methods classified as “other” are simply comparison with data from independent lightning detection networks.

It is worth to mention that a significant number of NMHSs has reported that the network performances are estimated using a combination of methods (among the proposed list).

Key finding: A significant number of NMHSs still base their estimation of networks performances on non-objective methods.

### Survey question 15: What is the estimation of the network availability?

Among 28 responses received for this question, all confirm a high availability of lightning detection networks. Indeed, 25 NMHSs indicated an availability of more than 95%. The availability for the rest is greater than 90%. This result gives a first indication about the high availability of individual components (individual sensors, telecommunication support, …).

### Survey question 16: What is the estimation of individual sensors availability?

This question is complementary to the previous one. It helps in the understanding of the sources of networks unavailability. If the unavailability of individual networks is not so high, the increase of the number of sensors (backup) can increase the availability of the whole network.

Over 23 responses received, all have a high availability of individual sensors confirming the high availability of the whole network.

### Survey question 17: What is the estimation of the availability of the telecommunications support?

Similarly to the previous question, this one helps in the understanding of the sources of networks unavailability.

Again, over 23 responses received, telecommunications supports are judged as highly available.  For nearly all of them, the availability is greater than 95%. In that context it is worth to mention that almost all networks are using leased lines as the telecommunication tool. Several networks use satellite and Internet. A backup solution is available for few networks.

Key finding: Almost all networks are highly available. This is an indication of a good making and successful networks implementation.

### Survey questions 18 and 19: What is the estimation of the network detection efficiency and accuracy?

These two questions are the most important and difficult to answer. The detection efficiency and accuracy are generally area and network dependent. Results are also highly dependent on the verification method. Few NMHSs, provided detailed results while the majority gave average values as was requested minimally by the survey. Networks owners were asked to provide their estimation of the availability and the quality in normal and degraded mode.

NMHSs were asked, if they agree to provide WMO with networks evaluation studies. The analysis of responses revealed that the question was not well formulated and consequently not well understood. The target was to collect such studies (or references) as part of the survey response. Almost all NMHSs have replied to this question by “yes” only. Few of them have attached explanatory documents and references.

The analysis of responses revealed that we should have requested the efficiency according to strokes type for those having cloud-to-cloud and cloud-to-ground detection capability

Only 21 NMHSs have responded to this important question. Few of them provided us with the detection efficiency for cloud-to-cloud strikes and the detection efficiency in degraded mode.

Fig 13: Lightning networks detection efficiency

Except for one case, the detection efficiency remains greater than 75 % even in degraded mode and for cloud-to-cloud strikes.

It is worth to mention that NMHSs having networks with combined technologies (e.g. Finland), observe area dependent detection efficiency especially for cloud-to-cloud strikes which are mainly detected by VHF based networks.

Concerning the detection accuracy, most NMHSs from which we got a reply provided us with dominant estimations over their domain but stressed that the accuracy is highly area dependent especially in network borders.  Values presented in Figure 14 represent averages provided by NMHSs:

Fig 14: Lightning networks impacts localization accuracy

The UK Met Office provided kindly, a broad estimation of the detection accuracy of their wide area detection network (used by many NMHSs). It’s around 1-1.5 km over the UK and surrounding areas, 2-20 km over Europe/east Atlantic and more than 15 km over the rest of the globe. These values are obviously related the current configuration of the network. More sensors in other places will necessarily enhance the accuracy.

Recommondation 04: NMHSs are invited to estabilish, when possible, a data exchange with border networks to improve the coverage, detection effeciency and strokes localization accuracy.

### Survey question 21: What is the limitation for not doing performance studies?

As can be noticed from NMHSs replies regarding networks performances, it’s clear that a considerable number don’t have access to such important information. For a high number of NMHSs the estimation of networks performances is highly influenced by the manufacturer estimation. This question aimed to investigate why such important information is still not well objectively accessible.

We got 27 responses. Several NMHSs gave a combination of factors limiting them from doing objective evaluation studies.

| Limitations of doing performance studies | Number of NMHSs (from a total of 27) |
| --- | --- |
| Insufficient knowledge about verification methods | 9 |
| Insufficient resources | 16 |
| Insufficient verification data | 11 |
| Other reasons | 2 |

Table 3: Factors limiting lightning networks evaluation

Key finding 1: A high number of NMHSs experience a lack of resources limiting them from doing objective evaluation studies.

Key finding 2: A significant number of NMHSs are experiencing a lack of independent verification data sets.

Key finding 3: Several NMHSs are experiencing a lack of knowledge regarding objective verification methods.

## SECTION 4: APPLICATIONS OF LIGHTNING DATA

### Survey question 22: In your organization, what is lightning data used for?

The survey listed five main usage purposes: Weather now-casting, severe weather phenomena verification, climatological studies, meteorology for aviation and research studies. NMHSs were invited to specify, if any, the other non-listed topics.

A total of 37 responses have been collected for this question. The analysis of replies (see Figure 15) indicated that lightning data is used, quasi unanimously, for all topics listed in the survey.

Fig 15: Lightning data usage

According to Italy’s reply, lightning data have been used in the simulation of lightning observations from a space borne platform. In this context, it is worth to mention, the foreseen satellite lightning measurements that will be provided by EUMETSAT MTG program around 2015.

Key finding: lightning data is being used by critical application considered as core activities in all NMHSs. Lightning data is contributing to the security and safety of lifes and goods.

### Survey question 23 & 24: Is lightning data supplied to other public or private entities? What is the main use of lightning data by other entities?

From a total of 39 responses, the majority of NMHSs (88%) are providing lightning data to third parties.

Fig 16 : Lightning data usage by third parties

Here again, lightning data are used by critical public operators mainly to ensure the safety, security and regularity of public services. In the category of “other” many NMHSs mentioned the usefulness of lightning data for insurance and energy.

## SECTION 5: DATA EXCHANGE

This section of the survey is of great interest. It allows the quantification of the cooperation within the meteorological community regarding use and exchange of lightning data. It allows also the evaluation of how the data exchange is being done and what is the benefit for parties involved. As already reflected by the analysis of the previous responses, a direct benefit is the enhancement of detection efficiency and accuracy in networks borders where the performances are reduced.

### Survey question 25: Is the network inter-connected to other networks?

35 NMHSs have responded to this question. Lightning data is being exchanged between 18 NMHSs.

Key finding:  A great potential is available for the enhancement of lightning detection availability, efficiency and accuracy.

### Survey question 26: What is the form of lightning data exchange?

The benefit of lightning data exchange depends significantly on how the data is being exchanged.  It is obvious that a simple visualization of lightning data detected and processed by an independent network has less value than the exchange of raw data. The simple visualization can help in the monitoring of lightning mainly in border area and therefore contributes to the detection efficiency. Raw data, can be processed by the lightning network processors and leads to a significant improvement of the coverage, detection efficiency and localization accuracy.

16 NMHSs have responded to this question. 13 NMHSs (among 18 exchanging the data) are exchanging raw data, which is the most beneficial way. 5 NMHSs are exchanging impact localizations. Among 16 NMHSs, 2 are exchanging both raw data and processed data.

### Survey Question 27: What is the networks inter-connection value added?

As mentioned above, data exchange has theoretically a clear benefit. However, this benefit can be reduced for different reasons. This question aimed to get the point of view of NMHSs regarding the added value of such exchange.

Fig 17: Data exchange added value

Key finding: Lightning data exchange has a great value for NMHSs involved. The direct benefit is the enhancment of the detection effeiciency, localisation accuracy and improvement of networks avalability.

## SECTION 6: ADDITIONAL INFORMATION

The objective of this section was the collection of any additional information not covered by the survey. The main comments are presented in table 4.

| NMHSs | Comment |
| --- | --- |
| Italy | Ufficio Generale Spazio Aereo e Meteorologia carried on several attempts, since 2004 with formal letters of invitation to Mediterranean and sorrounding Countries, to establish exchange of raw information from the sensors or localizations from the central suite. Feedback was very poor, almost negative, major problems raised from the commercial data policy of the domestic networks even with Countries which expressed favourably . Anyway some technical problems have still to be solved. USAM, anyway, is still interested for a cooperative programme in lightning detection in the Mediterranean Ref:http://www.eumetsat.int/groups/pps/documents/document/pdf_mtg_mmt5_10 |
| Argentina | At present an experimental detection system from private industry (INVAP) were located by agreement in Pilar Observatory -Cordoba Argentina- The results will be comment at soon as possible when will be available |
| British Caribbean | It is intended that a lightning detection system will be used for all areas of Q22 and the information will be also supplied to private entities (Q23) such as Utilities (power generation) and energy exploitation (oil and gas) sector. |
| Canada | Some provinces run lightning networks for their own purposes - forestry, energy. This information is not shared. |
| Salvador | We have currently no lightning network. We are using NOAA estimates lightning detection. |
| Fiji | The Fiji Meteorological Service (FMS) archives only human observed occurrences of lightning in FIji. The checked questions are thereby specifically related to actual lightning occurrence only. FMS views gathering of lightning data and setting up of a monitoring/detection network as very important to all sectors of our communitiy. Because of this need FMS applied some years back for capital funding from Government, but without success. |
| Finland | The FMI lightning detection network operates as a part of the NORDLIS lightning detection network, which covers Norway, Sweden, Finland and Estonia. Therefore the combined sensor number is at present 32 sensors and the resonable coverage extends about 500 km outward from the sensor network. We all have our own central processors and can use the data covering the whole area. All these sensors are also a part of the Pan-European EUCLID-network, but operationally we use only the data processed by ourselves. EUCLID is providing commercial services to other users. The network performance verification is almost impossible in a stricly quantitave way, because accurate reference material does not exist. The generally accepted method to measure direct hits on instrumented mast is not really useful in Finland, because our ground flash density is below 1/km2/year. Therefore the best way to analyse the data quality is qualitative realtime comparison between radar images and occasional comparison with known CG-strike points. Also a technical analysis of the sensor data itself is very efficient way for a Vaisala LF-system, because on average we have about 5 sensors participating on each position fix: The data from those 5 sensors does not correlate well together by accident. |
| France | We aren't owner of the network, we made a tender to buy data and services last spring. It's why I can't answer on maintenance questions. We buy data at a private company. We also receive data from ATDnet network, it's why I check also foreign public office in Q3. However, for others question, my answers are only on the Vaisala type network. Atdnet are used by forecasters mainly, and the main interest is the coverage. Data quality is sufficient for forecaster usage. We don't use them for now casting (on France, we have the others data, with the good right of usage) |
| Germany | The answers to Q7 and Q13-Q19 are from nowcast GmbH. DWD had a contract with nowcast for delivering the data 2006 until 2009. Nowcast is going to continue delivering the data for the next three years as a result of the tendering in the first half 2009. Comments by nowcast GmbH: Q18 - Detection efficiency: Quite often efficiencies are quoted without precisely detailing the situation. For example, the claim that a network has 80% efficiency is useful only when the minimum threshold is also given, for which the network detects and reports (for example: strokes with currents >10 kA). This clarification is necessary for a second reason: the precise 100% value is not known to anybody. This situation also holds for CC strokes. When VLF/LF and VHF networks are compared with respect to CC, it must be realized that VHF systems detect different discharge steps as compared to VLF/LF systems. Thus, only CC flashes can be counted reliably, because VHF does not detect strokes. As regards CG: these are always detected by VLF/LF, even when CC comes from VHF. Q19 - Location accuracy: An important quality feature is - in addition to the statistical mean location error - the distribution of erors around the mean value. Many networks have small average errors of, say 500 m, but a large fraction of locations have errors of 10 km or even more. The consequences are: storm cells appear diffuse and not as sharp as they really are, areas actually free of lightning show many (false) stroke positions, and specific strokes can not be trusted with respect to their precise location. It is obvious that the distribution of location errors should receive attention in the evaluation of a network. |
| HongKong | http://www.weather.gov.hk/wservice/tsheet/llis.htm |
| Iceland | We also own older location systems, 4 LLP stations and 4 ALDF stations as well as one EFMS vertical E_field wave recording station. Furthermore, we operate about 100 manned weather stations recording lightning occurrences. |
| Ireland | Met Éireann, (The Irish Meteorological Service) has a lightning detector from the Brirish Met Office's ATDNET network located in Valentia Observatory on the South West coast of Ireland. The Brisish Met Office will have more up to date and accurate details of the technical specifications of the ATDNET network, hence sections 2,3 & 5 have been left blank. |
| Madagascar | Our NMHS is very interested in using these data and wish to have access to the world lightning data base. |
| Malawi | CURRENTLY MALAWI DOES NOT HAVE LIGHTING DETECTION SYSTEM BUT CONSIDERING THE IMPORTANCE OF LIGHTINING DATA IN WEATHER FORECASTING, VERIFICATION OF SEVERE WEATHER PHENOMENONE, AVIATION WEATHER SERVICES, ETC IT IS OUR WISH TO HAVE SUCH SYSTEMS IN PLACE. HOWEVER, LIMITED FUNDING IS HUMPERING SUCH AMBITIONS |
| New Zeland | The network is owned by Transpower, a State Owned Enterprise, that owns and maintains the national electricity grid for New Zealand. MetService operates the network on their behalf. |
| Russia | It is quite good that WMO pays now attention to lightninig detection systems |
| Aarabia Saudia | Questions under sections 2, 3, 4 and 5 are not applicable. Lightning detection systems were not within our priorities in the current PME long term plan. Reconsideration of such systems in future plans depends on the improvement of their performance in advancing the operational met. activities, especially in the fields of now-casting and aviation services. |
| Sri Lanka | Department of Meteorology has identified the importance of Lightning Detection Systems. However we are in the process aquiring doplar radar and Department of Meteorology would be considering procuring the Lightning Detection System later. |
| Switzerland | For further information about the network contact our provider: météorage http://www.meteorage.com/ |
| USA | This questionaire has been filled out from the perspective of the National Lightning Detection network in USA. Vaisala can offer Global coverage with its GLD360 data product which will cover 100% of the World with a 70% detection efficiency and 5-10km location accuracy. |
| Poland | Weaknesses of lightning detection network is insufficient feedback with manufacturer and access to knowledge of network's construction, no information on algorythms and technology basics (parameters or solution used by manufacturer) |

Table 4: NMHSs comments

# Appendix A: Survey Specimen

CIMO Survey on the use of lightning detection systems and products in

National Meteorological and Hydrological Services (NMHSs)

# INTRODUCTORY NOTE

In its fourteenth session, the Commission for Instruments and Methods of Observations (CIMO) has requested to the Expert Team on Remote Sensing Upper-air Technology and Techniques to document and review the current operational lightning detection networks, and report on strengths and weaknesses, including coverage, accuracy, reliability and cost effectiveness. Such work requires the collection of official information from NMHSs. This survey will be sent to all WMO members. Results will be carefully analyzed by the CIMO expert team on Remote Sensing Upper-air Technology and Techniques.

The survey has six sections covering the following subjects:

Section 1: Access and use of lightning data

Section 2: Configuration of the network

Section 3: Network performance

Section 4: Applications of lightning data

Section 5: Data exchange

Section 6: Additional information

All questions should be answered if applicable. If you select the option “Other”, please add a short explanation.

Please enter your organization details below:

- WMO member:

- Does this response represent an entity related to the NMHS or an external entity?

NMHS                            external entity

- Name of this entity:

- Contact person in your organization:

Mr/Ms/Mrs/Dr:

Address:

Tel.:                    Fax:                   E-mail:

# ACCESS AND USE OF LIGHTNING DATA

- Does your organization have access to automatically measured lightning data?

Yes                  no                   planned

If the answer is “No” please jump directly to Q6.

- Does your organization own the lightning detection network?

Yes                  no

If the answer is “Yes” please jump directly to Q5.

- Is data provided by?

National public organization        	 Foreign public organization

National private company                   Foreign Private Company

- Is data provided via?

Cooperation agreement         	 Commercialization process

- What is the main motivation for the installation of the network?

Now-casting forecasts   		Research studies

Commercialization

- What the reason for non use of lightning data?

- No identified needs

- Funding limitations

- The ratio cost/benefit don’t justify such investment

- Insufficient knowledge about these data

- Other reasons:

# CONFIGURATION OF THE NETWORK

- Equipment in use:

- Manufacturer:

- Type:

- Technology:

- Detection capabilities:

cloud to cloud strikes           cloud to ground strikes

- Impact localization technique:

- Number of sensors:

- Telecommunications support:

- Installation date:

- Is there any component of the processing/archiving software which is not provided by the manufacturer?

Yes                   No

If the answer is “No”, please jump to Q10.

If the answer is “Yes”, what is the main function of this component?

- Is this software component developed by

NMHS itself              private company

Free licensed software

Other:

- Does the network cover the whole country?

Yes              No

If the answer is “No”, what is the percentage of the area covered?

- Who maintains the network?

NMHS itself               maintenance contract

- Do you have an estimation of the annual maintenance cost:

# NETWORK PERFORMANCE

- Do you have an estimation of the network performances?

Yes              No

If the answer is “No” please jump directly to Q21.

- The network performances are estimated based on:

- Theoretical estimation based on the lightning data themselves

- Statistics based on independent verification data

- Feedback from Forecasters and the network operators

- Manufacturer estimation

- Other:

- What is the estimation of the network availability?

- What is the estimation of individual sensors availability?

- What is the estimation of the availability of the telecommunications support?

- What is the estimation of the network detection efficiency?

In normal mode:

In degraded mode:

If the efficiency is highly area dependent please give more details (if possible efficiency charts).

- What is the estimation of the network detection accuracy?

In normal mode:

In degraded mode:

If the accuracy is highly area dependent please give more details (if possible accuracy charts).

- Do you agree to provide WMO with any results (or references) of studies related to lightning detection networks performances?

Yes                No

- What is the limitation for not doing performance studies?

- Insufficient knowledge about verification methods

- Insufficient resources

- Insufficient verification data

- Other:

# APPLICATIONS OF LIGHTNING DATA

- In your organization, What is lightning data used for?

Weather now-casting       Severe weather phenomena verification

Climatological studies          Meteorology for aviation

Research studies

Other:

- Is lightning data supplied to other public or private entities?

Yes               No

- What is the main use of lightning data by other entities?

Tourism          Civil protection               Transport

Defense          Territory management

Other:

# DATA EXCHANGE

- Is the network inter-connected to other networks?

Yes             No

If the answer is “No” please jump directly to SECTION 6.

- Data from other networks is received as

Raw sensors data         Localized impact information (for visualization)

Other

- What is the networks inter-connection value added?

- Enhance the impact localization accuracy

- Enhance the impact detection efficiency

- Extension of the network coverage

- Backup to local network sensors

- Other:

# ADDITIONAL INFORMATION

Please use this section to add any information, which can be useful but not included in the questionnaire. This section can be used to comment the questionnaire itself.

# Footnotes

Nominal use of all network capabilities

Some network components are not available but the strikes detection and impact localization functions are still available

It is highly recommended to include, if possible, information about the lightning networks owned by national external entities even if the NMHS has his own network.

If this information is confidential, the ratio (annual maintenance cost/initial investment) is sufficient.

“Performance” includes efficiency, accuracy, availability and reliability.

Nominal use of all network capabilities,

Some network components are not available but the strikes detection and impact localization functions are still available