##### PROGRAMME

##### TRAINING WORKSHOP ON UPPER-AIR OBSERVATIONS

## Gaborone, Botswana, 7-11 April 2003

# Monday 7 April

09.30-10.00 			Opening Ceremony	Ms G.K. Ramothwa

M. Ondras

10.00-10.15			Break

10.15-10.45			Introduction	J. Nash / E. Bazira

- Basic introduction to radiosonde soundings

10.45-12.00	1.1 	Purpose, use and importance of upper air data	J. Nash /

followed by a discussion	Ms M. Matlhaga

12.00-14.00		Break

14.00-14.30	1.2	Description of radiosonde sensors 	R. Smout / J. Nash

14.30-15.00		1.3 	Description of GPS wind measurements	R. Smout

15.00-15.30	1.4	Description of radiotheodolite wind measurements	R. Hamilton

15.30-15.45		Break

15.45-16.00	1.5	Description of Vaisala Radiotheodolite	H. Jauhiainen /M.Niininen

16.00-16.15	1.6	Description of Vaisala Autosonde System	H. Jauhiainen /M.Niininen

16.15-17.00	1.7	Discussion on which method of wind measurement 	J. Nash / R. Hamilton

is most useful in Africa.

# Tuesday 8 April

2.	Review of operational radiosonde problems experienced in Africa

09.00-10.00	2.1	Country presentations of operational problems 	Workshop members /

E. Bazira

10.00-10.30	2.2	HMEI representative to answer queries 	H. Jauhiainen /M.Niininen

about procurement and use of equipment.

10.30-10.45		Break

10.45-11.30	2.3	Discussion on problems of sensors in African	J. Nash /H. Jauhiainen			conditions, and the best way to optimize sensor 	/M. Niininen

performance to meet customer requirements.

11.30-12.00		Manufacturers’ instructions for equipment	H. Jauhiainen /M.Niininen

12.00-14.00		Break

3.	Preparation of radiosondes for flight

14.00-14.30	3.1	Procedures for checking and calibrating PTU	D. Drew

14.30-14.45	3.1	Description of Vaisala PTU calibration facility	H. Jauhiainen /M.Niininen

14.45-15.15	3.2	Procedures for preparing GPS radiosondes 	 J.O. Hiri

15.15-15.30		Break

4.	Avoidance of outside interference

15.30-15.45	4.1	Interference from radars	R. Smout

15.45-16.00	4.2	Interference from other radio-frequency sources	R. Smout

5.	Surface Observations for Sounding

16.00-16.10	5.1.	Accuracy requirement	R. Hamilton

16.10-16.20	5.2	Timing of surface and radiosonde readings	R. Hamilton

16.20-16.30	5.3	Location of observation site relative to release site	R. Hamilton

6.	Data checking and reporting procedures

16.30-17.00	6.	Data checking and reporting procedures	D. Drew

17.00-17.15		Organization of practical work for next day	J. Nash / F. Molotsi

- Wednesday 9 April

7.	 Practical demonstration at radiosonde station – 1st part

09.00-09.30	7.	Procedures regarding balloons (storage, inflation	Botswana U/A station

and handling, attaching the radiosonde to 	staff / S. Keti

the balloon, releasing the balloon

09.30-10.00	7.	Demonstration launch of RS80 	Botswana U/A station

staff / S. Keti

10.00-12.00	7.	Course launch (RS80), 10.30 [using UK ground station]

12.00-14.00	7.	Break

14.00-14.30	7.	Course launch (RS80), 14.15  [using Botswana's DigiCORA III ground station]

14.30-15.00	7.	Course launch (RS92), 14.45 [using UK ground station(]

15.00-16.00	7.	Course launch (RS80), 15.15 [using Botswana's DigiCORA III ground station]

16.00-17.30	7.	Course launch (RS80), 16.15 [using UK ground station]

- Thursday  10 April

09.00-09.45 	7.	Review of results of 1st practical work			J. Nash

8. 	Keeping of records regarding radiosonde performance

09.45-10.15	8. 	Keeping of records regarding radiosonde performance	D. Drew

10.15-10.30		Break

9.	Future developments

10.30-11.30	9.1 	Changes to radiosondes in use expected before 2005	R. Smout

11.30-12.00	10.	Discussion on associated training problems for Africa	R. Smout

12.00-14.00		Break

7.	Practical demonstration at radiosonde station – 2nd part

14.00-14.30			Ground check demonstration with new Vaisala RS92 radiosonde [using UK ground station]

14.30-16.00 	Two radiosondes launches on one balloon, Vaisala RS80 + Vaisala RS90

16.00-16.30			Twin flight test, Vaisala RS80 + Vaisala RS90, [using Botswana's MW15 and DigiCORA III ground station]

16.30-17.00		Evaluation of simultaneous measurements			R. Smout

between the two-radiosonde types.

Sessions in parallel with practical demonstrations:

- Drafting of additional material for further training events. (More senior course members to concentrate on drafting, less experienced to participate in practical work.)

- Drafting of proposals for co-ordination between the operators in Region I

- Friday 11 April

09.00-09.30	7.	Review of results of 2nd practical work	J. Nash

9.	Future developments

09.30-10.15	9.2 	New ground-based observing systems	J. Nash

10.15-10.30	Break

2. & 10. Operational radiosonde problems & training in Africa

10.30-12.00	Complete review of operational problems and 	J. Nash / R. Hamilton /

check that drafted material adequately represents 	H. Jauhiainen /M.Niininen

the problems.

12.00-14.00		Break

14.00-16.00		Review the effectiveness and contents of course,	E. Bazira / J. Nash /

proposals for further training and co-ordination of 	M. Ondras

radiosonde operations in Region 1.

# Footnotes

( UK provides additional ground station for use.