| WORLD METEOROLOGICAL ORGANIZATION COMMISSION FOR INSTRUMENTS AND METHODS OF OBSERVATION AD HOC WORKING GROUP ON WIGOS PILOT PROJECT Third Session GENEVA, SWITZERLAND, 8-9 OCTOBER 2009 |  | CIMO/WIGOS-PP-3/Doc 3.1, REV. 1 (22.9.2009) _________ ITEM: 3 Original: ENGLISH ONLY |
| --- | --- | --- |

CLASSIFICATION OF 
SURFACE OBSERVING STATIONS WITHIN WIGOS

Siting Classification for Surface Observing Stations

(Draft classification)

(Submitted by Michel Leroy, Météo-France)

Summary and Purpose of Document The document contains a proposal for a siting classification for surface observing stations to be used within WIGOS.

ACTION PROPOSED

The meeting is invited to review the proposal, provide comments on how to improve it and agree on a final version that should be submitted to WMO Members for their approval to include it in the WMO regulatory material. The meeting is also invited to recommend in which document this standard should be published and whether it would be beneficial to develop a common ISO-WMO document out of this classification.

Annex:	“Old” Classification for temperature and humidity

###### SITING CLASSIFICATION OF SURFACE OBSERVING STATIONS

(DRAFT CLASSIFICATION)

Environmental conditions on a site may generate measurement errors exceeding the tolerances envisaged for instruments, more attention usually being given to the characteristics of the instrument than to the environmental conditions in which the measurement was made whilst it is often environmental conditions which can produce distorted results, influencing their representativeness, particularly where a site is supposed to be representative of a large area (i.e. 100 to 1 000 km2).

WMO Doc No. 8 indicates exposure rules for various sensors. For example, it is recommended that an instrument should be mounted at a distance of at least ten times the height of surrounding obstacles when measuring wind (measurement should be made at a height of 10m). But what to do when this condition is not fulfilled?

There are sites which do not respect the recommended exposure rules. Consequently a classification has been established to help determine the given site’s representativeness on a small scale (impact of the surrounding environment). Class 1 hence, adheres to OMM recommendations. A class 5 site is a site where nearby obstacles create an inappropriate environment for a meteorological measurement that is intended to be representative of a wide area (at least tenths of km2) and where measurements should be avoided. Each type of measurement on a site is subject to a separate classification.

By linking measurements to their associated uncertainty levels, this classification allows to define the maximum levels which a station needs to adopt in order to be included in a given network, or to be used for a given application. In theory, all sites should be of class 1, but the real world is not perfect and some compromises are done. It is better to accept it and to document it by means of this siting classification.

By experience of Météo-France, the classification process helps the actors and managers of a network to better take in consideration the exposure rules, thus often leading to an improvement of the siting. At least, the siting environment is known and documented as metadata. It is obviously possible and recommended to fully document the site. But the danger is that a fully documentation would stay a target never reached and that the complexity of detailed metadata would often restrict their operational use. That is why this siting classification is defined to condense the information and facilitate the operational use of this metadata information.

A site as a whole has no single classification number. Each parameter of the site has its own class, sometimes different. Site classification should be reviewed periodically as environmental circumstances can change over a period of time. A yearly checked is recommended, a complete upgrade of the site classes should be done every 5 years.

In the following text, the classification is (occasionally) completed with an estimated error margin.

For many classes, an estimation of the maximum possible associated errors is indicated. This estimation is coming from bibliographic studies and/or some comparative tests.

Temperature and humidity

Sensors situated inside a screen should be mounted at a height determined by the meteorological service (within 1.25 m to 2 m). The height should never be less than 1.25 m. The respect of the higher limit is less stringent, as the temperature gradient with height is decreasing with the height. For example, the difference between 1.5 and 2 m placements is not higher than 0.2 °C.

The main perturbations are caused by concrete surfaces and shading.

Neighbor artificial surfaces may heat the air and should be avoided. Their influence depends on the wind conditions, wind optimizing the air exchange. Artificial surface to take into account are heat sources, reflective surfaces (buildings, concrete surfaces, car parks etc.), close water, etc.

Obstacles around the screen influence the irradiative balance of the screen. A screen close to a vertical obstacle is either shaded from the solar radiation or “protected” against the night radiative cooling of the air, by receiving the warmer infra red (IR) radiation from this obstacle.

The previous classification presented by M. Leroy in past conferences was based on the presence of neighbor artificial surfaces and obstacles shading the sun. This “first” classification is recalled in annex. A new proposal is given here, taking into account the climatological wind conditions and the shading of obstacles, both for solar radiation and IR radiation.

Shading from close obstacles have to be avoided. Shading due to the natural relief are not taken into account for the classification. A method to judge if the relief is representative of the surrounding area is the following: does a move of 500 m of the station remove the shading? If the answer is no, the relief is a natural characteristic of the area and is not taken into account.

### Influence of neighbor artificial surfaces

Wind can be taken into account only on a climatological basis. It is considered that the movement of air masses around the temperature screen begins to be efficient above 1 m/s. Wind is usually measured at 10 m height, so a threshold of 1.5 m/s is used for 10 m wind measurements. Let’s call V1.5% the percentage of wind speed (10 minutes mean value) less than 1.5 m/s. The lowest this V1.5% value is, the best are the exchange of air masses close to the screen, the lowest is the influence of artificial surfaces.

Neighbor artificial surfaces are taken into account by their surface within a given radius around the screen. Let’s call S the ratio of the artificial surface to the surface of disk of a given radius R.

The influence of neighbor artificial surfaces, combined with the climatology of wind speed is given in the following table, where the number in a row, column is the associated class for the given combination.

| V1.5% | S ( 10%, R=100m S ( 5%, R=30m S ( 1%, R=10 m | S ( 10%, R=30m S ( 5%, R=10 m | S ( 10%, R=10m | 10% ( S ( 50 %, R=10 m | S ( 50%, R=10 m |
| --- | --- | --- | --- | --- | --- |
| < 5% | 1 | 1 | 1 | 2 | 2 |
| < 10% | 1 | 1 | 2 | 2 | 3 |
| < 20% | 1 | 1 | 2 | 3 | 4 |
| ( 20% | 1 | 2 | 3 | 4 | 5 |

Table 1

Influence of shading

Obstacles around the screen influence the irradiative balance of the screen. A screen close to a vertical obstacle is either shaded from the solar radiation or “protected” against the night radiative cooling of the air, by receiving the warmer infra red (IR) radiation from this obstacle.

In a flat open space, the air (and the screen) receive IR radiation (positive energy) from the ground (seen under a solid angle of 2( sr) and the sky (2( sr). The air (and any object) emits IR radiation (negative energy from the point of view of the radiative balance of an object)  in all directions (4( sr). Solar radiation also brings energy, both from direct radiation and reflected and diffused radiation. So finally, the air temperature is influenced by the radiative balance of all these radiation fluxes.

Close obstacles disturb the radiation received by the air and the screen : solar shading decreases the energy received from the sun. White or light surfaces may increase the solar radiation received. Obstacles replace the IR radiation received from the sky by the IR radiation emitted by these obstacles, generally warmer than the radiative temperature of the sky.

The quantity of IR radiative radiation coming from obstacles can be condensed by the solid angle under which these obstacles are seen, or the percentage of this solid angle compared to the solid angle of a half hemisphere (the sky). Let’s call RIR this percentage.

The influence of solar radiation shading, combined with the IR influence of close obstacles is given in the following table, where the number in a row, column is the associated class for the given combination.

Beside each value of RIR is given the corresponding angular height of an obstacle surrounding the screen over 360° (1st number) or 180° (2nd number). It is easy to demonstrate that an obstacle of angular height of ( around the screen would intercept sin(()*100 % of the sky.

| No shade for sun elevation higher than | RIR < 3% (1.7°, 3 .4°) | RIR ( 3% (1.7°, 3 .4°) RIR < 5% (2.9°, 5.7°) | RIR ( 5% (2.9°, 5.7°) RIR < 10 % (5.7°, 11.5°) | RIR ( 10% (5.7°, 11.5°) RIR < 25% (14.5°, 30°) | RIR ( 25% (14.5°, 30°) |
| --- | --- | --- | --- | --- | --- |
| < 3° | 1 | 2 | 3 | 3 | 4 |
| < 5° | 2 | 3 | 3 | 4 | 5 |
| < 10° | 3 | 4 | 4 | 5 | 5 |
| ( 10° | 4 | 5 | 5 | 5 | 5 |

Table 2

### Temperature and humidity classes

# Class 1

- Flat, horizontal land, surrounded by an open space, slope less than 1/3 (19°)

- Ground covered with grass or low vegetation (< 10 cm) representative of the region (as well as its albedo).

- Influence of artificial surfaces : class 1 in Table 1.

- Influence of shading : class 1 in Table 2

# Class 2

- Flat, horizontal land, surrounded by an open space, slope less than 1/3 (19°)

- Ground covered with grass or low vegetation (< 10 cm) representative of the region (as well as its albedo).

- Influence of artificial surfaces and shading: class 2 in Table 1 or Table 2.

# Class 3 (error up to 1 °C ?)

- Ground covered with grass or low vegetation (< 25 cm) representative of the region.

- Influence of artificial surfaces and shading : Class 3 in Table 1 or table 2

# Class 4 (errors up to 2°C ?)

- Ground covered with grass or low vegetation (< 25 cm) representative of the region.

- Influence of artificial surfaces and shading : Class 4 in Table 1 or table 2

# Class 5 (errors up to 5°C ?)

- Ground covered with grass or low vegetation (< 25 cm) representative of the region.

- Influence of artificial surfaces and shading : Class 5 in Table 1 or table 2

Precipitation

Wind is the greatest source of disturbance in precipitation measurement. The best sites are often found in clearings within forests or orchards, among trees, in scrub or shrub forests, or where other objects act as an effective wind-break for winds from all directions. Ideal conditions for the installation are those where equipment is set up in an area surrounded uniformly, by obstacles of uniform height. The distance between such obstacles and the rain gauge should be equal to one to two times the height of the obstacle (angular height of obstacles 30 - 45°). Ideal conditions therefore are those where the equipment is situated in a clearing, whereby the height of surrounding trees corresponds to the criteria described above. The choice of such a site is not compatible with constraints in respect of the height of other measuring equipment. Such conditions are practically often unrealistic. If obstacles are not uniform, they are prone to generate turbulence which distorts measurements. This is the reason why more realistic rules of elevation impose a certain distance from any obstacles. The orientation of such obstacles, in respect of prevailing wind direction, is deliberately not taken into account. Indeed, heavy precipitation is often associated with convective factors, whereby the wind direction is not necessarily that of the prevailing wind.

Class 1

- Flat, horizontal land, surrounded by an open area, slope less than 1/3 (19°). Flat terrain interacts with the larger area in such a way that the speed of the wind is not affected by the surrounding orography.

- Rain gauge surrounded by obstacles of uniform height, seen under a elevation angle between 26 to 45° (obstacles at a distance between 1 to 2 more than their height).

- Obstacles are considered of uniform height if the ratio between the highest and lowest height is lower than 2.

An obstacle represents an object with an angular width of 10° or over.

Class 2 (errors up to 5 % ?)

- Flat, horizontal land, surrounded by an open area, slope less than 1/3 (19°).

- Possible obstacles must be situated at a distance at least twice the height of the obstacle (in respect of the catchment’s height of the rain gauge).

An obstacle represents an object with an angular width of 10° or over.

Site     i
\   I d > h

Class 3 (errors up to 10 to 20 % ?)

- Land is surrounded by an open area, slope less than 1/2 (≤ 30°).

- No obstacles within a distance equal to once their height.

< 30˚

^

(site < 45˚)

Class 4 (errors > 20 % ?)

- Steeply sloping land (> 30°).

- Adjacent obstacles (less than once their height).

Class 5 (errors > 50 % ?)

Obstacles situated above the rain gauge (tree, roof etc.).

Wind

Conventional elevation rules stipulate that sensors should be placed 10 m above ground surface level and on open ground. Open ground here represents a surface where obstacles are situated at a distance equal to at least ten times their height (see class 1 for more details).

Wind measurements are not only disturbed by surrounding obstacles; terrain roughness also plays a role here. The OMM takes wind blowing at a geometrical height of 10m and with a roughness length of 0.03 m as the surface wind.

This is regarded as a reference wind for which exact conditions are known.

The classification used for measuring the wind is therefore two-fold. The first classification takes into account the roughness of the surrounding terrain. The second concerns the immediate environment and any possible obstacles.

Roughness

Roughness length is by definition, calculated as height zo (above ground level) of the landscape to which the condition is applied (that is to say where the average vector wind is equal to vector zero). In respect of any wind direction, the roughness length will depend on terrain homogeneity, on the presence of obstacles as well as the distance over which these two factors intervene. Significant variations in roughness length are observed in different seasons, as a result of for instance, fallen leaves or snow cover. A characteristic of a wind measuring site is therefore expressed by its roughness length in each wind direction. As the exact calculation of roughness length is difficult to carry out, the data indicated in the table can be used for classification.

Based on a supposition that the wind measured at 60m (Wieringa, 1986) is represented on a mesoscale and using the logarithmic profile of the wind, we can set up a function, enabling us to go from a wind measured at a height z from the ground qualified by any roughness length, to a potential wind, measured at ten meters above the ground with a roughness of 0.03m (potential wind compliant with OMM recommendations).

| Terrain classification by Davenport (1960), adapted by Wieringa (1980) in terms of roughness length zo |
| --- |
|  | Terrain description | z o in m |
| 1 | Open sea, « fetch » at least 5 km | 0,0002 |
| 2 | Flat, muddy terrain, snow ; no vegetation, no obstacles | 0,005 |
| 3 | Open, flat terrain ; grass, infrequent and isolated obstacles | 0,03 |
| 4 | Low growth ; occasional, large obstacles : x/H > 20 | 0,10 |
| 5 | Elevated growth; dispersed obstacles : 15 < x/H < 20 | 0,25 |
| 6 | Bordered terrains, shrubs ; numerous obstacles : x/H ~ 10 | 0,5 |
| 7 | Regular coverage by large obstacles (suburbs, forests) | (1,0) |
| 8 | Town centre with different height buildings | ?? |
| Note : x represents the distance from the obstacle whilst H represents the height of the principal corresponding obstacles |

Table II – Roughness class, by Wieringa

Potential wind Up (measured at 10 m above a terrain, roughness length of 0.03 m) is calculated based on wind Us, as measured at the station (at a height zs m above a terrain with a roughness length of zo m).

- 30

20
15

10

0.7

0.8

0.9

1.0

1.1

1.2

5

For instance, wind measured at 10 m on a class 6 site (zo = 0,5 m) will be 20 % weaker than the potential wind. By using the classification and the given function (or formula) we obtain the following figures (average where the adjacent layer stability is compliant with the logarithmic profile):
Class 4 : 7 % less than the potential wind 
Class 5 : 12 % less than the potential wind 
Class 6 : 20 % less than the potential wind
Class 7 : weaker than the potential wind but difficult to calculate

Figure 1 - Function (Wieringa, 1986) based on the logarithmic profile of the wind and roughness length.

Roughness classification

The roughness of a wind measuring site is usefully described by roughness class in four sectors centred in the north, east, south and west. The roughness is estimated by analysing the terrain in these four sectors using the table provided above. The roughness is estimated taking into account objects situated at up to 250 m from the measurement point.

Environment classification

Measuring the angular height of obstacles surrounding the site enables us to characterise these obstacles. Methods and equipment used are described in a separate document.

The presence of obstacles (almost invariably) means a drop in average wind readings. Generally, wind extremes are also reduced but not always. Obstacles encourage turbulence and consequently may cause an (unpredictable) increase in instantaneous wind (from which maximum wind is derived).

The following classification assumes measurement at 10 m which is the standard elevation for meteorological measurement. Where measurement is carried out at 2 m, as is sometimes the case for agro-climatological purposes, we can use the same classification, simply replacing 10 m by 2 m. This generally produces higher class results, which tends to favour measurements at 10 m which are more representative (these measurements may be carried out at 2 m by employing a logarithmic profile hypothesis).

Where numerous obstacles higher than 2 m are present, it is recommended that sensors should be placed 10 meters above the average height of the obstacles. This method allows the influence of the adjacent obstacles to be minimised. This method represents a permanent solution for partly eliminating the influence of certain obstacles. It inconveniently imposes the necessity for higher masts (consequently more expensive) which are less standard. It must be considered for certain sites and where used, the height of obstacles to be taken into account is that above the level situated 10 m below the sensors.

Class 1

- The pylon should be located at a distance equal to a least ten times the height of surrounding obstacles.

- An object is considered to be an obstacle if its angular width is over 10°.

- Obstacles should not exceed 5.5 m in height within 100 m of the pylon.

- Obstacles lower than 2 m can be ignored.

- Changes in the landscape within an area of 100 m are also considered as obstacles.

- Sensors should be situated at a minimum distance of fifteen times the width of narrow obstacles (mast, thin tree) over 8 m high.

Class 2 (errors up to 10 % ?)

- The pylon should be located at a distance of at least ten times the height of the surrounding obstacles.

- An object is considered as such if its angular width is over 10°.

- Obstacles lower than 3 m can be ignored.

- Changes in the landscape within an area of 100 m are also considered as obstacles.

- Sensors should be situated at a minimum distance of fifteen times the width of narrow obstacles (mast,
thin tree) over 8 m high.

Class 3 (errors up to 20 % ?)

- The pylon should be located at a distance of at least five times the height of the surrounding obstacles.

- Obstacles lower than 4 m can be ignored.

- Changes in the landscape within an area of 50 m are also considered as obstacles.

- Sensors should be situated at a minimum distance of ten times the width of narrow obstacles (mast,
thin tree) over 8 high.

Class 4 (errors up to 30 % ?)

- The pylon should be located at a distance of at least 2.5 times the height of surrounding obstacles.

- Obstacles lower than 6 m can be ignored.

- An object is considered to be an obstacle if its angular width is over 60° within an area of 40m.

Class 5 (errors > 40 % ?)

- Site not meeting the requirements of class 4.

- Obstacles over 8 m high within an area of 25 m.

## Radiation

Shading from close obstacles have to be avoided. Shading due to the natural relief are not taken into account for the classification. A method to judge if the relief is representative of the surrounding area is the following: does a move of 500 m of the station remove the shading? If the answer is no, the relief is a natural characteristic of the area and is not taken into account.

5˚

No projected shade

No obstacles > to 5˚

shading from reflected radiation

Class 1

- No shade projected onto the sensor when the Sun is at an angular height of over 2° (except from the natural landscape of the region).

- No obstacles with an angular height of over 5°.

Class 2

•	No shade projected onto the sensor when the Sun is at an angular height of over 5°.

•	No obstacles with an angular height of over 7 °.

Class 3

- No shade projected onto the sensor when the Sun is at an angular height of over 7°.

- No obstacles with an angular height of over 10°.

Class 4

• Projected shade where obstacles are not compliant with the preceding classification, and not belonging to class 5.

Class 5

• Shade projected during at least 30% of the time (or an obstacle casting shade over at least 30% of the solar path).

ANNEX

“old” classification for temperature and humidity

# Class 1

- Flat, horizontal land, surrounded by an open space, slope less than 1/3 (19°)

- Ground covered with grass or low vegetation (< 10 cm) representative of the region (as well as its albedo).

- Measurement point situated:

- at more than 100 m from heat sources or reflective surfaces (buildings, concrete surfaces, car parks etc.)

- at more than 100 m from an expanse of water (unless significant  of the region)

- away from all projected shade when the Sun is higher than 3°.

A source of heat (or expanse of water) is considered to have an impact if it occupies more than 10 % of the surface within a circular area of 100 m surrounding the station, makes up 5% of an annulus of 10m-30m, or covers 1% of a 10 m circle.

> 100m

Local vegetation

Lake...

> 100m

Class 2

- Flat, horizontal land, surrounded by an open space, slope inclination less than 1/3 (19°)

- Ground covered with grass or low vegetation (< 10 cm) representative of the region (as well as its albedo).

- Measurement point situated :

- between 30 and 100 m from artificial heat sources or reflective surfaces (buildings, concrete surfaces, car parks etc.)

- between 30 and 100 m from an expanse of water  (unless significant  of the region) ;

- away from all projected shade when the Sun is higher than 5 °.

A source of heat (or expanse of water) is considered to have an impact if it occupies more than 10 % of the surface within a circular area of 30 m surrounding the station, makes up 5% of an annulus of 5m-10m, or covers 1% of a 5 m circle.

¥

> 30 m

< 19˚

Local vegetation < 25 cm

Lake...

Heat source S

(concrete, car park,

building)

> 30 m

5˚

Class 3 (error 1 °C ?)

- Ground covered with grass or low vegetation (< 25 cm) representative of the region.

- Measurement point is situated :

- between 10 and 30 m from artificial heat sources and reflective surfaces (buildings, concrete surfaces, car parks etc.)

- between 10 and 30 m from an expanse of water (unless significant  of the region)

A source of heat (or expanse of water) is considered to have an impact if it occupies more than 10 % of the surface within a circular area of 10 m surrounding the case or makes up 5% of an annulus of 5m.

Heat source

S (concrete, car park, building)

< 10 m

Class 4
(error 2 °C or over ?)

- Artificial heat sources (buildings, concrete surfaces, car parks etc.) at less than 10 m.

- Projected shade when the Sun is higher than 5°.

Class 5 (error 5 °C or over ?)

• Case situated in the middle of artificial heat sources (in a car park, on the roof of a building).

If a heat source occupies an area of over 50 %
within a 10 meter radius around the station, or a 30 %
part within a 3m radius, the site will be classified as 5, otherwise it will be classified as 4.

|  | Heat source S (concrete, car park, roof of building) |
| --- | --- |

The indicated growth height represents the height of the vegetation maintained in a 'routine' manner. A distinction is made between structural vegetation height (per type of vegetation present on the site) and height resulting from poor maintenance. Classification of the given site is therefore made on the assumption of regular maintenance (unless such maintenance is not practicable). If a site is poorly maintained this aspect should be noted.

If S check that 10 m
Then measure by class 5
otherwise use class

# Text boxes

S = surface of heat source

S = surface of heat source

S = surface of heat source

Heat source S (concrete, car park, building)

Obstacle casting shade over at least 30% of the solar path

of the time

h < 6 m not taken into account

h < 4 m not taken into account

> 15 widths

h < 3 m not taken into account

width

Wide obstacle

> 15 widths

h < 2 m not taken into account

width

Narrow obstacle