| WORLD METEOROLOGICAL ORGANIZATION ____________________ COMMISSION FOR BASIC SYSTEMS OPEN PROGRAMME AREA GROUP ON INTEGRATED OBSERVING SYSTEMS EXPERT TEAM ON REQUIREMENTS FOR DATA FROM AUTOMATIC WEATHER STATIONS FOURTH SESSION GENEVA, SWITZERLAND, 20 MARCH – 24 MARCH 2006 | CBS/OPAG-IOS (ET AWS-4)/Doc. 4(1) (1.III.2006) _________ ITEM: 4 Original: ENGLISH ONLY |
| --- | --- |

REPORT ON THE DEVELOPMENT OF GUIDELINES ON QUALITY CONTROL PROCEDURES FOR DATA FROM AUTOMATIC WEATHER STATIONS

Submitted by Igor Zahumenský (Slovakia)

________________________________________________________________

Summary and Purpose of Document

The document contains the progress report on the development of the Guidelines on QC Procedures for data from AWS as well as a new version of the Guidelines.

______________________________________________________________

ACTION PROPOSED

The meeting is invited to consider the new version of the proposal for the Guidelines on Quality Control Procedures for AWS data and agreed on the future steps needed for meeting the requirement stated by CBS-XIII.

References:

1 CBS-Ext.(02), Abridged Final Report with Resolutions and Recommendations, WMO-No. 955

2 Final Report, ET AWS-3, Geneva, 28 June – 2 July 2004

3 Final Report, ET ST&MT, Geneva, 13 – 16 October 2004.

Background

ET AWS-3 agreed on the task to develop, jointly with CCI, JCOMM, GCOS, and CIMO, the Guidelines for AWS Quality Control Procedures for the future publication in WMO Guide on Global Data Processing System (WMO-No. 305), the CIMO Guide, and WMO/TD-No.111. This activity for the future plan was also approved by CBS-XIII with a minor following modification: “for the future publication in all appropriate WMO documents”.

Therefore, the proposal for the Guidelines on Quality Control Procedures for Data from Automatic Weather Station, reviewed and updated by the ET AWS-3 was presented at the first session of the Expert Team on Surface Technology and Measurement Techniques (ET-ST&MT), Geneva, October 2004.

At the meeting the proposal for the Quality Monitoring Procedures for data from Automatic Weather Station was also submitted as these procedures should be an integral part of QC system itself. Members presented several comments on the guidelines and it was agreed that proposal would be discussed further by correspondence and the final version would be submitted again to the ET AWS-4 for consideration. The ET members were invited to submit comments to Mr Zahumenský before the end of December 2004. Unfortunately, only one member of the ET provided his comments.

The new version, with some modifications of wording made on the base of further study of the topic, was presented at TECO-2005. Some volunteers offered cooperation but in contrast to that no one response was received.

Follow-up action

In the Annex 1 (Doc 4(1)add1)), there is the last version of the Guidelines on Quality Control Procedures for Data from Automatic Weather Station. The modifications in comparison with the version approved by ET-AWS-3 are highlighted.

Some of the comments provided by the member of ET ST&MT (Annex 2, (Doc 4(1)add2)) were incorporated but, as he expressed himself, they were mainly his own ideas to think about them and not a suggestion of the text because he himself did not have answers for all of them.

The ET AWS-4 is invited to consider the new version of the proposal for the Guidelines on Quality Control Procedures for AWS and agree on the action.