| WORLD METEOROLOGICAL ORGANIZATION ____________________ COMMISSION FOR BASIC SYSTEMS OPEN PROGRAMME AREA GROUP ON INTEGRATED OBSERVING SYSTEMS EXPERT TEAM ON REQUIREMENTS FOR DATA FROM AUTOMATIC WEATHER STATIONS FOURTH SESSION GENEVA, SWITZERLAND, 20 MARCH – 24 MARCH 2006 | CBS/OPAG-IOS (ET AWS-4)/Doc. 5(1) (15.III.2006) _________ ITEM: 5 Original: ENGLISH ONLY |
| --- | --- |

ISSUES RELATED TO THE DEVELOPMENT OF STANDARDS FOR THE STANDARDIZATION OF AWS PLATFORMS

(Submitted by J. van der Meulen, Netherlands)

________________________________________________________________

Summary and Purpose of Document

The document contains a number of issues on the development of the standards on the design of AWS platforms.

______________________________________________________________

ACTION PROPOSED

The meeting is invited to consider the contents which might be useful as background material for further development of regulations and guidelines to be published in the relevant Manuals and Guides.

References:

1 Final Report, (CBS) ET AWS-3, Geneva, 28 June – 2 July 2004

2 Final Report, (CIMO) ET ST&MT, Geneva, 13 – 16 October 2004.

3 Final Report, (CBS) TT GRM-2

4. CBS-Ext.(02), Abridged Final Report with Resolutions and Recommendations, WMO-No. 955

Contents

- Design of a weather station

- Definition and selection of variables to be measured at weather observing stations, like optical extinction profile

- Position of a station

- Siting, exposure and representativity of a station (only those issues, not typically part of CIMO), and/or Finding a suitable location for a station

- Averaging measured quantities

_______________

- Design of a weather station

The design of a station (or lay-out) deals with the installations of the measuring instruments or observing system and other equipment. For the next update of the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), "the CIMO Guide", additional text was inserted in Chapter1. The content of this addition is purely based on par. 3.2.1.2.2 "Meteorological observing area" in the Guide on the GOS. Other references can be found in Doc 4.3(2), presented at the CIMO ET-ST&MT-1. The statements in this par. of the Guide on the GOS are clear and should not be altered. However there is a tendency that such a lay-out should not be necessary for automatic weather stations. Because it is stated (e.g. by CIMO) that there should not be any distinction in quality or performance between manned stations and (unmanned) automatic stations (AWS), the lay-out of an AWS should also comply to that as stated in the Guide. Typical developments of AWS are a single pillar, with some sensors fixed to it directly without taking into account any precaution (e.g. see Annex 1). In fact it looks as if it is taken for granted that modern Automatic Weather Observing Systems (AWOS) are identical to an AWS and it seems that the recommendations in both the Guide on the GOS and the CIMO Guide do not hold.

A reason might be that AWS is not defined clearly enough in both Manual and Guide on the GOS. The most extended definition is given in the Guide (Par. 3.2.1.4.1):

"An automatic station is defined in the Manual on the Global Observing System as "a station at which instruments make and either transmit or record observations automatically, the conversion to code form, if required, being made either directly or at an editing station". Provision may also be made for the manual insertion of data.

The latter sentence makes that an AWS may be manned as well, in which case we have a manned AWS. On the other hand, a manned station on which use is made of instruments only and without any visual observations (i.e. instruments are read out only) should be regarded as an automatic station and not as a manned station. To overcome this issue, in both Manual as Guide it should be made clear that there is no differences between manned stations and automatic stations (AWS) and that the stated requirements equally hold for both types. In fact it is become questionable to make such a clear distinction in both Manual and Guide, because it is stated that the performances should be equal. Options are:

- To remove any distinction between manned and automatic station (functional specifications)

- To define very clearly both AWS and Manned Station and explain the possible differences (if any)

As a result, the list of variables (quantities to be observed at a station) will have to be modified as well (see item no. 3)

Furthermore, the example in the Guide on the GOS, par. 3.2.1.2.2 "Meteorological observing area" for a lay-out of a station is very useful and therefore taken over in the CIMO Guide. The question however is, should this Guide contain these recommendations or is the CIMO Guide a better alternative. In any case any appropriate functional standard concept on the lay-out of an weather station is welcome for any guide.

This issue was discussed already during the second session of the Task Team on GOS Regulatory Material (CBS OPAG-IOS/TT/GRM-2, 20-22 February 2006). In the final report of this meeting it is stated:

"The meeting was advised that site layout requirements for automatic weather stations are not available in the Manual, whereas they are defined for manned stations.  The team decided to inform ET-AWS of this shortcoming and to ask them for assistance in providing the relevant information on site selection layout definitions for AWS for inclusion in the Manual".

- Definition and selection of variables to be measured at weather observing stations, like optical extinction profile

The Manual on the GOS requires for each type of stations a specific set of variables to be measured (WMO has recommended to use the word 'variable', not 'element'). Some of these variables are required, but some are optional. Especially, this Manual gives a detailed set for synoptic weather station. Also for climate stations and aeronautical stations such a set is defined. Although extracting these sets from the Manual was not so easy, a matrix overview was presented at the ET-AWS 3 (see Annex 2). The idea behind this table is to establish one single set of variables to be measured at a 'standard' AWS, suitable for measurements for the various meteorological and climatological disciplines. Although also other Technical Commissions, like CCl, CHy, CAeM and CAgM should be consulted, any clear statements on what variable should be required and what not is welcome. Such statements should be helpful to reduce the discrepancies between

  - Required (standard) and optional (recommended)

  - Manned and automatic stations

Furthermore the overall set of variables should be reconsidered. In the first place these variables are formulated in the very early years of meteorology and new developments and techniques should stem for such reconsideration. Especially alternative technologies like with space based remote sensing may affect this list. It is becoming questionable if an AWS should report a variable, which is derived from satellite observations (e.g. cloud coverage). Due to automation and new instruments development, replacing the observers, alternative variables may be inserted as well. E.g., after a recommendation of the ET-AWS 2, CBS decided to modify the variable 'cloud base' into 'optical extinction profile' because it is such a profile that is measured by a modern ceilometer. From such a profile not only one or more cloud bases may be derived, but it informs on other upper air behaviour as well, which is very useful. It is therefore recommended to start a dedicated action on this matter.

- Position of a station

The position of a station is usually given in lat/lon-coordinates. However, WMO never made a clear statement on the reference system of these coordinates (only the Greenwich meridian is mentioned somewhere in the Manual on the GDPS), and a clear definition such as formulated by ICAO is still missing (in e.g. the Technical Regulations). Moreover, differences in presenting these coordinates has introduced much confusion and mistakes, especially in the computer environment. A mix of degrees, minutes and seconds with degrees only, or with tenths of a minute, etc. may affect many computational results in NWP.

The ET AWS 3 however has formulated recommendations to solve both issues. CBS XIII has agreed to these, and requested the OPAGs on IOS and on ISS to keep the implementation under review. Two recommendations, which were agreed upon are:

- The location of AWS installations should be described more accurately by representing latitude and longitude degrees in decimal notation, and with the accuracy of at least 1/1 000 of a degree; also Weather Reporting (WMO-No. 9), Volume A should be updated accordingly;

- The Earth Geoid Model (EGM-96) should be adopted as a primary reference for horizontal positioning and GEOID99 as the primary reference for mean sea level determination.

According to the first recommendation only degrees should be used in future (in decimal notation) - use of minutes and seconds should be omitted. Choice is made of a 0.001 accuracy because it is in line with a size of a 100 m x100 m area, which is practicable for AWSs and also because any confusion with minutes or seconds will be avoided with such a notation

Note that the second recommendation was incorrectly modified by CBS XIII with respect to the recommendation, stated in the ET AWS 3 report. No Earth Geoid Model can ever be used as a reference datum system for lat/lon, it is only useful for defining MSL with respect to an appropriate datum system. The correct recommendation, which will be in line with ICAO and the ET AWS 3 should be:

- The World Geodetic System 1984 (WGS 84) should be adopted as a primary reference for horizontal positioning and the Earth Geoid Model (EGM-96) as the primary reference for mean sea level determination.

[ET AWS 3 recommended:

1.	CBS-XIII endorse adoption by WMO of the World Geodetic System 1984 [WGS 84] as primary reference for horizontal positioning,

2.	CBS-XIII endorse adoption by WMO of the GEOID99 as the fixed reference level for MSL determination, and

3.	The Technical Regulations and the appropriate Manuals and Guides are updated accordingly.]

It is recommended to copy these two recommendations into Vol. A.

Siting, exposure and representativity of a station (only those issues, not typically part of CIMO), and/or Finding a suitable location for a station

In the CIMO Guide details are given on appropriate siting and exposure of meteorological instruments. A point of concern is that also the appropriate choice for a suitable location of an observing station is extremely relevant, especially for the representativity of the observations. For instance the requirements for locating an aeronautical station differs considerably from locating a synoptical or a climate station. In common practice it is a very challenging task to decide what location is most suitable to establish a weather station. Although the CIMO Guide gives some advises on this issue, there is no standard document (like a Guide), which is really helpful in finding a location or for decision-making. Moreover, if such a new location is found, then statements on the measure of regional representativity should be provided as well.

It is recommended to publish such documentation in either the Guide on the GOS or the CIMO Guide.

GCOS Surface Network (GSN) stations and Climate Stations

In par. 2.8 of part III of the Manual on the GOS details are given about Principle Climatological Stations, together with the many elements (should be 'variables') to be observed. In the following paragraph 2.9, the Global Climate Observing System Surface Network (GSN) stations are described. Although any overlap in functionality of both type of station may be expected, this will not be true in many cases. The reason is that GSN stations are Surface Synoptic Stations and confirm to the functional specifications of synoptic stations as stated in this Manual (par. 2.3). Such stations measure other variables than Climate Stations (see par. 2.8). As a consequence, confusion may arise when interpreting CLIMAT data obtained at Climate Stations and at GSN stations, although both are related to climatology.

It is recommended to reduce any confusion by merging par. 2.8 and 2.9 (both dealing with observations for climatology purposes) and to inform on the variables to be measured at GSN stations. To solve this issue collaboration with both CCL and CGOS is necessary.

- Averaging measured quantities

Although it is common practice to report observational data, averaged over time, clear arguments for averaging are not given in general in WMO Manuals and Guides. Moreover the mathematical technique for averaging is not commonly defined. Only in the CIMO Guide (Part III, Chap. 2 on Data Reduction, Par. 2.6) three variables are indicated for statistical averaging:

- wind speed and direction:	to be averaged: Cartesian components

- dew point	to be averaged: Absolute humidity

- visibility:	to be averaged: extinction coefficient

Two typical reasons may exists for averaging:

1) 	To present a value which is more reliable in case of fluctuating, noisy measurements (natural or artificial)

2) 	To present a value with a higher measure of spatial representativeness

For both cases, different mathematics may be chosen. For 1) a typical RC filter method will reduce the noise, not an arithmetical mean based on a time window. For 2) an arithmetical mean based on a time windows might be in favour, although the use of a constant weighting factor is questionable. Moreover the use of the median value (for observations within a period) is favourable because it's in the middle of 50%/50% of the data, so calculating the arithmetic mean should not be a recommended method in all cases. Note that averaging observational data to obtain Level II data is required in many circumstances.

This issue was discussed already during the second session of the Task Team on GOS Regulatory Material (CBS OPAG-IOS/TT/GRM-2, 20-22 February 2006). In the final report of this meeting it is stated:

"The meeting noted that in the Manual and in the Guide there is no adequate recommendation on the techniques and methodologies of averaging of data over time.  The team discussed two levels of averaging: i) the instrument level of averaging and ii) the Level II data of averaging.  It was decided to seek the final guidance from the ET-AWS in revising the appropriate section of the Manual."

Recommendation: Averaging of each observed value for further reporting should be based on a well-defined method, to be explained with good arguments. Detailed mathematical calculus to be used should be well described and explained.

_______________

Annex 1

Typical example of an AWS, not suitable as nominal weather station (published on the front cover of WMO AGM report No. 3, WMO/TD No. 1074)

Annex 2

Basic set of variables to be reported by the standard AWS for multiple users

(from the report of ET AWS-3)

| ELEMENTS | Principle [Automatic] SYNOP Land Stations | Principle [Fixed Automatic] Ocean Weather Stations | Aeronautical meteorological stations | Principle climatological station | STANDARD |
| --- | --- | --- | --- | --- | --- |
| Atmospheric Pressure | M A | M A | X 1) | X | A |
| Pressure tendency & characteristics | [M] | M |  |  | [A] |
| Air temperature | M2) A | M A | X | X3) | A |
| Humidity5) | M A | M | X4) | X | A |
| Surface wind6) | M A | M A | X | X | A |
| Cloud Amount and Type | M | M | X | X | A |
| Extiction profile/ Cloud-base | M [A] | M | X | X | A |
| Direction of Cloud movement | [M] |  |  |  |  |
| Weather, Present & Past | M | M | X | X | A |
| State of de Ground | [M] | n/a |  | X7) | [A] |
| Special Phenomena | [M] [A] |  |  |  |  |
| Visibility | M [A] | M | X | X | A |
| Amount of Precipitation | [M] [A] | [A] |  | X | A |
| Precipitation Yes/No | A | [A] |  | X | A |
| Intensity of precipitation | [A] |  |  |  |  |
| Soil temperature |  |  |  | X |  |
| Sunshine and/or Solar radiation |  |  |  | X |  |
| Waves |  | M [A] |  |  |  |
| Sea temperature |  | M A |  |  |  |

| Explanation |  | Notes: |
| --- | --- | --- |
| M = Required for manned stations |  | 1) Also QNH & QFE |
| [M] = Based on a regional resolution |  | 2) Optional: extreme temperatures |
| A = Required for automatic stations |  | 3) Inclusive extreme temperatures |
| [A] = Optional for automatic stations |  | 4) Dewpoint temperature |
| X = Required |  | 5) Dewpoint temperature and/or RH and air temperature |
|  |  | 6) wind speed and direction |
|  |  | 7) snow cover |

# Footnotes

Automated Weather Stations for Applications in Agriculture and Water Resources Management: Current Use and Future Perspectives. 2001. Proceedings of an International Workshop held in Lincoln, Nebraska, USA, 6-10 March 2000. Edited by Kenneth G. Hubbard and M.V.K. Sivakumar.  AGM-3, WMO/TD No. 1074, Lincoln, Nebraska: High Plains Climate Center and Geneva, Switzerland: WMO.