| WORLD METEOROLOGICAL ORGANIZATION ____________________ COMMISSION FOR BASIC SYSTEMS OPEN PROGRAMME AREA GROUP ON INTEGRATED OBSERVING SYSTEMS EXPERT TEAM ON REQUIREMENTS FOR DATA FROM AUTOMATIC WEATHER STATIONS FIFTH SESSION GENEVA, SWITZERLAND, 5 MAY – 9 MAY 2008 | CBS/OPAG-IOS (ET-AWS-5)/Doc. 6(1) (23.IV.2008) _________ ITEM: 6 Original: ENGLISH ONLY |
| --- | --- |

REQUIREMENTS FOR NEW SENSORS OR THE INTEGRATION OF SENSORS

TO MEET THE DEFICIENCIES OF AUTOMATIC WEATHER STATONS

FOLLOWING THE MIGRATION FROM MANUAL OBSERVATIONS

Submitted by Rodica Nitu (Canada)

_________________________________________________________________________

Summary and Purpose of Document

The document contains a proposal for Requirements for new sensors

or the integration of sensors to meet deficiencies of Automatic Weather Stations (AWS)

following the migration from manual observations.

_________________________________________________________________________

ACTION PROPOSED

The meeting is invited to consider the proposal and develop requirements for new sensors or the integration of sensors to meet the deficiencies of AWS following the migration from manual observations.

References:

Manual on the Global Observing System (WMO-No. 544)

Background

The Manual on the GOS (WMO-No. 544) stated the “General requirements of a meteorological station” as follows:

“3.1.1 All stations shall be equipped with properly calibrated instruments and adequate observational and measuring techniques, so that the measurements and observations of the various meteorological elements are accurate enough to meet the needs of synoptic meteorology, aeronautical meteorology, climatology and of other meteorological disciplines.”

User requirements are expressed in a technology free manner, in terms of a set of relevant parameters, e.g. horizontal and vertical resolution, frequency (observing cycle), timeliness (delay of availability), and accuracy. It is the responsibility of the instrument expert community to translate the user requirements into instrument specifications covering their performance over the entire life cycle and providing data representative for the stated and implied needs of the users.

The transition from manual to automated observation of atmospheric parameters represents an opportunity and a significant challenge for the applications using meteorological, climatological, etc data. While an AWS is capable of consistent and reproducible measurements in time and space, the implementation of the measurement techniques is yet to deliver all observations approaching those of a human observer.

The measurement of objective, deterministic weather elements such as temperature, pressure, relative humidity, and liquid precipitation are comparable or superior to those taken by humans. The assessment of the state of the atmosphere, however, traditionally performed by a human by visual and subjective observations, is one area still of significant challenge for the current technology available. The critical constraint is that while a human observer would assess and report these elements primarily, qualitatively, their assessment using automatic means require the quantification of representative physical parameters, which in turn are used to qualify the specific phenomenon.

The development of instruments to be integrated within an Automatic Weather Station (AWS) platform and replace human observations has to take into consideration all aspects related to the ability to provide relevant and representative measurement data over their entire life cycle.

Taking these general requirements into account, the proposal for Requirements for new sensors or the integration of sensors to meet deficiencies of Automatic Weather Stations (AWS) following the migration from manual observations has been developed and is reproduced in the Annex 1.

Annex 1

REQUIREMENTS FOR NEW SENSORS OR THE INTEGRATION OF SENSORS

TO MEET THE DEFICIENCIES OF AUTOMATIC WEATHER STATONS

FOLLOWING THE MIGRATION FROM MANUAL OBSERVATIONS

I. 	GENERAL REQUIREMENTS

The requirements for sensors on an AWS platform following the migration from manual to automated observations could be divided in three interrelated categories, all critical contributors to the long-term sustainability of the AWS measurements. These include:

- The performance of measurement,

- Maintaining the traceability of measurements over the operational cycle, and

- Operational reliability.

In addition, the cost effectiveness of the automated solution is critical, as it could limits its use.

1. Measuring performance covers the ability of an instrument to provide measurements with a stated uncertainty, over the defined operating range and conditions. This includes the uncertainty of measurement, response time, long-term stability, hysteresis, operating range, start-up point, sensitivity, etc. Definitions of these parameters can be found in the WMO Guide to Meteorological Instruments and Methods of Observation, WMO-No. 8 and the ISO/IEC Guide 99:2007, International vocabulary of metrology -- Basic and general concepts and associated terms (VIM)

Under this category the general requirements for sensors integrated within an AWS configuration are:

- Sensors should operate reliably over the entire ranges and with the measuring performance stated in WMO-No. 488, Guide to the Global Observing System and WMO-No. 8, CIMO Guide.

- Sensors or systems should integrate multiple measurements (collocated and remote) to derive and report subjective measurements. Strong science background is required to support the integration of multiple parameters (e.g. drop-size distribution, snow wind transport, etc.).

- Improvement of the probability of detection and false alarm ratio for all measurements, subjective measurements in particular.

2. Sensor requirements for maintaining the traceability of measurement: these include the availability and implementation of recommended practices and equipment used as various levels of standards for performing periodic calibration and field verification over the lifecycle of a sensor.

The traceability of measurements from automatic sensors must be achieved through the implementation of national calibration programs specific to each instrument. These include a set of field verifications, laboratory calibration, and preventive maintenance activities, the simplicity of which is critical to their consistency in time and space. The following elements are required:

- Sensors should have long term stability of measurements to warrant calibration and maintenance intervals of one year or more,

- Available calibration methodologies and associated traveling standards.

The installation and operation of an AWS may be costly and an increased frequency of maintenance visits, in particular to stations in remote locations, could render an AWS unaffordable.

The field verification techniques should confirm of the measurement performance of instruments in their operational configuration and with minimum direct intervention. Where the laboratory calibration is chosen, the sensors should be designed such that the handling (e.g. removal, transportation, etc) would not impact on the sensor performance and ensure that the laboratory calibration remains valid, once the instrument is installed in the operational configuration.

3. Requirements regarding the operational reliability of AWS sensors involve the sensor design features that enable their operation for extended periods, within the expected measuring performance, with a minimum human intervention.

In remote locations AWSs operates unattended, and is expected to perform reliably for extended periods, sometimes of one year or more. In the absence of human intervention, for logistical reasons, the robustness of the AWS as a system is critical in the decision whether to replace the human with automated observations.

The operational reliability requirements for AWS sensors cover:

- The availability and reliability of auxiliary equipment to mitigate the influence of environmental factors (cooling, heating, venting, decontamination, cleaning, etc.)

- Minimizing/eliminating the sensitivity of sensors to external factors (diurnal effect, wind, solar radiation, etc…)

- The ability of sensors to withstand extreme conditions; taking into account the increasing frequency and intensity of extreme weather events (ice accretion, wind, intense precipitation, and extensive periods with extreme temperatures).

- Design provisions to limit the impact of variations in the supplied power, electromagnetic discharges due to lightning or other sources.

- All equipment integrated within an AWS configuration should have low power consumption;

- Sensors should have versatility of communication outputs.

- Remote availability of diagnostics to validate the data and troubleshoot the systems, including remotely.

- The ability to interrogate and download data and software to the AWS.

- Interoperability of sensors.

The amount of power required by sensors and their auxiliary equipment mitigating the influence of environmental factors (heating, cooling, etc) In particular in remote location where the power supply is not from the grid, could limit the ability of an AWS to provide data of expected quality.

Instrument developers should develop very efficient power management schemes for the sensors, to minimize the needs. The AWS system should be designed with particular attention to the budget of power required to operate at all times, including shutting down certain sensors to conserve power, when deemed necessary.

Additionally, the AWS configuration could be designed to mitigate individual sensor limitations. For example:

- create redundancy (e.g. using three sensing elements)

- Integrate measurements from multiple sensors to develop more effective filtering algorithms and improve the data quality.

II. 	SENSOR SPECIFIC REQUIREMENTS

1. Air Temperature sensors

The measurement of air temperature using sensors within an AWS configuration has been demonstrated to be representative of the human observations.

Requirements for temperature sensors:

- Expand the operating range to reliably measure temperatures specific to cold climates (below -40 deg C). The GOS Manual recommended range is -80 deg C to +60 C.

- Improve response time and sensitivity to measure and report extreme temperatures.

The type of shield/screen housing the temperature sensors are a direct contributor to the ability to measure atmospheric temperature, reliably.

The design requirements for shield/screens are:

- Create a measuring volume representative atmospheric conditions at all times;

- Minimize the effects of atmospheric and environmental factors (solar radiation, snow build-up, sand, dust, dew, wind). This is primarily the case for AWSs where the human intervention is minimal and for AWSs in remote locations where the human intervention is not possible for lengthy periods.

- Shield configuration should facilitate the sensor field verification, with no data contamination.

- Low power consumption for ventilated shields (smart power management);

2. Humidity and Dewpoint Temperature sensors

Humidity and dewpoint observations made by human observer are provided using sensors with various complexities; many being also integrated within AWS configurations.

The sensors in general perform well, however additional sensor requirements relate to:

- Consistency in operation below the freezing point.

- Accuracy of measurement of humidity at the ends of the measuring range.

- Stability of measurement to minimize the frequency of required calibration.

- Immunity to environmental contamination.

The shield/screen requirements are the same as for the temperature sensors.

3. Pressure Observations

The current sensing technology is able to measure and report atmospheric pressure and derive additional pressure related parameters with performances at least equal to that of a human observer.

The challenges facing the measuring of atmospheric pressure with automatic means are related to the operating environment and conditions. A manual observation of the atmospheric pressure is generally done with the barometer located inside a building, which is considered representative of the outdoor pressure (leaky building), although some limitations may apply.

The pressure sensors within an AWS configuration are installed outdoors, in metal or fiberglass boxes, which could cause data contamination, in particular due to solar radiation and wind.

Pressure sensor configuration requirements to ensure the quality of pressure observations:

- Provide configuration solutions for pressure sensors in the outdoors, to mitigate the effects of wind and solar radiation. e.g. venting, cooling, etc.

- Extend the operating temperature range to below -40 deg C.

4. Precipitation

The observation of precipitation covers a wide range of parameters and observing conditions. Broadly speaking, the quantitative parameters related to precipitation are amount and rate and the qualitative parameters are type and intensity.

While the measurements of liquid precipitation parameters using automatic rain gauges are in general acceptable, the observations of frozen and mixed precipitation still present serious challenges.

Requirement for new sensors or the integration of sensors to meet the deficiencies of AWS:

- Measure trace precipitation (accuracy better than 0.2 mm): trace amount of precipitation is a significant bias, particularly in the low-precipitation regions (integrating humidity?)

- Reliably measure snowfall and snow on the ground; account for snow redistribution (including multi-parameter integration)

- Eliminate diurnal effect on sensors measuring liquid and solid precipitation.

- Eliminate/mitigate the effects of false precipitation (blowing snow flux into the gauge).

- Sensors with larger capacity for total precipitation gauges to allow reliable operation unattended for extended periods of time,

- Prevent/minimize snow and ice build up on precipitation gauges in the cold climates without compromising the measurement;

- Corrections for wind induced undercatch, wetting and evaporation losses;

- Effective shields to minimize wind induced undercatch.

- Improve the probability to correctly identify the precipitation type, in particular in mixed precipitation and around the freezing point; eventually using temperature, humidity, ice accretion, and visibility data.

- Develop capacity within AWS to reliably assess the Snow Water Equivalent; Snow depth calculation based on the optical/microwave detection of solid precipitation use the standard 10:1 SWE ratio, which is not always correct.

- Sensors for effectively detecting the state of ground: icing, snow, rain, mixed water/snow, water/ice, wetness, rime deposition.

- Develop reliable calibration and field verification procedures and equipment, as integral part of sensor design.

- Improve sensor accessories to mitigate environmental factors (ice build-up, snow capping, insects, bird perching)

- integrate of lightning sensors or lightning data available from other sources to identify atmospheric phenomena (e.g. a shower, thunderstorm, cloud type).

- Develop integrated sensors which will output multiple precipitation related parameters (accumulation, rate, type, intensity)

- Broaden the applicability of the sensors to reliable operate in multiple conditions. For example, in coastal environments where the size and velocity of water droplets in the fog bank is larger than in continental climates, significant errors are reported (e.g. fog reported as hail or snow)

5. Visibility Sensors:

Improvements to present weather sensors could be translated into better assessment of visibly with appropriate science implemented in the processing algorithm of the sensor, independent of the principle of measurement.

Deficiencies to be addressed are related to:

- Need to differentiate between fog, smoke, blowing snow, blowing sand, insects, etc.

- Availability of reliable and field usable calibration methods and equipment.

6. Sky conditions sensors

Cloud observations from the ground are increasingly automated, resulting in the loss of some information formerly available from trained observers, e.g. cloud type.

The requirements for new sensors and the integration of sensors to meet the deficiencies of AWS are:

- Capacity to measure and report sky coverage; eventually integrating multiple measurements or satellite data, which are ideal for observing cloud cover, although they cannot measure cloud thickness or underlying cloud layers.

- Determine and report cloud type.

- Reporting of multilayer clouds.

- Direction of cloud movement;

- Alternative (low cost) sensors to derive and report the sky cloudiness (e.g. use of sunshine or solar radiation data)

- Improve the spatial representativeness of ceilometer data by combining it with data from other sources (e.g. an infrared scanner).

7. Wind speed and wind direction sensors

Human observations of wind speed and direction have been made extensively with instruments that are currently integrated in AWSs. The deficiencies of AWS with respect to wind measurement are related to the unattended operation, when errors go undetected and unaddressed.

The requirements for wind sensors cover a better performance when operating unattended for extensive periods of time and general improvements in sensor performance, including those sensors used for operational observations.

Specifically, these include:

  - Sensors that affordably measure and report 3-D wind data.

  - Improved sensor response time: to respond to short duration, high intensity events.

  - Availability of sensor specific field calibration techniques and traveling standards.

  - Increase the Operating range to report extreme events (as per Guide to the GOS, WMO-no.488)

  - Start-up speed to consistently report calm conditions as defined in CIMO Guide (0.5 m/s)

  - Minimize the effects on the quality of measurement of ice build-up, heavy snow or rainfall, bird perching, insects.

  - Low power consumption for the heating circuits, to make them suitable for remote installations.

8. Sensors for sunshine, global and net radiation

Global Radiation sensors have been significantly improved following the CIMO definition of the expected specifications. The major issue still requiring attention in particular for installation at unattended AWS is the cleaning of the sensor at regular intervals.  Work needs to be done on the development of an automatic cleaning system for sensors that are placed on automatic stations.

On the net radiation front, Baseline Surface Reference Network has show that component sensors provide far better observations than the typical net pyradiometers that are used in many NMHSs or agricultural programs.  Unfortunately, these cost significantly more than the older style instruments and should only be considered for use at climate stations.

9. Soil temperature and moisture

An AWS equipped to report weather and climate parameters could, with a moderate cost increase, also report soil temperature and soil moisture. The major challenge to be overcome rests with the configuration of the measuring system. The measurement of soil temperature and moisture is configured at depth of up to 100 cm of undisturbed soil. This means that the quality of measurement meets the users needs only after has been configured for a certain period and the earth has settled to approach the density and consistency of the surrounding volume.

Measuring instruments used for this application must have a long-term stability and reliability in operations. The measuring configuration should minimize the soil disturbance and permit access to the sensors for maintenance and replacement with minimum disturbance.

The measuring sensors should be installed in a protective housing/sleeve, which would tolerate both abrasive wear and extreme temperatures.