| WORLD METEOROLOGICAL ORGANIZATION __________________ COMMISSION FOR BASIC SYSTEMS OPEN PROGRAMME AREA GROUP ON INTEGRATED OBSERVING SYSTEMS EXPERT TEAM ON SURFACE BASED OBSERVATIONS SUB-GROUP MEETING ON WIGOS REGULATORY MATERIAL Geneva, Switzerland, 24-28 November, 2014 | CBS/OPAG-IOS/ET-SBO/SG-RM/Doc 3.4 19.XI.2014 _________ ITEM: 3 Original: ENGLISH |
| --- | --- |

Presentation of Draft Regulatory Material

Proposals for Update of Regulatory Material on Weather Radar

(Submitted by the Secretariat)

SUMMARY AND PURPOSE OF DOCUMENT To provide to the meeting a proposed structure and input materials that might be considered for inclusion as or, contributing to WMO WIGOS regulatory material on weather radar observing systems.

ACTION PROPOSED

Contributors are invited to use the template in the completion of their reports.

______________

Proposals for Update of Regulatory Material on Weather Radar

1. Background

There are currently three primary sources of regulations and guidance materials for WMO Members on the operation of weather radar systems in contributing to the WMO Global Observing System:

- WMO-No. 544, Manual on the GOS (2010, Upd. 2013), Part III, Section 2.12.2, Weather Radar Stations.

- WMO-No. 488, Guide to the GOS (2010, Upd. 2013), Part III, Section 3.9.2.1, Weather Radar Station.

- WMO-No. 8, Guide to Meteorological Instruments and Methods of Observation (Provisional 2014 Edition), Part II, Chapter 9, Radar Measurements.

The current texts and regulations should be taken into consideration in the process of preparing new or updated WIGOS regulatory material.

The current text for items 1) and 2) above have been included within Attachment 1 below.

Chapter 9 of the CIMO Guide will be made available to meeting participants via the WMO wiki site.

Additional material that might be considered for inclusion or reference, include the following items:

- IOM 88 (TD 1308), Training Material on Weather Radar Systems, E. Büyükbas, O. Sireci, A. Hazer, I. Temir, A. Macit, C. Gecer  (all Turkey), 2006

- CIMO, IOM 69 (TD 874), Weather Radars used by Members T. Mammen (Germany), 1998

- IOM 52 (TD 571), Results of the Working Group on Weather Radars, Part I: G.G. Shchukin (Russian Fed.), and Part II: Hisao Ohno (Japan), 1993.

2. Proposed Process for Drafting

It is proposed that, based on the direction provided by the Chair of the meeting, the structure given below is used as a basis for adding new regulations and guidance text for consideration for inclusion as WIGOS regulatory material.

Attachment 2 contains material that has been submitted by Mr Wissman, USA, for consideration for inclusion.

Regulations on Weather Radar Stations for Manual on WIGOS

…

Guidance Material on Weather Radar Stations

From Stuart’s Template:

- General requirements

- Observing Practices

  - Quality Control

  - Data and Metadata Reporting

  - Incident Management

  - Change Management

  - Maintenance

  - Inspection & Supervision

  - Calibration procedures

Other possible categories for consideration:

- Design Planning and Evolution

- Instruments and Methods of Observation

- Observational Metadata

- Quality Management

____________

# From WMO No. 544 Manual on the GOS (2010)

2.12.2 Weather radar stations

General

2.12.2.1 Members should establish an adequate network of weather radar stations, either nationally or in combination with other Members of the Region, in order to secure information about areas of precipitation and associated phenomena and about the vertical structure of cloud systems, for both operational meteorology and research.

Location and composition

2.12.2.2 Weather radars shall be located in such a manner as to minimize interference from surrounding hills, buildings and electro-magnetic sources, so as to provide good coverage of population centres and geographic features affecting stream and river flows, major thoroughfares and other facilities of importance.

Frequency and timing of observations

2.12.2.3 As a minimum, observations should be taken and reported at hourly intervals. Observations should be more frequent when heavy convective activity or heavy widespread precipitation is occurring.

# From WMO No. 488 Guide to the GOS (2010)

3.9.2.1 Weather radar stations

3.9.2.1.1 General

Weather radar stations are in many cases colocated with surface or upper‑air stations of the basic synoptic network. Such stations should be established and equipped to carry out radar observations in order to obtain information about areas of precipitation and associated phenomena, and the vertical structure of cloud systems. The information obtained from radar stations is used for operational purposes in synoptic meteorology—forecasting and warning of dangerous weather phenomena such as tropical cyclones, the generation of numerical analyses and guidance, aeronautical meteorology and hydrology, and research.

WMO Technical Note No. 181, Use of Radar in Meteorology (WMO‑No. 625), contains useful guidance on the types of radar available, their possible usage, methods of operation and the practical aspects of siting and maintenance.

Chapter 9, Part II, of the Guide to Meteorological Instruments and Methods of Observation (WMO‑No. 8) provides further information.

3.9.2.1.2 Site selection

Several principles to be considered when selecting a site for a radar station are as follows:

(a) The location should be free of natural or man‑made obstructions interfering with the radar beam. Local construction plans should be examined to identify future potential interference. Fixed targets should be as few as possible or at least not higher than 0.5° above the level of the radar aerial;

(b) Many national regulations require a survey to ensure that people living in the area surrounding the station site are not influenced by the microwave energy emitted;

(c) A licence for operating the radar at the planned site must be obtained from the radio‑telecommunication authorities concerned in order to avoid interference with any other installation.

See 9.7.1, Chapter 9, Part II, of the Guide to Meteorological Instruments and Methods of Observation (WMO‑No. 8) for more details.

3.9.2.1.3 Observing programme

Radar observations have been found most useful for the following tasks:

(a) Severe weather detection, tracking and warning;

(b) Surveillance of synoptic and mesoscale weather systems;

(c) Estimation of precipitation amounts;

(d) Wind shear detection.

Further information can be found in 9.1.3, Chapter 9, Part II, of the Guide to Meteorological Instruments and Methods of Observation (WMO‑No. 8).

3.9.2.1.4 Organization

A radar meteorological observation is a manual or automated “evaluation” of the radar echoes received from meteorological targets, coded as a message and transmitted to various meteorological centres and other users at regular intervals.

The distance between two stations in an operational weather radar network should be a function of the effective radar range. In the case of a radar network intended primarily for synoptic applications, radars in mid-latitudes should be located at a distance of approximately 150 to 200 km from each another. The distance may be increased in latitudes closer to the Equator, if the radar echoes of interest frequently reach high altitudes. Narrow-beam radars yield the best accuracy for precipitation measurements.

Radar networks have a routine observing schedule. Each radar station may, however, increase its observation times or take continuous observations according to the current weather situation. A list of measurements and products can be found in 9.1.4, Chapter 9, Part II, of the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8).

There should be at least one principal weather radar station or a national weather radar centre which is responsible for receiving radar observational data from local stations and synthesizing this data into a large-scale echo pattern for the entire network. The national weather radar centre should also be responsible for regular inspection and quality control of network data.

3.9.2.1.5 Operations

An up-to-date directory of weather radar stations should be maintained by each Member within its territory, giving the following information for each station:

(a) Name, geographical coordinates and elevation;

(b) Type of radar and some characteristics of the equipment used, such as wave length or maximum transmitting power;

(c) Routine observing schedule.

A minimum radar network should consist of at least two radars together covering most of the service area. Where necessary, individual radar can operate in conjunction with others in neighbouring countries to form a network. Ground-level precipitation estimates from typical radar systems are made for areas of typically 2 km2, successively for 5–10 minute periods.

A growing number of meteorological offices, governmental agencies, commercial users and water authorities receive either the composite images or graphics produced at the weather radar centre or single radar images directly from the radar sites.

3.9.2.1.6 Communications

Regular radar data are coded in code forms FM 20-VIII RADOB, found in the Manual on Codes (WMO-No. 306, Part A, Volume I.1) or FM 94 BUFR, in the Manual on Codes (WMO-No. 306, Parts B and C, Volume I.2) and disseminated in a timely fashion through the national or regional telecommunication network. The type of communications equipment needed for disseminating data depends on the temporal resolution of the data, the processing level and the quality of communications available (telephone lines and the like).

3.9.2.1.7 Personnel

Weather radar personnel requirements with regard to category and number depend on the type of equipment used, the level of automation and the number of observations required.

Maintenance and technical personnel responsible for the weather radar station or the entire network must have specialized training in the maintenance and operation of equipment used and a basic understanding of electronics and radar techniques.

A station supervisor is needed to carry out periodic checks of the calibration and the interpretation methods used in manual or semi-automatic observations.

3.9.2.1.8 Quality standards

The relationship between surface rainfall and radar echo strength is unfortunately not fixed or geographically universal. In addition, there are often significant echoes caused by ground clutter and anomalous propagation that are not due to rainfall. The difficulty of correcting the calculation of surface rainfall estimates objectively in real time is one factor that should be taken into account when designing an interactive display system and interpreting radar images.

In addition to the quality control of radar observations, a combined  digital satellite and radar interactive system may enable its operators to use geostationary satellite data to extend the surface rainfall analyses beyond the radar coverage area. This involves subjective judgement and the use of algorithms that relate surface rainfall to cloud brightness and temperature. Alternatively, real-time calibration of radar echoes with rainfall data from rain-gauges can also be carried out when analysing rainfall data and estimating rainfall from radar echoes.

| Proposal Identifier | Radar Sub section 7.4.1 General requirements |
| --- | --- |
| Proposal lead | Daniel Michelson |
| Original Text | N/A |
| Newly Proposed Text | Weather radars are a critical component of the weather data observing systems that supports weather, water, and climate data, and forecasts and warnings for the protection of life and property and enhancement of the economy. Weather radars performance goals and strategic goals for the future; evolving weather observation needs from activities such as storm scale numerical modeling and anticipated growth in aviation traffic; and support to other global, regional and national requirements. Single site radar data acquisition and signal processing functionality is a significant consideration, however, there are a broad range considerations for uses for these observations. The extent and quality of geographic and vertical coverage of individual radars are encompassed in network requirements such as wavelength, beamwidth, minimum/maximum elevation angles and scan strategy flexibility. Geographic coverage is a function of the number of weather radars deployed and the availability of data from non-weather radars. Weather radars are designed to conduct meteorological phenomena observations needed to maintain a high level of forecast and warning performance, and to meet future performance goals including: Increase warning lead times for high-impact events (e.g., tornados, flash floods, severe thunderstorms) Reduce warning false alarms without degrading probability of detection Promote comprehensive weather situational awareness Improve weather decision services and convey uncertainties associated with data and products |
| To be included in which Manual / Guide |  |
| To be included in which section | Chapter 7, Section 7.4.1 General Requirements |
| Next action required | Further review by experts is required |
| Status of Action | Being reviewed by other ET-SBO expert |
| Location information stored | Unkknown |

| Proposal Identifier | Radar Sub section 7.4.2 Observing Practices |
| --- | --- |
| Proposal lead | Daniel Michelson |
| Original Text | N/A |
| Newly Proposed Text | Weather Radar Transmit and Receive These weather radar requirements comprise the basic functionality of weather radar hardware design. Weather radar variables The radar shall provide observations for the following basic variables of pulsed-Doppler weather radar. Threshold: weather radar capability Reflectivity (Z) Radial Velocity (V) Spectrum Width (SW) Differential Reflectivity (ZDR) polarimetric Correlation Coefficient (CC) polarimetric Differential Phase (PHI) polarimetric Numerical model initial conditions and forecasts are sensitive to the radar-observation errors specified during data assimilation, but the characteristics of these observation errors are currently poorly known. Improved specification of observation errors, both in a mean sense and on an observation-by-observation basis, would be possible if sample variances for the observation estimates were available. Extensive assimilation of radar data for input to storm scale numerical models is critical to achieving the capability for forecasting the development and evolution of storms, and thus extending storm warning lead times significantly. Threshold: weather radar capability goal Within each sample bin Sample variance for reflectivity Sample variance for radial velocity Sample variance for differential reflectivity polarimetric Sample variance for correlation coefficient polarimetric Sample variance for differential phase polarimetric Wavelength The radar shall provide high quality information throughout, and beyond, regions of heavy rainfall to long ranges. The radar must also provide operationally acceptable (e.g., provision of data that significantly enhance forecast and warning operations) values of maximum unambiguous range and maximum unambiguous velocity for any given pulse repetition frequency. Threshold: Performance of S-Band, ~10 cm Weather radar wavelength of ~10 cm is the optimal choice as it supports a maximum range of 460 km due to minimized attenuation by heavy rainfall and also provides the best combination of maximum unambiguous range and maximum unambiguous velocity compared to shorter wavelengths. This wavelength ensures that a weather radar network can provide critical coverage within its umbrella. Beamwidth The radar shall provide sufficient spatial resolution (both horizontally and vertically if practical) to detect fine scale features, such as tornadic circulations, to an operationally acceptable (e.g., provision of data that significantly enhance forecast and warning operations) range. Threshold: Performance of weather radar (1.0 deg Beamwidth in azimuth and elevation) Due to antenna rotation and processing of multiple pulses per data radial, the weather radar hardware beamwidth (~ 1 deg) provides an effective beamwidth of 1.5 deg in azimuth. A signal processing windowing technique, termed Super Resolution, provides high quality data radials at 0.5 deg increments with an effective beamwidth of 1.1 deg. Pulse length A short pulse length is necessary to provide the linear resolution required for detection of complex, small scale storm features such as tornadic circulations. An additional, longer pulse length is also necessary to enable greater ability to detect returns from weaker targets such as light snow and clear air. Threshold: Performance of weather radar goal (1.57 μs (short pulse) and 4.71 μs (long pulse)) Future use of complex pulse generation methods such as Pulse Compression could provide increased sensitivity without degrading other requirements such as linear range resolution. Increased sensitivity could extend the range of coverage of weaker targets, thereby enhancing forecast and warning operations. Pulse repetition frequencies (PRFs) The radar shall provide useful information for a wide variety of weather scenarios, including the concurrent presence of multiple storms along the same radial, multiple storms at different ranges in different sectors, and strong radial velocities in the storms. The radar shall support multiple PRF values to minimize the effects of range folding on particular storms while preserving the best possible estimations of radial velocity for those storms. Threshold: weather radar capability A PRF, or combinations of PRFs, to support a maximum unambiguous velocity of ± 32 m/s A PRF to support a maximum unambiguous range of 460 km A range of PRFs between 318 hertz and 1310 hertz Radial velocities often exceed 32 m/s in association with tornadic supercells and strong mid-latitude cyclones. Since there is a strong relationship between observed radial velocities, storm intensification, and wind damage of all kinds, increasing maximum unambiguous velocity would lead to improved more effective assimilation of these observations into numerical forecast models. Furthermore, an increase in maximum unambiguous velocity in the lower elevation angles would help assure that strong circulations occurring within the planetary boundary layer are routinely well sampled within the radar’s coverage area. Threshold: weather radar capability goal A PRF, or combinations of PRFs, to support a maximum unambiguous velocity of ± 50 m/s Minimum detectable signal (MDS) and Sensitivity A low MDS is necessary to provide the sensitivity to detect weak, fine scale targets such as gust fronts and weak circulations, and to obtain valid velocity measurements from targets such as insects and moisture discontinuities. Radar sensitivity is closely related to the MDS. Higher sensitivity corresponds to an ability to detect weak signal strength features to longer ranges. The Threshold RFR is cited for a range of 50 km to provide reference point values of the required MDS. Threshold: Performance of weather radar 0.0 dB Signal to Noise Ratio (SNR) for a -9.5 dBZe target at 50 km in short pulse and a -18.5 dBZe target at 50 km in long pulse Dynamic range The radar must process returns from both weak and strong targets concurrently (e.g., mix of fine lines and strong thunderstorms). The receiver dynamic range must be large enough to accommodate typical weather scenarios. Threshold: Weather radar capability of 93 dB A larger dynamic range will support improved processing of strong clutter targets and increased sensitivity for weak returns. The improved data quality will enhance the utility of radar data in the numerical models that are crucial to providing tornado and other severe storm warnings based on forecasts of storms. Optimal for 2030: 97 dB System bias The radar hardware calibration shall determine the measurement uncertainties related to the system hardware components as accurately as possible for all radar variables. Accurate system bias calculation ensures that observations accurately represent the returned signals for those variables. Threshold: Weather radar capability, in the absence of clutter filtering. Reflectivity: 1 dBZ for target with true spectrum width of 4 m/s and SNR > 10 dB Velocity: 0.0 m/s for target with true spectrum width of 4 m/s and SNR > 8 dB Spectrum Width: 0.2 m/s for target with true spectrum width of 4 m/s and SNR > 10 dB Threshold: Polarimetric weather radar capability, in the absence of clutter filtering. Differential Reflectivity: 0.1 dB for target with true differential reflectivity (ZDR) of less than ±1 dB, true spectrum width of 2 m/s, Correlation Coefficient ≥ 0.99, dwell time of 50 ms and SNR ≥ 20 dB (for ZDR with a magnitude greater than 1 dB, bias should be less than 10% of the ZDR magnitude) Correlation Coefficient: 0.006 for target with true spectrum width of 2 m/s, Correlation Coefficient ≥ 0.99, dwell time of 50 ms and SNR ≥ 20 dB Differential Phase: 1 deg for target with true spectrum width of 2 m/s, Correlation Coefficient of ≥ 0.99, dwell time of 50 ms and SNR ≥ 20 dB Minimum elevation angle The radar shall be able to scan at negative elevation angles to improve low altitude weather detection from high altitude sites (e.g., mountain sites). Threshold: Weather radar capability of -1.0 deg Maximum elevation angle The radar shall be able to observe the mid-level and upper portions of convective storms close to the radar site. These are the regions of storms where the parent rotation of tornadoes, large hail, and the beginnings of microbursts are often first observed. The radar must also be able to observe high elevations to support calibration procedures based on measurements of the sun and the clear blue sky. Threshold: Weather radar capability of 60.0 deg Beam elevation and azimuth positioning accuracy Beam location accuracy is critical to properly locate tornadoes and other severe weather phenomena for accurate specification of warning areas and for assimilation of radar data into numerical models. Threshold: Weather radar capability of 0.15 deg Further improvements to Differential Reflectivity calibration of system bias and general data quality will require better beam positioning accuracy and precision. Research radars have positioning accuracy of 0.0055 deg. Threshold: Weather radar capability goal Elevation and azimuth positioning accuracy within 0.0055 deg Side lobes The radar observation data shall be calculated predominantly from the signal power returned within the main lobe of the beam pattern to ensure the data represent the nominal spatial resolution of each sample volume. Signal power returns from energy transmitted in nearby lobes (side lobes) must be minimized. Threshold: Weather radar capability, two-way side lobes: First side lobe: ≤ -70 dB relative to the peak of the main lobe Side lobes beyond ± 2 deg from beam center decrease to ≤ –96 dB at ± 6 deg relative to the peak of the main lobe, decreasing to -110 dB at ± 20 deg relative to the peak of the main lobe. Radar data Signal Processing Sophisticated radar data signal processing of target returns is necessary to generate accurate, reliable radar variable estimates, and to utilize flexibility in setting radar transmit and receive parameters. Standard deviation of estimates of radar variables The radar variable values generated by signal processing of target return signals must be consistent from observation to observation for any given type of spatially homogeneous weather target to ensure reliability and dependability for subjective and objective applications of the data. Accurate estimations of system bias and low standard deviations of estimates of radar variables are critical components of the accuracy and representativeness of the radar variable estimates. Threshold: Performance of Weather radar Reflectivity: ≤ 1 dB for target with true spectrum width of 4 m/s and SNR ≥ 10 dB Velocity: ≤ 1 m/s for target with true spectrum width of 4 m/s and SNR > 8 dB Spectrum Width: ≤ 0.5 m/s for target with true spectrum width of 2 m/s and < 0.95 m/s for true spectrum width of 4 m/s and SNR > 10 dB Threshold: Performance of Polarimetric Weather radar Differential Reflectivity: < 0.4 dB for target with true spectrum width of 2 m/s, Correlation Coefficient ≥ 0.99, dwell time of 50 ms and SNR ≥ 20 dB Correlation Coefficient: < 0.006 for target with true spectrum width of 2 m/s, correlation coefficient ≥ 0.99, dwell time of 50 ms and SNR ≥ 20 dB Differential Phase: < 2.5 deg for target with true spectrum width of 2 m/s, correlation coefficient of ≥ 0.99, dwell time of 50 ms and SNR ≥ 20 dB Optimal standard deviation goals are not well established. However, techniques that reduce the standard deviation of estimates should be developed so that data quality can be traded for other things such as faster updates. Quantization of radar variables Radar variables shall be provided to data processing systems with sufficient quantization to support data accuracy determinations and to provide the capability to reveal the small scale, often critical, variations of values within many weather targets (e.g., convective storms). Radar variable quantization is sometimes used interchangeably with precision of the variable estimates (e.g., the WSR-88D System Specification), even though such usage is not technically correct. Threshold: Performance of weather radar Reflectivity: 0.5 dB Velocity: 0.5 m/s Spectrum Width: 0.5 m/s Threshold: Performance of Polarimetric weather radar Differential Reflectivity: 0.0625 dB Correlation Coefficient: 0.00333 Differential Phase: 0.35 deg Reducing the quantization would provide improved discrimination of turbulence intensity. Threshold: Weather radar capability goal Spectrum Width Quantization of 0.1 m/s Linear (radial) range resolution The radar shall provide sufficient spatial resolution to detect fine scale features, such as tornadic circulations. Range Resolution is determined by pulse length and the Range Weighting Function (RWF). The RWF is a combination of transmitted pulse characteristics and processing within the receiver and signal processor. The RWF delivers optimum values of SNR and range resolution for the radar variables. Threshold: Performance of Weather radar 250 m for the Short Pulse Length Effective angular resolution Signal processing techniques have been developed to use windows of overlapping azimuthal samples to significantly increase the antenna’s nominal effective angular resolution at the cost of a slight increase in the standard deviation of radar variable estimates. Combined with 250 m linear range resolution, the resultant data have proven to be highly valuable in identifying tornadic circulation patterns and extending the effective range of such identifications. Threshold: Performance of Weather radar: Effective angular resolution of 1.1 deg Complex waveforms The radar shall provide useful information for a wide variety of weather scenarios, including the concurrent presence of multiple storms along the same radial, multiple storms at different ranges in different sectors, and strong radial velocities in the storms. To optimize the radar operation, the radar should provide for the use of complex radar waveform transmission and signal processing in order to minimize range-velocity ambiguities. Threshold: Performance of Weather radar Multi-PRF Systematic Phase coding Staggered Pulse-Repetition-Time (PRT) Clutter detection and filtering Undesirable signal artifacts such as ground clutter and electromagnetic interference can degrade the meteorological utility of the radar data (e.g., rainfall estimation, tornadic circulation analysis). The radar system shall identify and provide a means of removing such artifacts. Artifact removal shall minimize any degradation of the desirable meteorological data. Threshold: Performance of the weather radar Automated detection of clutter at Clutter to precipitation Signal Ratios (CSRs) down to -13 dB. Clutter filtering resulting in reduction of CSRs to -13 dB or better. Minimize the bias and standard deviation induced by the clutter filter process: 1 dB bias and standard deviation for reflectivity and 1 m/s bias and standard deviation in radial velocity and spectrum width estimates. Coverage Radar data shall be provided to the maximum range and altitude for which the data provide operationally useful meteorological information. Threshold: Performance of Weather radar Maximum range: 460 km for reflectivity; 300 km for velocity and polarimetric variables Maximum altitude: 70,000 ft Scan Strategy Adaptability The forecaster shall have the ability to optimize radar operations for weather scenarios ranging from clear air to fast moving tornadic storms. This functionality should include defining preset scanning strategies (also termed Volume Coverage Patterns, or VCPs) to sample specific elevation and azimuth positions (i.e., the spatial sampling grid), with certain RDA parameters such as waveform, PRF, and antenna beam scan speed for each slice. The functionality must also support forecaster and automatic selection of PRF values to dynamically tune the preset scan strategy to minimize range folding and velocity aliasing in the area of significant storms. Through selection of preset scan strategies appropriate for different general weather scenarios, and dynamic tuning of the PRF within the scan strategy in use, forecasters exercise the best possible operational trade-offs concerning sensitivity, standard error of estimates, maximum unambiguous range, maximum unambiguous velocity and volume coverage time. Threshold: Performance of Weather radar Multiple Clear Air and Precipitation Mode VCPs with adaptable parameters including: o Number of elevation slices and the elevation angle for each slice o For each elevation slice: Transmit waveform PRF Antenna scan speed Pulse length Number of pulses to process for each sample bin Edge angles of PRF sectors SNR thresholds for each of the 6 radar variables estimated Azimuth angular resolution Velocity quantization (0.5 m/s and 1 m/s) Support for PRFs between 318 hertz and 1310 hertz Manual and automatic selection of different PRFs for three azimuthal sectors for each of two sets of elevation slices Ability to repeat the lowest elevation angle mid-way through a volume scan and/or to eliminate high elevation angle scans when insufficient weather echo exists. Threshold: Performance of Weather radar goal One minute or less volume coverage time with no degradation of the sensitivity, spatial resolution or standard deviation of measurement for radar variable estimates. Capability to define scan strategies with elevation angles as low as the operational siting and radar design allow Radar Functionality Constraints and Tradeoffs Coverage, spatial resolution, sensitivity, maximum unambiguous velocity and range parameters vary in an inter-related manner with the radar’s transmitted power, wavelength of the transmitted signal, beamwidth, and radar waveform including pulse length and PRF. For rotating dish antenna radars, the transmitted power, wavelength and beamwidth are generally constant for a given design. For phased array antenna radars, the wavelength may change with sub-array partitioning, and the transmitted power and beamwidth are adaptable. The pulse length and PRF are adaptable for both types of radars. In operations, a given scanning strategy takes advantage of the available adaptable parameters to best sample the existing weather scenario, with phased array antenna radars having more such adaptability. Often, a particular scanning strategy may degrade one parameter in order to enhance another with more value to operations for the given weather. The following bullets summarize the effects of differing radar operating parameters on radar functionality Effective radar coverage increases with: o Greater sensitivity, broader scan angles, lower elevation angles (extending the spatial sampling grid), increased pulse samples and/or signal processing techniques to lower variance of estimates and permit use of data at lower signal to noise ratios. Spatial resolution increases with: o Narrower effective beamwidth, shorter wavelength, shorter pulse length, and sharper range weighting function Temporal resolution increases with: o Faster effective beam scanning speed, smaller spatial sampling grid, and shorter dwell times. Sensitivity increases with: o Shorter wavelength, higher transmit power, longer pulse length, narrower beamwidth (for a given transmit power), lower receiver noise power  Attenuation decreases with: o Longer wavelength  Maximum unambiguous velocity increases with: o Longer wavelength, shorter PRT, multiple PRTs and signal processing methods Maximum unambiguous range increases with: o Longer PRT Accuracy The accuracy of radar estimates of reflectivity and other radar variables is a complex issue involving radar hardware design and calibration, appropriateness of selected values for scanning strategy adaptable parameters, and the complexity and strength of weather and other targets. The following sub-sections briefly discuss these major factors affecting accuracy. These discussions do not include specific requirements, but are intended to inform the readers of this document and to highlight the inter-related nature of the requirements listed above. Radar hardware design and calibration The system acquisition choices of radar design aspects such as wavelength, beamwidth and transmit power determine fundamental limits of the applicability of the radar for different weather scenarios. For example, long range surveillance of weather scenarios that include both light returns (e.g., gust fronts) and heavy rainfall requires the radar with little attenuation in heavy rain (e.g., longer wavelength) and high sensitivity. Regardless of the inherent capabilities of the radar’s design, there will be some signal degradation due to the combination of hardware components and their inter-connections. The sum of the signal degradations due to these sources is termed system bias. Radar engineering calibration estimates the signal bias, and must be very accurate to support valid estimates of radar variables. Typically, however, engineering calibration techniques cannot be absolutely accurate, and more stringent techniques can be very expensive to implement operationally. The calibration techniques chosen for a given radar represent a compromise between system bias estimation accuracy and cost. Operational settings for scan strategy adaptable parameters Operational weather radar functionality typically offers control over certain scan strategy parameters such as PRF, antenna beam scanning speed, and elevations and azimuths processed. These choices are used to create preset scan strategies (also termed Volume Coverage Patterns) to achieve reasonable tradeoffs among volume update time, maximum unambiguous velocity, maximum unambiguous range, coverage, spatial resolution and clutter mitigation for different weather scenarios. Dynamic tuning of parameters for specific scanning sectors, such as modifying the PRF to mitigate range folding, is used to further enhance performance in the vicinity of significant storms. Selection of the proper scanning strategy and dynamic tuning of adaptable parameters are critical to achieving accurate estimates of radar variables. Complexity and strength of weather and other targets Even with high quality radar hardware design and calibration, and with appropriate selection of scan strategy parameters, real world weather returns present significant challenges to accurate estimations of radar variables. Weather, insects, birds, anomalous propagation and ground targets contribute to a complex radar return signal in many different weather scenarios. The distribution, intensities and velocities of precipitation areas may exceed the sampling and signal processing capabilities for mitigating range and velocity ambiguities. The strength and velocity of a storm may vary significantly within a single sample volume, especially for the larger sample volumes at longer ranges. Precipitation areas may fall partially, or wholly, below the lowest beam of a scanning strategy, or may be obstructed by terrain or man-made objects. For certain radar variable estimates, such as Differential Reflectivity, the radar estimate may be accurate but the scientific association with a type of precipitation (e.g., snow) may be problematical due to the variability of the weather target compared to other meteorological data (e.g., temperature). Given a well-designed and calibrated radar, operations with appropriate scanning parameters and signal processing techniques, and an understanding of the complexities of weather radar estimations of radar variables, the final test of a radar’s accuracy is the usefulness of its data for support to operational forecasts and warnings. Radar Observations for Meteorological Phenomena and Scenarios Weather radar provides valuable information on a broad range of meteorological phenomena and weather scenarios. The following sections describe several scenarios and note the radar variables most important to their analysis. Clear air This category includes all non-precipitation targets, including insects, birds, bats, smoke and volcanic ash plumes, chaff, Bragg scatter, and fine lines (e.g., frontal boundary, gust front, dryline). Velocity estimates from insect targets are particularly useful for wind information, including wind shift boundaries. The resultant wind information is useful for real-time activities (e.g., airport runway switching) and as input to numerical model initialization. Radar signals from clear air targets are often weak, and degrade rapidly with range. The relative absence of insects in cold weather (e.g., winter) reduces the quality and coverage of velocity estimates. Special clear air scanning strategies have been developed to maximize the radar coverage by employing a longer pulse length, and by collecting more samples per estimate. Stratiform rain Stratiform rain typically forms in the lowest few kilometers of altitude, and extends over relatively large areas with weak horizontal gradients of intensity and limited vertical extent. In some scenarios, stratiform rain may be associated with other weather phenomena such as mesoscale convective systems and tropical or extra-tropical cyclones. Reflectivity and the polarimetric variables are used to analyze the intensity and areal extent of stratiform rain, and to estimate rainfall accumulations. Velocity data are used to calculate vertical wind profiles and as a general indication of wind direction and speed. Polarimetric variables are also used, in combination with other types of observations, to analyze rain/snow transition zones and to assess the likelihood of freezing rain and aircraft icing areas. Radar-derived quantitative stratiform precipitation estimates can be degraded by several factors, including: overshooting precipitation areas with the lowest beam, anomalously enhanced reflectivity values for precipitation in the melting layer, and beam blockage. These factors limit the range to which such quantitative estimates are valid. Winter weather Winter weather includes a variety of precipitation types: freezing rain, ice pellets (sleet), snow, snow pellets, and graupel. Some or all of these precipitation types may occur concurrently within the radar umbrella. Winter weather precipitation has stratiform characteristics similar to those of stratiform rain. One of the most important uses of radar for winter weather is the identification of transition zones between the different types of precipitation (e.g., the rain-snow line). However, much winter precipitation occurs at low altitudes – presenting a challenge for single radar coverage at longer ranges. In areas where the winter precipitation is detected on the lowest radar beam at longer ranges, other effects (e.g., melting, refreezing, sublimation, drifting of snow) add to the uncertainty of radar estimates of precipitation types, amounts and surface locations. Reflectivity and the polarimetric variables are used to analyze the intensity, type and areal extent of precipitation, and to estimate snowfall accumulations. Velocity data are used to calculate vertical wind profiles and as a general indication of wind direction and speed. Polarimetric variables are also used, in combination with other types of observations, to analyze precipitation type at the ground and aloft important to surface and air transportation. Clear air scanning strategies with longer sampling times are often used to detect the weaker reflectivity. Higher scan angles are typically not required since the precipitation areas do not have a great vertical extent. Coverage limitations are similar to those of stratiform rain. Heavy rainfall Heavy rainfall can be showery (intense rainfall rates for tens of minutes) or stratiform (moderate rainfall rates for hours) in nature. Heavy rainfall from convective storms may have larger raindrops resulting from melting hail, and its intensity typically varies greatly both spatially and temporally. Heavy rainfall can also occur with densely packed small raindrops formed from ‘warm process’ coalescence growth of raindrops in temperatures warmer than 0 deg C. Warm process rainfall tends to be stratiform (i.e., lower spatial and temporal variation in intensity), and can occur with tropical or non-tropical systems. Radar estimates of heavy precipitation amounts have much greater spatial and temporal resolution than those from rain gage networks. Reflectivity, Differential Reflectivity and Differential Phase (as converted to Specific Differential Phase in downstream processing) are the main radar variables used in precipitation estimation algorithms. Combined with rain gage data, the radar rainfall estimates have led to dramatic advances in flash flood warning performance. Dual polarization capability has improved precipitation estimates versus using reflectivity only, with the promise of further improvements as the polarimetric precipitation estimation algorithms are refined. There are significant inherent limitations in capabilities of a single radar for precipitation estimation. Precipitation estimates typically degrade with range due to several factors, e.g., overshooting of low altitude precipitation, overestimation in bright band areas, uncertainties of estimating surface rainfall rates from observations in snow above the bright band, and evaporation below lowest sampling beam. However, single radar data are also used in downstream data fusion and data assimilation systems that integrate networks of radar and other operational datasets into advanced precipitation estimation models. Convective storms This category includes convective rain showers, general and severe thunderstorms (i.e. those that produce NWS-defined severe wind gusts or severe-sized hail), and tornadic storms. Convective precipitation forms in cumulus or cumulonimbus clouds and occurs where updraft velocity is large relative to the fall speed of precipitation particles. Convective precipitation often has strong horizontal reflectivity gradients and can extend several kilometers vertically. Convective storms typically have rapid evolution (on the order of 1 min or less) in strength and size and given the right ingredients in the near-storm environment, can develop severe weather features such as tornadoes. Tornadic circulations are very small scale and can vary significantly across distances of just a few hundred meters. Convective storm scenarios, including tornadic storms, range from isolated storms in limited areas of the radar umbrella, to widespread storms throughout the umbrella, to squall lines oriented along the full diameter of the umbrella. Convective storms, especially severe/tornadic ones, present the largest challenge for weather radars, and their surveillance drives the most stringent values of the various radar functionality requirements. These storms have precipitation and up/downdraft cores where the key processes determining rainfall rate/type, updraft and downdraft strengths are contained. Specification of the structure (i.e., vertical extent) and contents of these cores is critical to warning operations. All of the standard and polarimetric radar variables are used extensively in the analysis of convective storms and are critical observation data used to issue severe thunderstorm, tornado, or flash flood warnings. Tropical cyclones Tropical cyclones are large scale warm-core storms with organized convection that exhibit cyclonic rotation around a low pressure center. These storms contain spiral rain bands and can contain very high gradient winds. The rain bands often generate very high rainfall rates. In addition, tropical cyclones can contain tornadic storms, which are often weak with very rapid development and short life times. Timely detection of tropical cyclone tornadic potential requires fast scanning strategies with good low altitude coverage. Ground-based radar provides the main source of position fixes and other diagnostic information for near land and land-falling tropical cyclones. Such observations are also foundational to short-term forecasts as tropical cyclone conditions persist near and over land. The application of dual polarization parameters to tropical cyclones is rather new but these parameters are already being used to identify strong updraft cores and to improve rainfall estimates. Heavy rainfall and tornadoes associated with tropical cyclones often occur at low altitudes, and their detection is degraded at longer ranges as the radar beam overshoots the precipitation and rotational signatures. |
| To be included in which Manual / Guide |  |
| To be included in which section | Chapter 7, Section 7.4.2 Observing Practices |
| Next action required | Further review by experts is required |
| Status of Action | Being reviewed by other ET-SBO expert |
| Location information stored | Unkknown |

# Comments

For each topic, need to be mindful of what has been included in Chapter 2 of the Manual on WIGOS (do not rewrite text that can be referenced):

http://www.wmo.int/pages/prog/www/WIGOS-WIS/meetings/ICG-WIGOS-3/Manual_WIGOS_Ver01_2014-02-06.docx

Should this contain a reference to the CIMO Guide, 9.1.3 Radar acccuracy requirements?

Need to reference the WMO RRR for requirements of meteorological applications. Reference to the Man. on WIGOS Chap 2 may be enough.

May be worth looking into the Statements of Guidance from the RRR for particular requirements wrt WR: http://www.wmo.int/pages/prog/www/OSY/GOS-RRR.html#SOG

Key application areas are/may be:

1	Global NWP

2	High Resolution NWP

3	Nowcasting and Very Short Range Forecasting

5	Aeronautical Meteorology

8	Agricultural Meteorology

9	Hydrology

Note that this refers to QMS Quality Control - i.e. practices and procedures for control of quality across the whole system. It may have sub-topics including:

- Siting

- Observations (data) QC

- Calibration

Need to provide guidance on provision of data on the GTS.

May add some guidance on exchange of data internationally.

This might contain some guidance on radar siting and planning in relation to a composite observing system.

Reference to the CIMO guide at least required.

This should perhaps contain a description of the requirements for members to maintain the WMO Radar Database: http://www.wmo.int/pages/prog/www/WRO/index_en.html#WRD

Refer to Section 2.6 of the Manual on WIGOS for concepts.