| WORLD METEOROLOGICAL ORGANIZATION _____________________________ WMO INTEGRATED GLOBAL OBSERVING SYSTEMS (WIGOS) PILOT PROJECT FOR AMDAR, Fifth Session & AMDAR Panel Management Group Meeting DE BILT, THE NETHERLANDS, 28 FEBRUARY – 4 MARCH 2011 |  | WIGOS-PP-5-AMDAR-MG/Doc.2.2 (21.II.2011) __________ ITEM: 2.2 Original: ENGLISH ONLY |
| --- | --- | --- |

STATUS OF THE WIGOS PILOT PROJECT FOR AMDAR

AMDAR MetaData Practice

(Submitted by Stewart Taylor)

Summary and Purpose of Document This document provides information on the procedures for the introduction of a MetaData database and associated practices within the AMDAR Programme.

ACTION PROPOSED

The Meeting is invited to:

(a)	Note the current status of AMDAR MetaData Practice as part of WIGOS; and,

(b)	Comment and make recommendations as appropriate.

___________________

WIGOS-PP-5-AMDAR-MG/Doc. 2.2

AMDAR Metadata Practice.

- The Third Session for the WMO Integrated Observing System (WIGOS) Pilot Project for AMDAR discussed the WIGOS Pilot Project for AMDAR objective 2, application of WMO Metadata relevant to AMDAR. This meeting agreed on the components of metadata associated with AMDAR and in particular, identified metadata needed for describing data and products, metadata needed for usage of data, see Appendix A, and metadata needed for the operation of the AMDAR observing system as well as information relevant to airports used by AMDAR equipped aircraft, see Appendix B. The meeting agreed that following the approval of the identified aircraft and airport Metadata by E-AMDAR Programme Members, the Metadata would be passed to an active E-AMDAR airline for review and approval.

- The Joint Meeting of the Twelfth Session of AMDAR Panel and the First Session of the CBS Expert Team on Aircraft-based Observations, France 2009 agreed that this particular WIGOS objective should be tested on a single airline, preferable one within the E-AMDAR programme before finally being distributed to other operational AMDAR programs for full implementation.

- The E-AMDAR Programme has informed participating airlines of the proposal for Metadata to be implemented into the WIGOS PP for AMDAR. This will be discussed at the forthcoming E-AMDAR Technical Advisory Group (TAG) Meeting 15-17th March 2011 and then revisited with the airlines at the next round of meetings scheduled for March/April 2011.

______________________

Appendix A

Aircraft Metadata

| Parameter | Description | Examples | Additional Comments |
| --- | --- | --- | --- |
| Programme | AMDAR Programme responsible for the AMDAR report | E-AMDAR |  |
| Country/Member | Country Member responsible for AMDAR report | UK |  |
| Originating Centre | Centre for issuing the AMDAR report (ICAO Code) | EGRR |  |
| Metadata File Identifier |  | wamis-bulletin-albania-en |  |
| Metadata Publication Date |  | 20090526 |  |
| Resource Name |  | AMDAR data |  |
| Publisher Person Name |  | Stewart Taylor |  |
| Publisher Organization Name |  | Met Office |  |
| Publisher Phone |  | +44 (0)1695 555 128 |  |
| Publisher Fax |  | +44 (0) 1392 88 5681 |  |
| Publisher Street Address |  |  |  |
| Publisher City |  | Exeter |  |
| Publisher Post Code |  | EX1 3PB |  |
| Publisher Country |  | United Kingdom |  |
| Publisher Person Email |  | stewart.taylor@metoffice.gov.uk |  |
| Resource Publication Date |  | 2009 |  |
| Regional AMDAR Programme Contact Name |  |  | To be identified |
| Regional AMDAR Programme Organization Name |  |  |  |
| Regional AMDAR Programme Phone |  |  |  |
| Regional AMDAR Programme Fax |  |  |  |
| Regional AMDAR Programme Street Address |  |  |  |
| Regional AMDAR Programme City |  |  |  |
| Regional AMDAR Programme Post Code |  |  |  |
| Regional AMDAR Programme Country |  |  |  |
| Regional AMDAR Programme Person Email |  |  |  |
| Airline Contact Name | Person responsible - aircraft calibration & maintenance | A N Other | This would have to be identified and also have deputy contact? |
| Airline Organization Name |  | British Airways |  |
| Airline Phone |  |  | Contact details at airline |
| Airline Fax |  |  |  |
| Airline Street Address |  |  |  |
| Airline City |  |  |  |
| Airline Post Code |  |  |  |
| Airline Country |  |  |  |
| Airline Person Email |  |  |  |
| Airline operating ISO 17025 | Is the airline's calibration procedures well documented | Yes/No | This would need to be identified and the airline update AMDAR of any changes |
| AMDAR Programme Identifier | Unique AMDAR aircraft identifier | EU1234 |  |
| Date Aircraft was activated for AMDAR |  | ddmmyyyy |  |
| Aircraft Manufacturer |  | Boeing/Airbus/Embraer | All AMs to be included |
| Aircraft MSN | Airframe unique identifier | nnnn |  |
| Aircraft Model |  | B747 | All types to be identified |
| Aircraft Series |  | 4nn |  |
| Avionics manufacturer |  | Teledyne | All vendors to be included |
| Avionics Hardware part no. |  |  | Is there a need for separate database? |
| Avionics Software part no. |  |  | Is there a need for separate database? |
| Navigation System | Lat/Long and time (GPS or inertia) | GPS | Should move to GPS eventually |
| GNSS reporting |  | Yes/No | Identify where this would sit in the database? |
| AMDAR Software |  | AAA |  |
| AMDAR Software Version |  | V1 |  |
| Ascent/Descent interval reporting trigger type |  | Pressure level/time |  |
| Ascent/Descent interval (reporting resolution) |  | nnn seconds |  |
| Date Ascent/Descent interval reporting trigger modified |  | ddmmyyyy |  |
| En-route interval reporting trigger type |  | ? | This will be time based |
| En-route interval (reporting resolution) |  | nnn seconds |  |
| Date En-route interval reporting trigger modified |  | ddmmyyyy |  |
| AMDAR Software Temperature Smoothing |  | Yes/No | Would these be required in a final version of instrument level metadata? |
| Date Temperature Smoothing modified |  | ddmmyyyy |  |
| AMDAR Software Wind Speed & Direction Smoothing |  | Yes/No |  |
| Date Wind Speed & Direction Smoothing modified |  | ddmmyyyy |  |
| AMDAR Software Humidity Smoothing |  | Yes/No |  |
| Date Humidity Smoothing modified |  | ddmmyyyy |  |
| Last date of aircraft maintenance and control | For all aircraft instrumentation/sensors | ddmmyyyy | Airline to provide information. Would need to consider the impact of having each Programme input this data for individual aircraft? |
| Last type of aircraft maintenance and control performed | Airline specific |  |  |
| Aircraft Temperature Sensor Manufacturer | All information relating to the measurement of temperature | Rosemount | Requirements for multiple sensors? |
| Aircraft Temperature Sensor Part no. |  | PT100 | Which sensor(s) is used for AMDAR? |
| Aircraft Temperature Sensor Serial no. |  | nnnn |  |
| Temperature Sensor Operational |  | Yes/No |  |
| Date Temperature Sensor's Operational Status modified |  | ddmmyyyy |  |
| Aircraft Temperature Sensor Date of installation |  | ddmmyyyy |  |
| Aircraft Temperature Sensor Date of calibration |  | ddmmyyyy |  |
| Aircraft Pressure Sensor Manufacturer | All information relating to the measurement of Pressure |  |  |
| Aircraft Pressure Sensor Part no. |  |  |  |
| Aircraft Pressure Sensor Serial no. |  | nnnn |  |
| Pressure Sensor Operational |  | Yes/No |  |
| Date Pressure Sensor's Operational Status modified |  | ddmmyyyy |  |
| Aircraft Pressure Sensor Date of installation |  | ddmmyyyy |  |
| Aircraft Pressure Sensor Date of calibration |  | ddmmyyyy |  |
| Aircraft Pitot Sensor Manufacturer | All information relating to the measurement of Pitot |  |  |
| Aircraft Pitot Sensor Part no. |  |  |  |
| Aircraft Pitot Sensor Serial no. |  | nnnn |  |
| Pitot Sensor Operational |  | Yes/No |  |
| Date Pitot Sensor's Operational Status modified |  | ddmmyyyy |  |
| Aircraft Pitot Sensor Date of installation |  | ddmmyyyy |  |
| Aircraft Pitot Sensor Date of calibration |  | ddmmyyyy |  |
| Aircraft Humidity Sensor Manufacturer | All information relating to the measurement of Pitot |  |  |
| Aircraft Humidity Sensor Part no. |  |  |  |
| Aircraft Humidity Sensor Serial no. |  | nnnn |  |
| Humidity Sensor Operational |  | Yes/No | Is this the correct location for this information? |
| Date Humidity Sensor's Operational Status modified |  | ddmmyyyy |  |
| Aircraft Humidity Sensor Date of installation |  | ddmmyyyy |  |
| Aircraft Humidity Sensor Date of calibration |  | ddmmyyyy |  |
| Aircraft Turbulence Sensor Manufacturer | All information relating to the measurement of Turbulence |  |  |
| Aircraft Turbulence Sensor Part no. |  |  |  |
| Aircraft Turbulence Sensor Serial no. |  | nnnn |  |
| Turbulence Sensor Operational |  | Yes/No |  |
| Date Turbulence Sensor's Operational Status modified |  | ddmmyyyy |  |
| Aircraft Turbulence Sensor Date of installation |  | ddmmyyyy |  |
| Aircraft Turbulence Sensor Date of calibration |  | ddmmyyyy |  |
| Aircraft Icing Sensor Manufacturer | All information relating to the measurement of Icing |  |  |
| Aircraft Icing Sensor Part no. |  |  |  |
| Aircraft Icing Sensor Serial no. |  | nnnn |  |
| Icing Sensor Operational |  | Yes/No |  |
| Date Icing Sensor's Operational Status modified |  | ddmmyyyy |  |
| Aircraft Icing Sensor Date of installation |  | ddmmyyyy |  |
| Aircraft Icing Sensor Date of last calibration |  | ddmmyyyy |  |

Appendix B

Airport Metadata

| Airport Metadata Parameters | Description | Examples | Comments |
| --- | --- | --- | --- |
| Airport Name |  | London (Heathrow) | Is this metadata only pertaining to airports routed by individual AMDAR Programmes or insert global list? |
| Airport Country |  | UK |  |
| IATA code |  | LHR | These organization shall inform the NMHS of any changes to these codes through the WMO |
| ICAO code |  | EGLL |  |
| WMO Code |  | 03772 |  |
| Lat/Long |  | 51.3/-0.3 | Is this sufficient lat/long resolution? |
| Altitude (with respect to msl?) | + msl | 25m | Do we require feet as well? |
| Programme responsible for maintaining information | Regional AMDAR Programme responsible for maintaining information | E-AMDAR | Would suggest utilising ICAO/IATA lists – and associated amendments as the source. |
| Date last updated | Refers to the table update | ddmmyyyy |  |