| World Meteorological Organization |  | ICG-WIGOS-1/Doc. 3.2.7 |
| --- | --- | --- |
| INTER-COMMISSION COORDINATION GROUP ON WIGOS (ICG-WIGOS-1) |  | Submitted by: | The WMO Secretariat |
|  |  | Date: | 15.IX.2011 |
| FIRST SESSION GENEVA, SWITZERLAND 26 – 30 SEPTEMBER 2011 |  | Original Language: | English |
|  |  | Agenda Item: | 3.2.7 |

wmo technical regulations and manual on wigos

## SUMMARY

ADDITIONAL FINANCIAL IMPLICATION: None ISSUES TO BE DISCUSSED: 1) Revision of the WMO Technical Regulations (TRs) to document the WIGOS concept of operations; 2) Development of the Manual on WIGOS in accordance with decisions by Cg-XVI. DECISIONS/ACTIONS REQUIRED: The session is invited to consider: 1) the strategy for updating the WMO TRs; 2) the initial draft Manual on WIGOS, developed by the Secretariat (attached to this document) and formulate recommendations on these issues. REFERENCES: Abridged Final report of the Sixteenth Congress (Geneva, May-June 2011); Final Report of the Fourth Session EC-WG on WIGOS-WIS (Geneva, February 2011); The WMO Technical Regulations (WMO Publication No. 49);Volume I General Meteorological Standards and Recommended Practices; The WMO Technical Regulations (WMO Publication No. 49), Volume IV - Quality Management, DRAFT 2010 Edition CONTENT OF DOCUMENT: Appendices for inclusion in the Final Report: Draft text for inclusion in the General Summary of the Report of the ICG-WIGOS-1 B. Manual on WIGOS – Initial draft Appendix for Information: ICG-WIGOS-1/Rep. 3.2.7: Background

DRAFT TEXT FOR INCLUSION IN THE GENERAL SUMMARY OF THE ICG-WIGOS-1

3.2.7.	wmo technical regulations and manual on wigos	(Agenda item 3.2.7)

      - ICG-WIGOS reviewed the initial draft of Manual on WIGOS in the light of guidance given by Cg-XVI and made the following recommendations:

      - …

      - …

____________

WORLD METEOROLOGICAL ORGANIZATION

MANUAL

on the WMO Integrated Global Observing System (WIGOS)

(Initial Draft, version - 15 September 2011)

VOLUME I

(Annex X to the WMO Technical Regulations)

GLOBAL ASPECTS

201X edition

_________________

WMO-No. XXXX

_________________

Secretariat of the World Meteorological Organization — Geneva —Switzerland

201X

CONTENTS

INTRODUCTION

PART I - GENERAL PRINCIPLES REGARDING THE ORGANIZATION AND IMPLEMENTATION OF THE WMO INTEGRATED GLOBAL OBSERVING SYSTEM

1.	Purpose and scope of the WMO Integrated Global Observing System

2.	Organization and design of the WMO Integrated Global Observing System

3.	Implementation of the WMO Integrated Global Observing System

PART II - REQUIREMENTS FOR OBSERVATIONAL DATA AND PRODUCTS GENERATED BY WIGOS

1.	Classification of requirements

1.1	General WIGOS observing requirements

1.2	Requirements for elements observed by WIGOS components

1.3	Observational requirements for application areas

1.4	Requirements for environmental emergency response activities

2. 	Procedure for elaboration of requirements

2.1	Formulation of observational data requirements

2.2	Evaluation of the feasibility of meeting observing requirements

PART III - REQUIREMENTS FOR OBSERVING SYSTEMS OPERATION AND MAINTENANCE

1.	General

2.	Standardization of instruments and methods of observation

3.	Station metadata

4. 	Traceability of measurements to recognized world standards and measurement uncertainties

PART IV - REQUIREMENTS FOR OBSERVATIONAL DATA AND PRODUCTS MANAGEMENT

1.	General

2.	The role of WIS

3.	WIS compliance

4.	Data representation and formats (including station metadata)

5.	Archiving of data (including metadata)

6.	Operational Database

7.	Standardization Database

8. 	Portal

PART V - REQUIREMENTS FOR END-PRODUCT QUALITY

1.	WMO Quality policy

2.	Organization and responsibility

3.	Standards and best practices to be implemented

3.1 	QM of observing systems (ISO 9001/9004)

3.2 	QA and QC procedures at a station level

3.3 	QA and QC at a network/product level

APPENDIX - WIGOS DEFINITIONS

INTRODUCTION

PURPOSE AND SCOPE OF THE MANUAL

1. The Manual is designed:

(a)	To facilitate cooperation between Members in operating present and future WMO and co-sponsored observing systems, data collection and management, and end-product quality assurance;

(b)	To specify obligations of Members in the implementation of the WMO Integrated Global Observing System (WIGOS);

(c)	To ensure adequate uniformity and standardization in the practices and procedures employed in achieving (a) and (b) above.

2.	The first edition of the Manual on the WMO Integrated Global Observing System was issued in 201X in accordance with the decisions of Sixteenth Congress. Taking into account future developments in instruments, methods and programmes of observations, evolving requirements for data exchange and service delivery by NMHSs, revisions of individual chapters of the Manual will be made when warranted by significant changes.

3.	The Manual is composed of Volumes I and II, which contain the regulatory material for the global and regional aspects, respectively. The regulatory material stems from decisions taken by Congress (Cg) and the Executive Council (EC), as well as from recommendations of technical commissions (TCs) concerned and resolutions of regional associations (RAs).

4.	Volume I of the Manual – Global Aspects – forms part of the WMO Technical Regulations and is referred to as Annex X to the WMO Technical Regulations.

5.	Volume II of the Manual – Regional Aspects – does not form part of the WMO Technical Regulations.

6.	In essence, the Manual specifies what is to be accomplished in order to meet the principle requirements of the WMO Integrated Global Observing System. Detailed guidance on how to establish, operate and manage networks of stations is laid down in the Manuals and Guides of individual WIGOS observing components.  Description of instruments, systems and techniques which are in regular use by WMO and co-sponsored observing systems is contained in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8). Details for data collection and management for all WMO and related international programmes are given in the Manual on the WMO Information System (WIS) (WMO-No.1060).    Further guidance on observations for various application areas is given in various publications of the WMO World Weather Watch Programme, Hydrology and Water Resources Programme, Global Atmosphere Watch Programme, World Climate Programme and WMO co-sponsored programmes GCOS, GTOS and GOOS.

TYPES OF REGULATION

7.	Volume I of the Manual comprises standard practices and procedures and recommended practices and procedures. The definitions of these two types are as follows:

The standard practices and procedures:

(a)	Are those practices and procedures which it is necessary that Members follow or implement; and therefore

(b)	Have the status of requirements in a technical resolution in respect of which Article 9(b) of the Convention is applicable; and

(c)	Invariably distinguished by the use of the term shall in the English text and by suitable equivalent terms in the French, Russian and Spanish texts.

The recommended practices and procedures:

(a)	Are those practices and procedures which it is desirable that Members follow or implement; and therefore

(b)	Have the status of recommendations to Members to which Article 9(b) of the Convention

shall not be applied; and

(c)	Are distinguished by the use of the term should in the English text (except where specifically otherwise provided by decision of Congress) and by suitable equivalent terms in the French, Russian and Spanish texts.

8.	In accordance with the above definitions, Members shall do their utmost to implement the

Standard  practices and procedures. In accordance with Article 9(b) of the Convention and inconformity with the provisions of Regulation 127 of the General Regulations, Members shall formally notify the Secretary-General, in writing, of their intention to apply the “standard practices and procedures” of the Manual, except those for which they have lodged a specific deviation. Members shall also inform the Secretary-General, at least three months in advance, of any change in the degree of their implementation of a “standard practice or procedure” as previously notified and of the effective date of the change.

9.	With regard to the recommended practices and procedures, Members are urged to comply with these, but it is not necessary to notify the Secretary-General of non-observance.

NOTES, ATTACHMENTS (VOLUME I) AND VOLUME II

11.	Certain notes are included in the Manual for explanatory purposes. They do not have the status of the annexes to the WMO Technical Regulations.

12.	A number of specifications and formats of observing practices, data collection and management, standardization and quality assurance procedures are included in the Manual. Taking into account the rapid development of observing techniques and the increasing requirements of the WMO and other international programmes, these specifications, etc., are given in “attachments” to the Manual and do not have the status of the annexes to the WMO Technical Regulations. This will enable the Commission for Basic Systems, Commission for Instruments and Methods of Observation, Commission for Hydrology, Commission for Atmospheric Sciences, and the relevant steering bodies of WMO co-sponsored observing systems to update them as necessary.

13.	The words “shall” and “should” in the attachments, notes and Volume II have their dictionary meanings and do not have the regulatory character mentioned in paragraph 7 above.

PART I

GENERAL PRINCIPLES REGARDING THE ORGANIZATION AND IMPLEMENTATION OF THE WMO INTEGRATED GLOBAL OBSERVING SYSTEM

1.	Purpose AND SCOPE of the WMO Integrated Global Observing System

1.1	The purpose of WMO Integrated Global Observing System (WIGOS) shall be to provide an effective and sustainable organizational, programmatic, governance and procedural structures that will significantly improve the availability, usefulness, quality and utilization of observational data and products through a single focus for the operational and management functions of all WMO observing systems as well as a mechanism for interactions with WMO co-sponsored observing systems.

1.2	WMO and co-sponsored observing systems are organized as multiple systems comprising:

- Surface-based component of the Global Observing System (GOS) of the World Weather Watch (WWW) Programme;

- Space-based component of the GOS, including the geostationary meteorological satellite constellation, the core polar-orbiting meteorological constellation and R&D earth observation satellites;

- Aircraft Meteorological Data Relay (AMDAR) systems including expansions of aircraft measurement capabilities for atmospheric composition constituents;

- Marine meteorological and relevant oceanographic observing networks of the Global Ocean Observing System (GOOS);

- Relevant components of atmospheric, oceanographic and terrestrial observing systems contributing to the Global Climate Observing System (GCOS);

- Relevant terrestrial networks of the Global Terrestrial Observing System (GTOS);

- Regional, river basin and global hydrological networks such as the World Hydrological Cycle Observing System (WHYCOS);

- Global Atmosphere Watch (GAW) networks and systems for observation of atmospheric chemical composition and related environmental parameters;

- Various radiation networks;

- The observing component of the proposed Global Cryosphere Watch (GCW) approved by Fifteenth WMO Congress;

NOTE:	Definition of stations (for surface-based component) and satellite constellation (for space-based components) for the above WMO and co-sponsored observing systems is given in the Manual on the GOS (WMO-No. 544), WHYCOS Guidelines (WMO/TD-No. 1282), etc.

1.3	WIGOS should allow WMO Members’ NMHSs and other relevant national and international institutions to better fulfil their mandates, including response to natural hazards, hydrological and environmental monitoring, climate observation, and adaptation to climate change and human-induced environmental impacts, provided this would not be detrimental to achieving the primary purposes of WMO and partner organizations.

2.	Organization and design of the WMO Integrated Global Observing System

2.1	WIGOS shall be organized as the framework enabling the optimized evolution and integration of all WMO and co-sponsored observing systems. Together with WIS, this shall allow continuous and reliable access to an expanded set of environmental data and products and associated metadata, resulting in increased knowledge and enhanced services across all WMO activities.

2.2	WIGOS shall be constituted as a coordinated system of methods, techniques and facilities used by WMO and co-sponsored observing systems for making observations on a worldwide scale, taking into account to the extent feasible the requirements of WMO and other international programmes.

2.3	WIGOS shall be based on existing observing, data processing, exchange and dissemination systems, fostering and accommodating new systems operated by Members and partner organizations for making observations at stations on land and at sea, from aircraft, from environmental observation satellites and other platforms.

2.4	The technical commitments of Members or partner organizations shall apply only to those contributions that they have identified for WIGOS.

2.5	Taking into account various criteria for observational data requirements, for convenience in the planning and coordinating of the system, WIGOS shall be considered as composed of three levels: global, regional and national.

2.6	WIGOS shall be designed as a flexible, integrated and coordinated system capable of continuous improvement, on the basis of the latest achievements of technological and scientific progress and in accordance with changing requirements for observational data and products.

2.7	The planning and coordination of WIGOS shall be steered by the Executive Council in collaboration and coordination with regional associations, technical commissions concerned and the relevant steering bodies of WMO co-sponsored observing systems.

3.	Implementation of the WMO Integrated Global Observing System

3.1	WIGOS shall be implemented building upon and adding value to the existing WMO observing systems with emphasis on integration of surface- and space-based observations in an evolutionary smooth process to satisfy requirements of WMO and WMO co-sponsored Programmes. The Rolling Review Requirement (RRR) process as specified in Part II shall be utilized for this purpose.

3.2	Implementation of WIGOS should be based on the principle that all activities connected with the establishment and operation of the WMO and co-sponsored observing systems, specific activities to meet the requirements for standardization and interoperability, WIS information exchange and QMF are the responsibility of the countries themselves and should be met to the extent possible from national resources. Where this is not possible, assistance may be provided through multilateral (regional) or bilateral cooperation programmes.

3.3	Implementation of WIGOS in regions outside the territories of individual countries (e.g. outer space, the oceans and the Antarctic) should be based on the principle of voluntary participation of countries that desire and are able to contribute by providing facilities and services either individually or jointly from their national resources or through collective financing.

3.4	Existing elements of observing systems contributing to WIGOS, as defined in Part I, shall not be removed before the reliability of a new element has been proven, and relative accuracy and representativeness of the observational data have been examined and found acceptable.

3.5	Each Member shall designate a national focal point to communicate with the WMO Secretariat on WIGOS matters. The national focal point shall be authorized to act in these matters on behalf of the Permanent Representative concerned.

_______________

PART II

REQUIREMENTS FOR OBSERVATIONAL DATA AND PRODUCTS GENERATED BY WIGOS

- CLASSIFICATION OF REQUIREMENTS

1.1	General WIGOS observing requirements

Observations generated by each of the WIGOS observing components (listed in Part I, paragraph 1.2) shall be consistent, of known and adequate quality (including adherence to the GCOS Climate Monitoring Principles), supported by associated standardized metadata, and sufficiently complete to describe, hydrometeorological and other environmental phenomena from Microscale (less than 100 m) to Planetary scale (larger than 3 000 km) with respect to spatial and temporal distribution.

1.2	Requirements for elements observed by WIGOS components

The requirements for elements to be observed according to the type of observing networks contributing to WIGOS (listed in Part I, paragraph 1.2) are detailed in the following WMO regulatory material and relevant publications:

Surface- and Space-based components of the GOS, including AMDAR

- Manual on the GOS (WMO-No. 544)

- Guide to the Global Observing System (WMO-No. 488)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

- Guide on Meteorological Observing and Information Distribution Systems for Aviation Weather Services (WMO-No. 731)

Marine meteorological and relevant oceanographic observing networks of the GOOS

- Guide to Marine Meteorological Services (WMO-No. 471)

- Manual on the GOS (WMO-No. 544)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

- Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update) (GCOS-138, WMO/TD-No. 1523)

Global Atmosphere Watch (GAW) networks

- Global Atmosphere Watch Measurements Guide (WMO-No. 143)

- Manual on the GOS (WMO-No. 544)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

Relevant components of atmospheric, oceanographic and terrestrial observing systems contributing to the GCOS

- Guide to Climatological Practices (WMO-No. 100)

- Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update) (GCOS-138, WMO/TD-No. 1523)

- Manual on the GOS (WMO-No. 544)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

- Guide to the Global Observing System (WMO-No. 488)

Relevant terrestrial networks of the GTOS

- Guide to Agricultural Meteorological Practices (WMO-No. 134)

- Manual on the GOS (WMO-No. 544)

- Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update) (GCOS-138, WMO/TD-No. 1523)

WHYCOS networks

- Guidelines on the Role, Operation and Management of National Hydrological Services (WMO-No. 1003)

- WHYCOS Guidelines (WMO/TD-No. 1282)

1.3	Observational requirements for application areas

Observational data requirements for specific application areas such as

- Global Numerical Weather Prediction

- Regional Numerical Weather Prediction

- Synoptic meteorology

- Nowcasting and Very Short Range Forecasting

- Seasonal and Inter-annual Forecasts

- Atmospheric chemistry

- Aeronautical Meteorology

- Ocean Applications

- Climate monitoring

- Climate applications

- Hydrology

- Agricultural meteorology

should be regularly reviewed and updated as part of the Rolling Review of Requirements (RRR) Process as described in the Guide on the Global Observing System (WMO-No. 488).

1.4	Requirements for environmental emergency response activities

Special requirements for environmental emergency response activities are detailed in the Manual on the GOS (WMO-No. 544) and XXX

2. 	PROCEDURE FOR ELABORATION OF REQUIREMENTS

2.1	Formulation of observational data requirements

The Rolling Review of Requirements (RRR) Process as described in detail in the Attachment II.1 shall be used for this purpose.

2.2	Evaluation of the feasibility of meeting observing requirements

The primary responsibility for the evaluation of the feasibility of meeting stated observational data requirements through the RRR Process related to the application areas, mentioned in Part I, paragraph 1.3 (a) to (l) of this Manual and for the development of associated guidance material, shall rest with respective WMO technical commissions (CBS, CAS, CCl, CAeM, CIMO, CAgM, CHy, JCOMM) and the governing bodies of WMO co-sponsored observing systems (see Part I, paragraph 1.3 of this Manual).

_____________

ATTACHMENT II.1

THE ROLLING REVIEW OF REQUIREMENTS (RRR) PROCESS

2.3.1 Description of the RRR process

The process jointly reviews users’ evolving requirements for observations and the capabilities of existing and planned  observing systems.  Statements of Guidance describing the extent to which such capabilities meet requirements are produced as a result. Initially, the process was applied to the requirements of global numerical weather prediction and the capabilities of the space-based subsystem, but more recently the range of requirements has been expanded and the technique has begun to be applied successfully to surface-based observing systems and other application areas.

The process consists of four stages (see Figure II.2):

A review of user requirements for observations, within an area of application covered by WMO Programmes;

A review of the observing capabilities of existing and planned observing systems;

A Critical Review of the extent to which the capabilities (b) meet the requirements (a);

A Statement of Guidance based on (c).

The aim of the Statement of Guidance and the Critical Review is as follows:

(a) To inform WMO Members about the extent to which their requirements are met by present

systems, will be met by planned systems, or would be met by proposed systems. It also provides the means whereby  Members, through the Technical Commissions, can check whether their requirements have been correctly interpreted and can update them if necessary, as part of the Rolling Requirements Review process;

(b) To provide resource materials useful to WMO Members for dialogue with observing system agencies as to whether  existing systems should be continued, modified or discontinued; whether new systems should be planned and implemented; and whether research and development is needed to meet unfulfilled user requirements.

Clearly, the Rolling Requirements Review process needs to be repeated periodically as requirements change and further information becomes available.  Figure II.2 indicates the anticipated interactions with observing system agencies and user groups.

Note:  1, 2, 3, 4 are stages of the RRR process

Figure II.2    Rolling Review of Requirements Process

2.3.2 User requirements and observing system capabilities database

To facilitate the Rolling Requirements Review process, the World Weather Watch Department has been collecting the observation requirements to meet the needs of all WMO Programmes, based on techniques such as those listed in 2.2, and has been cataloguing the current and planned provision of observations, initially from environmental satellites and now extended to in situ observing systems. The resulting database is called the Database on User Requirements and Observing System Capabilities and is accessible via the WMO Space Programme web page: http://www.wmo.int/pages/prog/sat/Databases.html

2.3.2.1 User requirements

The user requirements are system independent: they are intended to be technology-free in that no consideration is given to what type of measurement characteristics, observing platforms or data processing systems are necessary, or even possible, to meet them. A 2005–2015 time frame has been set to meet those requirements. The database has been constructed in the context of a given application, or use. The observation requirements are stated quantitatively in terms of a set of relevant parameters, of which the most important are horizontal and vertical resolution, frequency (observation cycle), timeliness (delay in availability), and uncertainty (acceptable root mean square error and any limitations on bias). For each application, there is usually no abrupt transition in the utility of an observation as its quality changes; improved observations, in terms of resolution, frequency or uncertainty, for example, are generally more useful, whereas degraded observations, although less useful, are on the whole not useless.  Moreover, the range of utility varies from one application to another. The requirements for each parameter are expressed in terms of two values, a maximum or goal and a minimum, or threshold requirement. The maximum requirement or goal is an optimal value: if exceeded, no significant improvement in performance is expected for the application in question. Therefore the cost of enhancing the observations beyond this maximum requirement would not be matched by a corresponding increased benefit.  Maximum requirements are likely to change as applications progress; they develop a capacity to make use of better observations. The minimum requirement is the threshold below which the observation is not significantly useful for the application in question, or below which the benefit derived does not compensate the additional cost involved in using the observation. Assessment of minimum requirements for any given observing system is complicated by assumptions concerning which other observing systems are likely to be available. It may be unrealistic to try to state the minimum requirement in an absolute sense because the very existence of a given application relies on the existence of a basic observing capability. The observations become progressively more useful in the range between the minimum and maximum requirements.

2.3.2.2 Observing system capabilities

Initially, attention was focused on the Global Observing System space-based subsystem capabilities. Each of the contributing space agencies has provided a summary of the potential performances of their instruments expressed in the same terms as the user requirements, together with sufficiently detailed descriptions of the instruments and tasks to support performance evaluations. Assessment of service continuity is based on the programmatic information supplied.  Particular care has been taken to establish a common language in the form of agreed definitions for the geophysical parameters for which observations are required or provided and agreed terminology to characterize requirements and performances.  At present, the performance Global Observing System surface-based subsystem components have also been characterized in a similar manner, taking into account their uneven distribution across the board in 34 homogeneous regions.

2.3.3 The Critical Review

The comparison of requirements to capabilities utilizes the database. As the database changes to reflect more effectively user requirements and existing and planned observing capabilities, the Rolling Requirements Review must be performed periodically.  The process compares user requirements with observing system capabilities and records the results in terms of the extent to which the capabilities of present, planned and proposed systems meet stated requirements. This is a challenging process, and considerable work has been done to develop a process and presentation ensuring that the critical review meets the following criteria:

(a) The presentation must be concise and attractive, and understandable to senior managers and decision makers, whilst  retaining sufficient detail to represent adequately the full range of observational requirements and observing system capabilities;

(b) The presentation of user requirements must be accurate; although it is necessarily a summary, it must be recognizable to experts in each application as a correct interpretation of their requirements;

(c) The presentation of the observing system capabilities must be accurate; although it is also a summary, it must be recognizable to expert data users as a correct interpretation of the system’s characteristics and potential;

(d) The results must accurately reflect the extent to which current systems are useful in practice, whilst drawing attention to those areas in which they do not meet some or all of the user requirements;

(e) The process must be as objective as possible.

2.3.4 Statements of Guidance

Statements of Guidance are designed to provide an interpretation of the output of the Critical Review, draw conclusions and identify priorities for action. The process of preparing such a Statement is necessarily more subjective than that of the critical review. Moreover, whilst a Review attempts to provide a comp0rehensive summary, a Statement of Guidance is more selective, drawing out key issues. At this stage, judgements are required concerning, for example, the relative importance of observations of different variables.  Since the Preliminary Statement of Guidance was published by WMO in 1998, several updates and additions have been completed in order to extend the process to new application areas, take into account the evolving nature of requirements and include the capabilities of surface-based sensors (WMO, 1999, 2001).  The latest Statements of Guidance can be found via the WMO Space Programme web page: http://www.wmo.int/pages/prog/sat/RRR-and-SOG.html

2.4 NETWORK DESIGN AND NATIONALREQUIREMENTS

In addition to the Global Observing System, observing networks may be required at the national level for the derivation of local weather parameters from forecast fields, verification of the quality of issued forecasts and warnings and other real or non-real-time applications. The observational data required for this purpose include surface and upper-air data obtained from land stations and ships, aircraft and buoys, as well as weather radar data and satellite information.  National observing networks are designed by Members to meet their individual needs or in agreement with other Members, in accordance with WMO regulatory and guidance material. Network design should take into account special observational data requirements and forecast products of the end-user groups for whom the services are being provided. Much of the data requirements for individual services may often require additional data, denser networks or higher observation frequency.

PART III

REQUIREMENTS FOR OBSERVING SYSTEMS OPERATION AND MAINTENANCE

## 1.	General

1.1	The frequency and spacing of observations generated by all observing systems contributing to WIGOS should be adjusted to the physical scales of hydrometeorological and other environmental phenomena to be described.

1.2	In implementing WIGOS, Members and WMO partners should ensure that operation and maintenance of their observing system continue to meet evolving user requirements.

NOTE:	Details of established global and regional requirements for operations and maintenance of observing systems contributing to WIGOS are contained in the Manual on the GOS (WMO-No. 544), Guide to the Global Observing System (WMO-No. 488), … (to be completed)

1.3	WIGOS data providers shall ensure that station metadata are published in Weather Reporting (WMO- No. 9), Volume A – Observing Stations in support of WIS, GDPFS and other WMO programmes, and are also available and accessible in the WIGOS Operational Database.

## 2.	Standardization of instruments and methods of observation

2.1	WIGOS, as an integrated system, should encompass homogeneity, interoperability, compatibility and traceability of observations from all WIGOS observing components (listed in Part I, paragraph 1.2). This should be based on guidance and studies provided by the WMO Instrument and Methods of Observation Programme (IMOP), WMO Satellite Programme and related programmes of partner organizations, and achieved through implementation of tests, calibration and intercomparisons.

2.2	WIGOS standardization process shall adequately address the differences and inconsistencies in current technical specifications, data acquisition and management systems used by individual NMHSs and partner organizations before national and international observing systems can be regarded as truly integrated.

Section may also contain WIGOS requirements and/or appropriate references related to the following operation and maintenance issues:

- Characterization of instrument performance (Surface- and Space-based components)

- Testing (Surface- and Space-based components)

- Acceptance (Surface- and Space-based components)

- Observing site location (Surface-based components)

- Observing methods (Surface- and Space-based components)

- Instrument maintenance (Surface- and Space-based components)

- Routine calibration (Surface- and Space-based components)

- Calibration campaigns (Surface- and Space-based components)

3.	Station metadata

3.1	Detailed station history, including essential elements relevant to the thematic data stream, should be maintained by all WIGOS contributors for their stations or observing platforms.

3.2	Station history should contain reference to aspects of the observation platform or station affecting the homogeneity and quality of observations as described in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8) or relevant instrument and methods of observing practices relating to the given thematic programme.

3.3	WMO should maintain a list of standard station history standard practices for differing thematic observing programmes.

4. 	Traceability of measurements to recognized world standards and measurement uncertainties

4.1 … … (to be completed)

_____________

PART IV

REQUIREMENTS FOR OBSERVATIONAL DATA AND PRODUCTS MANAGEMENT

## 1.	General

1.1	In order to effectively and efficiently respond to user needs, WIGOS observing components shall use WIS as a data exchange, discovery, access, and retrieval mechanism.

NOTE:	Detailed description of WIS is presented in the Manual on the WMO Information System (WIS) (WMO-No. 1060).

1.2	Data policies of WIGOS observing components should be clearly stated, and are encouraged to comply with Resolution 40 (Cg-XII) and Resolution 25 (Cg-XIII).

2.	The role of WIS

2.1	Observational data and products generated by all WIGOS observing components, as well as associated metadata, shall meet a comprehensive, standardized set of WIS data and metadata exchange requirements.  In the context of WIGOS, WIS shall:

- be used in the collection and sharing of information for all WMO and related international programmes;

- provide a flexible and extensible structure that will allow participating centres to enhance their capabilities as their national and international responsibilities grow;

- provide communication facilities used within the World Weather Watch (WWW) for distribution of high priority real-time data;

- utilize international agreed-upon standards for protocols, hardware and software.

3.	WIS compliance

3.1	To ensure WIS compliance:

- WIGOS data and information practices shall comply with the Manual on WIS (WMO-No. 1060);

- WIGOS contributors' metadata shall be made available to WIS GISCs;

- WIGOS contributors' shall make available information on how to access detailed station history related to the observations;

- Data custodians should ensure data providers include the necessary metadata for WIS;

- WIGOS contributors are encouraged to take advantage of WMO data representation systems and practices and file naming practices.

4.	Data representation and formats (including station metadata)

4.1	Representation of observational data and products generated by all WIGOS observing components, as well as associated metadata, shall be in compliance with the Manual on Codes (WMO-No. 306).

5.	Archiving of data (including metadata)

5.1	WIGOS data and products should be archived according to the recommendations, practices and procedures described in the WMO technical documentation …

5.2	Metadata and related information on archived data sets should be made available through WIS.

## Operational Database

6.1	WIGOS should allow WMO Members’ NMHSs and other relevant national and international institutions to use and interact fully with a distributed database (DB) which describes all the observing systems components and respective networks contributing to WIGOS.  Generally, the WIGOS operational database should include the following:

(a)	Basic observing network/system characteristics (governance, management, observing programme, standard compliance information, data policy, etc.);

(b)	Basic station characteristics (name, number/identifier, geographical coordinates, observing programme, etc.);

(c)	Basic instrument characteristics (siting, exposure, sensor type, principle of operation, instrument performance), data-processing, handling, transmission, quality assurance information, etc.).

6.2	A database should allow users to make relevant recommendations in terms of network design, evaluation and optimization; system governance and management and all other aspects dealing with observing system operation and performance.

6.3	All WIGOS data producers shall be fully responsible for providing adequate and sufficiently detailed data related to all parts of their observing systems and networks as specified in (a) to (c) above.

## 7.	Standardization Database

7.1	The WIGOS Standardization Database should provide a single access point to all the WMO standards, guidelines, best practices, procedures, etc., addressing all aspects of observations (instruments, methods of observation, metadata format, coding, etc.).  It should support the network managers and operators in getting information required to set-up and run systems contributing to WIGOS and help the data users to understand the standards used in performing specific observations they needed.

8.		Portal

8.1		(To be further elaborated).

_____________

PART V

REQUIREMENTS FOR END-PRODUCT QUALITY

Section should specify the basic definitions and requirements of WIGOS quality management system. In accordance with existing standards the document should include: organizational structure, the quality policy, a description of the general process, the quality management system scope (what processes or products are under the quality management system), a description of the interactions between the quality management system and the processes and the quality objectives. It will also include observing system performance monitoring and feedbacks with corresponding remedial procedures.

## 1.	WMO Quality policy

1.1	WIGOS should embrace Quality Management Framework (QMF) procedures to ensure that observations, records and reports on weather, water, climate and other environmental resources, operational forecasts, warnings, related information and services are of identified quality, and in compliance with relevant joint standards agreed upon with other international organizations.

NOTE:	The Guide on the Global Data-Processing System (WMO-No. 305) is the authoritative reference on the end-product quality management issues. It should be consulted for more detailed descriptions

  - To fully meet QMF requirements, WIGOS observing components should use an agreed-upon quality assurance and quality control standards to deliver reliable and timely data streams with adequate and known quality associated with relevant metadata.

NOTE:	The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8) provides guidance on the quality management system to be introduced in NMHSs which operates observing systems contributing to WIGOS.  Together with the Guide on the Quality Management System for the Provision of Meteorological Service for International Air Navigation (WMO – No. 1001) and XXX it should be consulted for QMF issues.

- Organization and responsibility

2.1	Within the framework of WIGOS, quality assurance (QA) shall be a real-time activity which has to be performed prior to the transmission of the surface-based and space-based observational data and products through WIS.

2.2	The primary responsibility for QA of all observational data and products shall rest with the Members and Organizations (data producers).

3.	Standards and best practices to be implemented

3.1. 	QM of observing systems (ISO 9001/9004)

3.2 	QA and QC procedures at a station level

3.3 	QA and QC at a network/product level

(The text for above sections 3.1-3.2 should be further elaborated)

_____________

APPENDIX

WIGOS DEFINITIONS

The following terms directly associated with WIGOS, when used in this Manual, have the meanings given below. Other definitions can be found in the Manual on the GOS (WMO-No. 544), Manual on Codes (WMO-No. 306), Manual on the Global Data-processing and Forecasting System (WMO No. 485), Manual on the Global Telecommunication System (WMO-No. 386), Manual on the WMO Information System (WIS) (WMO-No. 1060) and other WMO and Partner’s publications.

A comprehensive list of terms and definitions should be compiled accordingly

_____________

| World Meteorological Organization |  | ICG-WIGOS-1/Rep.3.2.7 |
| --- | --- | --- |
| INTER-COMMISSION COORDINATION GROUP ON WIGOS (ICG-WIGOS-1) |  | Submitted by: | The WMO Secretariat |
|  |  | Date: | 15.IX.2011 |
| FIRST SESSION GENEVA, SWITZERLAND 26 – 30 SEPTEMBER 2011 |  | Original Language: | English |
|  |  | Agenda Item: | 3.2.7 |

wmo technical regulations and manual on wigos

## SUMMARY

REFERENCE: ICG-WIGOS-1/Doc.3.2.7 CONTENT OF DOCUMENT: Appendix: Background Information

BACKGROUND INFORMATION

WMO Technical Regulations

1.	WMO Technical Regulations are determined by Congress and designed, inter-alia, to meet, in the most effective manner, specific needs in the various fields of application of meteorology and operational hydrology in the international sphere and to ensure adequate uniformity and standardization in the practices and procedures employed to facilitate co-operation in meteorology and hydrology between Members. The Technical Regulations comprise standard practices and procedures and recommended practices and procedures.

2.	According to Technical Regulations, the standard practices and procedures shall be the practices and procedures which it is necessary that Members follow or implement.  The recommended practices and procedures shall be the practices and procedures which it is desirable that Members follow or implement and, therefore, shall have the status of recommendations to Members.

3.	Current Technical Regulations published as WMO-No. 49 are presented in 3 volumes:

Volume I — General meteorological standards and recommended practices

Volume II — Meteorological service for international air navigation

Volume III — Hydrology.

The following Chapters of Technical Regulations directly refer to the WIGOS observing components:

Volume I, Chapter A.1.1 — Meteorological observing networks, stations and observations

Volume I, Chapter B.1 — Climatology

Volume I, Chapter B.2 — Global Atmosphere Watch (GAW)

Volume I, Chapter C.1 — Meteorological services for marine activities

Volume I, Chapter C.2 — Meteorological services for agriculture

Volume III, Chapter D.1.1 — Hydrological observing networks and stations

4.	 WMO publications (other than the Technical Regulations (Volumes I to III above)) which contain regulatory material having the status of the Technical Regulations are annexes to the Technical Regulations. These annexes, normally also called manuals, are established by decision of Congress and are intended to facilitate the application of Technical Regulations to specific fields. In principle, annexes may contain both standard and recommended practices and procedures.

5.	Currently, Technical Regulations include the following 7 Annexes:

- International Cloud Atlas (WMO-No. 407)

- Manual on Codes (WMO-No. 306)

- Manual on the Global Telecommunication System (WMO-No. 386)

- Manual on the Global Data-processing System (WMO-No.485)

- Manual on the Global Observing System (WMO-No. 544)

- Manual on Marine Meteorological Services (WMO-No. 558)

- Manual on WMO Information System (WMO-No. 1060)

6.	The WMO guides describe practices, procedures and specifications which Members are invited to follow or implement in establishing and conducting their arrangements in compliance with the Technical Regulations and in developing meteorological and hydrological services in their respective countries.

7.	In addition to Technical Regulations laid down in WMO-No. 49, the operation and maintenance of WIGOS observing components are governed by the following regulatory material:

Surface- and Space-based components of the GOS, including AMDAR

- Guide to the Global Observing System (WMO-No. 488)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

- Guide on Meteorological Observing and Information Distribution Systems for Aviation Weather Services (WMO-No. 731)

Marine meteorological and relevant oceanographic observing networks of the GOOS

- Guide to Marine Meteorological Services (WMO-No. 471)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

- Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update) (GCOS-138, WMO/TD-No. 1523)

Global Atmosphere Watch (GAW) networks

- Global Atmosphere Watch Measurements Guide (WMO-No. 143)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

Relevant components of atmospheric, oceanographic and terrestrial observing systems contributing to the GCOS

- Guide to Climatological Practices (WMO-No. 100)

- Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update) (GCOS-138, WMO/TD-No. 1523)

- Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8)

Relevant terrestrial networks of the GTOS

- Guide to Agricultural Meteorological Practices (WMO-No. 134)

- Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update) (GCOS-138, WMO/TD-No. 1523)

WHYCOS networks

- Guidelines on the Role, Operation and Management of National Hydrological Services (WMO-No. 1003)

- WHYCOS Guidelines (WMO/TD-No. 1282)

8.	EC-WG/WIGOS-WIS-4 (Geneva, February 2011) agreed that in terms of practical guidance, an early development of the Manual on WIGOS will be critical, especially for NMHSs of LDCs, LLDCs and SIDS; it will enable them to estimate resources (capacity-building activities and funds) needed for the WIGOS implementation at national level.  It was recommended that Manual on WIGOS should be an overarching document that will define WIGOS basic principles, requirements and functional architecture with references to other relevant WMO technical documents, where appropriate (see paragraphs 3, 5 and 7 above).

9.	Cg-XVI agreed that the implementation of WIGOS must be reflected in the revised WMO Technical Regulations, documenting the WIGOS concept of operations and contributions of all observing components. In this regard, the Congress endorsed the inclusion of the Manual on WIGOS in the list of mandatory publications.

10.	Based on the guidance given by Cg-XVI, an initial draft of WIGOS Manual has been elaborated by the Secretariat.  The existing regulatory material on the GOS, as the major operational observing component of WIGOS, served as a foundation in the development of the draft.

11.	The session is invited to consider an initial draft of WIGOS Manual attached to this document as Appendix B and formulate recommendations on its finalization.

12.	An ICG-WIGOS Task Team, which should include representatives of partner organizations, established for this purpose, will need to address these issues.

__________

Annex

WMO Technical Regulations

1. The WMO Technical Regulations (WMO Publication No. 49) are presented in three volumes:

Volume I — General meteorological standards and recommended practices

Volume II — Meteorological service for international air navigation

Volume III — Hydrology.

Purpose of the Technical Regulations

2. The Technical Regulations of the World Meteorological Organization are determined by Congress in accordance with Article 8(d) of the Convention.

3. These Regulations are designed:

(a) To facilitate co-operation in meteorology and hydrology between Members;

(b) To meet, in the most effective manner, specific needs in the various fields of application of meteorology and operational hydrology in the international sphere; and

(c) To ensure adequate uniformity and standardization in the practices and procedures employed in achieving (a) and (b) above.

Types of Regulations and notes

4. The Technical Regulations comprise standard practices and procedures and recommended practices and procedures.

5. The definitions of these two types of Regulations are as follows:

The standard practices and procedures:

(a) Shall be the practices and procedures which it is necessary that Members follow or implement; and therefore

(b) Shall have the status of requirements in a technical resolution in respect of which Article 9(b) of the Convention is applicable; and

(c) Shall invariably be distinguished by the use of the term shall in the English text, and by suitable equivalent terms in the French, Spanish and Russian texts.

The recommended practices and procedures:

(a) Shall be the practices and procedures which it is desirable that Members follow or implement; and therefore

(b) Shall have the status of recommendations to Members, to which Article 9(b) of the Convention shall not be applied;

(c) Shall be distinguished by the use of the term should in the English text (except where otherwise provided by decision of Congress) and by suitable equivalent terms in the French, Russian and Spanish texts.

6. In accordance with the above definitions, Members shall do their utmost to implement the standard practices and procedures. In accordance with Article 9(b) of the Convention and in conformity with the provisions of Regulation 125 of the General Regulations, Members shall formally notify the Secretary-General, in writing, of their intention to apply the standard practices and procedures of the Technical Regulations, except those for which they have lodged a specific deviation.  Members shall also inform the Secretary-General, at least three months in advance, of any change in the degree of their implementation of a standard practice or procedure as previously notified and the effective date of the change.

7. Members are urged to comply with recommended practices and procedures, but it is not necessary to notify the Secretary-General of non-observance except with regard to those contained in sub-section C.3.1.  In order to clarify the status of the various Regulations, the standard practices and procedures are distinguished from the recommended practices and procedures by a difference in typographical practice, as indicated in the editorial note.

9. Certain notes (preceded by the indication NOTE) are included in the Technical Regulations for explanatory purposes; they may, for instance, refer to relevant WMO guides and WMO publications of factual information. These notes do not have the status of Technical Regulations. (The WMO guides describe practices, procedures and specifications which Members are invited to follow or implement in establishing and conducting their arrangements in compliance with the Technical Regulations and in developing meteorological and hydrological services in their respective countries).

Status of annexes and appendices

10. WMO publications (other than the Technical Regulations (Volumes I to III)) which contain regulatory material having the status of the Technical Regulations are annexes to the Technical Regulations. These annexes, normally also called manuals, are established by decision of Congress and are intended to facilitate the application of Technical Regulations to specific fields. In principle, annexes may contain both standard and recommended practices and procedures.

11. Texts called appendices appearing in the Technical Regulations or in an annex to the Technical Regulations have the same status as the Regulations to which they refer.

Updating of the Technical Regulations and their annexes

12. The Technical Regulations are updated, as necessary, in the light of developments in meteorology and hydrology and meteorological and hydrological techniques and in the applications of meteorology. Certain principles previously agreed upon by Congress and applied in the selection of material for inclusion in the Technical Regulations are reproduced below. These principles provide guidance for constituent bodies, in particular technical commissions, when dealing with matters pertaining to the Technical Regulations:

(a) Technical commissions should not recommend that a Regulation be a standard practice unless it is supported by a strong majority;

(b) Technical Regulations should contain appropriate instructions to Members regarding implementation of the provision in question;

(c) No major changes should be made in the Technical Regulations without consulting the appropriate technical commissions;

(d) Any amendments proposed to these Technical Regulations submitted by Members or by constituent bodies should be communicated to all Members at least three months before they are submitted to Congress.

13. Amendments to the Technical Regulations - as a rule - are approved by Congress.

14. If a recommendation for an amendment is made by a session of the appropriate technical commission and if the new regulation needs to be implemented before the time of next Congress, the Executive Council may, on behalf of the Organization, approve the amendment in accordance with Article 14(c) of the Convention.   Amendments to annexes to the Technical Regulations proposed by the appropriate technical commissions are normally approved by the Executive Council.

15. If a recommendation for an amendment is made by the appropriate technical commission and the implementation of the new regulation is urgent, the President of the Organization may, on behalf of the Executive Council, take action as provided by Regulation 9(5) of the General Regulations.

16. As far as the publication of updated material in WMO-No. 49 is concerned, new editions of Volumes I and III are normally issued after each session of Congress (i.e. four-yearly). The material in Volume II is prepared by the World Meteorological Organization and the International Civil Aviation Organization working in close co-operation, in accordance with the Working Arrangements agreed by these Organizations; this also applies to the issuing of new editions of Volume II. In the period between the publications of two subsequent editions, the Technical Regulations are kept up to date by means of supplements, as necessary.

_____________

# Footnotes

Text highlighted yellow means that appropriate information might be inserted, if required

The term “partner organizations” means: Intergovernmental, non-governmental and international organizations and groupings that operate, or co-sponsor, with WMO, observing systems that contribute to WIGOS. The main partner organizations are UNESCO and its IOC, UNEP, FAO and ICSU and the main co-sponsored observing systems are GCOS, GOOS and GTOS; partner organizations also include GEO.

A detailed information on types of regulations and the standing updating procedure is presented in the Annex to this report

The following text presents excerpts from the standing Technical Regulations (WMO-No. 49); Volume IV – Quality Management is in the final draft status;

In this Annex, the text which requires a particular attention is in red.

# Text boxes

Other inputs

Plan and implement systems

Description of present/planned systems

2

Summary of present/planned/proposed system capabilities

Space and in-situ observing system operators

New initiatives

2

Review

and

update

3

Critical Review

3

Statement of conformance of present/planned/proposed system capabilities to maximum/minimum requirements

4

Review

and update Guidance on feasibility

4

Statement of Guidance on feasibility of meeting requirements

1

User requirements (technology free) for each application:

Statement of maximum and minimum requirements

Users

1

Review

and

update

Expertise on each application

Feedback to users and technical commissions

Description of proposed systems « System specifications »