| World Meteorological Organization |  | ICG-WIGOS/TT-WRM-3/Doc.3.6 |
| --- | --- | --- |
| INTER-COMMISSION COORDINATION GROUP ON WIGOS (ICG-WIGOS) TASK TEAM ON WIGOS REGULATORY MATERIAL (TT-WRM) THIRD SESSION |  | Submitted by: | Brian Howe |
|  |  | Date: | 24.XI.2013 |
| GENEVA, SWITZERLAND 25 – 29 NOVEMBER 2013 |  | Original Language: | English |
|  |  | Agenda Item: | 3.6 |

# WIGOS METADATA:
REPORT OF THE CHAIR OF TT-WMD

SUMMARY AND PURPOSE OF DOCUMENT The document provides a brief summary by the Chair of the ICG-WIGOS Task Team on the importance of WIGOS Metadata and on the development of a Core WIGOS Metadata Standard. The information provided is important for coordination and cross-referencing of WIGOS Task Team activities.

ACTION PROPOSED

The Meeting is invited to note the information contained in this document.

____________

Annex 1: 	WIGOS Core Metadata Specification

WIGOS METADATA: REPORT OF THE CHAIR OF TT-WMD

Development of the WIGOS Core Metadata Specification

An important aspect of WIGOS (WMO Integrated Global Observing System) implementation is ensuring maximum usefulness of WIGOS observations and measurement data. Data on its own is of very limited use: it is only when accompanied by adequate metadata (data describing the data) that the full potential of the data can be utilized. Metadata of two complementary types are required. The first of these is discovery metadata – information that facilitates data discovery, access and retrieval. These metadata are WIS (WMO Information System) metadata and are specified and handled as part of WIS. The second type is interpretation metadata – information that enables data values to be interpreted in context. These latter metadata are WIGOS metadata and are the focus of the ICG WIGOS Task Team on WIGOS Metadata (TT-WMD), which is developing a WIGOS-wide standard for the minimum interpretation metadata set (the ‘core’ metadata set) required for the effective interpretation of data from all WIGOS observing sub-systems by all data users.

The Standard (at Annex 1) defines categories / classes of metadata elements. They define the ‘core’ of the WIGOS metadata standard. All of the elements listed are considered to be important for the documentation and interpretation of observations made. These  categories reflect the need to specify the observed quantity; to answer why, where, and how an observation was made; how the raw data were processed; and what the quality of the data is.

This document is a semantic standard, not an implementation guideline. It does not specify how the information shall be encoded and exchanged.  A semantic standard specifies the elements that exist and that can be reported. In keeping with ISO, the elements are classified as either mandatory (M), conditional (C), or optional (O).

Most of the elements in this standard are considered mandatory and presumed to be of importance for all WMO Technical Commissions, verification by each Commission will be requested to verify. Metadata providers are requested to report mandatory metadata elements, and a formal validation of a metadata record will fail if mandatory elements are not reported. The TT-WMD recognizes however that not all Members may be in a position to provide all these elements at present, and that a small fraction of these mandatory elements may not even be applicable for a specific type of observation. Under such circumstances, the reason for not providing information on mandatory elements shall be reported as “not applicable” or “unknown”. The motivation for this is that knowledge of the reason why a mandatory metadata element is not filled in provides more information than not specifying a mandatory element at all.

Recommended WIGOS Metadata Principles

•        Every piece of metadata shall have date/time information associated with it (incl. date/time specification)

•        All metadata associated with internationally exchanged data should be made available

•        Metadata should be updated in time to ensure adequate use of data

•        Standard should be applicable to all disciplines

•        Standard should be forward-looking but also respect legacy (e.g., Vol. A)

•        Standard should be acceptable to all Members

•        Standard should be applicable for all Members

___________________________________________________________

# ANNEX 1

# WIGOS Core Metadata – Semantic Standard

ICG-WIGOS TT-WMD

CIMO: Brian Howe, Environment Canada, Canada (Chair)

CBS: Karl Monnik, Bureau of Meteorology, Australia

JCOMM:  Joe Swaykos, NOAA National Data Buoy Center, United States

CCl: Manuel Bañón Garcia, State Meteorological Agency (AEMET), Spain

CAeM: Stewart Taylor, Met Office, United Kingdom

Member: ZHAO Licheng, China Meteorological Administration, China

CHy: Tony Boston, Bureau of Meteorology, Australia

CAS: Jörg Klausen, Federal Office of Meteorology and Climatology MeteoSwiss, Switzerland

Associate Member: Tim Oakley (GCOS)

WMO

Roger Atkinson, Steve Foreman

Version Control

| Version | Date | Who | What |
| --- | --- | --- | --- |
| 0.0.0 | 2013-06-06 | J. Klausen | Consolidate input received from Brian Howe after TT-WMD telecom-2 |
| 0.0 | 2013-06-06 | J. Klausen | Same as v0.0.0 w/o track changes; new definition of 1-04, code list 1-05 |
| 0.0.1 | 2013-06-10 | J. Klausen | Included content for category 4 (environment) |
| 0.0.2 | 2013-06-30 | S Taylor | Included content for category 10 (contact) |
| 0.0.3 | 2013-07-01 | T Boston | Edits to category 7 (station/platform) |
| 0.0.4 | 2013-07-02 | K Monnik |  |
| 0.0.5 | 2013-07-16 | J. Klausen, B. Howe | Version after Telecon-3 |
| 0.0.6 | 2013-07-18 | T. Boston | Edits to category 4 (environment), category 7 (station/platform); code tables 4-02; 7-03 |
| 0.0.7 | 2013-08-06 | J. Klausen | After Telecon-4 |
| 0.0.8 | 2013-09-0208-29 | T. BostonB. Howe | Edits to topographycategory 5 and platform/station modelcorresponding code table. |
| 0.0.9 | 2013-09-03 | J. Klausen | After Telecon-5 |
| 0.0.10 | ?? | ?? | Intermediate version of uncertain origin |
| 0.0.11 | 2013-10-3 | J,.Klausen | After Telecon-6, with expansions not discussed during telecom |
| 0.0.12 | 2013-10-03 | B. Howe | After Telecon-6 with changes accepted. |
| 0.0.13 | 2013-10-24 | B. Howe | After Telecon-7 |
| 0.0.13.ra | 2013-10-31 | R. Atkinson | Responses to a number of comments in 0.0.13 |
| 0.0.13.ra+km | 2013-11-04 | K. Monnik | General edits, additions to Cat 8, added examples to Cat 1, 5, 7. |
| 0.0.14 | 2013-11-04 | J. Klausen | After Telecon-8 |

# Introduction

An important aspect of WIGOS (WMO Integrated Global Observing System) implementation is ensuring maximum usefulness of WIGOS observations and measurement data. Data on its own is of very limited use: it is only when accompanied by adequate metadata (data describing the data) that the full potential of the data can be utilized. Metadata of two complementary types are required. The first of these is discovery metadata – information that facilitates data discovery, access and retrieval. These metadata are WIS (WMO Information System) metadata and are specified and handled as part of WIS. The second type is interpretation metadata – information that enables data values to be interpreted in context. These latter metadata are WIGOS metadata and are the subject of this specification, which provides a WIGOS-wide standard for the minimum interpretation metadata set (the ‘core’ metadata set) required for the effective interpretation of data from all WIGOS observing sub-systems by all data users.

The tables below define categories / classes of metadata elements. They define the ‘core’ of the WIGOS metadata standard. All of the elements listed are considered to be important for the documentation and interpretation of observations made. The categories are in no particular order but reflect the need to specify the observed quantity; to answer why, where, and how an observation was made; how the raw data were processed; and what the quality of the data is.

This document is a semantic standard, not an implementation guideline. It does not specify how the information shall be encoded and exchanged. The most likely implementation will be in XML, in line with the specifications for WIS metadata. An agreement on the encoding standard is however not needed at this point. Rather, a semantic standard specifies the elements that exist and that can be reported. In keeping with ISO, the elements are classified as either mandatory (M), conditional (C), or optional (O).

Most of the elements in this standard are considered mandatory and presumed to be of importance for all WMO Technical Commissions. Metadata providers are expected to report mandatory metadata elements, and a formal validation of a metadata record will fail if mandatory elements are not reported. The TT-WMD recognizes however that not all Members may be in a position to provide all these elements at present, and that a small fraction of these mandatory elements may not even be applicable for a specific type of observation. Under such circumstances, the reason for not providing information on mandatory elements shall be reported as “not applicable” or “unknown”. The motivation for this is that knowledge of the reason why a mandatory metadata element is not filled in provides more information than not specifying a mandatory element at all.

Optional elements provide useful information that can help to better understand an observation. As is to be expected for a ‘core’ metadata standard, very few elements are considered optional. Optional elements are likely to be important for a particular community, but less so for others.

Conditional elements must be reported under certain conditions. For example, the group <environment> is classified as conditional, because for the most part, it really only applies to land stations/platforms (a land cover type ‘water’ is allowed, though). Therefore, this group of elements should be considered mandatory for land stations/platforms, but not so for e.g., satellites, aircraft. Within this group, there are mandatory elements and one optional element.

# WIGOS ’Core’ Metadata Categories

| # | Group | Description | Condition/ Obligation |
| --- | --- | --- | --- |
| 1 | observed quantity | The specification of a measurand requires knowledge of the kind of quantity, description of the state of the phenomenon, body, or substance carrying the quantity, including any relevant component, and the chemical entities involved. [VIM3, 2.3]. | M |
| 2 | purpose of observation | Specifies the main application area of an observation and the observation program an observation is affiliated to. | M |
| 3 | data quality | Specifies the data quality and traceability of an observation or dataset | M |
| 4 | environment | Specifies the geographical setting within which an observation was made | M |
| 5 | data processing | Specifies how raw data are transferred into the reported physical quantities | M |
| 6 | sampling and analysis | Specifies how the observation was made or a specimen collected | M |
| 7 | station/platform | Environmental monitoring facilities, including fixed stations, moving equipment or remote sensing platforms, at which an observed quantity is measured using an instrument. | M |
| 8 | instrument | Specifies characteristics of the instrument used to make the observation | M |
| 9 | ownership and data policy | Specifies who is responsible for the observation and owns it | M |
| 10 | contact | Specifies where information about an observation or dataset can be obtained | M |

# Definitions of elements

Category: 1( completed

Category Name: observed quantity(lead: J. Klausen)

| Id | Name | Definition | Example | Code Table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 1-01 | measurement unit unit of measurement unit | real scalar quantity, defined and adopted by convention, with which any other quantity of the same kind can be compared to express the ratio of the two quantities as a number [VIM3, 1.9] | [VIM3, 1.9]NOTE 1. Measurement units are designated byconventionally assigned names and symbols. [VIM3, 1.9]NOTE 2 Measurement units of quantities of the same quantity dimension may be designated by the same name and symbol even when the quantities are not of the same kind. For example, joule per kelvin and J/K are respectively the name and symbol of both a measurement unit of heat capacity and a measurement unit of entropy, which are generally not considered to be quantities of the same kind. However, in some cases special measurement unit names are restricted to be used with quantities of a specific kind only. For example, the measurement unit ‘second to the power minus one’ (1/s) is called hertz (Hz) when used for frequencies and becquerel (Bq) when used for activities of radionuclides. [VIM3, 1.9]NOTE 3 Measurement units of quantities ofdimension one are numbers. In some cases these measurement units are given special names, e.g. radian, steradian, and decibel, or are expressed by quotients such as millimole per mole equal to 10-3 and microgramper kilogram equal to 10-9. NOTE 4 For a given quantity, the short term “unit” is often combined with the quantity name, such as “mass unit” or “unit of mass”. | 1-01 | M |
| 1-02 | Name of observed quantity measurand | quantity intended to be measured [VIM3, 2.3]or observed | [VIM3, 2.3]NOTE 1 The specification of a measurand requiresknowledge of the kind of quantity, description of thestate of the phenomenon, body, or substance carrying thequantity, including any relevant component, and thechemical entities involved. [VIM3, 2.3]NOTE 2 In the second edition of the VIM and inIEC 60050-300:2001, the measurand is defined as the“particular quantity subject to measurement”. [VIM3, 2.3]NOTE 3 The measurement, including the measuringsystem and the conditions under which the measurementis carried out, might change the phenomenon, body, orsubstance such that the quantity being measured maydiffer from the measurand as defined. In this case,adequate correction is necessary. [VIM3, 2.3]EXAMPLE 1 The potential difference between theterminals of a battery may decrease when using avoltmeter with a significant internal conductance toperform the measurement. The open-circuit potentialdifference can be calculated from the internalresistances of the battery and the voltmeter. [VIM3, 2.3]EXAMPLE 2 The length of a steel rod in equilibriumwith the ambient Celsius temperature of 23 °Cwill be different from the length at the specifiedtemperature of 20 °C, which is the measurand. In thiscase, a correction is necessary. [VIM3, 2.3]NOTE 4 In chemistry, “analyte”, or the name of asubstance or compound, are terms sometimes used for‘measurand’. This usage is erroneous because theseterms do not refer to quantities. [ISO19156] In conventional measurement theory the term “measurement” is used. However, a distinction between measurement and category-observation has been adopted in more recent work so the term “observation” is used for the general concept. “Measurement” may be reserved for cases where the result is a numeric quantity. | 1-02 | M |
| 1-03 | temporal extent of measurement history of observed quantity | period covered by an observation inclusive of the specified dateTime indications. | The Temporal Extent is specified as either or both of two dateTime indications, Begin and End. If the earliest temporal reference in the data is not known, omit the Begin date (but specify an End date). If the data are still being added to, omit the End date (but specify a Begin date).If there are gaps in the data collection (i.e. 1950-1955 then collection resumes 1960-present) then the first date recorded should be the earliest date and the last the most recent, ignoring the gap. The gap can however be mentioned in the notes field. [modified from: http://new.freshwaterlife.org/web/fwl/wiki/-/wiki/FreshwaterLife+Help/Dataset+Metadata+Field+Temporal+Extent] Examples: Surface temperature at the station Säntis has been observed since 1 September 1882. The CO2 record at Mauna Loa extends from 1958 to today. Continuous, 1-hourly aggregates are available from the World Data Centre for Greenhouse Gases for the period 1974-01-01 to 2011-12-31 | 1-03 | M |
| 1-04 | geospatial location observation location | Location information specifying the spatial extent of the feature of interest | The geospatial location can be a one-, two-, or three-dimensional feature. Applied to an observation, the geospatial location specifies the spatial extent of a measurand at the time of observation. A one-dimensional geospatial location of an observation implies either an in-situ (point) observation or, by convention, a column-averaged quantity above the specified geospatial location. Two-dimensional geospatial location of an observation implies an average of a quantity along a trajectory (e.g., a straight line from the ground up with a given zenith angle), or an area (e.g., a radar image, or a satellite pixel of a property near the surface). A three-dimensional geospatial location of an observation implies a volume-averaged quantity. Geographical coordinates can be specified in decimal degrees or in degrees, minutes and decimal seconds. Latitudes are specified with reference to the equator, with positive sign or the letter ‘N’ for latitudes north of the equator, and negative sign or the letter ‘S’ for latitudes south of the equator. Longitudes are specified with reference to the Greenwich meridian, with positive sign or the letter ‘E’ for longitudes east of Greenwich, and negative sign or the letter ‘W’ for meridians west of Greenwich. Elevation is a signed number specified in some distance measure (e.g., metres) relative to a reference elevation. For observations made from space, the geospatial location can be specified by referring to the elevation of the satellite and the projected position on the surface of the Earth. Examples i) Air temperature by surface observing site: Sydney Airport NSW -33.9465 N; 151.1731 E, Alt: 6.0 m asl. ii) Radar reflectivity and Doppler wind by weather watch radar, Warruwi NT -11.6485° N, 133.3800 E, Height 43.46 m asl. Max range 370 km; Doppler 150 km. iii) Infrared and visible imagery by meteorological satellite (sunsynchronous): VIRR (FY-3), Global coverage twice/day (IR) or once/day (VIS) iv) River flow by gauge: Warrego River at Cunnamulla Weir 28.1000 S, 145.6833 E, Height: 180 m. Warrego River Catchment 48,690 km². | 1-04 | M |
| 1-05 | Area/volume represented by observed value | spatial extent of the region around the observation for which an observed quantity value is representative | The representativeness of an observation is the degree to which it describes the value of the variable needed for a specific purpose. Therefore, it is not a fixed quality of any observation, but results from joint appraisal of instrumentation, measurement interval and exposure against the requirements of some particular application (CIMO Guide, 2008). Representativeness of an observed value describes the concept that the result of an observation made at a given geospatial location would be compatible with the result of other observations of the same quantity at other geospatial locations. In statistics, the term describes the notion that a sample of a population allows an adequate description of the whole population. Assessing representativeness can only be accomplished in the context of the question the data [or observations] are supposed to address. In the simplest terms, if the data [or observations] can answer the question, it is representative (Ramsey and Hewitt, 2005). The representativeness of an environmental observation depends on the spatio-temporal dynamics of the observed quantity (Henne et al., 2010). Representativeness of an observation can sometimes be specified quantitatively, in most cases qualitatively, based on experience or heuristic arguments. | 1-05 | M |
| 1-06 | observed medium | Specification of the environment or matrix of which the observation was made. | Examples: Relevant compartments include air, aerosol, water, ocean, soil, cloud water, aerosol particulate phase, troposphere, upper troposphere/lower stratosphere, etc. | 1-06 | M |

Code list definitions

Code table: 1-01

Note: Make reference to http://www.bipm.org/en/si/si_brochure/, mention units such as °C, mbar, hPa

Code table: 1-05

Code table title: Representativeness[CIMO Guide, 7th edition]

| # | Name | Definition |
| --- | --- | --- |
| 1-05-0 | Not applicable | None of the codes in the table are applicable in the context of this particular observation (nilReason) |
| 1-05-1 | microscale | An area or volume less than 100 m horizontal extent |
| 1-05-2 | toposcale, local scale | An area or volume of 100 m to 33 km horizontal extent |
| 1-05-3 | mesoscale | An area or volume of 33 km to 100 km horizontal extent |
| 1-05-4 | large scale | An area or volume100 km to 3000 km horizontal extent |
| 1-05-5 | planetary scale | An area or volume of more than 3000 km horizontal extent |

References:

Ramsey and Hewitt, 2005.Charles A. Ramsey and Alan D. Hewitt, A Methodology for Assessing Sample Representativeness, Environmental Forensics, 6:71–75, 2005, doi: 10.1080/15275920590913877

S. Henne, D. Brunner, D. Folini, S. Solberg, J. Klausen, and B. Buchmann, Assessment of parameters describing representativeness of air quality in-situ measurement sites, Atmos. Chem. Phys., 10, 3561–3581, 2010.

Category: 2( completed

Category Name: purpose of observation (lead: B. Howe)

| Id | Name | Definition | Example | Code Table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 2-01 | Application area(s) | Context within,or intended application for which the observation is primarily made or which has the most stringent requirements. | Note Many observations serve more than one purpose, meeting the requirements of various applications areas. In such cases, the application area for which the station was originally established should be listed. If there is no primary application area, the the application area with the most stringent requirements on the data should be listed. | 2-01 | M |
| 2-02 | Network affiliation | For a station, the affiliation enumerates the network(s) that the station is associated with. | GUAN, AMDAR, GAW, RBSN, etc. | 2-02 | M |

Code list definitions

Code table: 2-01

Code table title: Application Area

| # | Name | Definition |
| --- | --- | --- |
| 2-01-1 | Global numerical weather prediction (GNWP) | Source: http://www.wmo.int/pages/prog/www/wigos/wir/application-areas.html, and http://www.wmo.int/pages/prog/www/wigos/documents/WIGOS-RM/New-Dev/Section_2.1_Ver2_18-06-13.doc |
| 2-01-2 | High-resolution numerical weather prediction (HRNWP) | Ibid |
| 2-01-2 | Nowcasting and very short range forecasting (NVSRF) | Ibid |
| 2-01-3 | Seasonal and inter-annual forecasting (SIAF) | Ibid |
| 2-01-4 | Aeronautical meteorology | Ibid |
| 2-01-5 | Atmospheric chemistry | Ibid |
| 2-01-6 | Ocean applications | Ibid |
| 2-01-7 | Agricultural meteorology | Ibid |
| 2-01-8 | Hydrology | Ibid |
| 2-01-9 | Climate monitoring (as undertaken through the Global Climate Observing System, GCOS) | Ibid |
| 2-01-10 | Climate applications | Ibid |
| 2-01-11 | Space weather | Ibid |
| 2-01-12 | Cryosphere applications | Source: EGOS-IP |
| 2-01-13 | Energy sector |  |
| 2-01-14 | Transportation sector |  |
| 2-01-15 | Health sector |  |
| 2-01-16 | Terrestrial ecology |  |

Category: 3( completed

Category Name: data quality (lead: J. Swaykos)

| Id | Name | Definition | Example | Code Table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 3-01 | uncertainty of measurement | parameter, associated with the result of a measurement, that characterizes the dispersion of the values that could reasonably be attributed to the measurand [GUM 2.2.3] | NOTE 1 The parameter may be, for example, a standard deviation (or a given multiple of it), or the half‑width of an interval having a stated level of confidence. NOTE 2 Uncertainty of measurement comprises, in general, many components. Some of these components may be evaluated from the statistical distribution of the results of series of measurements and can be characterized by experimental standard deviations. The other components, which also can be characterized by standard deviations, are evaluated from assumed probability distributions based on experience or other information. NOTE 3 It is understood that the result of the measurement is the best estimate of the value of the measurand, and that all components of uncertainty, including those arising from systematic effects, such as components associated with corrections and reference standards, contribute to the dispersion. Example Thermometer is calibrated to measure to within +/- 0.1 deg C (k=2) |  | C |
| 3-02 | Reference to procedures used | A reference or link pointing to a document describing the procedures / algorithms used to derive the uncertainty statement |  |  | C |
| 3-03 | quality flags | An ordered list of qualifiers indicating the quality of an observation according to a predefined set of criteria | “L Flag” Failed range of limits test (measurement is less than lower limit or higher than upper limit). |  | C |
| 3-04 | quality flagging system | System used to flag data quality |  |  | C |
| 3-05 | traceability chain | sequence of measurement standards and calibrations that is used to relate a measurement result to a reference [VIM v3] | Notes A metrological traceability chain is defined through a calibration hierarchy. A metrological traceability chain is used to establish metrological traceability of a measurement result. A comparison between two measurement standards may be viewed as a calibration if the comparison is used to check and, if necessary, correct the quantity value and measurement uncertainty attributed to one of the measurement standards. |  | M |

Condition

One of {3-01 and 3-02} or {3-03 and 3-04} must be reported. If neither is known, a nilReason=”unknown” must be reported.

Code list definitions

-- none --

Category: 4( completed

Category Name: environment (lead: J. Klausen)

| Id | Name | Definition | Example | Code table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 4-01 | land cover | the observed (bio)physical cover on the earth’s surface (FAO, 2005) in the vicinity of the measurand | Note 1 Land cover is distinct from land use despite the two terms often being used interchangeably. Land use is a description of how people utilize the land and socio-economic activity - urban and agricultural land uses are two of the most commonly known land use classes. At any one point or place, there may be multiple and alternate land uses, the specification of which may have a political dimension (Wikipedia, 2013). Note 2 There are various classification methods for ‘land cover’. The MODIS product MCD12Q1 provides 5 different classifications on 500 m resolution grid (https://lpdaac.usgs.gov/products/modis_products_table/mcd12q1). These include the IGBP, UMD, LAI/fPAR, NPP and PFT classifications. Note 3 An alternative approach is the ‘Land Cover Classification System’ (LCCS) adopted by the Food and Agriculture Organization of the United Nations. Translation of other systems to LCCS has been explored by Herold et al. (2009). Eight major land cover types are identified during the first, dichotomous classification phase. These are refined in a subsequent so-called Modular-Hierarchical Phase, in which land cover classes are created by the combination of sets of pre-defined classifiers. These classifiers are tailored to each of the eight major land cover types. This process can be supported by software (http://www.glcn.org/sof_7_en.jsp) or manually using a field log sheet (http://commons.wikimedia.org/wiki/File:LCCS_field_protokoll.png) | 4-01 | M |
| 4-02 | land cover classification scheme | Name and reference or link to document describing the classification scheme | IGBP, UMD, LAI/fPAR, NPP and PFT, LCCS |  | M |
| 4-03 | topography | the shape or configuration of a geographical feature, represented on a map by contour lines, hypsometric tints, and relief shading, | Topography shall be formally expressed with the four elements‘local topography’, ‘relative elevation’, ‘topographic context’, and ‘altitude’ Examples “a hilltop at low relative elevation within valleys of middle altitude” "a depression within plains of very low altitude” | 4-03 | M |
| 4-04 | Site information | Non-formalized information about the location at which an observed quantity is measured. | e.gMaps, plans, photographs, descriptions and other unique site information that is difficult to express in words or that cannot easily be quantified. |  | O |

Code list definitions

Code table: 4-01-01

Code table title: Land cover types (IGBP)

| # | Name | Definition |
| --- | --- | --- |
| 4-01-01-0 | Not applicable | None of the codes in the table are applicable in the context of this particular observation (nilReason) |
| 4-01-01-1 | Water | Cf. https://lpdaac.usgs.gov/products/modis_products_table/mcd12q1 |
| 4-01-01-2 | Evergreen Needleleaf forest |  |
| 4-01-01-3 | Evergreen Broadleaf forest |  |
| 4-01-01-4 | Deciduous Needleleaf forest |  |
| 4-01-01-5 | Deciduous Broadleaf forest |  |
| 4-01-01-6 | Mixed forest |  |
| 4-01-01-7 | Closed shrublands |  |
| 4-01-01-8 | Open shrublands |  |
| 4-01-01-9 | Woody savannas |  |
| 4-01-01-10 | Savannas |  |
| 4-01-01-11 | Grasslands |  |
| 4-01-01-12 | Permanent wetlands |  |
| 4-01-01-13 | Croplands |  |
| 4-01-01-14 | Urban and built-up |  |
| 4-01-01-15 | Cropland/Natural vegetation mosaic |  |
| 4-01-01-16 | Snow and ice |  |
| 4-01-01-17 | Barren or sparsely vegetated |  |
| 4-01-01-99 | Unclassified |  |

Code table: 4-01-02

Code table title: Land cover types (LCCS)

| # | Name | Definition |
| --- | --- | --- |
| 4-01-02-1 | Not applicable | None of the codes in the table are applicable in the context of this particular observation (nilReason) |
| 4-01-02-1 | Cultivated and Managed Terrestrial Areas | cf. Antonio Di Gregorio (2005) |
| 4-01-02-2 | Natural and Semi-Natural Terrestrial Vegetation |  |
| 4-01-02-3 | Cultivated Aquatic or Regularly Flooded Areas |  |
| 4-01-02-4 | Natural and Semi-Natural Aquatic or Regularly Flooded Vegetation |  |
| 4-01-02-5 | Artificial Surfaces and Associated Areas |  |
| 4-01-02-6 | Bare Areas |  |
| 4-01-02-7 | Artificial Waterbodies, Snow and Ice |  |
| 4-01-02-8 | Natural Waterbodies, Snow and Ice |  |
| 4-01-02-99 | Unclassified |  |

Code table: 4-03-01

Code table title: Local topography (based on Speight 2009)

| # | Name | Definition |
| --- | --- | --- |
| 4-03-01-0 | Not applicable | None of the codes in the table are applicable in the context of this particular observation (nilReason) |
| 4-03-01-1 | Hilltop | Higher than all or nearly all of the surrounding land.Use for mountaintops. |
| 4-03-01-2 | Ridge | Higher than all or nearly all of the surrounding land, but elongated and extending beyond a 50 m radius. |
| 4-03-01-3 | Slope | Neither crest nor depression or valley bottom, and with a slope more than 3%. |
| 4-03-01-4 | Flat | Slope less than 3% and not a hilltop, ridge, valley bottom or depression. Use for plains. |
| 4-03-01-5 | Valley bottom | Lower than nearly all of surrounding land, but water can flow out. |
| 4-03-01-6 | Depression | Lower than surrounding land, with no surface outlet for water. |

Code table: 4-03-02

Code table title: Relative elevation

| # | Name | Definition |
| --- | --- | --- |
| 4-03-02-0 | Not applicable | None of the codes in the table are applicable in the context of this particular observation (nilReason) |
| 4-03-02-1 | Lowest | In the bottom 5% of the elevation range |
| 4-03-02-2 | Low | Between 5% and 25% of the elevation range |
| 4-03-02-3 | Middle | Between 25% and 75% of the elevation range |
| 4-03-02-4 | High | Between 75% and 95% of the elevation range |
| 4-03-02-5 | Highest | In the highest 5% of the elevation range |

Code table: 4-03-03

Code table title: Topographic context (based on Hammond 1954)

| # | Name | Definition |
| --- | --- | --- |
| 4-03-03-0 | Not applicable | None of the codes in the table are applicable in the context of this particular observation (nilReason) |
| 4-03-03-1 | Plains | Very low relief |
| 4-03-03-2 | Hollows | Low relief, tending to convergent form |
| 4-03-03-3 | Rises | Low relief, tending to divergent form |
| 4-03-03-4 | Valleys | Medium relief, tending to convergent form |
| 4-03-03-5 | Hills | Medium relief, tending to divergent form |
| 4-03-03-6 | Mountains | High relief |

Code table: 4-03-04

Code table title: Altitude

| # | Name | Definition |
| --- | --- | --- |
| 4-03-04-0 | Not applicable | None of the codes in the table are applicable in the context of this particular observation (nilReason) |
| 4-03-04-1 | Very low | Below 100 m |
| 4-03-04-2 | Low | Between 100 and 300 m |
| 4-03-04-3 | Middle | Between 300 and 1000 m |
| 4-03-04-4 | High | Between 1000 and 3000 m |
| 4-03-04-5 | Very high | Above 3000 m |

References

James R. Anderson et al. (1976), A land use and land cover classification system for use with remote sensor data, Geological Survey Professional Paper 964, 27pp, http://books.google.de/books?id=dE-ToP4UpSIC

FRA (2000), Forest cover mapping& monitoring withNOAA-AVHRR& other coarse spatialresolution sensors, Forest Resources Assessment Programme Working Paper 29, ,http://www.fao.org/forestry/4031-0b6287f13b0c2adb3352c5ded18e491fd.pdf

Antonio Di Gregorio (2005), Land Cover Classification System. Classification concepts and user manual. Software version 2, Food and Agricultural Organization of the United Nations, ISBN 92-5-105327-8, 212pp, http://www.glcn.org/downs/pub/docs/manuals/lccs/LCCS2-manual_en.pdf

M. Herold, R. Hubald, and G. Di Gregorio (2009), Translating and evaluating land cover legends using the UN Land Cover Classification system (LCCS), GOFC-GOLD Report Nr. 43, Jena, Germany, http://nofc.cfs.nrcan.gc.ca/gofc-gold/Report%20Series/GOLD_43.pdf

MODIS: https://lpdaac.usgs.gov/products/modis_products_table/mcd12q1

Speight, J.G. (2009) Landform, in Australian Soil and Land Survey Field Handbook (3rdedn), National Committee on Soil and Terrain, CSIRO Publishing, Melbourne.http://www.publish.csiro.au/nid/22/pid/5230.htm.http://books.google.com.au/books?id=zywc39z4LgAC

Hammond, E.H. (1954) Small-scale continental landform maps.Annals of the Associationof American Geographers, 44(1):33-42. DOI:10.1080/00045605409352120

Category: 5

Category Name: data processing (lead: B. Howe)

| Id | Name | Definition | Example | Code table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 5-01 | data processing methods and algorithms | A description of the processing applied tothe observed quantity and list of algorithms utilized to derive the resultant value. |  |  | C |
| 5-02 | Processing/analysis centre (eg chemical analysis, transform to physical variables) | location/center at which the observed quantity is transformed from input to end result. | chemical analysis, AMDAR processing centre |  | C |
| 5-03 | Reporting rate (time/space) | Frequency at which the observed quantity are reported (this may not be applicable for event based observations) | Hourly, daily, monthly, seasonal, event-based. | 5-03 | M |
| 5-04 | software/processor and version | Name and version of the software or processor utilized to derive the element value. | Avionics version, retrievalalgorithm version. |  | C |
| 5-05 | level of data | Level of data processing | Pre or Post processing. |  | C/O |
| 5-06 | data format | Description of the format in which the observed quantity is being provided. | ASCII, BUFR, NASA AMES, HDF, XML, FM 42-XI EXT AMDAR Aircraft report, TDCF FM 94-XIV BUFR |  | M |
| 5-07 | version of data format | Version of the data format in which the observed quantity is being provided. | E.g. FM 12–XIV SYNOP FM 94 Version 20.0.0 Radar : ODIM_H5 |  | M |
| 5-08 | Definition of time stamp | The time period reflected by the time stamp. | Beginning, middle, end of period. | 5-08 | M |
| 5-09 | Aggregation interval | Time period over which statistical data is collected | 5 minute mean, daily maximum, seasonal, event based |  | M |

Code list definitions

Code table: 5-03

Code table title: Reporting Rate

| # | Name | Definition |
| --- | --- | --- |
| 5-03-01 | Seconds | One observation per second period |
| 5-03-02 | Minutes | One observation per 1-minute period |
| 5-03-03 | Hourly | One observed value per 60 minute period |
| 5-03-03 | Daily | One observed value per 24hour period |
| 5-03-04 | Annually | One observation per year |
| 5-03-05 | Monthly | One observed value per month |
| 5-03-06 | Seasonal | An observed value per season i.e. Spring, Summer, Fall, Winter |
| 5-03-07 | Event Based | An observed value representative of a specific requirement. |

Code table: 5-08

Code table title: Definition of time stamp

| # | Name | Definition |
| --- | --- | --- |
| 5-08-1 | Beginning | Time stamps indicate the beginning of a period covering the range up to but excluding the following time stamp |
| 5-08-2 | End | Time stamps indicate the end of a period covering the range up to but excluding the preceding time stamp |
| 5-08-3 | Middle | Time stamps indicate the middle of a period beginning at the middle of the range described by this and the preceding time stamp and ending right before the middle of the range described by this and the following time stamp. |

Category: 6( completed

Category Name: sampling and analysis (lead: Joe Swaykos)

| Id | Name | Definition | Example | CodeTable | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 6-01 | Sampling procedures | Procedures involved in obtaining a sample | Temperature measurements are made using a XYZ thermometer and reported results are a average of 10 measurements made in a given hour. Aerosols may be sampled with an inlet with size-cutoff at 2.5 µm and be deposited on a teflon filter. |  | C |
| 6-02 | Sample treatment | Chemical or physical treatment of sample prior to analysis | Homogenization, milling, mixing, drying, sieving, heating, melting, freezing, evaporation, … |  | C |
| 6-03 | Sampling strategy | The method by which a measurement or observation is made to produce the most representative value. | eg discrete/continuous. Integral over period, or aggregation over discrete intervals within period, or whether instantaneous. Grab, flask spot times. | 6-03 | M |
| 6-04 | Sampling time period | The period of time over which a measurement is taken | surface winds measured once every 10 minutes; surface winds measured once per hour; Barometric pressure measured once every 6 minutes; water column height measured every 15 seconds; water column height reporting 15 minute averages of the 15 second measurements; water temperature measured once per hour; water temperature measured once per hour reporting a 24 hour average of the hourly measurements. (Ref: National Data Buoy Center Technical Document 09-02 "Handbook of Automated Data Quality Control Checks and Procedures") |  | M |
| 6-05 | Meaning of the time stamp | The time period reflected by the time stamp. (cf. 5-08) | Wind measurement is reported at 10Z (an average of measurements made at 6 minute intervals form 0906Z – 1000Z). Beginning, middle, end of period. 5 minute mean, daily maximum, seasonal. | 6-05 (5-08) | M |
| 6-06 | Spatial sampling resolution | Sp |  |  |  |
| 6-07 | Analytical procedures | how specimen is analyzed | Water sample - physical or chemical analyses for excess minerals, toxins, turbidity, color - accomplished in a laboratory or by conducting a field test. Water sample - bacteriological analyses - coliform bacteria using a) Standard Plate Count or b) Multiple Tube Method using one of three tests (1) Presumptive Test (2) Confirmed Test (3) Complete Test (Ref: Water for the World Technical Note "Water Sample Analysis" No. RWS.3.P.3) Gas chromatography, ion chromatography, photometry |  | C |

Code list definitions

Code table: 6-03

Code table title:Sampling strategy

| # | Name | Definition |
| --- | --- | --- |
| 6-03-1 | Continuous | Sampling is done continuously, but not necessarily at regular time intervals. Sampling is integrating, i.e., none of the medium escapes observations. Examples include global radiation, pressure, or continuous ozone monitoring with a UV monitor. |
| 6-03-2 | Discrete | Sampling is done at regular time intervals for certain sampling periods that are smaller than the time interval. Sampling is not integrating, i.e., parts of the medium escape observation. Examples include gas chromatographic analysis of carbon monoxide, etc. |
| 6-03-3 | Event | Sampling is done at irregular time intervals in a quasi-instantaneous manner. Examples include grab water samples, flask sampling of air, etc. |

Category: 7

Category Name: station/platform (lead: Tony Boston)

| Id | Name | Definition | Example | Code Table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 7-01 | Region of origin of data | WMO region. WMO divides member countries into six regional associations responsible for coordination of meteorological, hydrological and related activities within their respective Regions. | Region I (Africa), Region II (Asia), Region III (South America), Region IV (North America, Central America and the Caribbean), Region V (South-West Pacific) and Region VI (Europe), plus Antarctica | 7-01 | C |
| 7-02 | Country of origin of data | Country name | E.g. Australia. Mandatory for fixed land-based stations, optional for mobile stations Refer to the relevant WMO list / code table | 7-02 | C |
| 7-03 | Platform/station type | A categorization of the type of environmental monitoring facility at which an observed quantity is measured. | refer to code list | 7-03 | M |
| 7-04 | Platform/station model | The version of the environmental monitoring facility at which an observed quantity is measured. | Environmental monitoring facilities include fixed stations, moving equipment or remote sensing platforms, This element is used to record the model of the platform/station. For example ‘Landsat 8’is a platform/station model and ‘satellite’ would be the platform/station type; an ‘Almos Automatic Weather Station (AWS)’ is a platform/station model and ‘land station’ would be the platform/station type; ’Airbus A340-600’ is a platform/station model and ‘aircraft’ would be the platform type. |  | M |
| 7-05 | Station unique identifier | A unique and persistent identifier for an environmental monitoring facility, which may be used as an external point of reference. | A globally unique identifier assigned by WMO for a station. Where a station has multiple identifiers, there must be a way of recording that they are synonyms. To be defined according to WMO guidelines. Ship: Call sign. |  | M |
| 7-06 | geospatial location (cf. 1-04) | Position in space defining the location of the environmental monitoring facility at the time of observation. | The geospatial location of the platform/station at the time of observation. Required for fixed stations; for stations following pre-determined trajectory (e.g. satellites); optional for other mobile stations. The elevation of a fixed terrestrial station is defined as the height above sea level of the ground on which the station stands. The geospatial location can be a one-, two-, or three-dimensional feature. Geographical coordinates can be specified in decimal degrees or in degrees, minutes and decimal seconds. Latitudes are specified with reference to the equator, with positive sign or the letter ‘N’ for latitudes north of the equator, and negative sign or the letter ‘S’ for latitudes south of the equator. Longitudes are specified with reference to the Greenwich meridian, with positive sign or the letter ‘E’ for longitudes east of Greenwich, and negative sign or the letter ‘W’ for meridians west of Greenwich. Elevation is a signed number specified in some distance measure (e.g., meters) relative to a reference elevation. The latitudinal and longitudinal positions of a station referred to in the World Geodetic System 1984 (WGS-84) Earth Geodetic Model 1996 (EGM96) must be recorded to a resolution of at least 0.001 decimal degrees (CIMO Guide). Examples (i) The station Jungfraujoch is located at 46.54749°N 7.98509°E (3580 m a.m.s.l.). The reference system is WGS-84. (ii) Voluntary Observing Ship Route: WMO Regional Association 5, Sub Area 6 (R56) (iii) [geostationary satellite] Meteosat-8 (MSG-1) 3.6°E (iv) [sunsynchronous satellite] NOAA-19 Height 870 km; Local Solar Time (LST) 13:39 ii) Weather Watch Radar: Warruwi NT -11.6485° N, 133.3800 E, Height 19.1 m amsl. iv) River flow gauge: Warrego River at Cunnamulla Weir 28.1000 S, 145.6833 E, Height: 180 m amsl. |  | C |
| 7-07 | Data Communication Method | Data communication method for the station/platform | Inmarsat-C, ARGOS, Cellular, Globalstar, GMS(DCP), Iridium, Orbcomm, VSat |  | O |

Condition on 7-01 and 7-02: Mandatory for fixed land-based stations, optional for mobile stations

Code list definitions

Code table: 7-01

Code table title: WMO Regional Associations

| # | Name | Definition |
| --- | --- | --- |
| 7-01-1 | I | Africa |
| 7-01-2 | II | Asia |
| 7-01-3 | III | South America |
| 7-01-4 | IV | North America, Central America and the Caribbean |
| 7-01-5 | V | South-West Pacific |
| 7-01-6 | VI | Europe |
| 7-01-7 | VII | Antarctica |

Code table: 7-02

Code table title:

| # | Name | Definition |
| --- | --- | --- |
| 7-02-1 | WMO territory names | Include international operators (e.g., ESA) as separate entities. |

Code table: 7-03

Code table title: Platform/station type (simplified)

| # | Name | Definition |
| --- | --- | --- |
| 7-03-1 | land station | An observing station or field site situated on land, either fixed or mobile. |
| 7-03-2 | sea station | An observing station situated at sea. Sea stations include ships, ocean weather stations and stations on fixed or drifting platforms (rigs, platforms, lightships and buoys). |
| 7-03-4 | aircraft | An aeroplane, helicopter or airshipused to make environmental observations. |
| 7-03-5 | satellite | A platform placed in orbit around the earth to make environmental observations. |
| 7-03-6 | underwater platform | A platform under a lake or sea surface, includingautonomous underwater vehicles . |

Reference: WMO Manual on Codes International Codes VOLUME I.1 PART A – Alphanumeric Codes ftp://ftp.wmo.int/Documents/MediaPublic/Publications/CodesManual_WMO_No_306/WMO306_Vol_I.1_2012_en.pdf

Category: 8

Category Name: Instrument (lead: Karl Monnik)

| Id | Name | Definition | Example | Code Table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 8-01 | Measurement principle | The principle of measurement used. | Temperature can be determined using different principles: liquid in glass; mechanical; electrical resistance; thermistor; thermocouple. Likewise, humidity is determined in AMDAR –as amass mixing ratio Several chemical variables can be determined using infrared absorption spectroscopy |  | M |
| 8-02 | Instrument performance characteristics | Intrinsic capability of the instrument to measure the designated element | record "not available" Upper limit of operational range Lower limit of operational range Uncertainty specified by manufacturer |  | M |
| 8-03 | Vertical distance of instrument above/below strongly influencing surface and type of surface | Vertical Distance of instrument from reference level (ground surface, water surface, lowest astronomical tide, station, platform) to instrument. Reference level is usually a surface which will strongly influence the observation. Away from centre of earth positive. | eg height of the thermometer above ground; depth of buoy, height relative to lowest astronomical tide Distance (m) Example: i) Air temperature: 1.4 m above ground surface. ii) Surface wind: 10.0 m above ground surface iii) Soil temperature: 0.50 m below soil surface; iii) Ship: Visual Obs Height: 22.0 m a.s.l. iv) Weather Watch Radar: Warruwi AU 24.3 m above platform (see 7-06) Refer to 7-06 |  | C |
| 8-04 | Exposure of instruments. | The exposure of an instrument is the degree to which it is unaffected by external influences andreflects the value of the variableunder observationneeded for a specific purpose. It results from joint appraisal of the environment, measurement interval and exposure against the requirements of some particular application.Extrinsic | Site enclosure, CIMO sensorclassification, site classification index etc. Will consist of many elements, that could include photographs; this may be frequently changing (for example ocean debris impacting buoys) A summary classification in terms of its primary purpose may be as follows: Class 1 – instrument exposure allowsreference level measurements. Class 2 – instrument exposure has small or infrequence influence on measurement Class 3– instrument exposure leads toincreased uncertainty or occasional invalidmeasurements Class 4 – instrument exposure leads to high uncertainty or regular invalid measurements Class 5 –External influences of the instrument exposure lead to invalid measurements |  | C |
| 8-05 | environment of instrument | The instrument housing or enclosure | shelter, temperature control, etc. Internal volume: [m3] External colour: Internal colour: Aspirated: [Natural/forced/na] Aspiration rate: m3s-1 Shielding: [radiation] |  | C |
| 8-06 | Instrument lab calibration date and time | Date/time of most recent calibration | Even if record "not available" YYYYMMDD HH:MM UTC Standard type: [International, Primary, Secondary, Reference, Working, Transfer, Travelling, collective] Standard name: [free text] Standard reference: [serial number or equivalent] |  | M |
| 8-07 | instrument model and serial number | Details of manufacturer, model number, serial number and firmware version if applicable. | Record "not available" Vaisala PTB330B G2120006 Instrument manufacturer: [free text] Instrument model: [free text] Instrument serial number: [free text] Firmware version: [free text] |  | M |
| 8-08 | instrument field maintenance | A description of maintenance that is routinely performed on an instrument. | Daily, weekly. Daily cleaning of a radiation sensor. |  | M |
| 8-09 | instrument field verification with date/time | Date/time of most recent field verification with travelling standard | Even if installation date YYYYMMDD HH:MM UTC Standard type: [International, Primary, Secondary, Reference, Working, Transfer, Travelling, collective] Standard name: [free text] Standard reference: [serial number or equivalent] Within verification limit [Y/N] |  | M |
| 8-10 | geospatial location | Location of instrument | e.g., relative to station reference Absolute location Relative location (station/platform) |  | M |

Code list definitions

-- none --

Category: 9( completed

Category Name:Ownership& Data Policy (lead: B. Howe)

| Id | Name | Definition | Example | Code Table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 9-01 | supervising organization | Name of organization who owns the resource | Notes To be modelled as gmd:CI_ResponsibleParty, cf. https://geo-ide.noaa.gov/wiki/index.php?title=File:CI_ResponsibleParty.png. Here, this will be /gmd:MD_Metadata/gmd:contact /gmd:MD_Metadata/gmd:contact//gmd:role = “pointOfContact” It is recommended that /gmd:MD_Metadata/gmd:identificationInfo//gmd:pointOfContactshouldprovide a minimum of a name and an e-mail address. [see http://wis.wmo.int/2012/metadata/WMO_Core_Metadata_Profile_v1.3_Specification_Part_1_v1.0FINALcorrected.pdf] |  | M |
| 9-02 | data policy/use constraints | Provide details relating to the use and limitations surrounding the imposed by the supervising organization or governing body. | Notes Shall be modeled as /gmd:MD_Metadata/gmd:identificationInfo//gmd:resourceConstraints//gmd:otherConstraints Only one single use constraint with a value taken from WMO_DataLicenseCodeis allowed to ensure unambiguity. [see http://wis.wmo.int/2012/metadata/WMO_Core_Metadata_Profile_v1.3_Specification_Part_1_v1.0FINALcorrected.pdf p15] | 9-02 | M |

Code listdefinitions

Code table: 9-02

Code table title:WMO_DataLicenseCode(http://wis.wmo.int/2012/metadata/WMO_Core_Metadata_Profile_v1.3_Specification_Part_2_v1.0FINAL.pdf, Table 14)

| # | Name | Definition |
| --- | --- | --- |
| 9-02-1 | WMOEssential | WMO Essential Data: free and unrestricted international exchange of basic meteorological data and products. |
| 9-02-2 | WMOAdditional | WMO Additional Data: free and unrestricted access to data and products exchanged under the auspices of WMO to the research and education communities for non-commercial activities. A more precise definition of the data policy may be additionally supplied within the metadata. In all cases it shall be the responsibility of the data consumer to ensure that they understand the data policy specified by the data provider – which may necessitate dialogue with the data publisher for confirmation of terms and conditions. |
| 9-02-3 | WMOOther | Data identified for global distribution via WMO infrastructure (GTS / WIS) that is not covered by WMO Resolution 25 or WMO Resolution 40; e.g. aviation OPMET data. Data marked with “WMOOther” data policy shall be treated like “WMOAdditional” where a more precise definition of the data policy may be additionally supplied within the metadata. In all cases it shall be the responsibility of the data consumer to ensure that they understand the data policy specified by the data provider – which may necessitate dialogue with the data publisher for confirmation of terms and conditions. |

Category: 10( completed

Category Name:Contact (lead: S Taylor)

| Id | Name | Definition | Example | Code Table | ItemMCO |
| --- | --- | --- | --- | --- | --- |
| 10-01 | Contact (Nominated Focal Point) | Principal contact (Nominated Focal Point, FP) for resource | Notes To be modeled as gmd:CI_ResponsibleParty, cf. https://geo-ide.noaa.gov/wiki/index.php?title=File:CI_ResponsibleParty.png. Here, this will be /gmd:MD_Metadata/gmd:contact /gmd:MD_Metadata/gmd:contact//gmd:role = “pointOfContact” It is recommended that /gmd:MD_Metadata/gmd:identificationInfo//gmd:pointOfContactshouldprovide a minimum of a name and an e-mail address. Examples Programme or Network Manager, e.g. E-AMDAR Technical Co-ordinator (TC) has responsibility for data quality of several airlines’ fleets, has information on aircraft type/software/known errors etc. The FP would be able to provide data users with information regarding individual observing platforms. |  | M |

Code list definitions

-- none --

# Footnotes

INSPIRE - D2.8.III.7 Data Specification on Environmental Monitoring Facilities – Draft Technical Guidelines http://inspire.jrc.ec.europa.eu/documents/Data_Specifications/INSPIRE_DataSpecification_EF_v3.0rc3.pdf. Specialised EMF Type Value, p 33

CIMO guide 7th Ed par 1.1.2

CIMO-XV 1064 Annex IV pg. 47.

CIMO guide 7th Ed. Par 1.5.1 Calibration: The set of operations which establish, under specified conditions, the relationship between values indicated by a measuring instrument or measuring system, or values represented by a material measure, and the corresponding known values of a measurand (the physical quantity being measured).

CIMO 7th Ed par. 1.5.1

# Comments

Maybe this whole column can be removed

SForeman: : is everything we describe a scalar? How do we want to treat observations of wind? Of spectra (intensity at a frequency)? We had a strong debate at the recent IPET-DRMM about how we treat related variables in the table driven code form, and were uneasy that there was no way of saying that (for example) the meridional and zonal wind components were to be taken together as a single entity. (In fact, the discussion started on the topic of how to indicate which item quality assessments were linked to). I'd rather solve the problem now for the WIGOS metadata - because if we put it off we will have a lot of records to convert.

Action Item (Roger): Scalar vs Vector?

2013-10-10 no suitable answer at present

Roger (10/31): So do you have a proposed answer, Steve? When I first saw this, it set off alarm bells (hence the action on me), but I'm not at all clear on the answer and was unable to find anyone here who is. So I suggested we leave it as is and resolve it later, during the external review process.

Discussion on whether this element rather belongs to cat 2: majority of participants in telecom-7 argues NO, but case remains open.

SForeman: How do we treat competing code lists? (For example land cover). I see three main options: 1) use separate code tables for each of the competing standards, 2) combine the standards into a single code table but the name of each entry indicates which table it came from, or 3) create a new merged table with a clear mapping between the new categories and those in the parent tables. I'd prefer using a single table (option 2) - because that gives us the potential to make sure that if we need to expand the classifications we only create one new category (rather than a new category in each table). Any option (other than 3) still leaves us with the problem of analysing the metadata - for example, to query for a land type, whoever writes the query will have to decide equivalences between the entries in the different tables. Of course, option 3 is the idealist's solution.

Alternative 4th option: choose just one of the classifications

TT-WMD recommendation: identify individual tables with element 4-02, and recommend that dedicated experts try to merge the various systems into one.

Karl to go over this again

I propose that this location is removed and 8-03 is retained.