Manual on the WMO Integrated Global Observing System

Annex VIII to the WMO Technical Regulations

Manual on the WMO Integrated Global Observing System

Annex VIII to the WMO Technical Regulations

PUBLICATION REVISION TRACK RECORD

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date | Ver. No. | Character of changes | Proposed by | Approved by |
| 7/7/2017 | 0.1 | Draft provisions in Sections 2.2.3, 2.3.1, 2.4.4, 2.4.7, 2.4.8, 2.4.9 | WIGOS-PO |  |
| 5/9/2017  6/9/2017 | 0.2 | Proposed structure in Section 5 with an example of a new provision 5.2.2.1 “transferred” from No. 544 | WIGOS-PO  Consideration by WEdB during WebEx |  |
| 8/9/2017-27/9/2017 | 0.3 | New proposals in sections: Definitions, Introduction, 2.4 and 5 | WIGOS-PO |  |
| 28/9/2017 | 0.3 | New comments and edits | WEdB WebEx |  |
| 12/10/2017 | 0.3 | New comments and edits in Sec 2 | WEdB WebEx |  |
| 31/10-3/11/2017 | 0.3 | New comments and edits in Sec 2 | WEdB-2 |  |
| 10/11/2017 | 0.3 | New comments and edits in Sec 2 | WEdB WebEx |  |
| 16/11/2017 | 0.3 | New comments and edits in Sec 2 | WEdB WebEx |  |
| 23/11/2017 | 0.3 | New comments and edits in Sec 2.4.4, 2.4.7 | WEdB WebEx |  |
| 29/11/2017 | 0.3 | New comments and edits in Sec 2.3.3 | With Champika |  |
| 04/12/2017 | 0.3 | New comments and edits in Sec | WEdB WebEx |  |
| 20/12/2017 | 0.3 | New comments and edits in Sec 5 | WEdB WebEx |  |
| 4/1/2018 | 0.3 | New comments and edits in Sec 5 | WEdB WebEx |  |
| 4-10/1/2018 | 0.3 | Editorial | IZ |  |
| 11/1/2018 | 0.3 | New comments and edits in Sec 5; new 2.2.2.3 and Attachment 2.1 | WEdB WebEx |  |
|  |  |  |  |  |

INTRODUCTION

General

1. This is the first edition of the Manual on the WMO Integrated Global Observing System (WMO-No. 1160), developed following the decision of the Sixteenth World Meteorological Congress to proceed with the implementation of that System (WIGOS). It was approved by the Seventeenth World Meteorological Congress.

2. The Manual was developed by the Executive Council through its Inter-Commission Coordination Group on WIGOS, specifically its Task Team on WIGOS Regulatory Material. It is the result of a collaborative approach involving all interested technical commissions under the leadership of the Commission for Basic Systems (CBS) and the Commission for Instruments and Methods of Observation (CIMO).

Purpose and scope

3. The Manual is designed:

(a) To specify the obligations of Members in the implementation and operation of WIGOS;

(b) To facilitate cooperation in observations between Members;

(c) To ensure adequate uniformity and standardization in the practices and procedures employed in achieving (a) and (b) above.

4. The Manual is Annex VIII to the Technical Regulations (WMO-No. 49) and should be read in conjunction with the four volumes and the set of annexes which together make up the Technical Regulations. Gradually, all technical regulations for all WMO component observing systems will be included under the identity of WIGOS.

5. Members will implement and operate their observing systems in accordance with decisions of Congress, the Executive Council, the technical commissions and regional associations. Where those decisions are technical and regulatory in nature, they will in due course be documented in the Technical Regulations.

6. In essence, the Manual specifies what is to be observed, and what practices and procedures are to be followed in order to meet the relevant observational requirements of Members. These requirements may arise directly at a national level or collectively through WMO Programmes at global or regional levels, and are expressed through the application areas of the Rolling Review of Requirements. A number of other Manuals and Guides provide more practices and procedures on the operation of observing systems including stations and platforms, instruments and methods of observation, and on reporting and management of observations and observational metadata.

7. In the case of hydrological observations, there is not a widely implemented base of global exchange and global standard practices and procedures. Technical Regulations (WMO-No. 49), Volume III: Hydrology, provides Members with predominantly recommended practices and procedures. In order to help ensure the quality and comparability of observations within WIGOS, Members making their hydrological observations available through the WMO Hydrological Observing System (WHOS) are requested to comply with the provisions specified within the present Manual. For this reason, a number of provisions that are recommended practices and procedures for hydrology in Technical Regulations, Volume III, are listed as standard practices and procedures in the present Manual. It is recognized that it might not be easy for some of the WIGOS standard practices and procedures to be widely and quickly implemented by all Members for their hydrological observations. Nonetheless, Members are urged to make their best efforts to implement the WIGOS standard practices and procedures in the collection and exchange of hydrological observations and to make such observations available through WHOS.

Appendices

8. Appendices are used where a set of provisions on a single topic might, due to their detailed nature and length, otherwise interrupt the flow of the relevant section of the present Manual. Moreover, appendices are used to facilitate the ongoing review and update process by identifying subsections that fall under the responsibility of a particular group.

GENERAL PROVISIONS

1. The Technical Regulations (WMO-No. 49) of the World Meteorological Organization are presented in four volumes:

Volume I – General meteorological standards and recommended practices

Volume II – Meteorological service for international air navigation

Volume III – Hydrology

Volume IV – Quality management

Purpose of the Technical Regulations

2. The Technical Regulations are determined by the World Meteorological Congress in accordance with Article 8 (d) of the Convention.

3. These Regulations are designed:

(a) To facilitate cooperation in meteorology and hydrology among Members;

(b) To meet, in the most effective manner, specific needs in the various fields of application of meteorology and operational hydrology in the international sphere;

(c) To ensure adequate uniformity and standardization in the practices and procedures employed in achieving (a) and (b) above.

Types of Regulations

4. The Technical Regulations comprise standard practices and procedures and recommended practices and procedures.

5. The definitions of these two types of Regulations are as follows:

The standard practices and procedures:

(a) Shall be the practices and procedures that Members are required to follow or implement;

(b) Shall have the status of requirements in a technical resolution in respect of which Article 9 (b) of the Convention is applicable;

(c) Shall invariably be distinguished by the use of the term shall in the English text, and by suitable equivalent terms in the Arabic, Chinese, French, Russian and Spanish texts.

The recommended practices and procedures:

(a) Shall be the practices and procedures with which Members are urged to comply;

(b) Shall have the status of recommendations to Members, to which Article 9 (b) of the Convention shall not be applied;

(c) Shall be distinguished by the use of the term should in the English text (except where otherwise provided by decision of Congress) and by suitable equivalent terms in the Arabic, Chinese, French, Russian and Spanish texts.

6. In accordance with the above definitions, Members shall do their utmost to implement the standard practices and procedures. In accordance with Article 9 (b) of the Convention and in conformity with Regulation 128 of the General Regulations, Members shall formally notify the Secretary-General, in writing, of their intention to apply the standard practices and procedures of the Technical Regulations, except those for which they have lodged a specific deviation. Members shall also inform the Secretary-General, at least three months in advance, of any change in the degree of their implementation of a standard practice or procedure as previously notified and the effective date of the change.

7. Members are urged to comply with recommended practices and procedures, but it is not necessary to notify the Secretary-General of non-observance except with regard to practices and procedures contained in Volume II.

8. In order to clarify the status of the various Regulations, the standard practices and procedures are distinguished from the recommended practices and procedures by a difference in typographical practice, as indicated in the editorial note.

Status of annexes and appendices

9. The following annexes to the Technical Regulations (Volumes I to IV), also called Manuals, are published separately and contain regulatory material having the status of standard and/or recommended practices and procedures:

I International Cloud Atlas (WMO-No. 407) – Manual on the Observation of Clouds and Other Meteors, sections 1, 2.1.1, 2.1.4, 2.1.5, 2.2.2, 1 to 4 in 2.3.1 to 2.3.10 (for example, 2.3.1.1, 2.3.1.2, etc.), 2.8.2, 2.8.3, 2.8.5, 3.1 and the definitions (in grey-shaded boxes) of 3.2;;

II Manual on Codes (WMO-No. 306), Volume I;

III Manual on the Global Telecommunication System (WMO-No. 386);

IV Manual on the Global Data-processing and Forecasting System (WMO-No. 485);

V Manual on the Global Observing System (WMO-No. 544), Volume I;

VI Manual on Marine Meteorological Services (WMO-No. 558), Volume I;

VII Manual on the WMO Information System (WMO-No. 1060);

VIII Manual on the WMO Integrated Global Observing System (WMO-No. 1160).

These annexes (Manuals) are established by decision of Congress and are intended to facilitate the application of Technical Regulations to specific fields. Annexes may contain both standard and recommended practices and procedures.

10. Texts called appendices, appearing in the Technical Regulations or in an annex to the Technical Regulations, have the same status as the Regulations to which they refer.

Status of notes and attachments

11. Certain notes (preceded by the indication “Note”) are included in the Technical Regulations for explanatory purposes; they may, for instance, refer to relevant WMO Guides and publications. These notes do not have the status of Technical Regulations.

12. The Technical Regulations may also include attachments, which usually contain detailed guidelines related to standard and recommended practices and procedures. Attachments, however, do not have regulatory status.

Updating of the Technical Regulations and their annexes (Manuals)

13. The Technical Regulations are updated, as necessary, in the light of developments in meteorology and hydrology and related techniques, and in the application of meteorology and operational hydrology. Certain principles previously agreed upon by Congress and applied in the selection of material for inclusion in the Technical Regulations are reproduced below. These principles provide guidance for constituent bodies, in particular technical commissions, when dealing with matters pertaining to the Technical Regulations:

(a) Technical commissions should not recommend that a Regulation be a standard practice unless it is supported by a strong majority;

(b) Technical Regulations should contain appropriate instructions to Members regarding implementation of the provision in question;

(c) No major changes should be made to the Technical Regulations without consulting the appropriate technical commissions;

(d) Any amendments to the Technical Regulations submitted by Members or by constituent bodies should be communicated to all Members at least three months before they are submitted to Congress.

14. Amendments to the Technical Regulations – as a rule – are approved by Congress.

15. If a recommendation for an amendment is made by a session of the appropriate technical commission and if the new regulation needs to be implemented before the next session of Congress, the Executive Council may, on behalf of the Organization, approve the amendment in accordance with Article 14 (c) of the Convention. Amendments to annexes to the Technical Regulations proposed by the appropriate technical commissions are normally approved by the Executive Council.

16. If a recommendation for an amendment is made by the appropriate technical commission and the implementation of the new regulation is urgent, the President of the Organization may, on behalf of the Executive Council, take action as provided by Regulation 9 (5) of the General Regulations.

Note: A simple (fast-track) procedure may be used for amendments to technical specifications in Annexes II (Manual on Codes (WMO-No. 306)), III (Manual on the Global Telecommunication System (WMO-No. 386)), IV (Manual on the Global Data-processing and Forecasting System (WMO-No. 485)), V (Manual on the Global Observing System (WMO-No. 544)), VII (Manual on the WMO Information System (WMO-No. 1060)) and VIII (Manual on the WMO Integrated Global Observing System (WMO-No. 1160)). Application of the simple (fast-track) procedure is defined in the appendix to these General Provisions.

17. After each session of Congress (every four years), a new edition of the Technical Regulations, including the amendments approved by Congress, is issued. With regard to the amendments between sessions of Congress, Volumes I, III and IV of the Technical Regulations are updated, as necessary, upon approval of changes thereto by the Executive Council. The Technical Regulations updated as a result of an approved amendment by the Executive Council are considered a new update of the current edition. The material in Volume II is prepared by the World Meteorological Organization and the International Civil Aviation Organization working in close cooperation, in accordance with the Working Arrangements agreed by these Organizations. In order to ensure consistency between Volume II and Annex 3 to the Convention on International Civil Aviation – Meteorological Service for International Air Navigation, the issuance of amendments to Volume II is synchronized with the respective amendments to Annex 3 by the International Civil Aviation Organization.

Note: Editions are identified by the year of the respective session of Congress whereas updates are identified by the year of approval by the Executive Council, for example “Updated in 2012”.

WMO Guides

18. In addition to the Technical Regulations, appropriate Guides are published by the Organization. They describe practices, procedures and specifications which Members are invited to follow or implement in establishing and conducting their arrangements for compliance with the Technical Regulations, and in otherwise developing meteorological and hydrological services in their respective countries. The Guides are updated, as necessary, in the light of scientific and technological developments in hydrometeorology, climatology and their applications. The technical commissions are responsible for the selection of material to be included in the Guides. These Guides and their subsequent amendments shall be considered by the Executive Council.

APPENDIX. PROCEDURES FOR AMENDING WMO MANUALS AND GUIDES THAT ARE THE RESPONSIBILITY OF THE COMMISSION FOR BASIC SYSTEMS

1. DESIGNATION OF RESPONSIBLE COMMITTEES

The Commission for Basic Systems (CBS) shall, for each Manual and Guide, designate one of its Open Programme Area Groups (OPAGs) as being responsible for that Manual and its associated technical guides. The Open Programme Area Group may choose to designate one of its Expert Teams as the designated committee for managing changes to all or part of that Manual; if no Expert Team is designated, the Implementation Coordination Team for the OPAG takes on the role of the designated committee.

2. GENERAL VALIDATION AND IMPLEMENTATION PROCEDURES

2.1 Proposal of amendments

Amendments to a Manual or a Guide managed by CBS shall be proposed in writing to the Secretariat. The proposal shall specify the needs, purposes and requirements and include information on a contact point for technical matters.

2.2 Drafting recommendation

The designated committee for the relevant part of a Manual or a Guide, supported by the Secretariat, shall validate the stated requirement (unless it is consequential to an amendment to the WMO Technical Regulations) and develop a draft recommendation to respond to the requirement, as appropriate.

2.3 Procedures for approval

After a draft recommendation of the designated committee is validated in accordance with the procedure given in section 7 below, depending on the type of amendments, the designated committee should select one of the following procedures for the approval of the amendments:

(a) Simple (fast-track) procedure (see section 3 below);

(b) Standard (adoption of amendments between CBS sessions) procedure (see section 4 below);

(c) Complex (adoption of amendments during CBS sessions) procedure (see section 5 below).

2.4 Date of implementation

The designated committee should define an implementation date in order to give WMO Members sufficient time to implement the amendments after the date of notification. For procedures other than the simple (fast-track) one, if the time between the date of notification and implementation date is less than six months, the designated committee shall document the reasons for its decision.

2.5 Urgent introduction

Regardless of the above procedures, as an exceptional measure, the following procedure accommodates urgent user needs to introduce elements in lists of technical details, or to correct errors:

(a) A draft recommendation developed by the designated committee shall be validated according to the steps defined in section 7 below;

(b) The draft recommendation for pre-operational use of a list entry, which can be used in operational data and products, shall be approved by the chairperson of the designated committee and the chairperson of the responsible OPAG, and the president of CBS. A listing of pre-operational list entries is kept online on the WMO web server;

(c) Pre-operational list entries shall then be submitted for approval by one of the procedures in 2.3 above for operational use;

(d) Any version numbers associated with the technical implementation should be incremented at the least significant level.

2.6 Issuing updated version

Once amendments to a Manual or a Guide are adopted, an updated version of the relevant part of the Manual shall be issued in the languages agreed for its publication. The Secretariat shall inform all Members of the availability of a new updated version of that part at the date of notification mentioned in 2.4 above. If amendments are not incorporated into the published text of the relevant Manual or Guide at the time of the amendment, there should be a mechanism to publish the amendments at the time of their implementation and to retain a permanent record of the sequence of amendments.

3. SIMPLE (FAST-TRACK) PROCEDURE

3.1 Scope

The simple (fast-track) procedure shall be used only for changes to components of the Manual that have been designated and marked as “technical specifications to which the simple (fast-track) procedure for the approval of amendments may be applied”.

Note: An example would be the addition of code list items in the Manual on Codes (WMO-No. 306).

3.2 Endorsement

Draft recommendations developed by the responsible committee, including a date for implementation of the amendments, shall be submitted to the chairperson of the relevant OPAG for endorsement.

3.3 Approval

3.3.1 Minor adjustments

Correcting typographical errors in descriptive text is considered a minor adjustment, and will be done by the Secretariat in consultation with the president of CBS. See Figure 1.

Figure 1. Adoption of amendments to a Manual by minor adjustment

Figure 2. Adoption of amendments to a Manual by simple (fast-track) procedure

3.3.2 Other types of amendments

For other types of amendments, the English version of the draft recommendation, including a date of implementation, should be distributed to the focal points for matters concerning the relevant Manual for comments, with a deadline of two months for the reply. It should then be submitted to the president of CBS for consultation with presidents of technical commissions affected by the change. If endorsed by the president of CBS, the change should be passed to the President of WMO for consideration and adoption on behalf of the Executive Council (EC).

3.3.3 Frequency

The implementation of amendments approved through the simple (fast-track) procedure can be twice a year in May and November. See Figure 2.

4. STANDARD (ADOPTION OF AMENDMENTS BETWEEN CBS SESSIONS) PROCEDURE

4.1 Scope

The standard (adoption of amendments between CBS sessions) procedure shall be used for changes that have an operational impact on those Members who do not wish to exploit the change, but that have only minor financial impact, or that are required to implement changes in the Technical Regulations (WMO-No. 49), Volume II – Meteorological Service for International Air Navigation.

4.2 Approval of draft recommendations

For the direct adoption of amendments between CBS sessions, the draft recommendation developed by the designated committee, including a date of implementation of the amendments, shall be submitted to the chairperson of the responsible OPAG and president and vice-president of CBS for approval. The president of CBS shall consult with the presidents of technical commissions affected by the change. In the case of recommendations in response to changes in the Technical Regulations (WMO-No 49), Volume II – Meteorological Service for International Air Navigation, the president of CBS shall consult with the president of the Commission for Aeronautical Meteorology.

4.3 Circulation to Members

Upon approval of the president of CBS, the Secretariat sends the recommendation to all Members, in the languages in which the Manual is published, including a date of implementation of the amendments, for comments to be submitted within two months following the dispatch of the amendments. If the recommendation is sent to Members via electronic mail, there shall be public announcement of the amendment process including dates, for example by WMO Operational Newsletter on the WMO website, to ensure all relevant Members are informed.

4.4 Agreement

Those Members not having replied within the two months following the dispatch of the amendments are implicitly considered as having agreed with the amendments.

4.5 Coordination

Members are invited to designate a focal point responsible to discuss any comments/disagreements with the designated committee. If the discussion between the designated committee and the focal point cannot result in an agreement on a specific amendment by a Member, this amendment will be reconsidered by the designated committee. If a Member cannot agree that the financial or operational impact is minor, the redrafted amendment shall be approved by the complex (adoption of amendments during CBS sessions) procedure described in section 5 below.

4.6 Notification

Once amendments are agreed by Members, and after consultation with the chairperson of the responsible OPAG, the vice-president of CBS and the president of CBS (who should consult with presidents of other commissions affected by the change), the Secretariat notifies at the same time the Members and the members of the Executive Council of the approved amendments and of the date of their implementation. See Figure 3.

Figure 3. Adoption of amendments between CBS sessions

5. COMPLEX (ADOPTION OF AMENDMENTS DURING CBS SESSIONS) PROCEDURE

5.1 Scope

The complex (adoption of amendments during CBS sessions) procedure shall be used for changes for which the simple (fast-track) procedure or standard (adoption of amendments between CBS sessions) procedure cannot be applied.

5.2 Procedure

For the adoption of amendments during CBS sessions, the designated committee submits its recommendation, including a date of implementation of the amendments, to the Implementation Coordination Team of the responsible Open Programme Area Group. The recommendation is then passed to the presidents of technical commissions affected by the change for consultation, and to a CBS session that shall be invited to consider comments submitted by presidents of technical commissions. The document for the CBS session shall be distributed not later than 45 days before the opening of the session. Following the CBS session, the recommendation shall then be submitted to a session of the Executive Council for decision. See Figure 4.

6. PROCEDURE FOR THE CORRECTION OF EXISTING MANUAL CONTENTS

6.1 Correcting errors in items within Manuals

Where a minor error in the specification of an item that defines elements within a Manual is found, for example, a typing error or an incomplete definition, the item shall be amended and re-published. Any version numbers associated with items edited as a result of the change should be incremented at their lowest level of significance. If, however, the change has an impact on the meaning of the item, then a new item should be created and the existing (erroneous) item marked as deprecated. This situation is considered a minor adjustment according to 3.3.1 above.

Note: An example of an item for which this type of change applies is a code list entry for the Table Driven Code Forms or WMO Core Metadata Profile, in which the description contains typographical errors that can be corrected without changing the meaning of the description.

Figure 4. Adoption of amendments during CBS sessions

6.2 Correcting an error in the specification of how conformance with the requirements of the Manual can be checked

If an erroneous specification of a conformance-checking rule is found, the preferred approach is to add a new specification using the simple (fast-track) procedure or standard (adoption of amendments between CBS sessions) procedure. The new conformance-checking rule should be used instead of the old. An appropriate explanation shall be added to the description of the conformance-checking rule to clarify the practice along with the date of the change.

Note: An example of such a change would be correcting a conformance-checking rule in the WMO Core Metadata Profile.

6.3 Submission of corrections to errors

Such changes shall be submitted through the simple (fast-track) procedure.

7. VALIDATION PROCEDURE

7.1 Documentation of need and purpose

The need for, and the purpose of, the proposal for changes should be documented.

7.2 Documentation of result

This documentation shall include the results of validation testing of the proposal as described in 7.3 below.

7.3 Testing with relevant applications

For changes that have an impact on automated processing systems, the extent of the testing required before validation should be decided by the designated committee on a case-by-case basis, depending on the nature of the change. Changes involving a relatively high risk and/or impact on the systems should be tested by the use of at least two independently developed tool sets and two independent centres. In that case, results should be made available to the designated committee with a view to verifying the technical specifications.

DEFINITIONS

Notes:

1. Other definitions related to observing systems may be found in the Technical Regulations (WMO-No. 49), Volume I and the Manual on the Global Observing System (WMO-No. 544), Volume I. Definitions are not duplicated between Manuals, hence the importance of consulting all publications.

2. Further definitions may be found in the Manual on Codes (WMO-No. 306), the Manual on the Global Data-processing and Forecasting System (WMO-No. 485), the Manual on the Global Telecommunication System (WMO-No. 386) and other WMO publications.

3. Definitions, terminology, vocabulary and abbreviations used in relation to quality management are those of the International Organization for Standardization (ISO) 9000 family of standards for quality management systems, in particular those identified within ISO 9000:2015, Quality management systems – Fundamentals and vocabulary.

The following terms, when used in the present Manual, have the meanings given below.

Accuracy. The extent to which the results of the readings of an instrument approach the true value of the calculated or measured quantities, supposing that all possible corrections are applied.

Acoustic Doppler current profiler (ADCP). Hydroacoustic device to measure the velocity of water over a range of depths in a column using the Doppler effect, with the overall depth of water usually being measured simultaneously.

Acoustic velocity meter. System that uses the difference in travel time of acoustic (ultrasonic) pulses between transducers in a stream to determine the mean velocity on the signal path.

Adaptive maintenance. Modification of an instrument, software or other product, performed after installation to keep it usable in a changed or changing environment.

Bank. (1) Rising land bordering a river, usually to contain the stream within the wetted perimeter of the channel; (2) Margin of a channel on the left-hand (right-hand) side when facing downstream.

Cableway. Cable stretched above and across a stream, from which a current meter or other measuring or sampling device is suspended, and moved from one bank to the other, at predetermined depths below the water surface.

Calibration (rating) tank (Straight open tank). Tank containing still water through which a current meter is moved at a known velocity in order to calibrate the meter.

Catchment area. Area having a common outlet for its surface runoff.

Certification. The provision by an independent body of written assurance (a certificate) that the product, service or system in question meets specific requirements.

Compliance. Adherence to an internal code of conduct where employees follow the principles of one of the Quality Management Standards series (such as the ISO standards) or other internationally recognized practices and procedures. It could also be an external stamp of approval by an accreditation firm when customers or partners request documented proof of compliance.

Confidence level. Probability that the confidence interval includes the true value.

Control. Physical properties of a channel which determine the relationship between stage and discharge at a location in the channel.

Control structures. Artificial structures placed in a stream such as a low weir or flume to stabilize the stage-discharge relation, particularly in the low flow range, where such structures are calibrated by stage and discharge measurements taken in the field.

Co-sponsored observing system. An observing system from which some but not all observations are WMO observations.

Cross-section. Section perpendicular to the main direction of flow bounded by the free surface and wetted perimeter of the stream or channel.

Current meter. Instrument for measuring water velocity.

Current meter, propeller type. A current meter the rotor of which is a propeller rotating around an axis parallel to the flow.

Data archiving. Storage of data on a set of catalogued files which are held in some backup storage medium and not necessarily permanently online.

Data compatibility. The capacity for two systems to exchange data without having to be altered to do so and without any need for changes in data formats.

Data processing. Treatment of observational data until they are in a form ready to be used for a specific purpose.

Data quality objectives. Definition of the type, quality and quantity of primary data and derived parameters required to yield information that can be used to support decisions.

Discharge. Volume of water flowing through a river (or channel) cross-section per unit time.

Drainage basin. See catchment area.

Elevation. Vertical distance of a point or level, on or affixed to the surface of the ground, measured from mean sea level.

Estuary. Broad portion of a stream near its outlet to a sea, lake or sabkha.

Flood. (1) Rise, usually brief, in the water level of a stream or water body to a peak from which the water level recedes at a slower rate; (2) Relatively high flow as measured by stage height or discharge.

Flood-proofing. Techniques for preventing flood damage in a flood-prone area.

Gauge boards (staff gauge). Graduated vertical scale, fixed to a staff or structure, on which the water level may be read.

Gauge datum. Vertical distance between the zero of a gauge and a certain datum level.

Gauging station. Location on a stream where measurements of water level and/or discharge are made systematically.

GAW Station Information System (GAWSIS). The official catalogue for monitoring sites, platforms or stations operating within the Global Atmosphere Watch (GAW) and related programmes, providing station metadata and serving as the clearing house for unique station identifiers. The GAW Station Information System represents the metadata source for OSCAR for GAW observations.

Hydrograph. Graph showing the variation in time of some hydrological data, such as stage, discharge, velocity and sediment load.

Hydrological forecast. Estimation of the magnitude and time of occurrence of future hydrological events for a specified period and for a specified locality.

Hydrological observation. Direct measurement or evaluation of one or more hydrological elements such as stage, discharge and water temperature.

Hydrological observing station. Place where hydrological observations or climatological observations for hydrological purposes are made.

Hydrological warning. Emergency information on an expected hydrological event that is considered to be dangerous.

Hydrometric station. Station gathering data on one or more parameters of water in rivers, lakes or reservoirs, such as stage, streamflow, sediment transport and deposition, water temperature and other physical or chemical properties of water, and characteristics of ice cover.

Intercomparison. A formalized process to assess the relative performance of two or more systems (observing, forecasting, etc.).

Moving-boat method. Method of measuring discharge which uses a boat to traverse the stream along the measuring section and continuously measure velocity, depth and distance travelled.

Quality. The degree to which a set of inherent characteristics fulfils requirements.

Quality assurance. That part of quality management focused on providing confidence that quality requirements will be fulfilled.

Quality control. That part of quality management focused on fulfilling quality requirements.

Quality management. The coordinated activities that direct and manage an organization with respect to quality.

Rating curve. Curve showing the relation between stage and discharge of a stream at a hydrometric station.

Recession. Period of decreasing discharge as indicated by the falling limb of a hydrograph starting from the peak.

Registration. Certification is very often referred to as registration in North America.

Reservoir. Body of water, either natural or man-made, used for storage, regulation and control of water resources.

River. Large stream that serves as the natural drainage for a basin.

Stage. See water level.

Stage-discharge relation. Relationship between water level and discharge for a river cross-section, which may be expressed as a curve, a table or an equation.

Standard time of observation (Standard time). A time specified for making meteorological observations.

* main standard times: 0000, 0600, 1200, 1800 UTC
* intermediate standard times: 0300, 0900, 1500 and 2100 UTC

Editorial note: further elaboration needed

Streamflow. General term for water flowing in a watercourse.

Uncertainty. Estimate of the range of values within which the true value of a variable lies.

Upstream. Direction from which a fluid is moving.

Verification. The process of establishing the truth, accuracy or validity of something.

Water level. Elevation of the free water surface of a water body relative to a datum level.

1. INTRODUCTION TO WIGOS

1.1 Purpose and scope of WIGOS

1.1.1 The WMO Integrated Global Observing System shall be a framework for all WMO observing systems and for WMO contributions to co-sponsored observing systems in support of all WMO Programmes and activities.

Note: The co-sponsored observing systems are the Global Climate Observing System (GCOS), the Global Ocean Observing System (GOOS) and the Global Terrestrial Observing System (GTOS), all joint undertakings of WMO and the Intergovernmental Oceanographic Commission (IOC) of the United Nations Educational, Scientific and Cultural Organization ([UNESCO](http://www.unesco.org/)), the United Nations Environment Programme (UNEP) and the International Council for Science (ICSU).

1.1.2 The WMO Integrated Global Observing System shall facilitate the use by WMO Members of observations from systems that are owned, managed and operated by a diverse array of organizations and programmes.

1.1.3 The principal purpose of WIGOS shall be to meet the evolving requirements of Members for observations.

1.1.4 The interoperability (including data compatibility) of WIGOS component observing systems shall be achieved through their common utilization and application of internationally accepted standards and recommended practices and procedures. Data compatibility shall also be supported through the use of data representation standards.

1.2 WIGOS component observing systems

The component observing systems of WIGOS shall comprise the Global Observing System (GOS) of the World Weather Watch (WWW) Programme, the observing component of the Global Atmosphere Watch (GAW) Programme, the WMO Hydrological Observing System (WHOS) of the Hydrology and Water Resources Programme (HWRP) and the observing component of the Global Cryosphere Watch (GCW), including their surface-based and space-based elements.

Note: The above component systems include all WMO contributions to the co-sponsored systems, as well as to the Global Framework for Climate Services (GFCS) and the Global Earth Observation System of Systems (GEOSS).

1.2.1 The Global Observing System of the World Weather Watch

1.2.1.1 The Global Observing System shall be a coordinated system of observing networks, methods, techniques, facilities and arrangements for making observations on a worldwide scale and shall be one of the main components of the World Weather Watch.

1.2.1.2 The purpose of GOS shall be to provide the meteorological observations from all parts of the globe that are required by Member countries for operational and research purposes through all WMO and co-sponsored programmes.

1.2.1.3 The Global Observing System shall consist of: (a) a surface-based subsystem composed of regional basic and other networks of stations and platforms; and (b) a space-based subsystem composed of: (i) an Earth observation space segment; (ii) an associated ground system for data reception, dissemination and stewardship; and (iii) a user segment.

1.2.1.4 The Global Observing System shall comply with the provisions specified in sections 1, 2, 3, 4 and 5.

1.2.2 The Global Atmosphere Watch (observing component)

1.2.2.1 The Global Atmosphere Watch shall be a coordinated system of observing networks, methods, techniques, facilities and arrangements encompassing the many monitoring activities and scientific assessments devoted to the investigation of the chemical composition and related physical characteristics of the atmosphere.

Note: The GAW Programme has six focal areas: ozone, greenhouse gases, reactive gases, aerosols, ultraviolet (UV) radiation and total atmospheric deposition. The GAW stations in addition to measuring one or more of the parameters related to these areas may also measure ancillary variables such as radiation, radio nuclides and persistent organic pollutants.

1.2.2.2 The purpose of GAW shall be to provide data and other information on the chemical composition and related physical characteristics of the background, unpolluted atmosphere, as defined in section 6, from all parts of the globe, in order to reduce environmental risks to society and meet the requirements of environmental conventions, strengthen capabilities to predict the state of climate, weather and air quality, and contribute to scientific assessments in support of environmental policy.

1.2.2.3 The observing component of GAW shall consist of a surface-based system composed of networks for observation of specified variables, complemented by space-based observations.

1.2.2.4 The observing component of the GAW Programme shall be operated in accordance with the provisions specified in sections 1, 2, 3, 4 and 6.

1.2.3 The WMO Hydrological Observing System

1.2.3.1 The WMO Hydrological Observing System shall comprise hydrological observations, initially focusing on water level and discharge.

Note: The composition of WHOS is provided in the Technical Regulations (WMO-No. 49), Volume III: Hydrology, Chapter D.1.2.

1.2.3.2 The W

MO Hydrological Observing System shall expand to include other elements identified through the Rolling Review of Requirements (RRR) (described in section 2.2.4 and Appendix 2.3) at the national, regional and global levels.

1.2.3.3 The purpose of WHOS shall be to provide real-time stream data (both water level and discharge) from participating Members.

1.2.3.4 Members making their hydrological observations available through the WHOS shall comply with the provisions specified in sections 1, 2, 3, 4 and 7.

Note: The Technical Regulations (WMO-No. 49), Volume III: Hydrology, the Guide to Hydrological Practices (WMO-No. 168), the Manual on Stream Gauging (WMO-No. 1044) and the Manual on Flood Forecasting and Warning (WMO-No. 1072) provide the necessary information to operate hydrological stations to the prescribed standards.

1.2.4 The Global Cryosphere Watch (observing component)

1.2.4.1 The Global Cryosphere Watch shall be a coordinated system of observing networks, methods, techniques, facilities and arrangements encompassing monitoring and related scientific assessment activities devoted to the investigation of the Cryosphere.

1.2.4.2 The purpose of the GCW shall be to provide data and other information on the cryosphere, from the local to the global scale, to improve understanding of its behaviour, interactions with other components of the climate system and impacts on society.

1.2.4.3 The GCW observing network and its standardized core network (CryoNet) shall build on existing observing programmes and promote the addition of standardized cryospheric observations to existing facilities.

1.2.4.4 The observing component of the GCW shall comply with the provisions specified in sections 1, 2, 3, 4 and 8.

1.3 Governance and management

1.3.1 Implementation and operation of WIGOS

1.3.1.1 Members shall be responsible for all activities connected with the implementation and operation of WIGOS on the territory of their respective countries.

1.3.1.2 Members should, as far as possible, use national resources for the implementation and operation of WIGOS, but, where necessary and if so requested, assistance may be provided in part through:

(a) The WMO Voluntary Cooperation Programme (VCP);

(b) Other bilateral or multilateral arrangements/facilities including the United Nations Development Programme (UNDP), which should be used to the maximum extent possible.

1.3.1.3 Members should participate voluntarily in the implementation and operation of WIGOS outside the territories of individual countries (for example, outer space, oceans and the Antarctic), if they wish and are able to contribute by providing facilities and services, either individually or jointly.

1.3.2 WIGOS quality management

Notes:

1. Within the WMO Quality Management Framework (QMF), WIGOS provides the procedures and practices regarding to the quality of observations and observational metadata that should be adopted by Members in establishing their quality management system for the provision of meteorological, hydrological, climatological and other related environmental observations.

2. Section 2.6 contains detailed provisions for WIGOS quality management.

1.3.3 WIGOS high-level processes

Members should adopt a process-based approach to the management of WIGOS observing systems as described in Attachment 1.1.

ATTACHMENT 1.1. WIGOS high-level processes

Many of the WIGOS activities may be represented as a series of high-level processes.

The figure below provides a schematic description of the processes (horizontal bars), the collaborating entities (columns) and those primarily involved in each process (marked by solid circles). In reality, the processes have more complex interrelationships and sequences than shown by the arrows – the most extreme case being capacity development (including training) which is not shown as a step in the sequence since it provides important inputs to most of the other processes.

Schematic representation of WIGOS high-level processes

These processes are carried out by Members through one of the following modes of collaboration:

• Data users in application areas: Members collaborate by selectively contributing application experts and information;

• WMO regional associations: Members collaborate by working together in a geographical grouping and by selectively contributing experts for regional teams;

• WMO technical commissions: Members collaborate by selectively contributing technical experts for global teams;

• As individual operators and managers of observing systems, Members directly undertake the relevant WIGOS process(es);

• WMO designated centres for performance monitoring (including lead centres and monitoring centres): individual Members or groups of Members operate a WMO centre designated for performance monitoring.

In the case of WIGOS processes being undertaken by the WMO Secretariat or other entities funded by WMO Programmes, the mode of collaboration is through the overall operation of WMO.

The following example illustrates the relation between the WIGOS high-level processes and the structure of the regulatory material. The standard and recommended practices and procedures relevant to each WIGOS process can be found in section 2, under the following sub-sections:

• Determination of user requirements: 2.1 and 2.2;

• Design, planning and evolution of WIGOS: 2.2;

• Development and documentation of standard and recommended practices and procedures for observing systems: 2.3;

• Implementation of an observing system by owners and operators: 2.3 and 2.4;

• Observing system operation and maintenance including fault management and audit: 2.4;

• Observation quality control: 2.4 and 2.6;

• Observations and observational metadata delivery: 2.4 and 2.5;

• Performance monitoring: 2.4 and 2.6;

• User feedback and review of requirements: 2.2 and 2.6;

• Capacity development (including training): 2.7.

2. COMMON ATTRIBUTES OF WIGOS COMPONENT SYSTEMS

2.1 Requirements

2.1.1 Members shall take steps to collect, record, review, update and make available their user requirements for observation.

2.1.2 Members shall convey their user observational requirements, for each of the WMO application areas, to the RRR process described under section 2.2.4 and Appendix 2.3.

2.2 Design, planning and evolution

2.2.1 General

2.2.1.1 The WMO Integrated Global Observing System shall be designed as a flexible and evolving system capable of continuous improvement.

Note: Factors that drive the evolution of WIGOS component observing systems include technological and scientific progress and cost-effectiveness; changes in the needs and requirements of WMO, WMO co-sponsored programmes and international partner organizations at national, regional and global levels; and changes in the capacity of Members to implement observing systems. It is important to identify the impact on all users before a change is made.

2.2.1.2 Members shall plan and operate their networks in a sustainable and reliable manner utilizing WIGOS standard and recommended practices and procedures, and tools.

Note: Sustainability over at least a ten-year period is recommended; however, this depends on paying sufficient attention to maintenance and operations following the establishment of the network.

2.2.2 Principles for observing network design and planning

2.2.2.1 Observing network design principles

2.2.2.1.1 Members should follow the principles specified in Appendix 2.1 when designing and developing their observing networks.

2.2.2.1.2 Members should conduct network design studies that address national, regional and global scale questions about the optimum affordable mix of components to best satisfy the requirements for observations.

2.2.2.2 Climate monitoring principles of the Global Climate Observing System

Members designing and operating observing systems for monitoring climate should adhere to the principles specified in Appendix 2.2.

Note: Fifty Essential Climate Variables have been identified for GCOS. These are required to support the work of the United Nations Framework Convention on Climate Change (UNFCCC) and the Inter-governmental Panel on Climate Change (IPCC). The Essential Climate Variables cover the atmospheric, oceanic and terrestrial domains, and all are technically and economically feasible for systematic observation. Further information about the Essential Climate Variables can be found in the Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update), GCOS-138 (also identified as WMO-TD/No.1523).

2.2.2.3 Special circumstances observations

2.2.2.3.1 Members should operate their observing systems with the capacity to adapt to and target the special requirements which arise when special circumstances occur.

Note: Several WMO application areas require special observations when special circumstances occur. Attachment 2.1 provides further details of specific requirements in several specific circumstances. Provisions relating to satellite rapid scans and other special observations also appear in subsequent sections of this Manual.

2.2.3 Vision for WIGOS

Members shall take into account the Vision for in 2040 when planning the evolution of their observing networks.

Notes:

1. The Vision for WIGOS in 2040 provides high-level goals to guide the evolution of the WMO Integrated Global Observing System in the coming decades. The Vision is updated on a multi-year timescale (typically decadal).

2. The Vision for WIGOS in 2040 is available at http://www.wmo.int/pages/prog/www/wigos/index\_en.html.

2.2.4 The Rolling Review of Requirements

Members, both directly and through the participation of their experts in the activities of regional associations and technical commissions, shall contribute to the RRR process and assist the designated Points of Contact for each application area in performing their roles in the RRR.

Note: Appendix 2.3 provides further details on the RRR process.

2.2.5 Observation impact studies

2.2.5.1 Members, or groups of Members within regions, should conduct and/or participate in observation impact studies and related scientific evaluations to address WIGOS network design questions.

2.2.5.2 Members should provide expertise for synthesizing the results of impact studies and making recommendations on the best mix of observing systems to address the gaps identified by the RRR process.

Note: Impact studies involving Observing System Experiments, Observing System Simulation Experiments, Forecast Sensitivity to Observation studies and other assessment tools are used to assess the impact of the various observing systems on Numerical Weather Prediction model analyses and predictions, hence their value and relative priority for addition or retention for these application areas.

2.2.6 Evolution of WIGOS observing systems

2.2.6.1 Members should follow the plans published by WMO for the evolution of WIGOS component observing systems when planning and managing their WIGOS observing systems.

Notes:

1. The planning and coordination of the evolution of WIGOS observing systems is steered by the Executive Council and undertaken by Members individually and through regional associations, technical commissions and relevant steering bodies of WMO co-sponsored observing systems.

2. The current WMO plan for the evolution of WIGOS observing systems was published as the Implementation Plan for the Evolution of Global Observing Systems (EGOS-IP) (WIGOS Technical Report No. 2013-4). It contains guidelines and recommended actions to be undertaken by Members, technical commissions, regional associations, satellite operators and other relevant parties in order to stimulate cost-effective evolution of the WMO observing systems and address in an integrated way the requirements of WMO Programmes and co-sponsored programmes.

3. The WMO plan for the evolution of WIGOS observing systems is regularly updated and new versions are published on a multi-year timescale (typically decadal), taking into account the vision for the WIGOS observing systems, the advice of the technical commissions and regional associations concerned, relevant WMO co-sponsored observing systems and international experts in all application areas.

2.2.6.2 Members shall coordinate the activities of organizations within their country, including National Meteorological and Hydrological Services (NMHSs) and other agencies, in addressing relevant actions of the WMO plans for the evolution of WIGOS observing systems.

2.2.6.3 Where Member countries cover small areas and are geographically close or have already established multilateral working relationships, Members should consider a subregional or transboundary river basin approach, in addition to a national one, in WIGOS observing systems planning.

2.2.6.4 In this case, the Members concerned should work in close cooperation to prepare subregional or transboundary river basin reviews of requirements to be used as a basis for detailed planning at that scale.

2.2.7 Monitoring the evolution of WIGOS observing systems

Members should contribute to the monitoring of the evolution of WIGOS observing systems by providing their national progress reports on a yearly basis through nominated national focal points.

Note: The Commission for Basic Systems, in collaboration with other technical commissions, regional associations, and co-sponsored programmes, regularly reviews progress in the evolution of WIGOS observing systems and provides updated guidance to Members thereon.

2.3 Instrumentation and methods of observation

2.3.1 General requirements

Note: Details are provided in the Technical Regulations (WMO-No. 49), Volume III: Hydrology, the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Weather Reporting (WMO-No. 9), Volume D: Information for Shipping, and the Guide to Hydrological Practices (WMO-No. 168), Volume I: Hydrology – From Measurement to Hydrological Information.

2.3.1.1 Members should ensure that observations and observational metadata are traceable to the International System of Units (SI) standards, where these exist.

Note: Traceability to the International System of Units (SI) standards is an area where concerted effort is required to increase or improve compliance.

2.3.1.2 Members shall employ properly calibrated instruments and sensors that provide observations satisfying at least measurement uncertainties that meet the specified requirements.

Notes:

1. Achievable measurement uncertainty is specified in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, 1.6.5.2, Annex 1.E.

2. A number of operational, financial, environmental and instrumental issues may cause the system to not always satisfy the specified requirements. Annex 1.E (see the column ”Achievable measurement uncertainty“) provides a list of the achievable and affordable measurement uncertainties which in some cases might not satisfy specified requirements.

3. Reference to a new Calibration Strategy in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I

2.3.1.3 Members should describe uncertainty of observations and observational metadata as specified in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, 1.6

Notes:

1. The corresponding text from the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, 1.6, will be included as an appendix in a future edition.

2. The definition of uncertainty in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, 1.6, is consistent with international standards approved by the International Committee for Weights and Measures (Comité international des poids et mesures (CIPM)).

2.3.1.4 Members should follow the definitions and specifications for the calculation of derived observations given in the WMO Technical Regulations.

Notes:

1. Further methods provided or referenced by the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8) and the Guide to Hydrological Practices (WMO-No. 168), Volume I: Hydrology – From Measurement to Hydrological Information, could also be considered.

2. Such derivations can take many forms, for example, statistical processing of average or smooth values, or multivariate algorithm to determine streamflow discharge.

3. The corresponding text from the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8) will be included as an appendix in a future edition of the present Manual.

2.4 Operations

2.4.1 General requirements

Note: Provision 2.4.1.1 of the Technical Regulations (WMO-No. 49), Volume I, Part I, applies.

2.4.1.1 WMO observing stations and platforms shall be uniquely identified by a WIGOS station identifier.

Note: The structure of WIGOS station identifiers is specified in Attachment 2.1.

2.4.1.2 Members shall issue WIGOS station identifiers for observing stations and platforms within their geographic area of responsibility that contribute to a WMO or co-sponsored programme and shall ensure that no WIGOS station identifier is issued to more than one station.

Note: Members may issue WIGOS station identifiers for observing stations and platforms within their geographic area of responsibility that do not contribute to a WMO or co-sponsored programme, provided that the operator has committed to providing and maintaining WIGOS metadata.

2.4.1.3 Before issuing a station identifier, Members should ensure that the operator of a station or platform has committed to providing and maintaining WIGOS metadata for that station or platform.

Notes:

1. In circumstances when a WIGOS identifier is required for a station or platform to support a WMO or co-sponsored programme and no Member is in a position to issue one (for example, in Antarctica), the Secretary-General may issue a WIGOS station identifier for that station or platform, provided that its operator has committed to:

(a) Providing WIGOS metadata;

(b) Conforming to relevant Technical Regulations.

2. In circumstances where a WIGOS identifier is required for a station or platform to support a WMO or co-sponsored programme and a Member is not able to issue one, the Secretary-General will work with the Member concerned to issue a WIGOS station identifier for that station or platform, provided that its operator has committed to:

(a) Providing WIGOS metadata;

(b) Conforming to relevant Technical Regulations.

2.4.1.4 Members shall make available to WMO the updated metadata each time a new station identifier is issued.

2.4.1.5 Members shall operate their observing systems with properly calibrated instruments and adequate observing and measuring techniques.

Notes:

1. Detailed guidance on observing practices of meteorological observing systems and instruments is given in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8).

2. Detailed guidance on observing practices of hydrological observing systems and instruments is given in the Guide to Hydrological Practices (WMO-No. 168), the Manual on Flood Forecasting and Warning (WMO-No. 1072) and the Manual on Stream Gauging (WMO-No. 1044).

3. Detailed guidance on observing practices of GAW observing systems and instruments is given in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8).

2.4.1.6 Members should address the requirements for uncertainty, timeliness, temporal resolution, spatial resolution and coverage which result from the RRR process specified in section 2.2.4 and in accordance with the details provided by other sections as appropriate.

2.4.1.7 Members shall ensure that proper safety procedures are specified, documented and utilized in all their operations.

Note: Safety practices and procedures are concerned with ensuring the welfare of staff while promoting overall efficiency and effectiveness of the NMHS and respond to national laws, regulations and requirements for occupational health and safety.

2.4.2 Observing practices

Members should ensure that their observing practices are adequate to comply with user observational requirements.

Note: Observing practices include station operation, data processing practices and procedures, applied calculation rules, documentation on calibration practices and associated metadata.

2.4.3 Quality control

2.4.3.1 Members shall ensure that observations provided through their WIGOS component observing systems are quality controlled.

2.4.3.2 Members shall implement real-time quality control prior to exchange of observations via the WMO Information System.

Notes:

1. Quality control of observations consists in examination of observations at stations and data centres to detect errors so that observations may be either corrected or flagged. A quality control system should include procedures for returning to the source of observations to verify them and to prevent recurrence of errors. Quality control is applied in real time, but it also operates in non-real time, as delayed quality control. The quality of observations depends on the quality control procedures applied during acquisition and processing of observations and during preparation of messages, in order to eliminate the main sources of errors and ensure the highest possible standard of accuracy for the optimum use of those observations by all possible users.

2. Quality control in real time also takes place in the Global Data-processing and Forecasting System, prior to the use of meteorological and climatological observations in data processing (i.e. objective analysis and forecasting).

3. The Guide on the Global Data-processing System (WMO-No. 305) should be consulted for more detailed guidance.

4. Further information on quality standards for aircraft-based observations is available in the Guide to the Global Observing System (WMO-No. 488), Part III, 3.4.7.

5. Recommended practices and procedures for aircraft-based observation quality control and specifications for on-board data quality control are available in the Chapter 6, and the Guide to Aircraft-based Observations (WMO-No. 1200), Appendixes A and B, and in the AMDAR Onboard Software Functional Requirements Specification (Instruments and Observing Methods, Report No. 115, Chapter 3).

4. Recommended practices and procedures for quality control of hydrological observations are given in the Manual on Flood Forecasting and Warning (WMO-No. 1072), Chapter 6, and in the Guide to Hydrological Practices (WMO-No. 168).

5. Recommended practices and procedures regarding the quality of observations for GAW requirements are formulated in Measurement Guidelines through Data Quality Objectives (see GAW reports at <http://www.wmo.int/pages/prog/arep/gaw/gaw-reports.html>).

2.4.3.3 Members not capable of implementing these standards should establish agreements with an appropriate Regional Meteorological Centre or World Meteorological Centre to perform the necessary quality control.

2.4.3.4 Members shall also perform quality control of observations on a non-real-time basis, prior to forwarding the observations for archiving.

2.4.3.5 Members should develop and implement adequate quality control processes.

Notes:

1. Quality control processes include (but are not necessarily limited to): (a) validation; (b) cleaning and (c) monitoring.

2. Further guidance is available in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), the Guide to Climatological Practices (WMO-No. 100), the Guide to Hydrological Practices (WMO‑No. 168), Volume I: Hydrology – From Measurement to Hydrological Information, and the Guide to the Global Observing System (WMO-No. 488).

2.4.4 Data and metadata reporting

2.4.4.1 Members shall report and make available observations through the WIS in the standard formats specified by the Manual on Codes (WMO-No. 306) in real time (immediately after completion of observation).

Note: This provision includes also associated real-time metadata when it is part of the standard format.

The hectoPascal (hPa) shall be the unit in which atmospheric pressure is measured for meteorological purposes. (3.3.2.2)

2.4.4.2 In the case of GAW observations, Members shall report and make available observations in standard formats as advised by GAW data centres, in accordance with the provisions in chapter 6.

2.4.4.3 Members shall/should record, retain and archive all observations they make available internationally. *(2.2.1.10-shall; 2.2.2.8-shall; 2.5.8-shall; 2.6.2.3-should; 2.7.2.2-should)*

Note: Non-destructive storage of observations is important to ensure that data and metadata quality and information content are not altered. (Note for 2.7.2.3) to be further reedited to harmonize with 2.4.4.4

2.4.4.4 Members should record and retain all Level I data used in a provision of observation they make available internationally.

Editorial note: Level I and II data – definitions must be there

Note: Members are to report and make available up-to-date WIGOS metadata as specified in section 2.5.2.

2.4.5 Incident management

Members who exchange weather radar observations shall report any major incidents they detect to international recipients of observational data, and shall state when such incidents have been resolved, in accordance with the incident management systems under WIGOS.

2.4.5.1 Members should implement incident management to detect, identify, record, analyse and respond to any incident, in order to restore normal operation of the observing system as quickly as possible, minimizing the negative impact and preventing recurrence.

2.4.5.2 Members shall implement procedures to detect, analyse and respond to system faults and human errors at the earliest stage possible.

Notes:

1. Some incidents, such as internal problems within the observing systems, may be detected automatically and reported without delay to international recipients of observations. Other incidents may be detected with delay or through periodic checks and reported accordingly.

2. Automatic incident detection can be performed using either built‑in test equipment or external monitoring systems.

3. A centralized system can be used for monitoring the performance and health of AWS systems and networks. (Note under 2.2.2.9)

2.4.5.3 Members should record and analyse incidents as appropriate.

2.4.5.4 Members should provide incident information in accordance with 2.5 in real time. *(2.6.5.2, 2.7.5.2)*

Note: Such reporting in real-time will be feasible when a corresponding WMO format is available.

2.4.6 Change management

2.4.6.1 Members should carefully plan and manage changes to ensure continuity and consistency of observations and record any modification related to the observing system.

Note: This requirement relates to any change in the observing system, including an observing station, observing programme, instruments, methods of observation, and so on.

2.4.6.2 When making changes to the observing system, Members should notify national and international stakeholders and observations users in advance, record and document such changes and update relevant metadata in accordance with section 2.5. *(2.5.18; 2.6.6.2; 2.7.6.2)*

Notes:

1. These notifications include information on the expected impacts and the time period over which the change will take place and, importantly, when the period of change is complete.

2. The record of changes includes the nature and characteristics of the change, the date and time of implementation and the reason for making the change.

2.4.6.2 In the event of significant changes in instruments or methods of observation used or the location in which observations are made, Members should ensure a sufficiently long period (to capture all expected climatic conditions) of overlap, with dual operation of old and new systems to identify biases, inconsistencies and inhomogeneities.

2.4.7 Maintenance

Edit. Note: ensure that there is reference to prior negotiation and notice before planned maintenance

2.4.7.1 Members shall ensure that each observing system is rigorously maintained.

2.4.7.2 Members shall perform regular preventive maintenance of their observing systems including their instruments.

Note: Carefully organized preventive maintenance of all system components is recommended to minimize corrective action and to increase the operational reliability of an observing system.

2.4.7.3 Members shall determine the frequency and timing (schedule) of the preventive maintenance taking into account the type of observing system, environmental and climate conditions of the observing site and platform, and the instrumentation installed.

2.4.7.4 Members shall perform corrective maintenance in case of failure of an observing system component as soon as practically possible once the problem has been detected.

Note: explanation on “as soon as practically possible” … The assessment of what is practically possible may take into account the severity of the issue.

2.4.7.5 Members shall employ adaptive maintenance that satisfies the requirements for stability, continuity and consistency of observations through time.

2.4.7.6 Members should/shall consider any maintenance activity with negative impact on data availability and quality as an incident. *(2.2.2.18, Note 2; 2.6.7.6, Note 2)*

2.4.7.7 Members should/shall flag, remove or not report, as appropriate, observations that is adversely impacted by maintenance activities. *(2.2.2.19)*

Note: Detailed guidance on maintenance of observing systems and instruments is given in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), including technical papers on GAW measurements referenced in Part I, Chapter 16; the Guide to Hydrological Practices (WMO‑No. 168) and the Manual on Stream Gauging (WMO-No. 1044).

2.4.8 Inspection

Members shall arrange periodic inspection of their observing systems with the frequency and timing (schedule) adequate for the type of observing system, environmental and climate conditions of the observing site and platform, and the instrumentation installed.

Notes:

1. Such inspection could be undertaken directly or remotely, as necessary, to monitor the correct functioning of observing platforms and instruments. 2. Further guidance is available in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, 1.3.5; Part II, 1.7; Part IV, 1.10.1 and 4.3.4; the Guide to Climatological Practices (WMO-No. 100), 2.3.5, 2.6.6.; the Guide to Hydrological Practices (WMO‑No. 168), Volume I: Hydrology – From Measurement to Hydrological Information, 9.8.4; and the Guide to the Global Observing System (WMO-No. 488), 3.1.3.8.

2.4.9 Calibration procedures

2.4.9.1 Members shall ensure that measurement systems and instruments are calibrated regularly in accordance with adequate procedures for each type of system and instrument, as described in the relevant sections of the present Manual.

Notes:

1. Where international or national standards are not available, the basis for calibration is defined or supplied by the manufacturer or by the Scientific Advisory Groups for GAW observations.

2. Detailed guidance on calibration procedures is given in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part III, Chapter 6; the Guide to Hydrological Practices (WMO-No. 168) and the Manual on Stream Gauging (WMO-No. 1044).

3. In the GAW Programme, World Calibration Centres perform the audit of the stations and require that every laboratory is traceable to the single network standard.

2.4.9.2 Members shall ensure that the measuring devices they use are:

(a) Calibrated or verified at specified intervals, or prior to use, against measurement standards traceable to international or national standards. Where no such standards exist, the basis used for calibration or verification shall be recorded;

(b) Adjusted or readjusted as necessary, but at the same time safeguarded from adjustments that would invalidate the measurements;

(c) Identified, enabling the calibration status to be determined;

(d) Protected from damage and deterioration during handling, maintenance and storage.

Note: Details regarding hydrological observations are given in the Technical Regulations (WMO‑No. 49), Volume III: Hydrology; guidance is available in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), the Guide to Hydrological Practices (WMO-No. 168) and the Manual on Stream Gauging (WMO-No. 1044).

2.4.9.3 When the equipment is found not to conform to requirements, the Member shall assess and record the validity of previous measuring results and take appropriate action on the equipment and the products affected.

2.4.9.4 Members shall record and maintain the results of calibration and verification.

2.4.9.5 Members should consider any calibration or verification activity with negative impact on data availability and quality as an incident. *(2.2.2.25, Note 1; 2.6.9.2, Note 2, 2.7.9.3, Note 3)*

2.4.9.6 Members should flag, remove or not report, as appropriate, observations that is adversely impacted by calibration or verification activity.

2.5. Observational metadata

2.5.1 Purpose and scope

Edit. Note: it needs some reference to real-time versus non-real-time MD, see e.g. weather radar in section 5

Notes:

1. Observational metadata are essential as they enable users of observations to assess their suitability for the intended application, and managers of observing systems to monitor and control their systems and networks. Members benefit from sharing observational metadata which describe quality of observations and provide information about stations and networks used to collect those observations.

2. Discovery metadata, defined in the Manual on the WMO Information System (WMO-No. 1060), are concerned with discovering and accessing information, including observations and their observational metadata. Requirements for discovery metadata are specified in the Manual on the WMO Information System and are not considered further here.

2.5.1.1 For all WIGOS observations they make available internationally, Members shall record and retain the observational metadata specified as mandatory in Appendix 2.4 and in the WIGOS Metadata Standard(WMO-No. 1192).

Notes:

1. The WIGOS Metadata Standard defines a common set of requirements for observational metadata. It includes a detailed list of mandatory, conditional and optional metadata.

2. “Not available”, “unknown” or “not applicable” are valid values for many elements of the WIGOS Metadata Standard. These terms assist Members in achieving compliance with the standard, particularly while developing the capability to report actual values.

2.5.1.2 For all WIGOS observations they make available internationally, Members shall record and retain the observational metadata specified as conditional in Appendix 2.4 and in the WIGOS Metadata Standardwhenever the related condition is met.

2.5.1.3 For all WIGOS observations they make available internationally, Members should record and retain the observational metadata specified as optional in Appendix 2.4 and in the WIGOS Metadata Standard.

Notes:

1. Further requirements for observational metadata beyond the WIGOS Metadata Standard are stated in the following sections. In the case of GOS, as noted in chapter 5, the Manual on the Global Observing System (WMO-No. 544) contains further provisions for GOS metadata.

2. Further guidance on metadata and sound metadata practices, is provided in Guides and specific documentation associated with the individual observing system components.

2.5.2 Exchanging and archiving observational metadata

2.5.2.1 Members shall make available internationally, without restriction, those mandatory and conditional (whenever the condition is met) observational metadata that support observations made available internationally.

2.5.2.2 Members making observations available internationally shall retain and make available, without restriction, observational metadata for at least as long as they retain the observations described by the observational metadata.

2.5.2.3 Members making available internationally archived observations shall ensure that all WIGOS metadata describing the observations remain available, without restriction, for at least as long as the observations are retained.

2.5.2.4 Members making available internationally archived observations should ensure that any additional observational metadata describing the observations remain available, without restriction, for at least as long as the observations are retained.

2.5.3 Global compilation of observational metadata

2.5.3.1 Members shall make available to WMO for global compilation those components of the WIGOS metadata that are specified as mandatory or conditional (whenever the condition is met).

Note: Global compilations of WIGOS metadata are held in several databases. The database of the Observing Systems Capability Analysis and Review tool (OSCAR) of the WIGOS Information Resource (WIR) is the key source of information for WIGOS metadata. Other global compilations of specific components of WIGOS metadata include elements of the GAW Station Information System (GAWSIS), the database of the JCOMM In Situ Observations Programme Support Centre (JCOMMOPS) and others. Purpose and management of WIR and OSCAR are described in Attachment 2.2.

2.5.3.2 For all WIGOS component observing systems they operate, Members shall keep the relevant databases of WMO observational metadata up to date with the required WIGOS metadata.

2.5.3.3 Members shall routinely monitor the content of WIGOS metadata databases and provide feedback to WMO Secretariat on identified discrepancies, possible errors and required changes with respect to the WIGOS component observing systems they operate.

2.5.3.4 Members shall designate their national focal points responsible for making available metadata and monitoring content of WMO observational metadata databases, and inform the Secretariat accordingly.

2.5.3.5 Members delegating to a global or regional entity the responsibility of the national focal point for all or part of the observing networks they operate shall inform the Secretariat accordingly.

2.6 Quality management

Notes:

1. Detailed guidance on how to develop and implement a quality management system (QMS) to ensure and enhance the quality of products and services of NMHSs is provided in the Guide to the Implementation of a Quality Management System for National Meteorological and Hydrological Services (WMO-No. 1100).

2. Definitions, terminology, vocabulary and abbreviations used in relation to quality management are those of the ISO 9000 family of standards for quality management systems, in particular ISO 9000:2015, Quality Management Systems – Fundamentals and vocabulary.

3. A QMS can be implemented only by the body that has the resources and the mandate to manage the observing system. According to the WMO QMF, Members are urged to follow the standard and recommended practices and procedures associated with implementation of a QMS. In practice, however, it is one or more organizations within the Member country that own and operate observing systems and provide observations and observational metadata, most notably the NMHSs. Therefore, implementation of the WMO QMF relies on the Member making arrangements for such organizations to implement a QMS.

4. In this section, the term “observations” includes also observational metadata.

2.6.1 Scope and purpose of WIGOS quality management

Note: The practices and procedures of WIGOS enable Members to comply with the WMO QMF in relation to the quality of observations.

2.6.2 WIGOS component of the WMO Quality Management Framework

2.6.2.1 Quality policy

2.6.2.1.1 In the establishment and maintenance of WIGOS observing systems, Members should ensure optimum affordable quality for all observations.

2.6.2.1.2 Members should, through a process of continual improvement, pursue effective and efficient management and governance of observing systems.

2.6.2.2 Application of the eight principles of quality management

Members should apply the eight principles of quality management to the implementation of WIGOS, as specified in Appendix 2.5.

2.6.3 WIGOS quality management processes

Note: The processes and roles of various entities are described in Attachment 1.1.

2.6.3.1 Determination and maintenance of user requirements

Note: The WMO RRR process for compiling observation user requirements is described in section 2.2.4 and Appendix 2.3.

2.6.3.2 Development and documentation of observing system standards and recommendations

Through involvement in the work of technical commissions, Members should participate in the development of observing system standard and recommended practices and procedures.

2.6.3.3 Training of personnel and capacity development

Members should ensure appropriate planning and implementation of training and capacity development activities.

2.6.3.4 Performance monitoring

Members should use and respond to the results, advice and reports of designated monitoring centres and any subsequent advice of expert groups.

2.6.3.5 Feedback, change management and improvement

2.6.3.5.1 Members should ensure that inconsistencies and other problems identified by WIGOS Lead and Monitoring Centres are rectified in a timely manner and that a process for their documentation and rectification is implemented and maintained.

2.6.3.5.2 Upon identification or notification of inconsistencies or other problems related to quality of observations, Members should analyse the problem detected and make the necessary improvements to operational practices and procedures so as to minimize the adverse impacts of those problems and prevent their recurrence.

2.6.3.5.3 Members should ensure that changes to operational practices and procedures are accordingly documented.

2.6.4 WIGOS aspects of development and implementation of the quality management system of Members

Note: This section specifies requirements for the integration of WIGOS practices and procedures into the QMS of Members. The requirements are based on the eight clauses of the ISO 9001 Standard. The Guide to the Implementation of a Quality Management System for National Meteorological and Hydrological Services (WMO-No. 1100) provides extensive explanatory notes about the eight clauses. The five subsections that follow correspond to the last five of those clauses, providing further details about the elements required in a QMS.

2.6.4.1 General requirements for the content of a quality management system

Members should identify their high-level processes and interactions that lead to the provision of observations.

Note: In addition to WIGOS specific provisions, there are many other general requirements for the content of a QMS that are not unique to WIGOS observations, hence are not repeated here.

2.6.4.2 Requirements related to management and planning

2.6.4.2.1 Members should clearly demonstrate and document their commitment to the integration of WIGOS quality management practices within their QMS.

2.6.4.2.2 Members should carefully identify and routinely review user requirements for observations prior to attempting to meet user needs.

2.6.4.2.3 Members should ensure that their published quality policy is consistent with the WIGOS quality policy.

2.6.4.2.4 Members should establish and indicate the objectives for the observations they intend to provide in the future so as to guide stakeholders, users and clients on the expected evolution of and changes to the observing systems they operate as a contribution to WIGOS.

Note: The objectives referred to in this provision constitute the WIGOS quality objectives.

2.6.4.2.5 Members should appoint a quality manager.

2.6.4.3 Requirements related to resource management

2.6.4.3.1 Members should determine and provide the resources needed to maintain and continuously improve the effectiveness and efficiency of their processes and procedures.

2.6.4.3.2 Members should define the competencies required for staff involved in the provision of observations.

2.6.4.3.3 Members should take steps to rectify any competency shortcomings identified for new or existing employees.

2.6.4.3.4 Members should implement policies and procedures to maintain the infrastructure required for the provision of observations.

2.6.4.4 Requirements related to the provision of observations

2.6.4.4.1 Members should undertake sound planning for the provision of observations.

Note: Such planning includes the following:

(a) Determination and continuous review of user and client requirements;

(b) Translation of user and client requirements into objectives and targets for observations and observing system design;

(c) Initial and ongoing allocation of adequate resources for all aspects of the design, implementation and maintenance processes of observing systems;

(d) Implementation of design processes and activities, including communication strategies and risk management, that will ensure and confirm the development and implementation of observing systems capable of meeting the design objectives and user and client requirements;

(e) Appropriate and ongoing documentation of planning processes and their results.

2.6.4.4.2 Members should identify the users of their observing systems and establish and document users' requirements for observations.

Note: The means for doing this include:

(a) The WMO RRR process, described in section 2.2.4 and Appendix 2.3;

(b) Other processes to establish user requirements within WMO Programmes through the activities of WMO technical commissions;

(c) Regional processes through the activities of WMO regional associations and other multilateral groupings of Members;

(d) National processes.

2.6.4.4.3 Members should have a clear description of the requirements that are agreed upon.

Note: It is important to note the difference between aspirational requirements and agreed requirements. The establishment of requirements provides essential information for the monitoring and measurement of conformance.

2.6.4.4.4 Members should identify and adhere to any statutory or regulatory requirements in relation to the provision of observations.

2.6.4.4.5 Members should design and develop, or otherwise implement, observing systems to satisfy the agreed user requirements.

2.6.4.4.6 Members should use a formal change management process to ensure that all changes are assessed, approved, implemented and reviewed in a controlled manner.

2.6.4.4.7 Members should conduct purchasing in a controlled manner.

Note: Observing systems are highly specialized and often require major expenditure. Staff responsible for purchasing orders or for providing information to suppliers must, therefore, ensure that the information and specifications provided are clear, unambiguous and based on the design objectives and system requirements to enable the delivery of the appropriate products and services. Purchasing in a controlled manner entails the following:

(a) Written specification of all performance requirements for equipment and/or services;

(b) Ensuring that purchasing is subject to a competitive process of more than one candidate for supply of equipment or services;

(c) Assessment of candidates for supply of equipment or services based on merit and suitability for purpose, which can be discerned from:

(i) Written tendering or quotation of candidates;

(ii) Experience or reliable anecdotal evidence of past performance;

(iii) Recommendation of Member or recognized organization or agency;

(d) Documentation of the purchasing process and outcomes.

2.6.4.4.8 Members should include in their QMS the WIGOS provisions covering methods of observation, calibration and traceability, operational practices, maintenance and observational metadata.

2.6.4.4.9 Members should implement practices and procedures which ensure that observations remain accurate.

Note: Observations need to be checked as they must meet the agreed requirements. The methods include automated algorithms, manual inspection and oversight.

2.6.4.5 Requirements for monitoring, performance measurement, analysis and improvement

2.6.4.5.1 Members should use the agreed user requirements for observations (see 2.6.4.4) as a basis for defining and implementing appropriate measures of performance and success.

Note: It is important to gain a clear understanding of how satisfied users are with observations. This requires the monitoring of information on users’ perception and on whether their expectations have been met. Surveys are commonly used for this purpose.

2.6.4.5.2 Members should implement activities to gain information on the satisfaction of users of observations.

2.6.4.5.3 Members should ensure that staff are made aware of the methods employed for determining users’ perceptions and expectations, and that those methods are applied consistently.

2.6.4.5.4 Members should regularly conduct internal audits of WIGOS processes and procedures and analyse their results as part of the management processes of the observing system.

Note: A detailed explanation of the requirements of the internal audit is provided in the Guide to the Implementation of a Quality Management System for National Meteorological and Hydrological Services (WMO-No. 1100), chapter 4, section 4.3, clause 8, requirement 8.2.2.

2.6.4.5.5 Members should monitor the degree of adherence to the defined processes and requirements for producing observations.

Note: Ideally, performance monitoring will be conducted against specific key performance indicators and target levels of performance.

2.6.4.5.6 Members should monitor and measure the suitability and the quality of their observations as they are produced, in order to compare their characteristics with the agreed requirements.

Note: The means to do this include:

(a) The devising, implementation and routine analysis of manually or automatically generated key performance indicators and their associated targets;

(b) Manual inspection and oversight of observations produced.

2.6.4.5.7 Members should record instances of non-conformity with requirements, and endeavour to rectify problems in a timely manner.

2.6.4.5.8 Members should maintain a documented corrective action procedure relevant to observations.

2.6.4.5.9 Members should specify and implement procedures that describe how non-conforming observations or observational metadata are identified, how they are dealt with, who is responsible for deciding what to do, what action should be taken and what records are to be kept.

Note: A detailed explanation of the requirements for corrective action is provided in the Guide to the Implementation of a Quality Management System for National Meteorological and Hydrological Services (WMO-No. 1100), Chapter 4, section 4.3, clause 8, requirements 8.2.3 and 8.2.4.

2.6.4.5.10 Members should analyse monitoring results to detect any performance-related changes, trends and deficiencies and use the results and analyses as input for continual improvement.

Note: Analysing trends and taking action prior to the occurrence of a case of non-conformity helps to prevent problems.

2.6.4.5.11 Members should maintain documented preventive action procedures relevant to observing systems and ensure that staff are aware of and, if necessary, trained in their routine application.

Note: Due consideration might be given to combining the preventive and the corrective action procedures for efficiency, and to simplify the process.

2.6.5 Compliance, certification and accreditation

Note: While WMO encourages the certification of Members’ quality management systems by accredited agencies, unless otherwise required of a particular WIGOS component system or subsystem, there is no general regulated requirement for certification of QMS for WIGOS observing systems.

2.6.6 Documentation

2.6.6.1 Members should include the WIGOS quality policy (2.6.2.1) and objectives (2.6.4.2) in their QMS quality manual.

2.6.6.2 Members should include in their QMS documentation those documents that describe the procedures related to WIGOS, including, in particular, those relating to control of non-conforming observations, and corrective and preventive actions.

2.6.6.3 Members should include in their QMS documentation those documents that describe the procedures required to ensure the effective planning, operation and control of their WIGOS processes.

2.6.6.4 Members should include in their QMS documentation those records required by the ISO 9001 standard.

Note: More detailed information on documentation requirements is provided in the Guide to the implementation of a Quality Management System for National Meteorological and Hydrological Services (WMO-No. 1100), Chapter 4, section 4.3, clause 4, requirement 4.2.

2.7 Capacity development

2.7.1 General

2.7.1.1 Members should identify their needs for capacity development in all activity areas of WIGOS.

2.7.1.2 Members should develop plans to meet their capacity development needs.

Note: In addition to national resources allocated to NMHSs, support may be available from other domestic agencies, the WMO regional association concerned, other Members through bilateral or multilateral arrangements, and WMO Programmes (including appropriate technical commissions).

2.7.1.3 Members should establish bilateral and multilateral collaboration (within and beyond their Region) where necessary to address significant capacity development needs.

2.7.1.4 When planning capacity development activities, Members should take a holistic approach considering institutional, infrastructural, procedural and human resource requirements to support both current and continuing needs for installation, operation, maintenance, inspection and training. For this purpose, Members should prepare specific capacity development plans with measurable objectives to enable effective implementation, monitoring and assessment.

Note: Funds to meet these requirements should be planned well ahead, subject to national policies of Members, to assure long-term sustainable networks.

2.7.2 Training

2.7.2.1 Members shall provide adequate training for their staff or take other appropriate actions to ensure that all staff are suitably qualified and competent for the work assigned to them.

Note: This requirement is applied both to initial recruitment or introductory training and to continuing professional development.

2.7.2.2 Each Member should ensure that the qualifications, competencies, skills (and thus training) and numbers of their personnel or other contractors match the range of tasks to be performed.

2.7.2.3 Each Member should inform the staff of their role and how they contribute to the achievement of the quality objectives.

2.7.3 Infrastructural capacity development

Members should regularly review their infrastructure for collecting and making available observations and observational metadata and, as necessary, develop prioritized plans and priorities for capacity development.

APPENDIX 2.1. OBSERVING NETWORK DESIGN PRINCIPLES

1. Serving many application areas

Observing networks should be designed to meet the requirements of multiple application areas within WMO and WMO co-sponsored programmes.

2. Responding to user requirements

Observing networks should be designed to address stated user requirements, in terms of the geophysical variables to be observed and the space-time resolution, uncertainty, timeliness and stability needed.

3. Meeting national, regional and global requirements

Observing networks designed to meet national needs should also take into account the needs of WMO at the regional and global levels.

4. Designing appropriately spaced networks

Where high-level user requirements imply a need for spatial and temporal uniformity of observations, network design should also take account of other user requirements, such as the representativeness and usefulness of the observations.

5. Designing cost-effective networks

Observing networks should be designed to make the most cost-effective use of available resources. This will include the use of composite observing networks.

6. Achieving homogeneity in observational data

Observing networks should be designed so that the level of homogeneity of the delivered observational data meets the needs of the intended applications.

7. Designing through a tiered approach

Observing network design should use a tiered structure, through which information from reference observations of high quality can be transferred to other observations and used to improve their quality and utility.

8. Designing reliable and stable networks

Observing networks should be designed to be reliable and stable.

9. Making observational data available

Observing networks should be designed and should evolve in such a way as to ensure that the observations are made available to other WMO Members, at space-time resolutions and with a timeliness that meet the needs of regional and global applications.

10. Providing information so that the observations can be interpreted

Observing networks should be designed and operated in such a way that the details and history of instruments, their environments and operating conditions, their data processing procedures and other factors pertinent to the understanding and interpretation of the observational data (i.e. metadata) are documented and treated with the same care as the data themselves.

11. Achieving sustainable networks

Improvements in sustained availability of observations should be promoted through the design and funding of networks that are sustainable in the long-term including, where appropriate, through the transition of research systems to operational status.

12. Managing change

The design of new observing networks and changes to existing networks should ensure adequate consistency, quality and continuity of observations during the transition from the old system to the new.

APPENDIX 2.2. CLIMATE MONITORING PRINCIPLES OF THE GLOBAL CLIMATE OBSERVING SYSTEM

2.2.1 Effective monitoring systems for climate should adhere to the following principles:

(a) The impact of new systems or changes to existing ones should be assessed prior to implementation;

(b) A suitable period of overlap between new and old observing systems is required. This would be a period of dual operation, under the same climatic conditions, of the current and new observing systems, to identify and record any impact of the change;

(c) The details and history of local conditions, instruments, operating procedures, data processing algorithms and other factors pertinent to interpreting data (i.e. metadata) should be documented and treated with the same care as the data themselves;

(d) The quality and homogeneity of data should be regularly assessed as part of routine operations;

(e) Consideration of the need for environmental and climate-monitoring products and assessments, such as the Intergovernmental Panel on Climate Change (IPCC) assessments, should be integrated into national, regional and global observing priorities;

(f) Operation of historically uninterrupted stations and observing systems should be maintained;

(g) Data-poor regions, poorly observed parameters, regions sensitive to change, and key measurements with inadequate temporal resolution should be high-priority areas for additional observations;

(h) Long-term requirements, including appropriate sampling frequencies, should be specified to network designers, operators and instrument engineers at the outset of system design and implementation;

(i) A carefully planned conversion of research observing systems to long-term operations should be promoted;

(j) Data management systems that facilitate access, use and interpretation of data and products should be included as essential elements of climate monitoring systems.

Furthermore, operators of satellite systems for monitoring climate need to:

- Take steps to make radiance calibration, calibration-monitoring and satellite-to-satellite cross-calibration of the full operational constellation a part of the operational satellite system; and

- Take steps to sample the Earth system in such a way that climate-relevant (diurnal, seasonal, and long-term interannual) changes can be determined.

2.2.2 Satellite systems for climate monitoring should adhere to the following specific principles:

(a) Constant sampling within the diurnal cycle (minimizing the effects of orbital decay and orbit drift) should be maintained;

(b) A period of overlap for new and old satellite systems should be ensured that is long enough to determine inter-satellite biases and maintain the homogeneity and consistency of time-series observations;

(c) Continuity of satellite measurements (i.e. elimination of gaps in the long-term record) through appropriate launch and orbital strategies should be ensured;

(d) Rigorous pre-launch instrument characterization and calibration, including radiance confirmation against an international radiance scale provided by a national metrology institute, should be ensured;

(e) On-board calibration adequate for climate system observations should be ensured and associated instrument characteristics should be monitored;

(f) Operational provision of priority climate products should be sustained, and peer-reviewed new products should be introduced as appropriate;

(g) Data systems needed to facilitate user access to climate products, metadata and raw data, including key data for delayed-mode analysis, should be established and maintained;

(h) Use of functioning baseline instruments that meet the calibration and stability requirements stated above should be maintained for as long as possible, even when such instruments exist on decommissioned satellites;

(i) Complementary in situ baseline observations for satellite measurements should be maintained through appropriate activities and cooperation between space agencies and owners of in situ networks;

(j) Random errors and time-dependent biases in satellite observations and derived products should be identified.

APPENDIX 2.3. THE WMO ROLLING REVIEW OF REQUIREMENTS

1. General

The Rolling Review of Requirements (RRR) compiles information on Members’ evolving requirements for observations in the application areas that directly use observations; the extent to which current and planned WIGOS observing systems satisfy those requirements; guidance from experts in each application area on gaps and priorities, in order to tackle the deficiencies and opportunities in WMO observing systems; and plans for the future evolution of WIGOS observing systems.

The application areas are:

(a) Global numerical weather prediction (GNWP);

(b) High-resolution numerical weather prediction (HRNWP);

(c) Nowcasting and very short-range forecasting (NVSRF);

(d) Seasonal and interannual forecasting (SIAF);

(e) Aeronautical meteorology;

(f) Forecasting atmospheric composition;

(g) Monitoring atmospheric composition;

(h) Atmospheric composition for urban applications;

(i) Ocean applications;

(j) Agricultural meteorology;

(k) Hydrology;

(l) Climate monitoring (as undertaken through the Global Climate Observing System (GCOS));

(m) Climate applications;

(n) Space weather.

Note: A detailed and up-to-date description of the RRR process is available on the WMO website at <http://www.wmo.int/pages/prog/www/OSY/GOS-RRR.html>.

Observational requirements for WMO polar activities and the Global Framework for Climate Services (GFCS) are also being considered.

An expert is identified for each application area to be the Point of Contact. This expert has a very important role as the conduit to the RRR for input to and feedback from the entire stakeholder community for that application area.

The nominated Points of Contact should coordinate with their application area community (technical commission and WMO programme or co-sponsored programme, as appropriate) as needed in order to perform the following tasks:

(a) Investigate whether it is appropriate to represent the application area in several sub-applications;

(b) Submit the quantitative user observational requirements to the OSCAR/Requirements database (see <http://www.wmo-sat.info/oscar/observingrequirements>), review and keep up to date these requirements, and make changes as needed (the Points of Contact are provided with the required access rights);

(c) Produce, review and revise the Statement of Guidance for their application area;

(d) Review how cross-cutting activities (for example, those related to the cryosphere and climate services) are taken into account in the user requirement database and in the Statement of Guidance for the application area.

Note: The user requirements for observations, compiled through the RRR process, are stored and made available by the WIGOS Information Resource (WIR, which includes the OSCAR/Requirement database) as described in detail in Attachment 2.2.

The RRR process consists of four stages, as illustrated in the figure below:

1. A review of technology-free (that is, not constrained by any particular type of observing technology) user requirements for observations, within each of the WMO application areas (see section 2.1);

2. A review of the observing capabilities of existing and planned observing systems, both surface- and space-based;

3. A critical review, that is a comparison of requirements with the observing system capabilities;

4. A Statement of Guidance providing a gap analysis with recommendations on how to address the gaps for each application area.

Schematic representation of the steps included in the RRR process

2. Review of user requirements for observations

Notes:

1. This stage of the RRR is described briefly in section 2.1.

2. Regional associations examine and provide Points of Contact with additional details for the compiled user requirements, taking into account the particular requirements of the Region and transboundary river basin authorities.

3. Review of current and planned observing system capabilities

Members shall take steps for collecting, reviewing, recording and making available information on current and planned capabilities of observing systems.

Note: Information on observing system capabilities is in the form of metadata and is to be made available for global compilation according to the provisions of section 2.5.

4. The critical review

Note: This WMO Programme activity proceeds with assistance from the Points of Contact of the application areas. It compares the quantitative user observational requirements of each application area with the observing system capabilities.

5. Statements of Guidance

Notes:

1. The Statement of Guidance interprets the output of the critical review as a gap analysis and identifies priorities for action: the most feasible, beneficial and affordable initiatives to deal with the identified gaps or shortcomings in WMO observing systems for an application area. This draws on the subjective judgement and experience of the Points of Contact, the experts and other stakeholders they consult within their application area.

2. This stage of the RRR requires the Points of Contact to coordinate with their application area community and stakeholders, as needed, in order to produce, review and revise the Statement of Guidance for the application area.

APPENDIX 2.4. THE WIGOS METADATA STANDARD

Note: This appendix is designated as technical specifications in accordance with Resolution 12 (EC-68) – Fast-track procedure for amendments to Manuals and Guides managed by the Commission for Basic Systems.

1. General

This appendix refers to the WIGOS Metadata Standard, which consists of the set of observational metadata elements to be made available internationally, for the effective interpretation by all observations users of observations from all WIGOS component observing systems. In this way, metadata users can access important information about why, where and how an observation was made. Metadata also provide information on the processing of the raw data and data quality. Note that WIGOS metadata, which is required from specific components or subsystems, is detailed in sections 3–8.

The table below presents categories (or groups) of metadata, each containing one or more elements. Each element is classified (using the same terminology as ISO) as mandatory (M), conditional (C) or optional (O). In the table, the mandatory elements are shown in bold and the conditional elements in italics.

A more detailed definition of each metadata element, together with notes and examples, as well as the explanation of the conditions that apply to the conditional elements are specified in the WIGOS Metadata Standard (WMO-No. 1192).

2. Members’ obligations

Mandatory metadata elements shall always be made available. The content of the corresponding fields shall never be empty: either the metadata value, or in specified cases the reason for no-value, shall be made available.

Conditional metadata elements shall be made available when the specified condition or conditions are met, in which case the content of the corresponding fields shall never be empty: either the metadata value or the reason for no-value, shall be made available.

Optional metadata elements should be made available, as they provide useful information that can help to better understand an observation. These elements are likely to be important for a particular community, but less so for others.

3. Adoption through a phased approach

Making available WIGOS metadata will generate substantial benefits for Members, but developing the capacity to make available these metadata requires a substantial effort on the part of (meta)data providers. To help Members comply with reporting obligations, guidance material will be developed and provided.

Moreover, reporting obligations will be enforced in phases, in order to allow Members sufficient time to develop the capacity to comply. Balancing the effort required to generate and make available individual elements and the need to have this information to make adequate use of observations, implementation will proceed in three phases as shown in the table below. Importantly, the elements required by the end of Phase I are either the mandatory elements contained in Weather Reporting (WMO-No. 9), Volume A, or those of critical importance for the Observing Systems Capability Analysis and Review (OSCAR) tool of the WIGOS Information Resource (WIR), and are considered of benefit for all WMO application areas. Phase II adds elements recognized to be more challenging for Members, but the knowledge of which is still necessary for the adequate use of observations, in particular for assessing the quality of observations. Phase III adds the remaining elements specified in this version of the standard.

Elements emerging as being important for specific application areas or observing programmes will be added to the standard as it evolves.

List of elements specified in the WIGOS Metadata Standard, and implementation phases for Members

|  |  |  |  |
| --- | --- | --- | --- |
| Category | Phase I | Phase II | Phase III |
| 2016 | 2017–2018 | 2019–2020 |
| 1. Observed variable | 1-01 Observed variable – measurand (M) | 1-05 Representativeness (O) |  |
| 1-02 Measurement unit (C) |
| 1-03 Temporal extent (M) |
| 1-04 Spatial extent (M) |
| 2. Purpose of observation | 2-01 Application area(s) (M) |  |  |
| 2-02 Programme/network affiliation (M) |
| 3. Station/ platform | 3-01 Region of origin of data (C) | 3-04 Station/platform type (M) | 3-05 Station/platform model (M) |
| 3-02 Territory of origin of data (C) | 3-08 Data communication method (O) |
| 3-03 Station/platform name (M) |
| 3-06 Station/platform unique identifier (M) |
| 3-07 Geospatial location (M) |
| 3-09 Station operating status (M) |
| 4. Environment |  | 4-04 Events at observing facility (O) | 4-01 Surface cover (C) |
| 4-05 Site information (O) | 4-02 Surface cover classification scheme (C) |
| 4-03 Topography or bathymetry (C) |
| 4-06 Surface roughness (O) |
| 4-07 Climate zone (O) |
| 5. Instruments and methods of observation | 5-01 Source of observation (M) | 5-11 Maintenance party (O) | 5-04 Instrument operating status (O) |
| 5-02 Measurement/observing method (M) | 5-12 Geospatial location (C) | 5-06 Configuration of instrumentation (C) |
| 5-03 Instrument specifications (C) | 5-15 Exposure of instruments (C) | 5-07 Instrument control schedule (C) |
| 5-05 Vertical distance of sensor (C) | 5-08 Instrument control result (C) |
| 5-09 Instrument model and serial number (C) |
| 5-10 Instrument routine maintenance (C) |
| 5-13 Maintenance activity (O) |
| 5-14 Status of observation (O) |
| 6. Sampling | 6-03 Sampling strategy (O) | 6-05 Spatial sampling resolution (M) | 6-01 Sampling procedures (O) |
| 6-07 Diurnal base time (C) | 6-02 Sample treatment (O) |
| 6-08 Schedule of observation (M) | 6-04 Sampling time period (M) |
| 6-06 Temporal sampling interval (M) |
| 7. Data processing and reporting | 7-03 Temporal reporting period (M) | 7-02 Processing/analysis centre (O) | 7-01 Data-processing methods and algorithms (O) |
| 7-04 Spatial reporting interval (C) | 7-06 Level of data (O) | 7-05 Software/processor and version (O) |
| 7-11 Reference datum (C) | 7-09 Aggregation period (M) | 7-07 Data format (M) |
| 7-10 Reference time (M) | 7-08 Version of data format (M) |
| 7-12 Numerical resolution (O) |
| 7-13 Latency (of reporting) (M) |
| 8. Data quality |  | 8-01 Uncertainty of measurement (C) |  |
| 8-02 Procedure used to estimate uncertainty (C) |
| 8-03 Quality flag (M) |
| 8-04 Quality flagging system (M) |
| 8-05 Traceability (C) |
| 9. Ownership and data policy | 9-02 Data policy/use constraints (M) | 9-01 Supervising organization (M) |  |
| 10. Contact | 10-01 Contact (nominated focal point) (M) |  |  |

APPENDIX 2.5. THE EIGHT PRINCIPLES OF QUALITY MANAGEMENT OF THE WMO QUALITY MANAGEMENT FRAMEWORK APPLIED TO WIGOS

1. User and client focus

Members should identify, document and understand the current and future needs of their users and clients for meteorological, climatological, hydrological, marine and related environmental observations.

Note: The means to achieve this includes participation in and application of the WMO Rolling Review of Requirements (RRR) (see section 2.2.4 and Appendix 2.3).

2. Leadership

Members should clearly define the goals and directions of their observing systems, and create an environment in which staff are encouraged to work towards those goals.

Note: The relevant WMO technical commissions provide technical guidance and leadership for the implementation of WIGOS. They provide information on WIGOS goals and directions, and stimulate the active involvement of technical experts from Member countries.

3. Involvement of experts

Experts from Member countries should be fully involved in the implementation of regulations pertaining to WIGOS quality management.

4. Process approach

Members should adopt a process-based approach to management of observing systems.

5. System approach to management

Members should identify, understand and manage WIGOS observing systems as sets of processes that may be operational, scientific or administrative, with the overall objective of producing the required observation outputs.

6. Continual improvement

Members should ensure that continual improvement is an integral and permanent component of WIGOS observing systems and is implemented through a range of processes and activities that include active participation in the WMO RRR; auditing of observing systems and sites; data quality monitoring and evaluation; and routine consultation with, and review of feedback from, WIGOS users and application areas, primarily through the WMO RRR.

Note: The outcome is the improvement of either the quality of observations or the efficiency of observing systems.

7. Factual approach to decision-making

Members should ensure that decisions, requirements and regulations associated with the design, development, implementation, operation, maintenance and evolution of WIGOS observing systems are based on scientifically, factually and analytically derived information.

Note: The above-mentioned information is available to Members through tools such as the WMO RRR, the WIGOS Information Resource (WIR), the Observing Systems Capability Analysis and Review (OSCAR) tool, and through WMO endorsed planning documents such as the Implementation Plan for the Evolution of Global Observing Systems (WIGOS Technical Report No. 2013-4). For further information see section 2.2.4, Appendix 2.1 and Attachment 2.2.

8. Mutually beneficial supplier relationships

Members should participate in, and share with each other and with suppliers, information and results of tests, trials and intercomparisons of instruments and systems, for the mutual benefit of both WIGOS and suppliers.

Note: Suppliers of instruments, systems and related products should be evaluated and selected on the basis of their ability to meet requirements and on the past performance of their products and services.

New attachment 2.1

Attachment 2.1 SPECIAL OBSERVATIONS IN SPECIAL CIRCUMSTANCES

1. General

For some purposes of some WMO application areas, the requirements for observations change as circumstances change. The circumstances might be a brief period of extreme, unexpected and/or dangerous conditions or a longer-lasting event such as volcanic activity, a tropical storm or an environmental emergency such as a nuclear accident. Seasonal changes also allow Members to achieve efficiencies by adapting to changing requirements. The requirements might be for additional time/s or frequency of observations, additional spatial location/s or resolution, and/or the inclusion of additional meteorological and non-meteorological variables. There might also be additional reporting requirements.

Special observations might be primarily designed for use in NWP by targeting sensitive areas during a specific weather event. WMO’s THORPEX research found that there are positive impacts for improving forecasts of tropical cyclone tracks. In other cases, special observations might be primarily designed for use in other (non-NWP) modes of analysis and decision support.

2. Special observations for tropical storms

2.1 Aircraft weather reconnaissance flights

Members are encouraged to organise and share observations from aircraft weather reconnaissance flights for the analysis and prediction of developing or threatening tropical storms. Flight times and frequency should be selected to best supplement other upper air and surveillance information.

These observations should include:

(a) Altitude and position of aircraft;

(b) Observations made at frequent intervals during a horizontal flight at low level;

(c) Observations made during flights at higher levels, as near as possible to standard isobaric surfaces;

(d) Vertical soundings, either by aircraft or by dropsonde.

The meteorological variables to be observed should include:

(a) Atmospheric pressure at which the aircraft is flying;

(b) Air temperature;

(c) Humidity;

(d) Wind (type of wind, wind direction and speed);

(e) Present and past weather;

(f) Turbulence;

(g) Flight conditions (cloud amount);

(h) Significant weather changes;

(i) Icing and contrails.

Note that “type of wind” refers to how the wind was determined and whether it was a mean or a spot wind.

Further guidance regarding observations made during meteorological reconnaissance flights is provided in the … .

2.2 Other observations

A description of other special observations during tropical storms is provided in Regional Association IV – Hurricane Operational Plan (WMO-No. 1163) , Chapter 6. Further references will be provided in a future edition of this Manual.

3. Special observations for environmental emergency response activities

In order for the designated Regional Specialized Meteorological Centres (RSMCs) to be in a position to provide Members with transport model products for environmental emergency response, the meteorological and non-meteorological (radiological) observational data requirements listed below need to be met. These observational data, particularly from the site of an accident, are also needed by Members so that they may take appropriate preventive and remedial action in case of an accidental release of radioactive material into the environment. Data should be made available promptly in accordance with the Convention on Early Notification of a Nuclear Accident (Article 5 (e)).

**A. Meteorological data requirements**

1. Data needed to run transport models are the same as those specified for the production of weather forecasts based on numerical weather prediction models, and are given in the *Manual on the Global Data-processing and Forecasting System* (WMO-No. 485) and the *Guide to the Global Observing System* (WMO‑No. 488), Appendix II.1.

2. Additional data[[1]](#footnote-1) from the accident site[[2]](#footnote-2) and potentially affected area[[3]](#footnote-3) are desirable, and should be available to the designated RSMC to improve the quality of information about the transport of pollutants. These should include:

(a) Wind, temperature and humidity, upper-air data;

(b) Precipitation data (type and amount);

(c) Surface air temperature data;

(d) Atmospheric pressure data;

(e) Wind direction and speed (surface and stack height) data;

(f) Humidity data.

3. The following systems should be in place to provide the data needed from the accident site in combination, as necessary and possible:

(a) At least one radiosonde station should be located at a suitably safe distance, to enable continued operation in an emergency situation and to provide data representative of conditions at or near the accident site;

(b) In an emergency situation, at the two or three stations closest to the site of the accident (and within 500 km) frequency should be increased to every three hours for the duration of the emergency. Stocks of consumables should be stored for use in emergency situations;

(c) At least one surface station should be located at the accident site or, if this is not possible, at a nearby site. It should be convertible to an hourly automated mode for both operations and telecommunications in case of emergency;

(d) Additional information should be provided at or near the accident site by instrumented towers or masts (up to 100 m) and conventional or Doppler radars, Sodars and boundary layer sondes with automatic transmission of data.

4. The data needed from the potentially affected area should be provided as follows:

(a) All upper-air stations within the potentially affected area should make observations every six hours for the duration of the emergency;

(b) Where possible, one or more additional observing systems (including use of wind profilers, mobile radiosounding equipment, and ascent/descent data from aircraft) should be provided;

(c) All surface stations within the potentially affected area, including those which do not normally exchange data internationally, should provide observational data to designated RSMCs. Platforms and buoys should also provide observational data to ensure adequate coverage of sea areas;

(d) A series of best estimates of precipitation should be made by combining information from direct measurements (automated or manual) of surface stations, composite radar information extending over the whole WMO Region and satellite-derived data.

**B. Non-meteorological data requirements**

1. In case of emergency, non-meteorological data to be provided to designated RSMCs from the accident site should include:

(a) Start of release (date, time);

(b) Duration;

(c) Radionuclide species;

(d) Total release quantity or pollutant release rate;

(e) Effective height of release.

Points (a) and (b) are necessary for running transport models, while (c), (d) and (e) are desirable additional data.

2. In order to calibrate and validate the atmospheric transport model forecasts processed, radiological data from potentially affected areas are needed. The most suitable radiological data are:

(a) Time-integrated air pollutant concentration;

(b) Total deposition.

3. The required data from the accident site and potentially affected area may be obtained by the following means:

(a) Fixed radiological monitoring stations;

(b) Mobile surface units;

(c) Radiological sounding; or

(d) Instrumental aircraft.

The frequency of observations should be increased from once per hour to once per 10 minutes during the accident (routine frequency of observations varies from once per hour to once per six hours).

**C. Exchange of meteorological and non-meteorological data**

1. Non-meteorological data and, to some extent, additional meteorological data are likely to be provided by non-meteorological national authorities. The National Meteorological or Hydrometeorological Services (NMSs) should encourage the provision of these data by non-meteorological agencies/operators to National Meteorological Centres (NMCs) for onward transmission to their associated RSMCs.

2. For the exchange of relevant meteorological and non-meteorological (radiological) data, a complete list of abbreviated heading bulletins, including all the regional meteorological and radiological observations, should be sent by Members to the Secretariat for insertion into *Weather Reporting* (WMO-No.  9), Volume C1 – Catalogue of Meteorological Bulletins.

3. Radiological data available in the early phase of a nuclear accident that assist to characterize the nuclear accident (containment radiation reading, on-site radiation levels, etc.) should be provided by national authorities to the International Atomic Energy Agency (IAEA) as soon as is practicable via the most reliable means of communication. The IAEA will verify and assess the information, and then provide these data to the appropriate RSMC, which should distribute them to NMCs via the GTS. In case of environmental emergencies, all relevant observational (meteorological and non-meteorological) data should be transmitted to both RSMCs and NMSs through the GTS as quickly as possible.

4. End-to-end testing of procedures for data acquisition, quality control, communication use and product dissemination should be carried out periodically to ensure system performance.

4. Special observations in the event of volcanic activity

Requirements in the event of volcanic activity potentially hazardous to aviation should be related to the observational data needed by Members for taking appropriate action; these data are specified below.

The International Airways Volcano Watch (IAVW) is coordinated and developed by the International Civil Aviation Organization (ICAO) Secretariat with the assistance of the Volcanic Ash Warnings Study Group. The *Handbook on the International Airways Volcano Watch (IAVW)* (ICAO Doc  9766) describes the operational procedures and the contact list for the implementation of the IAVW in the event of the occurrence of pre-eruption volcanic activity,[[4]](#footnote-4) volcanic eruptions and volcanic ash clouds.

**A. Meteorological data requirements**

The data needed to run transport models are the same as specified for the production of weather forecasts based on numerical weather prediction models, and are given in the *Manual on the Global Data-Processing and Forecasting System* (WMO-No. 485) and the *Guide to the Global Observing System* (WMO-No. 488), Appendix II.I.

1. Additional data[[5]](#footnote-5) are desirable from the area in the vicinity of the volcano and should be made available to the designated Meteorological Watch Offices and Volcanic Ash Advisory Centre (VAAC)[[6]](#footnote-6) to improve the quality of information about the transport of volcanic ash. These data are the same as specified for the special observation requirements for environmental emergency response activities, and are given in Attachment II.1 of this Manual.

2. Imagery data from geostationary and polar-orbiting satellites are required by the designated VAAC to ascertain whether a volcanic ash cloud is identifiable and to determine its extent (vertical and horizontal) [Reference: The *Handbook on the International Airways Volcano Watch (IAVW)*, Section 4.1.1 (c) and Section 4.5.1 (b)]. These data are also required to validate the transport model trajectory forecast and to determine when the volcanic ash has dissipated. The imagery data should:

(a) Be multi-spectral, covering visible and infrared wavelengths;

(b) Have adequate spatial resolution to detect small volcanic ash clouds (5 km or less);

(c) Have global coverage to provide data for all the VAACs;

(d) Have a frequent repeat cycle (30 minutes or less for the detection of volcanic ash and at least every six hours for the tracking of volcanic ash for transport model validation) [Reference: *Handbook on the International Airways Volcano Watch (IAVW)*, Section 4.4.1 (c) and Section 4.5.1 (d) and (e)];

(e) Be processed and delivered to the VAAC with a minimal delay.

3. Additional satellite data that can assist in the detection of pre-eruption volcanic activity, a volcanic eruption, or a volcanic ash cloud should be made available to the designated VAAC. These may include satellite data that can be used to detect volcanic hot-spots or sulphur dioxide emissions.

4. Data obtained from surface-based radar within range of the volcano should be made available to the designated VAAC. These data can be used to detect the presence of a volcanic ash cloud and measure its height.

**B. Non-meteorological data requirements**

1. The occurrence of pre-eruption volcanic activity, volcanic eruptions and volcanic ash clouds, because of the potential hazard to aviation, should be reported without delay to the designated Area Control Centres, Meteorological Watch Offices and VAAC, as described in the *Handbook on the International Airways Volcano Watch (IAVW)*. The report, in plain language, should be made in the form of a volcanic activity report comprising the following information, if available, in the order indicated:

(a) Message type: VOLCANIC ACTIVITY REPORT;

(b) Station identifier, location indicator or name of station;

(c) Date/time of message;

(d) Location of volcano and name, if known;

(e) Concise description of event including, as appropriate, level of intensity of volcanic activity, occurrence of an eruption and its date and time, and existence of a volcanic ash cloud in the area (with the direction of ash cloud movement and height, as best estimated).

2. Available geological data that indicates the occurrence of pre-eruptive volcanic activity or a volcanic eruption should be passed immediately to the designated Area Control Centres, Meteorological Watch Offices and VAAC [Reference: *Handbook on the International Airways Volcano Watch (IAVW)*, Section 4.1.1 (a)]. These data include:

(a) Volcanological observations;

(b) Seismological activity reports.

3. Pilot reports of pre-eruption volcanic activity, volcanic eruptions and volcanic ash clouds should be sent without delay to the designated Area Control Centres, Meteorological Watch Offices and VAAC [Reference: *Handbook on the International Airways Volcano Watch (IAVW)*, Section 4.1.1 (a)].

**C. Exchange of meteorological and non-meteorological data**

The exchange of all the above data is described in the *Handbook on the International Airways Volcano Watch (IAVW)*.

ATTACHMENT 2.2. WIGOS STATION IDENTIFIERS

1. Structure of WIGOS STATION identifiers

Figure 1 shows the structure of the WIGOS station identifier. The description of each component is given in the table below.

|  |  |  |  |
| --- | --- | --- | --- |
| WIGOS identifier series | Issuer of identifier | Issue number | Local identifier |

Figure 1. Structure of the WIGOS station identifier

Component parts of the WIGOS station identifier

|  |  |  |
| --- | --- | --- |
| Component | Description | Initial range – series 0 (stations) |
| WIGOS identifier series | This is used to distinguish between different systems for allocating identifiers. It allows future expansion of the system so that entities do not have to be issued with new identifiers if the structure of the WIGOS identifiers proves unable to meet future requirements. Different values of the WIGOS identifier series may correspond to different structures of the WIGOS identifier. Initial permitted range: 0-14. | 0 |
| Issuer of identifier | A number that is used to distinguish between identifiers issued by different organizations. It is allocated by WMO to ensure that only one organization can create a given WIGOS station identifier. | 0-65534 |
| Issue number | A number that an organization responsible for issuing an identifier may use to ensure global uniqueness of its identifiers. For example, allocating one issue number for hydrological stations and another for voluntary climate observing stations would enable the managers of the two networks to issue local identifiers independently without needing to check with each other that they were not duplicating identifiers. | 0-65534 |
| Local identifier | This is the individual identifier issued for each entity. An organization issuing identifiers must ensure that the combination of issue number and local identifier is unique; in that way global uniqueness is guaranteed. | 16 characters |

Notes:

1. The structure of WIGOS station identifiers has been designed to be general enough to identify other entities, such as individual instruments; however, this has not yet been implemented.

2. Although the table proposes initial ranges of permitted values of the components that make up a WIGOS identifier, future changes in requirements may result in these ranges being increased. Information technology systems must, therefore, be designed to process identifiers whose components are of arbitrary length. BUFR encodings will need to be prepared for WIGOS identifiers to allow efficient representation and these may use code lists to represent components of the identifier that are shared by many entities. Currently, station identifier = 0.

2. Notation for the WIGOS identifier

The convention for writing WIGOS identifiers (in the context of WIGOS) is:

<WIGOS identifier series>-<issuer of identifier>-<issue number>-<local identifier>

Here is an example of WIGOS identifier:

|  |  |  |  |
| --- | --- | --- | --- |
| WIGOS identifier series  0 | Issuer of identifier  513 | Issue number  215 | Local dentifier  5678 |

which would be written as 0-513-215-5678.

3. Representing the WIGOS identifier in contexts outside WIGOS

The following convention should be used to represent the WIGOS identifier outside WIGOS or to show the relationship between the WIGOS identifier and an identifier that has been defined in a different context:

|  |  |  |
| --- | --- | --- |
| int.wmo.wigos | WIGOS identifier | WIGOS supplementary identifier |

Figure 2. Structure of an extended WIGOS identifier

Both the int.wmo.wigos and the WIGOS supplementary identifier elements are optional.

int.wmo.wigos

The first component of the extended WIGOS identifier (int.wmo.wigos) allows it to be recognized as a WIGOS identifier when used in contexts where it may be ambiguous as to what type of identifier is being used. This is optional and need not be represented in BUFR, because the entries for the WIGOS identifier provide this information;

WIGOS identifier

The second component (WIGOS identifier) is defined above. Within a WIGOS context it is the only component of the WIGOS identifier that is always required;

WIGOS supplementary identifier

The final component (WIGOS supplementary identifier) is optional and is used to associate identifiers issued using other systems with the WIGOS unique identifier. A single WIGOS identifier may be associated with many WIGOS supplementary identifiers (such as an observing site that is used for both synoptic and aviation reporting), and a WIGOS supplementary identifier may be associated with many WIGOS unique identifiers (such as a World Weather Watch drifting buoy identifier that has been issued to many drifting buoys). In BUFR, this would be indicated by a specific table entry (such as IIiii for World Weather Watch station identifier).

Note: If the above example of WIGOS identifier (0-513-215-5678) was also associated with an identifier (MYLOCATION) issued by another authority, a valid extended WIGOS identifier would be int.wmo.wigos-0-513-215-5678-MYLOCATION.

ATTACHMENT 2.2. THE WIGOS INFORMATION RESOURCE

1. Purpose

The WIGOS Information Resource (WIR) is a tool designed to provide WIGOS stakeholders (observing network decision-makers, managers, supervisors, implementation coordination groups and observational data users) with all relevant information on the operational status and evolution of WIGOS and its observing components, and their capabilities to meet the user observational requirements of the WMO application areas; the operational requirements of WIGOS, including standard and recommended practices and procedures; and on best practices and procedures used in the WIGOS framework. The WIR serves a number of purposes and brings the following benefits to WMO Members:

(a) General information on WIGOS, its benefits to Members and the impact on Members of addressing WIGOS requirements;

(b) An overall description of the WIGOS component observing systems that are currently in place (list of observing networks, stations, their characteristics (metadata) including information on the observational products they deliver);

(c) Monitoring of the evolution of the observing systems and compare it with the plans in order to ascertain progress;

(d) An outline of existing national and regional plans for evolution of WIGOS component observing systems;

(e) Help for Members and those in charge of designing and implementing observing networks in understanding the requirements for the relevant observing systems, including standard and recommended practices and procedures and user observational requirements, in order for them to make appropriate decisions;

(f) Assistance for Members in identifying observational gaps through critical review and in conducting network design studies, in order for them to address those gaps;

(g) Help for Members in grasping the full potential of the current observing systems, including those operated by partner organizations, with regard to the WMO application areas, in order to enhance: (a) the scope and availability of observations made by specific observing stations; (b) collaboration; (c) data sharing; and (d) data exchange;

(h) Immediate access for data users to the list of WIGOS component observing systems and a basic set of observational metadata for each (specified by WMO Technical Regulations), with links to the appropriate national databases, where these exist, which contain more detailed information;

(i) Guidance for developing countries on observing network implementation, providing them with tools they can readily use to document their own observing systems (for example, by using the Observing Systems Capability Analysis and Review (OSCAR) tool of the WIR, they would not need to develop a national database);

(j) A mechanism for matching specific needs (capacity building, closing gaps, etc.) with resources (via knowledge sharing, donor contributions, etc.).

Notes:

1. The term observing station refers to any type of observing site, station or platform relevant to WIGOS, whether they are surface-based or space-based, on land, at sea, in a lake, river or in the air, fixed or mobile (including in the air), and making in-situ or remote observations.

2. Gaps are expressed in terms of required space and time resolution, observing cycle, timeliness and uncertainty for the WMO application areas.

2. The Observing Systems Capability Analysis and Review tool

The Observing Systems Capability Analysis and Review tool of the WIR is a key source of information for WIGOS metadata. The surface- and space-based components of OSCAR are intended to record observing platform/station metadata, according to the WIGOS Metadata Standard described in the present Manual and in the WIGOS Metadata Standard (WMO-No. 1192), and to retain a record of the current and historical WIGOS metadata.

3. Management of the Observing Systems Capability Analysis and Review

The management of OSCAR (for example, its functional specifications and their evolution) and its components is overseen by the WMO Secretariat in liaison with relevant expert groups and bodies, and in accordance with the WIGOS standards that have been agreed upon and recommended practices and procedures.

4. Content management of the Observing Systems Capability Analysis and Review

The WIGOS metadata are maintained under the authority of the Permanent Representatives with WMO.

The operator of OSCAR will collect feedback from Members on noted discrepancies, possible errors and required changes, so that the information content of OSCAR reflects the reality of the surface- and space-based capabilities of the observing platforms/stations they operate, including instrument and platform/station metadata.

The WMO Secretariat is responsible for coordinating management of the information content of OSCAR, with assistance from designated experts and focal points.

Current information can be found at <http://www.wmo.int/oscar>.

3. ATTRIBUTES SPECIFIC TO THE SURFACE-BASED SUBSYSTEM OF WIGOS

3.1. Requirements

Note: The user observational requirements of WMO application areas are expressed in a technology-free manner, hence they apply to all of WIGOS, not to any specific subsystem. The provisions of section 2.1 apply across all WIGOS subsystems.

3.2. Design, planning and evolution

3.2.1 Composition of the surface-based subsystem of WIGOS

3.2.1.1 The WIGOS surface-based subsystem shall be composed of surface stations within the component networks (for example, GOS, GAW, WHOS, GCW).

3.2.1.2 Members should implement elements of the WIGOS surface-based subsystem under the coordination of regional associations when appropriate.

Note: Information regarding the current capabilities of the surface-based subsystem is to be available through the OSCAR tool at http://[www.wmo.int/oscar](http://www.wmo.int/oscar).

3.3. Instrumentation and methods of observation

3.3.1 General requirements

3.3.1.1 Members shall classify their surface meteorological and climatological observing stations on land.

Note: The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, 1.1.2, Annex 1.B, provides guidelines on the classification of surface observing sites on land to indicate their representativeness for the measurement of different variables. The content of Annex 1.B will be included as an appendix in a future edition of the present Manual.

3.3.1.2 Members should locate each observing station at a site that permits instrument exposure against the requirements of the particular application and enables satisfactory non-instrumental observations.

Notes:

1. The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, Annexes 1.B and 1.C provides further guidelines.

2. Requirements for GAW stations are formulated in section 6.

3.3.1.3 Members shall accurately ascertain and refer the position of a station to the World Geodetic System 1984 (WGS-84) and its Earth Geodetic Model 1996 (EGM96).

Notes:

1. Guidelines are provided in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, 1.3.3.2.

2. The WGS-84 is currently not in general use in hydrology. Its description will be included as an appendix in a future edition of the present Manual.

3.3.1.4 Members shall define the elevation of the station.

Note: The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, 1.3.3.2(c), provides guidelines on defining the elevation of a station. This material will be included as an appendix in a future edition of the present Manual.

3.3.1.5 If a station is located at an aerodrome, Members shall specify the official elevation of the aerodrome in accordance with the Technical Regulations (WMO-No. 49), Volume II, Part II, Appendix 3, 4.7.2.

3.3.1.6 Members operating Regional Instrument Centres should follow the guidelines concerning capabilities and corresponding functions.

Note : The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Annex 1.A, provides guidelines concerning capabilities and corresponding functions for Regional Instrument Centres. This material will be included as an appendix in a future edition of the present Manual.

3.3.1.7 Members operating Regional Marine Instrument Centres should follow the guidelines concerning capabilities and corresponding functions.

Note : The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part II, Chapter 4, Annex 4.A, provides guidelines concerning capabilities and corresponding functions for operating Regional Marine Instrument Centres. This material will be included as an appendix in a future edition of the present Manual.

3.3.2 Requirements for sensors

3.3.2.1 Members shall avoid the use of mercury in their observing systems. Where mercury is still in use, Members shall obey the safety precautions provided.

Note: The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 3, 3.2.7, provides safety precautions for the use of mercury. This material will be included as an appendix in a future edition of the present Manual.

3.3.2.2 For inflation of meteorological balloons, Members should prefer helium over hydrogen. If hydrogen is used, however, Members shall obey the safety precautions provided.

Note: The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part II, Chapter 10, 10.6.1, provides safety precautions for the use of hydrogen. This material will be included as an appendix in a future edition of the present Manual.

3.3.2.3 Members shall calibrate all pyrheliometers, other than absolute pyrheliometers, by comparison, using the sun as the source, with a pyrheliometer that is traceable to the World Standard Group and has a likely uncertainty of calibration equal to or better than the pyrheliometer being calibrated.

Note: The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 7, 7.2.1.4, provides detailed guidelines on calibration of pyrheliometers.

3.3.2.4 Members shall compare, calibrate and maintain barometers according to the guidelines.

Note: The Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 3, 3.10, provides guidelines on the comparison, calibration and maintenance of barometers. This material will be included as an appendix in a future edition of the present Manual.

3.4. Operations

3.4.1 General requirements

Members operating surface-based observing systems shall follow the provisions of section 2.4.1.

3.4.2 Observing practices

3.4.2.1 Members shall ensure that the exposure, when applicable, of instruments for the same type of observation at different stations is similar so that observations may be compatible.

3.4.2.2 Members shall determine a reference height for each surface observing station or system.

Note: A reference height is defined as follows:

(a) Elevation of the station: it is the datum level to which barometric pressure reports at the station refer; such current barometric values are termed "station pressure" and are understood to refer to the given level for the purpose of maintaining continuity in the pressure records;

(b) For stations not located on aerodromes: elevation (height above mean sea level) of the ground on which the raingauge stands or, if there is no raingauge, of the ground beneath the thermometer screen. If there is neither raingauge nor screen, it is the average level of terrain in the immediate vicinity of the station, expressed in metres rounded up to two decimals;

(c) For stations located on aerodromes it is an official altitude of the aerodrome.

3.4.3 Quality control

Members operating surface-based observing systems shall follow the provisions of section 2.4.3.

3.4.4 Data and metadata reporting

Members operating surface-based observing systems shall follow the provisions of section 2.4.4.

3.4.5 Incident management

Members operating surface-based observing systems shall follow the provisions of section 2.4.5.

3.4.6 Change management

Members should compare observations from new instruments over an extended interval before the old measurement system is taken out of service or when there has been a change of site. Where this procedure is impractical at all sites, Members should carry out comparisons at selected representative sites.

Notes:

1. This does not apply to all types of station; among the exceptions are hydrological stations.

2. Further details, including the required minimum intervals for such comparison, can be found in the Guide to Climatological Practices (WMO-No. 100).

3.4.7 Maintenance

Observing sites and instruments should be maintained regularly so that the quality of observations does not deteriorate significantly between station inspections.

Note: Detailed guidance on maintenance of observing sites, observing systems and instruments is given in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), the Guide to Hydrological Practices (WMO-No. 168) and the Manual on Stream Gauging (WMO-No. 1044).

3.4.8 Inspection and supervision

3.4.8.1 Members shall arrange for their surface observing sites, stations and systems to be inspected at sufficiently frequent intervals to ensure that a high standard of observations is maintained, that instruments and all their indicators are functioning correctly, and that the exposure, when applicable, of the instruments has not changed significantly.

Notes:

1. Detailed guidance on the inspection, including frequency, is given in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, 1.3.5; Part II, 1.7; Part IV, 1.10.1 and 4.3.4.

2. Reference is made to the Technical Regulations (WMO-No. 49), Volume II, for provisions on the inspection of aeronautical meteorological stations including its frequency.

3.4.8.2 Members shall ensure that the inspection is performed by qualified and adequately trained staff.

3.4.8.3 When performing inspections, Members should ensure that:

(a) The siting, selection and installation, as well as exposure when applicable, of instruments are known, recorded and acceptable;

(b) Instruments have approved characteristics, are in good order and regularly checked against relevant standards;

(c) There is uniformity in the methods of observation and in the procedure for reduction of observations.

Note: Detailed guidance on inspection and supervision of observing systems and sites is given in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), which includes guidelines on GAW measurements (see Part I, chapter 16), the Guide to Hydrological Practices (WMO-No. 168) and the Manual on Stream Gauging (WMO-No. 1044).

3.4.9 Calibration procedures

Members operating surface-based observing systems shall follow the provisions of section 2.4.9.

3.5 Observational metadata

Note: Detailed guidance regarding the establishment, maintenance and update of metadata records is given in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), Part I, Chapter 1, 1.3.4, and Part III, Chapter 1, 1.9; the Guide to Climatological Practices (WMO-No. 100), Chapter 3, 3.3.4; the Guide to the Global Observing System (WMO-No. 488), Appendix III.3, and the Guide to Hydrological Practices (WMO-No. 168), Volume I, Chapter 10.

Members operating surface-based observing systems shall follow the provisions of section 2.5.

Note: Further provisions specific to the WIGOS component observing systems appear in sections 5, 6, 7 and 8.

3.6. Quality management

Members operating surface-based observing systems shall follow the provisions of section 2.6.

Note: Further provisions specific to the WIGOS space-based subsystem appear in section 4; those specific to the WIGOS component observing systems appear in sections 5, 6, 7 and 8.

3.7. Capacity development

Members operating surface-based observing systems shall follow the provisions of section 2.7.

Note: Further provisions specific to the WIGOS space-based subsystem appear in section 4; those specific to the WIGOS component observing systems appear in sections 5, 6, 7 and 8.

4. ATTRIBUTES SPECIFIC TO THE SPACE-BASED SUBSYSTEM OF WIGOS

4.1. Requirements

4.1.1 General

Members shall strive to develop, implement and operate a space-based environmental observing system in support of WMO Programmes as described in Attachment 4.1.

Note: The space-based subsystem of WIGOS is established through dedicated satellites, remotely observing the characteristics of the atmosphere, the earth and the oceans.

4.1.2 Observed variables

This subsystem shall provide quantitative data enabling, independently of or in conjunction with surface-based observations, the determination of variables including but not limited to:

(a) Three-dimension fields of atmospheric temperature and humidity;

(b) Temperature of sea and land surfaces;

(c) Wind fields (including ocean surface winds);

(d) Cloud properties (amount, type, top height, top temperature and water content);

(e) Radiation balance;

(f) Precipitation (liquid and frozen);

(g) Lightning;

(h) Ozone concentration (total column and vertical profile);

(i) Greenhouse gas concentration;

(j) Aerosol concentration and properties;

(k) Volcanic ash cloud occurrence and concentration;

(l) Vegetation type and status, and soil moisture;

(m) Flood and forest fire occurrence;

(n) Snow and ice properties;

(o) Ocean colour;

(p) Wave height, direction and spectra;

(q) Sea level and surface currents;

(r) Sea ice properties;

(s) Solar activity;

(t) Space environment (electric and magnetic field, energetic particle flux and electron density).

Note: Information regarding the current capabilities of the space-based subsystem is available through the OSCAR tool at: [www.wmo.int/oscar](http://www.wmo.int/oscar).

4.1.3 Observing performance requirements

Satellite operators providing observations to WIGOS shall strive to meet, to the extent possible, the uncertainty, timeliness, temporal and spatial resolution, and coverage requirements of WIGOS as defined in the WIR, based on the Rolling Review of Requirements described in section 2.

Notes:

1. In the present Manual, the term “satellite operators” refers to Members or a coordinated group of Members operating environmental satellites.

2. A coordinated group of Members operating environmental satellites acts jointly to operate one or more satellites through an international space agency such as the European Space Agency or the European Organization for the Exploitation of Meteorological Satellites (EUMETSAT).

3. These requirements are recorded and maintained in the requirements database: <http://www.wmo.int/oscar>.

4.1.4 Global planning

Satellite operators shall cooperate to ensure that a constellation of satellite systems is planned and implemented to guarantee the continuous provision of space-based observations in support of WMO Programmes.

Note: Collaboration is pursued within the Coordination Group for Meteorological Satellites, which includes all Members operating space-based observation systems in support of WMO Programmes.

4.1.5 Continuity

Satellite operators working together under the auspices of the Coordination Group for Meteorological Satellites or otherwise, should ensure the continuity of operation and of the data dissemination and distribution services of the operational satellites within the subsystem, through appropriate contingency arrangements and relaunch plans.

4.1.6 Overlap

Satellite operators should ensure an adequate period of overlap of new and old satellite systems in order to determine inter-satellite instrumental biases and maintain the homogeneity and consistency of time series observations, unless reliable transfer standards are available.

4.1.7 Interoperability

4.1.7.1 Satellite operators shall achieve the greatest possible interoperability of their different systems.

4.1.7.2 Satellite operators shall make available sufficient technical details about the instruments, data processing, transmissions and dissemination schedules for Members to fully exploit the data.

4.2. Design, planning and evolution

Note: The space-based subsystem is composed of:

(a) An Earth observation space segment;

(b) An associated ground segment for data reception, processing, dissemination and stewardship;

(c) A user segment.

4.2.1 Space segment architecture

Note: The overall architecture of the space segment is described in Attachment 4.1. It is defined and evolves in consultation with the Coordination Group for Meteorological Satellites.

It includes:

(a) A constellation of geostationary satellites;

(b) A core constellation of sun-synchronous satellites distributed over three separate orbital planes;

(c) Other operational satellites operated on either sun-synchronous orbits or other appropriate low Earth orbits;

(d) Research and development satellites on appropriate orbits.

4.2.2 Space programme life cycles

Satellite operators shall consider a trade-off between the need for a long series to pay off the development cost and the user learning curve, on one hand, and the need to develop a new generation in order to benefit from state-of-the-art technology, on the other hand.

Notes:

1. The development of an operational satellite programme is conducted in several phases including: definition of user requirements, feasibility assessment at system level, preliminary design, detailed design, development and testing of the subsystems, integration of all subsystems, system testing, launch campaign and on-orbit commissioning. The overall duration of these development phases is typically of the order of 10 to 15 years.

2. The exploitation phase for an operational programme including a series of recurring satellites is typically of the order of 15 years.

4.3. Instruments and methods of observation

Notes:

1. Space-based observation relies on a wide range of sensor types, for example, active or passive, operating in various spectral ranges, and with various scanning or pointing modes. Information on the principles of Earth observation from space, the different types of space-based instrument and the derivation of geophysical variables from space-based measurements can be found in the Guide to Instruments and Methods of Observation (WMO-No. 8), 2014 edition, Part III, chapter 5.

2. Detailed characteristics of current and planned systems of environmental satellites are available in the satellite module of the OSCAR tool, which is available on line (<http://www.wmo.int/oscar/space>). It also contains an indication of the main instruments that are relevant for each specific variable observable from space, with their potential performance for the respective variables.

4.3.1 Calibration and traceability

4.3.1.1 Satellite operators shall perform a detailed instrument characterization before launch.

Note: Members must strive to follow the pre-launch instrument characterization guidelines recommended by the Global Space-based Inter-calibration System.

4.3.1.2 After launch, satellite operators shall calibrate all instruments on a routine basis against reference instruments or calibration targets.

Notes:

1. Advantage should be taken of satellite collocation to perform on-orbit instrument intercomparison and calibration.

2. Calibration must be done in accordance with methodologies established and documented by the Global Space-based Inter-calibration System and the Committee on Earth Observation Satellites (CEOS) Working Group on Calibration and Validation.

4.3.1.3 Satellite operators shall ensure traceability to the International System of Units (SI) standards.

Note: The Implementation Plan for the Global Observing System for Climate in Support of the UNFCCC (2010 Update), GCOS-138 (WMO/TD-No. 1523) calls for sustained measurement of key variables from space traceable to reference standards and recommends implementing and evaluating a satellite climate calibration mission.

4.3.1.4 To ensure traceability to the International System of Units (SI) standards, satellite operators shall define a range of ground-based reference targets for calibration purposes.

4.4. Space segment implementation

4.4.1 Operational satellites on Geostationary Earth Orbit

4.4.1.1 Satellite operators should implement an operational constellation of satellites in geostationary orbit as described in Attachment 4.1.

4.4.1.2 Satellite operators shall ensure that the constellation of satellites in geostationary orbit provides full disc imagery at least every 15 minutes and achieves coverage of all longitudes, throughout a field of view between 60° S and 60° N.

Note: This implies the availability of at least six operational geostationary satellites if located at evenly distributed longitudes, with in-orbit redundancy.

4.4.1.3 Satellite operators should implement rapid-scan capabilities where feasible.

4.4.1.4 For the imagery mission in geostationary orbit, satellite operators should ensure an availability rate of rectified and calibrated data of at least 99% as a target.

4.4.1.5 To meet the essential requirement for continuity of data delivery, satellite operators shall strive to implement contingency plans, involving the use of in-orbit standby flight models and rapid call-up of replacement systems and launches.

4.4.2 Core operational constellation on sun-synchronous low Earth orbits

4.4.2.1 Operators of low Earth orbit (LEO) satellites should implement a core operational constellation of satellites in three regularly distributed sun-synchronous orbits as described in Attachment 4.1.

4.4.2.2 Operators of the core constellation of environmental LEO satellites on three sun-synchronous orbital planes, in early morning, mid-morning and afternoon orbit, shall strive to ensure a high level of robustness to permit the delivery of imagery and sounding data from at least three polar orbiting planes, on not less than 99% of occasions.

Note: This implies provisions for a ground segment, instrument and satellite redundancy, and rapid call-up of replacement launches or in-orbit spares.

4.4.3 Other capabilities on low Earth orbits

Operators of environmental LEO satellites should implement capabilities in appropriate orbits as described in Attachment 4.1.

4.4.4 Research and development satellites

4.4.4.1 Operators of research and development satellites shall consider providing the following observing capabilities:

(a) Advanced observation of the parameters necessary to understand and model the water cycle, the carbon cycle, the energy budget and the chemical processes of the atmosphere;

(b) Pathfinders for future operational missions.

Note: For WMO, the main benefits of research and development satellite missions are:

(a) Support of scientific investigations of atmospheric, oceanic and other environment-related processes;

(b) Testing or demonstration of new or improved sensors and satellite systems in preparation for new generations of operational capabilities to meet WMO observational requirements.

4.4.4.2 Members shall strive to maximize the usefulness of observations from research and development satellites for operational applications. In particular, operators of research and development satellites shall make provisions, where possible, to enable near-real-time data availability to promote the early use of new types of observations for operational applications.

Notes:

1. Although neither long-term continuity of service nor a reliable replacement policy are assured, research and development satellites provide, in many cases, observations of great value for operational use.

2. Although they are not operational systems, research and development satellites have proven to support operational meteorology, oceanography, hydrology and climatology substantially.

4.5 Ground segment implementation

4.5.1 General

4.5.1.1 Satellite operators shall make observational data available to Members through the WMO Information System (WIS) in accordance with the provisions in the Manual on the WMO Information System (WMO-No. 1060). Satellite operators shall inform Members of the means of obtaining these data through catalogue entries and shall provide sufficient metadata to enable meaningful use of the data.

4.5.1.2 Satellite operators shall set up facilities for the reception of remote-sensing data (and Data Collection System data when relevant) from operational satellites, and for the processing of quality-controlled environmental observation information, with a view to further near-real-time distribution.

4.5.1.3 Satellite operators shall strive to ensure that data from polar-orbiting satellites are acquired on a global basis, without temporal gaps or blind orbits, and that data latency meets WMO timeliness requirements.

4.5.2 Data dissemination

4.5.2.1 Satellite operators shall ensure near-real-time dissemination of the appropriate data sets, as per the requirements of Members, either by direct broadcast via an appropriately designed ground segment, or by rebroadcast via telecommunication satellites.

4.5.2.2 In particular, operators of operational sun-synchronous satellites providing the core meteorological imagery and sounding mission should ensure inclusion of a direct broadcast capability as follows:

(a) Direct broadcast frequencies, modulations and formats should allow a particular user to acquire data from the satellite with a standardized antenna and signal processing hardware. To the extent possible, the frequency bands allocated to meteorological satellites should be used;

(b) Direct broadcast shall be provided through a high data rate stream, such as the High- resolution Picture Transmission (HRPT) or its subsequent evolution, to provide meteorological centres with all the data required for numerical weather prediction (NWP), nowcasting and other real-time applications;

(c) If possible, a low data rate stream should also be provided, such as the Low-rate Picture Transmission (LRPT), to convey an essential volume of data to users with lower connectivity or low-cost receiving stations.

4.5.2.3 Satellite operators shall consider implementing rebroadcast via telecommunication satellites to complement and supplement direct broadcast services and to facilitate access to integrated data streams, including data from different satellites, to non-satellite data and to geophysical data products.

4.5.2.4 Operators of operational geostationary meteorological satellites with rapid-scan capabilities shall strive to provide meteorological centres with data in near-real time as required for nowcasting, NWP and other real-time applications.

4.5.3 Data stewardship

4.5.3.1 Satellite operators shall provide a full description of all processing steps taken in the generation of satellite data products, including algorithms, characteristics and outcomes of validation activities.

4.5.3.2 Satellite operators shall preserve long-term raw data records and ancillary data required for their calibration and reprocessing as appropriate, with the necessary traceability information to achieve consistent Fundamental Climate Data Records.

4.5.3.3 Satellite operators shall maintain Level 1B satellite data archives including all relevant metadata pertaining to the location, orbit parameters and calibration procedures used.

4.5.3.4 Satellite operators shall ensure that their archiving system is capable of providing on-line access to the archive catalogue with a browsing facility, that it provides adequate description of data formats and will allow users to download data.

4.5.4 Data collection systems

4.5.4.1 Satellite operators with a capability to receive data and/or products from Data Collection Platforms (DCP) shall maintain technical and operational coordination under the auspices of the Coordination Group for Meteorological Satellites (CGMS) in order to ensure compatibility.

4.5.4.2 Satellite operators shall maintain a number of “international” DCP channels, which should be identical on all geostationary satellites, to support the operation of mobile platforms moving across all individual geostationary footprints.

4.5.4.3 Satellite operators shall publish details of the technical characteristics and operational procedures of their data-collection missions, including the admission and certification procedures.

4.5.5 The user segment

4.5.5.1 Operators of research and development satellites shall implement capabilities enabling Members to access the data in one of the following ways: by downloading data from server(s) or by receiving data from a rebroadcasting service or a direct broadcast capability.

4.5.5.2 Members shall endeavour to install and maintain in their territory at least one system enabling access to digital data from both LEO and geostationary operational satellite constellations: either a receiver of rebroadcast service providing the required information in an integrated way, or a combination of dedicated direct readout stations.

4.5.5.3 Where appropriate, Members should strive to utilize fixed or moving DCP systems (for example, to cover data-sparse areas) to take advantage of the data-collection and relay capability of the environmental observation satellites.

4.6. Observational metadata

For each space-based system they operate, satellite operators shall record, retain and make available observational metadata in accordance with the provisions of section 2.5.

4.7. Quality management

Satellite operators shall include appropriate quality indicators in the metadata for each dataset, in accordance with the provisions of section 2.5.

4.8. Capacity development

4.8.1 Centres of excellence

Satellite operators, and other Members having the capability to do so, shall provide support to the education and training of instructors in the use of satellite data and capabilities, at specialized Regional Training Centres or other training institutes designated as centres of excellence in satellite meteorology, in order to build up expertise and facilities at a number of regional growth points.

4.8.2 Training strategy

Satellite operators should focus their assistance, to the extent possible, on one or more of these centres of excellence within their service areas and contribute to the Virtual Laboratory for Education and Training in Satellite Meteorology.

Note: The aim of the education and training strategy implemented through the Virtual Laboratory is to systematically improve the use of satellite data for meteorology, operational hydrology, and climate applications, with a focus on meeting the needs of developing countries.

4.8.3 User preparation for new systems

4.8.3.1 In order to facilitate a smooth transition to new satellite capabilities, satellite operators should take steps to prepare users through training, guidance on necessary upgrades of receiving equipment and processing software, and the provision of information and tools to facilitate the development and testing of user applications.

4.8.3.2 In addition to working through the Virtual Laboratory, Members should, as appropriate, exploit partnerships with organizations providing education and training in environmental satellite applications, depending on their specific needs.

4.8.4 Collaboration between users and data providers

4.8.4.1 In order to achieve the most effective utilization of satellite data, Members should pursue close collaboration between users and data providers at a regional level.

4.8.4.2 Working with their regional association, Members should follow systematic steps to document the regional requirements for satellite data access and exchange.

ATTACHMENT 4.1. CGMS BASELINE FOR THE OPERATIONAL CONTRIBUTION TO THE GOS

(Adopted at the thirty-ninth meeting of the Coordination Group for Meteorological Satellites (CGMS-39) on 6 October 2011)

FUTURE SATELLITE MISSIONS TO BE PERFORMED ON OPERATIONAL/ SUSTAINED BASIS

Introduction

In support of the programmes coordinated or co-sponsored by WMO for weather and climate, CGMS Members plan to maintain the operational capabilities and services described below, that constitute the “CGMS baseline for the operational contribution to the GOS”.

While this particular document focuses on missions that are decided and managed in an operational or sustained framework, with a perspective of long-term follow-on, this in no way precludes the importance of other missions undertaken e.g. on a research or demonstration basis. First of all, because today’s research and development are the foundation of tomorrow’s operational missions. Furthermore, because many missions initiated in an R&D framework for a limited duration are eventually extended well beyond their design life time and provide longstanding support to both scientific and operational activities.

This baseline defines a constellation of geostationary satellites, a core meteorological mission on three sun-synchronous orbits, other missions in sun-synchronous orbits, missions in other Low Earth Orbits, and contains cross-cutting considerations on contingency planning, inter-calibration, data availability and dissemination.

I. Constellation in geostationary orbit

At least six geostationary satellites shall be operated at evenly distributed locations with in orbit redundancy, and perform the following missions:

(a) Advanced visible and infrared imagery (at least 16 spectral channels, 2km resolution) over the full disc at least every 15 minutes

(b) Infrared sounding (hyperspectral on some positions)

(c) Lightning detection

(d) Data collection

(e) Space environment monitoring

On selected positions, the following missions shall be performed:

(f) Earth Radiation Budget monitoring

(g) High spectral resolution UV sounding

(h) Solar activity monitoring

II. LEO sun-synchronous missions

Operational sun-synchronous satellites shall be operated around three orbital planes in mid-morning (“am”, nominally 09:30 descending, 21:30 ascending ECT), afternoon (“pm”, nominally 13:30 ascending ECT) and early morning (nominally 05:30 descending, 17:30 ascending ECT) and, as a constellation, shall perform the following missions:

1) Core meteorological mission nominally on three orbital planes

(i) Multispectral visible and infrared imagery

(j) Infrared hyperspectral sounding (at least am and pm)

(k) Microwave sounding

(l) Microwave imagery

2) Other missions on sun-synchronous orbits

(m) Wind scatterometry over sea surfaces (at least two orbital planes)

(n) Ocean surface topography by radar altimetry (at least on am and pm orbits, supplemented by a reference mission on a high-precision, inclined orbit)

(o) Radio-occultation sounding (at least am and pm, supplemented by a constellation in specific orbits)

(p) Broadband VIS/IR radiometer for Earth Radiation balance (at least am and pm)

(q) Total Solar Irradiance (at least one)

(r) Contribution to atmospheric composition observations (at least am and pm)

(s) Narrow-band Vis/NIR imagers (at least one sun-synchronous, am spacecraft) for ocean colour, vegetation and aerosol monitoring

(t) High-resolution multi-spectral Vis/IR imagers (constellation of sun-synchronous satellites, preferably in am)

(u) IR dual-angle view imagery for high-accuracy SST (at least one am spacecraft)

(v) Particle detection and/or electron density (at least am and pm)

(w) Magnetic field (at least am and pm)

(x) Solar activity (at least two missions)

(y) Data collection

III. Other LEO missions

The following missions shall be performed on an operational basis by Low Earth Orbit satellites on appropriate orbits:

(z) Ocean surface topography by radar altimetry (A reference mission on high-precision, inclined orbit, complementing two instruments on sun-synchronous am and pm orbit)

(aa) Radio-occultation sounding (dedicated constellation of sensors on appropriate orbits)

IV. Contingency planning

The CGMS baseline is associated with contingency plans for geostationary and polar-orbiting satellite systems, which are detailed in the CGMS Global Contingency Plan[[7]](#footnote-7).

V. Inter-calibration

Instruments should be inter-calibrated on a routine basis against reference instruments or calibration sites. The routine and operational inter-calibration and corrections shall be performed in accordance with standards as agreed by the Global Space-based Inter-calibration System (GSICS).

VI. Data availability and dissemination

VI.1. Data open availability with suitable timeliness

All operational environmental observation satellite systems should be designed to ensure the provision of data with suitable timeliness, as appropriate for their intended applications. Data should be preserved for the long term and documented with metadata allowing their interpretation and utilization. The satellite operators should establish dissemination contents and schedules that take into account the data requirements of users. Re-broadcast via telecommunication satellites should complement and supplement direct broadcast services, which allows cost-efficient access to integrated data streams including data from different satellites, non-satellite data and geophysical products. The dissemination systems should utilize all-weather resilient telecommunication means.

VI.2. Direct broadcast for core meteorological missions in LEO

The core meteorological satellite systems in LEO orbits, and other operational observation satellite systems when relevant, should ensure near real-time data dissemination of imagery, sounding, and other real-time data of interest to Members by direct broadcast. Direct broadcast frequencies, modulations, and formats for polar-orbiting satellites should allow a particular user to acquire data from either satellite by a single antenna and signal processing hardware. Direct Broadcast should use allocations in all-weather resilient frequency bands.

VII. Note

The present update of the CGMS baseline is adopted in the light of satellite mission plans as they are known in October 2011.

5. ATTRIBUTES SPECIFIC TO THE GLOBAL OBSERVING SYSTEM OF THE WORLD WEATHER WATCH

Notes:

1. The provisions of sections 1, 2, 3 and 4 are common to all WIGOS component observing systems including the GOS.

2. The implementation of the GOS encompasses the use of surface- and space-based observations. The material in this chapter contains additional provisions for standard and recommended practices in collecting surface-based observations for the GOS.

5.1. Requirements

5.1.1 Members shall ensure that time and frequency of observations meet user observational requirements for timeliness and temporal resolution as specified in the OSCAR/Requirements database (<http://www.wmo-sat.info/oscar/observingrequirements>) and in accordance with the details provided by other sections as appropriate.

5.1.2 Members should make and provide real-time observations in areas where special phenomena are occurring or are expected to develop. (2.2.1.9)

5.2. Design, planning and evolution

5.2.1 Composition of the Global Observing System of the World Weather Watch

5.2.1 The surface-based subsystem of the Global Observing System shall consist of networks of following stations and platforms:

(a) Surface stations:

(i) land stations and

(ii) sea stations

(b) Upper-air stations

(c) Aircraft meteorological stations

(d) Radar wind profiler stations

(e) Weather radar stations

(f) Research and special-purpose vessel stations

(g) Radiation stations

*To be completed … (Part III, 1. Composition of the subsystem)*

Notes:

1. Any station may fall under more than one of the above categories.

2. Specific attributes for these main elements are defined in the Appendices to sections as follows:

(a1) Surface land stations: Appendix 5.1

(b) Surface sea stations: Appendix 5.2

(c) Upper-air stations: Appendix 5.3

Edit. Note: this section now includes radio-sondes and other balloon systems also radar wind profiler, also aircraft stations; also a note about weather radar

(c2) Aircraft stations: Appendix 5.4

(c3) Radar wind profiler stations: Appendix 5.5

(f) Weather radar stations: Appendix 5.6

(g) Research and special-purpose vessel stations: Appendix 5.7

(h) Radiation stations: Appendix 5.8

… to be completed as needed

Members shall establish and sustain a global basic observing network, based upon the Regional Basic Observing Networks (RBONs) so as to provide observations that have the necessary accuracy, and spatial and temporal resolution, to describe conditions and processes occurring on the large and planetary scales to meet the needs of WMO Application Areas. *(2.1.2.1, 2.1.2.2)*

Note: Detailed guidance regarding the Observation requirements is given in the *Guide to the Global Observing System* (WMO-No. 488), Part II.

Members should implement and sustain the Global Climate Observing System (GCOS) Surface Network (GSN) to monitor daily global and large-scale climate variability. *(2.1.2.4)*

Members should implement and sustain the GCOS Upper-air Network (GUAN) to meet requirements of GCOS. *(2.1.2.5)*

OR as a new combined:

Members shall sustain their Global Climate Observing System (GCOS) Surface Network (GSN) and Upper-Air Network (GUAN) to meet the requirements of GCOS. *(2.1.2.4 and 2.1.2.5 combined)*

Note: Details are available in the Guide to the GCOS Surface Network (GSN) and GCOS Upper-Air Network (GUAN) (GCOS – 144; WMO/TD No. 1558).

Members should implement GSN and GUAN stations, in consultation with GCOS, in particular for data-sparse areas highlighted as requiring additional stations. *(new one by TO)*

Members should also establish and sustain the GCOS Reference Upper-air Network (GRUAN) to provide long-term high‑quality climate records. *(2.1.2.6)*

5.2.2 Principles for observing network design and planning

5.2.2.1 Members shall take into account global and regional observational requirements when they establish their national observing network. *(2.1.4)*

Note: OSCAR/Surface provides a complete list of all surface and upper-air stations in operation.

5.3 Instrumentation and methods of observation

5.3.1 General requirements

5.3.2 Requirements for sensors

5.4 Operations

5.4.1 General requirements

**Members shall follow the provisions of section 2.4.1.**

5.4.2 Observing practices

5.4.3 Quality control

Members shall follow the provisions of section 2.4.3.

Note: The *Guide to the Global Observing System* (WMO-No. 488), Part VI, and in the *Guide to Meteorological Instruments and Methods of Observation* (WMO-No. 8), Part II, section 1.3.2.8 and Part III provide guidance on quality control of surface observational data.

5.4.4 Data and metadata reporting

Members shall follow the provisions of section 2.4.4.

5.4.5 Incident management

**Members shall follow the provisions of section 2.4.5.**

5.4.6 Change management

**Members shall follow the provisions of section 3.4.6.**

5.4.7 Maintenance

**Members shall follow the provisions of section 3.4.7.**

5.4.8 Inspection

**Members shall follow the provisions of section 3.4.8.**

5.4.9 Calibration procedures

**Members operating surface-based observing systems shall follow the provisions of section 2.4.9.**

5.5. Observational metadata

**Members operating surface-based observing systems shall follow the provisions of section 2.5**

5.6 Quality management

**Members operating surface-based observing systems shall follow the provisions of section2.6.**

5.7 CAPACITY DEVELOPMENT

Members operating surface-based observing systems shall follow the provisions of section 2.7.

APPENDIX 5.1. ATTRIBUTES SPECIFIC TO THE SURFACE LAND STATIONS

Note: Guidance on the operations of surface land networks is provided in the Guide to the Global Observing System (WMO-No. 488), Part III, section 3.2 and *Guide to Meteorological Instruments and Methods of Observation* (WMO-No. 8), Part II, Chapters 1 and 2., *Guide to Climatological Practices* (WMO-No. 100).

Edit. Note: maybe other guides as well, such as 138, etc.

Each station shall be located so as to provide observations representative of the area in which it is situated. (2.3.1.2)

Members should ensure that the actual time of observation (the time when atmospheric pressure measurement is made) is as close as possible to the reported time of observation. (2.3.1.5)

Note: atmospheric pressure is to be adjusted to standard conditions… ref. to CIMO Guide …

Members should ensure that other observations are made over the 10-minute period immediately preceding the time of observation.

Note: 10-minute period immediately preceding the time of observation is relevant to only some obs. depending on the application.

Surface synoptic observations recorded at a manned land station shall consist of observations of the following meteorological elements: *(2.3.2.3)*

(a) Present weather;

(b) Past weather;

(c) Wind direction and speed;

(d) Cloud amount;

(e) Type of cloud;

(f) Height of cloud base (or extinction profile);

(g) Visibility;

(h) Air temperature;

(i) Humidity;

(j) Atmospheric pressure;

together with such of the following meteorological elements as are determined by resolutions of regional associations:

(k) Pressure tendency;

(l) Characteristic of pressure tendency;

(m) Extreme temperature;

(n) Amount of precipitation;

(o) State of ground;

(p) Direction of cloud movement;

(q) Special phenomena.

Surface synoptic observations at an automatic land station shall consist of observations of the following meteorological elements: *(2.3.2.4)*

(a) Atmospheric pressure;

(b) Wind direction and speed;

(c) Air temperature;

(d) Humidity;

(e) Precipitation, yes or no (at least in tropical areas);

together with the following additional meteorological elements, which should be included if possible, or as determined by resolutions of regional associations:

(f) Amount of precipitation;

(g) Intensity of precipitation;

(h) Visibility;

(i) Optical extinction profile (height of cloud base);

(j) Special phenomena;

(k) Snow depth or snow cover.

Notes:

1. The set of automatic weather station metadata required for operational purposes is presented in Attachment III.1.

2. The height of cloud base and cloud extent can be derived directly from the optical extinction profile without further measurement, using one-minute time series.

3. Snow cover and snow depth are reported from stations where snow is experienced and the capabilities to observe and measure these variables exist, as determined by resolutions of regional associations.

At synoptic land stations, surface synoptic observations should be made and reported eight times per day (at the main and intermediate standard times) in extratropical areas, and four times per day (at the main standard times) in the tropics. *(2.3.2.5)*

At a (manned or automatic) land station, surface synoptic observations shall be made and reported at least at the main standard times*, except for snow depth or snow cover to which 2.3.2.7 and 2.3.2.8 apply. (*2.3.2.6)

Edit. Note: the two above are temporary here; when specified in the RBON section, they will be removed.

“shall be made at least …”

Edit. Note: further material from 2.3.2.7-10 (544) should come here after a review.

Edit. Note: find the place to mention CLIMAT and SYNOP reports.

Edit. Note: 2.13 on Agricultural … should come here, but check for any other exceptions such as costal, marine.

Lightning location observations

2.14.4.1 Members should consider acquiring observations from lightning location systems.

Note: A detailed description of methods in use is provided in the Guide to Meteorological Instruments and Methods of Observation, Part  II, Chapter 6. A surface-based sensor at a single station can detect the occurrence of lightning, but cannot be used to locate it on an individual flash basis. A network of stations is needed for accurate lightning location.

2.14.4.2 The spacing and number of stations should be consistent with the technique used and the desired coverage, detection efficiency and accuracy of location.

2.14.4.3 Continuous monitoring by the station should be maintained.

APPENDIX 5.2. ATTRIBUTES SPECIFIC TO THE SURFACE MARINE STATIONS

Note: Guidance on the operations of surface land networks is provided in the Guide to the Global Observing System (WMO-No. 488), Part III, section 3.2 and *Guide to Meteorological Instruments and Methods of Observation* (WMO-No. 8), Part II, Chapter4.

Members shall recruit as many mobile ship stations as possible that traverse data-sparse areas and regularly follow routes through areas of particular interest. *(2.3.3.2)*

Members concerned shall provide the Secretariat, not later than 1 March each year, with a list metadata of their selected and supplementary ship stations in operation at the beginning of the year, or shall provide any necessary amendments to their previous list – giving the name, call sign and route or route designator of each ship in accordance with section 2, 2.5. *( 2.3.3.3)*

Note: … to JCOMMOPS

Members should consider using fixed or mobile automatic sea stations or drifting buoy stations in data-sparse areas. *(2.3.3.5)*

Note: These stations are located on fixed or mobile ships, fixed or anchored platforms, and drifting platforms and ice floes.

Members should establish, either individually or jointly, ocean weather stations or other suitable observing facilities in ocean areas where there are large gaps in the global network. *(2.3.3.7)*

Each fixed sea station should be located so as to provide observations representative of the area in which it is situated. *(2.3.3.6)*

In its recruitment programme, each Member should aim for its mobile sea stations to contribute as much as possible to the attainment of an adequate density of observations in all oceanic areas. *(2.3.3.8)*

2.3.3.10 Members concerned should provide surface marine observations consisting of the following elements:

(a) Present weather;

(b) Past weather;

(c) Wind direction and speed;

(d) Cloud amount;

(e) Type of cloud;

(f) Height of cloud base;

(g) Visibility;

(h) Air temperature;

(i) Humidity;

(j) Atmospheric pressure;

(k) Pressure tendency;

(l) Characteristic of pressure tendency;

(m) Course and speed of a mobile station/platform;

(n) Sea-surface temperature;

(o) Direction of movement of waves;

(p) Wave period;

(q) Wave height;

(r) Sea ice and/or icing of ship superstructure, when appropriate;

(s) Special phenomena.

Note: Element m) does not apply to fixed station;

Edit note: check with JCOMM regarding feasibility of including precipitation, precip. Intensity, and net solar radiation.

2.3.3.15 Members shall …. at a fixed automatic marine station, surface observations shall consist of observations of the following elements:

(a) Atmospheric pressure;

(b) Wind direction and speed;

(c) Air temperature;

(d) Sea-surface temperature.

Edit: note: as the next provision:

In addition to the elements listed above, a surface observation made at a fixed automatic marine station should include, if possible, the following elements:

(e) Precipitation, yes or no (especially in tropical areas);

(f) Waves.

2.3.3.16 At a drifting automatic sea station (drifting buoy), a surface observation should consist of as many as possible of elements (a) to (d), and (f), in 2.3.3.15 above.

2.3.3.17 Members should endeavour to equip mobile ships to make subsurface observations.

Note: Guidance on steps to be taken while recruiting a observing ship, on the organization needed to collect ships’ weather reports, and on the use of marine meteorological logs on board ships is contained in the Guide to Marine Meteorological Services (WMO-No. 471). (wording to be improved)

2.3.3.21 When operational difficulties on board ship make it impracticable to make a surface synoptic observation at a main standard time, the actual time of observation should be as near as possible to the main standard time.

2.3.3.22 Whenever storm conditions threaten or prevail, surface synoptic observations should be made and reported from mobile sea stations more frequently than at the main standard times.

2.3.3.23 When sudden and dangerous weather developments are encountered at sea stations, surface observations should be made and reported as soon as possible without regard to the standard observation times.

Note: For specific instructions relative to the provision by ships of special reports, in accordance with the International Convention for Safety of Life at Sea, see Weather Reporting.

2.3.3.24 Members shall report and make available observations in real-time.

Sea-level observations

Edit. Note: further work need on this subsection …

2.14.8.1 Members should establish an adequate network of tide-gauge stations along coasts subject to storm surges.

2.14.8.2 Gauges should be placed in a manner that allows determination of the full range of water heights.

2.14.8.3 Observations of tide height should be made at the main synoptic times: 0000, 0600, 1200 and 1800 UTC. In coastal storm situations, hourly observations should be made.

APPENDIX 5.3. ATTRIBUTES SPECIFIC TO THE UPPER-AIR STATIONS

Note: Guidance on the operations of surface land networks is provided in the Guide to the Global Observing System (WMO-No. 488), Part III, section 3.3 and *Guide to Meteorological Instruments and Methods of Observation* (WMO-No. 8), Part I, Chapters 12 and 13.

An upper-air observation shall consist of measurement of one or more of the following meteorological elements: (a) Atmospheric pressure; (b) Air temperature; (c) Humidity; (d) Wind direction and speed. (*2.4.6)*

Members should consider equipping suitable ships to provide upper-air observations. *(2.4.3)*

In the tropics, priority should be given to upper-air wind observations. *(2.4.4)*

*An upper-air synoptic observation shall consist of measurement of one or more of the following meteorological elements: (2.4.6)*

*(a) Atmospheric pressure;*

*(b) Air temperature;*

*(c) Humidity;*

*(d) Wind direction and speed.*

Upper-air observations should be made and reported at the main standard times. *(2.4.7)*

Upper-air observations shall be made and reported at least at 0000 and 1200 UTC. *(2.4.8)*

At ocean weather stations, upper-air synoptic observations should comprise rawinsonde observations at 0000 and 1200 UTC and/or radiowind observations at 0600 and 1800 UTC. *(2.4.9)*

Edit. Note: **2.4.9** to be fixed with JCOMM-OSD

The launch time of regular upper-air observations should be scheduled such that the observation at the standard time is approximately at the 500 hPa level. *(2.4.10)*

The launch time of regular upper-air synoptic observations should be as close as possible to H-30 and should not fall outside the time range from H-45 to H. *(2.4.10 orig)*

Note: The launch time of a pilot-balloon observation may deviate from the range indicated above if such deviation is expected to enable wind observations to considerably greater heights.

In areas where it is not possible to meet the frequency requirements mentioned above, every effort should be made to obtain at least the following observations:

(a) Outside the tropics at 0000 and 1200 UTC;

(b) In the tropics if two complete radiosonde/radiowind observations are not made, priority should be given to one complete radiosonde observation and one radiowind observation daily. *(2.4.11)*

orig. 2.4.11:

(a) Upper-air observations from the RBONs and other networks of stations on land and at sea, twice daily, at 0000 and 1200 UTC;

(b) In the tropics, at stations where two complete radiosonde/radiowind observations are not made, priority should be given to the implementation of one complete radiosonde/radiowind observation and one radiowind observation daily.

**Other remote sensing profiler stations**

2.12.31 Members should consider the establishment of other remote-sensing profilers.

Note: In addition to radar wind profilers, addressed in App. 5.5., a range of other remote-sensing technologies are being used to collect wind and thermal profiles of the atmosphere. The Guide to Meteorological Instruments and Methods of Observation, Part  II, Chapter 5, section 5.2, provides further information about acoustic sounders (sodars), radio-acoustic sounding systems, microwave radiometers, laser radars (lidars) and the Global Navigation Satellite System. Doppler weather radars may also be used to derive wind profiles.

Edit. Note: the Note above to be updated …

2.14.3.2 The location and spacing of stations should be consistent with the requirements for the observations.

Planetary boundary-layer observations

2.14.7.1 Members should establish an adequate network of stations for making measurements in the planetary boundary layer.

2.14.7.2 Members should, whenever possible, provide a capability to obtain detailed knowledge of the profiles of temperature, humidity, pressure and wind in the lowest 1 500 m of the atmosphere.

Notes:

1. This information is required in the study of diffusion of atmospheric pollution, the transmission of electromagnetic signals, the relation between free-air variables and boundary-layer variables, severe storms, cloud physics, convective dynamics, etc.

2. Some of the vertical and horizontal sounding systems which could be applied to specific problems for limited periods in a variety of locations are described in the Guide to the Global Observing System.

APPENDIX 5.3b. ATTRIBUTES SPECIFIC TO THE AIRCRAFT METEOROLOGICAL STATIONS

Notes:

1. The provisions for observations from aircraft are specified in the Technical Regulations (WMO-No. 49), Volume II – Meteorological Service for International Air Navigation, Part I, 5. The provisions in this Appendix are to be read in conjunction with them.

2. Guidance on the operations of aircraft meteorological stations is provided in the Guide to the Global Observing System (WMO-No. 488), Part III, section 3.4 and *Guide to Meteorological Instruments and Methods of Observation* (WMO-No. 8), Part II, Chapter 3.

4. Guidance on AMDAR programme development and operation is provided in the Guide to Aircraft-based Observations (WMO-No. 1200).

5. More details and further requirements concerning measurement and data processing are available in the AMDAR Onboard Software Functional Requirements Specification (Instruments and Observing Methods, Report No. 115, Chapter 3). It also provides the standard for the meteorological functionality of AMDAR software applications and air-ground data formats.

6. Some relevant specifications and guidance are provided in the ARINC 620-8 Data Link Ground System Standard and Interface Specification (DGSS/IS), which provides a specification of the meteorological report;

Each Member should/shall arrange for observations to be made by aircraft of its registry operating on national air routes and for the recording and reporting of these observations. *(2.5.1)*

Members should collaborate with their civil aviation authorities regarding compliance with ICAO requirements for the provision of aircraft reports in support of International Air Navigation, as defined in the *Technical* Regulations (WMO-No. 49), Volume II , Part 1, 5.7 and 5.8. *(2.5.1, Note 3)*

Note: Such requirements include the forwarding of aircraft reports by civil aviation authorities to ICAO World Area Forecast Centres (WAFCs) on the Aviation Telecommunications Network so that they can subsequently be made available to WMO Members on the WIS.

Members should participate in the WMO Aircraft Meteorological Data Relay (AMDAR) observing system. *(2.5.2)*

Note:

**Members operating AMDAR observing systems shall provide measurement of air temperature, wind speed, wind direction, pressure altitude, latitude, longitude and time of observation.** *(2.5.5)*

Members who operate AMDAR observing systems should include measurement of humidity or water vapour, turbulence, icing, and geometric altitude as additional components of AMDAR observations. *(2.5.6)*

Notes:

1. Turbulence: mean, peak and event-based Eddy Dissipation Rate (EDR) – desirable

2. Turbulence: derived equivalent vertical gust (DEVG) – optional

Members making aircraft-based observations available to the WIS shall have the authorization to do so from the observational data owner. *(2.5.7)*

Note: Further information on quality control andmonitoring of aircraft-based observational data can be found in the Guide to the Global Observing System, the Guide to Aircraft-based Observations (in preparation), and in Guidance on Quality Monitoring of Aircraft-based Observational Data (No.)- more specific-detailed ref.

2. Key sources of advice on quality of aircraft-based observational data are the WMO lead centre on aircraft-data and other WMO Members. (<https://www.wmo.int/pages/prog/www/GOS/ABO/data/ABO_Data_Monitoring.html> - be useful?)

3. The WMO lead centre on aircraft data undertakes quality monitoring of aircraft-based observations and makes monitoring information available to Members on the WMO website.

Members operating AMDAR observing systems shall ensure that on-board data quality control is applied in accordance with WMO specifications. *(2.5.13)*

Note: WMO Specifications for on-board data quality control are described in the AMDAR Onboard Software Functional Requirements Specification. (Instruments and Observing Methods, Report No. 115, Chapter X)

Members who receive and process aircraft-based observational data from any source, including AMDAR and other aircraft-based observing systems, shall make such data available through the WIS in accordance with WMO regulations. *(2.5.14)*

Notes:

1. Members need to be aware of specific requirement for handling ICAO related observations explained in the Guide to Aircraft-based Observations.

2. Guidance on the encoding and provision of aircraft-based observations to the WIS can be found in the Guide to Aircraft-based Observations (in preparation).

Members who receive, process and make available to the WIS aircraft-based observational data from any source shall record, retain, and make available observational metadata in accordance with 2.5. *( 2.5.16)*

Edit. Note: to check the Guide to Aircraft-based Observations **if relevant guidance on the below notes is there**

Note: Relevant metadata include those relating to the following aspects and elements of the observational data:

(a) Models and types of aircraft;

(b) When and where possible, on-board sensors and their siting, calibration and operational issues and faults;

(c) Specific software and algorithms used to process data to generate the reported variables;

(d) Metadata related to quality control processes, data communication practices, data processing and delivering centres.

Members should report incidents to the relevant WMO lead centre on aircraft data and to WMO Focal Points on Aircraft-based Observations *(Based on the Note 4, 2.5.18)*

**Members making aircraft-based observations internationally available shall develop procedures for the detection, communication and timely rectification of issues and errors that adversely affect the quality of observations**. *(2.5.19)*

Members who receive and process aircraft-based observations from any source, including AMDAR, ICAO and other aircraft-based observing systems, shall make such observations available to the WIS.

Members who receive, process and make available to the WIS aircraft-based observations from any source shall make observational metadata available in accordance with 2.5.

APPENDIX 5.5. ATTRIBUTES SPECIFIC TO THE WIND PROFILER RADARS

Notes:

1. Wind profile observations can be provided by a range of remote sensing systems, such as Doppler lidars, Doppler sodars and Doppler weather radars.

2. Generic description of surface-based remote sensing profiling techniques and systems is provided the Guide to Meteorological Instruments and Methods of Observation, Part II, Chapter 5, section 5.2; for wind profiler radars in particular in section 5.2.2; guidance on the operations is available in the Guide to the Global Observing System (WMO-No. 488), Part III, section 3.9.2.7.

Members should consider the establishment of radar wind profiler (RWP) stations in their network of upper-air stations. *(2.6.1.1)*

Members operating radar wind profilers shall comply with national regulations for the use of radio frequencies. (2.6.1.2)

Notes:

1. Extensive information about the use of radio frequencies can be found in the Handbook – Use of Radio Spectrum for Meteorology: Weather, Water and Climate Monitoring and Prediction (ITU/WMO, 2008),

2. Resolution 217 of the World Radiocommunication Conference 1997 (WRC-97) is the basis for frequency allocation for radar wind profilers.

3. Further information is provided in the Guide to Participation in Radio-frequency Coordination (WMO-No. 1159).

4. Physical constraints in selecting systems are described in the Guide to Meteorological Instruments and Methods of Observation, Part II, Chapter 5, section 5.2.2. The vertical range of a radar wind profiler is strongly related to the operating frequency.

Members operating RWPs shall make horizontal wind vector observations. ***(2.6.1.3)***

Members operating RWPs should make vertical wind component observations. *(2.6.1.4)*

Members shall operate their RWPs continuously so as to acquire and provide horizontal winds at time intervals not exceeding 60 minutes. ***(2.6.2.1)***

Note: Data acquisition at shorter time intervals, for example every five or ten minutes, may be preferable or required depending on the user requirements and applications that the observations are intended to support. Users must then be cautious about a potential degradation of data quality under certain atmospheric conditions.

Members who exchange RWP observations shall report as quickly as possible any major incidents they detect to international recipients of observations, and shall report when such incidents have been resolved, in accordance with the incident management systems under WIGOS . (2.6.5.1)

Notes:

1. Some incidents, such as those related to internal factors, may be detected automatically and reported without delay to international recipients of observational data. Other incidents may be detected with delay or through periodic checks and reported accordingly. Automatic incident detection can be performed using either built-in test equipment or external monitoring systems. A centralized system can be used for monitoring the performance and health of RWP systems and networks.

2. It is important to take corrective action in response to incidents, including analysis and recording of the event, as soon as possible.

Members who exchange RWP observations should record and report details of corrective and preventive maintenance in accordance with the WIGOS metadata standard. *( 2.6.7.6)*

Members who exchange RWP observational data shall record and report inspection results. (2.6.8.2)

Edit. note: maybe it could be more generic in Section 2

**Members who exchange RWP observations shall record and report details of calibrations in accordance with the WIGOS metadata standard. (2.6.9.2)**

Note: Relevant calibration details, in the case of the spaced antenna method of wind determination, would include the statistical bias correction applied.

APPENDIX 5.6. ATTRIBUTES SPECIFIC TO THE WEATHER RADAR STATIONS

Note: A general description of weather radars is given in the *Guide to Meteorological Instruments and Methods of Observation*, Part II, Chapter 7; guidance on the operations is available in the Guide to the Global Observing System (WMO-No. 488), Part III, section 3.9.2.1.

Members should establish a network of weather radar stations either nationally or in collaboration with other Members. *(2.7.1.1.)*

Note: to support users with composite images

Members operating weather radars shall comply with national regulations for the use of radio frequencies. *(2.7.1.2)*

Note: Extensive information about the use of radio frequencies is provided in the Handbook –Use of Radio Spectrum for Meteorology: Weather, Water and Climate Monitoring and Prediction (ITU/WMO, 2008) and also in the Guide to Participation in Radio-frequency Coordination.

Members operating weather radars shall operate radars capable of transmitting and receiving horizontally polarized signals. *(2.7.1.3)*

Edit. Note: some of new technical provisions to be carefully reviewed by technical experts

Members should operate weather radars capable of transmitting and receiving both horizontally and vertically polarized signals. *(2.7.1.4)*

Note: Such radars are generally known as dual-polarization or polarimetric radars.

Members shall ensure that their weather radars provide observations of the radar reflectivity factor. *(2.7.1.5)*

Members should ensure that their single-polarization weather radars provide the following observations:

(a) Radial velocity;

(b) Spectral width. *(2.7.1.6)*

Members should ensure that their weather radars with dual-polarization capability provide the following observations:

(a) Differential reflectivity;

(b) Cross-polar correlation;

(c) Differential phase;

(d) Specific differential phase.*(2.7.1.7)*

Notes:

1. Further information about the observations made by weather radars is provided in the Guide to Meteorological Instruments and Methods of Observation, Part II, Chapter 7, Tables 7.1, 7.2 and 7.4.

2. Weather radar operations may pose safety hazards to operators and maintenance personnel as well as the surrounding community, so the requirement to ensure proper safety procedures is particularly relevant. Typically, on-site safety hazards for weather radars include high voltage, radiation exposure, working in confined spaces, heavy moving components, climbing and working at heights. Further information is available in the Guide to Meteorological Instruments and Methods of Observation, Part II, Chapter 7, section 7.8.

Members who operate weather radars should make observations available at least every 15 minutes. *(2.7.2.1)*

Notes:

1. It is recognized that Members may have seasonal differences in the operation of weather radars. The above recommended reporting frequency applies during those periods when the radar is in operation.

2. Requirements to make available metadata related to all observations, including weather radar observations, can be found in the Manual on the WMO Integrated Global Observing System, section 2.5.

2.7.3 QC

Notes:

1. With regard to weather radars, the quality control procedures will improve both qualitative and particularly quantitative uses of weather radar observations.

2. To the extent possible, the procedures are to include quality control of both internal and external factors in order to enable the characterization of data quality and the inclusion of a record of the quality control methods used with the observations they were applied to.

Members operating weather radars should make weather radar observations available for international exchange. *(2.7.4.1)*

Note: A standard WMO data format is under development. It will ensure that real-time weather radar observations and metadata can be represented and exchanged meeting the users’ requirements.

Members who exchange observational data shall provide real-time metadata together with the observational data to which they apply in accordance with 2.5.*( 2.7.4.2)*

Note.: 2. It is recommended that such metadata include information on calibration, timing, beam pointing, and other system settings.

**Members who exchange weather radar observations shall provide the associated non-real-time metadata to the WMO Radar Database. (2.7.4.3)**

Note: Members are strongly urged to provide non-real-time metadata to the WMO Radar Database for all of their weather radars, including those from which observations are not exchanged.

Members who exchange weather radar observational data shall report any major incidents they detect to international recipients of observational data, and shall state when such incidents have been resolved, in accordance with the incident management systems under WIGOS. *( 2.7.5.1)*

Notes:

1. Some incidents, such as those related to internal factors may be detected automatically and reported without delay to international recipients of observational data. Other incidents may be detected with delay or through periodic checks and reported accordingly. Automatic detection is facilitated through the use of built-in test equipment and/or external monitoring systems.

2.7.7.5 Members who operate weather radars should maintain their sites to minimize the effect of external factors (for example, blockage by vegetation) on the radar system.

Edit note: delete 2.7.7.5 but consider a new provision instructing Members to find legal means within their country to secure a radar exposure and avoid new blockage to be constructed.

Members who exchange weather radar observational data shall record and report details of corrective and preventive maintenance completed in accordance with the WIGOS metadata standard. *(2.7.7.7)*

Members who exchange weather radar observational data shall record and report inspection results in accordance with the WIGOS metadata standard. *(2.7.8.2)*

Members who exchange weather radar observational data shall record and report details of calibrations in accordance with the WIGOS metadata standard. *(2.7.9.3)*

Notes:

1. Relevant details include calibration variables and their settings or levels, and the terms of the weather radar equation along with the calibration constant.

2. Calibrations shall be reported with the observational data to which they apply, in accordance with provision 2.7.4.2.

**2.8 of 544:**

Note: Detailed information on aeronautical meteorological stations, observations and reports is given in the Technical Regulations, Volume II, Part I, sections 4 and 5.

APPENDIX 5.7. ATTRIBUTES SPECIFIC TO THE RESEARCH AND SPECIAL-PURPOSE VESSEL STATIONS

Note: Guidance on the operations of surface land networks is provided in the Guide to the Global Observing System (WMO-No. 488), Part III, section 3.6 and *Guide to Meteorological Instruments and Methods of Observation* (WMO-No. 8), Part II, Chapter4.

Members operating research and special-purpose vessels should do their utmost to ensure that all such vessels make meteorological observations. *(2.9.1)*

In addition to as many as possible meteorological surface and upper-air observations, subsurface observations (e.g. temperature and salinity profiles), down to the thermocline and below, should also be made and exchanged in real-time, in accordance with the procedures agreed between WMO and the Intergovernmental Oceanographic Commission of the United Nations Educational, Scientific and Cultural Organization. *(2.9.2)*

In addition to meeting specific requirements for research, special-purpose vessels should, whenever possible, make surface and upper-air observations that meet and supplement basic observational requirements. *(2.9.3)*

APPENDIX 5.8. ATTRIBUTES SPECIFIC TO THE RADIATION STATIONS

Note: Detailed guidance about radiation stations and relevant instruments and terminology is given in the Guide to Meteorological Instruments and Methods of Observation, Part  I, Chapter 7; guidance on the operations is available in the Guide to the Global Observing System (WMO-No. 488), Part III, section 3.9.2.2.

Members should establish at least one principle/reference radiation station in each climatic zone of their territory. *(2.14.2.1)*

Edit. Note: there should be an explanation and reference to the types of the radiation stations to accurately cover current terminology and practices… need to consult radiation experts (Isabelle) (WMO/TD-No. 1274)

Members should maintain a network of ordinary and principle radiation stations of sufficient density for the study of radiation climatology. *(2.14.2.2)*

*Edit. Note: ref to OSCAR/RQs DB should be here*

Each Member shall make available the metadata of their radiation stations in accordance with section 2.5. *(2.14.2.3)*

Note: for radiation stations metadata should include the category of the station, details of radiometers in use (type and serial number of each instrument, calibration factors, dates of any significant changes); Exposure of radiometers, including height above ground, details of the horizon of each instrument and nature of the surface of the ground; (see 2.14.2.3 d), e) f))

Member shall install a radiation station so as to provide adequate exposure that will not change over time. *(2.14.2.4) OR*

**When installing a radiation station, Members shall provide** adequate exposure that will not change over time. *(2.14.2.4)*

At principal radiation stations, the observing programme should include:

(a) Continuous recording of global solar radiation and sky radiation, using pyranometers of the first or second class;

(b) Regular measurements of direct solar radiation;

(c) Regular measurements of net radiation (radiation balance) over natural and crop soil cover (made over a 24-hour period);

(d) Recording of duration of sunshine. *(2.14.2.5)*

At ordinary radiation stations, the observing programme should include:

(a) Continuous recording of global solar radiation;

(b) Recording of duration of sunshine. *(2.14.2.6)*

Pyrheliometric measurements shall be expressed in accordance with the World Radiometric Reference. *(2.14.2.7)*

When automatic recording is not available, measurements of direct solar radiation should be made at least three times a day, provided the sun and the sky in the vicinity are free from cloud, corresponding to three different solar heights, one of them being near the maximum. *(2.14.2.8)*

During clear-sky conditions, measurements of long-wave effective radiation should be made every night, one of them being made soon after the end of the evening civil twilight. *(2.14.2.9)*

Edit. Note: experts need to be checked if these two provisions remain current

APPENDIX 5.9. ATTRIBUTES SPECIFIC TO THE Global Climate Observing System Surface Network STATIONS

In implementing the observing programme at GCOS Surface Network (GSN) stations, Members should adhere to the GCOS Climate Monitoring Principles in accordance with 2.2.2.2.

Note: Further explanation of how to adhere to the principles may be found in the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8), the Guide to Climatological Practices (WMO-No. 100), the Guide to the Global Observing System (WMO-No. 488), and the *Guide to the GCOS Surface Network (GSN) and GCOS Upper-Air Network (GUAN)* (WMO/TD No. 1558).

CLIMAT data should be accurate and provided in a timely manner: CLIMAT reports should be transmitted by the fifth day of the month (and no later than the eighth day of the month) *(2.11 (b))*

Rigorous quality control of the measurements and their message encoding should be exercised: CLIMAT reports require quality control not only of the measurements themselves, but also of their message encoding to ensure their accurate transmission to national, regional and world centres. Quality-control checks should be made on site and at a central facility designed to detect equipment faults at the earliest stage possible. *(2.11 (c))*

Note: The Handbook on CLIMAT and CLIMAT TEMP reporting (WMO/TD-No. 1188) provides instructions on how to set up reports and bulletins in the CLIMAT (TEMP) (SHIP) codes.

APPENDIX 5.10. ATTRIBUTES SPECIFIC TO THE Global Climate Observing System upper-air STATIONS

***1. Global Climate Observing System Upper-air Network stations***

Note: GUAN is a subset of the upper-air network described in section XXXX

Note: In implementing observing programmes at GCOS Upper-air Network (GUAN) stations, Members should adhere to the GCOS Climate Monitoring Principles, in particular with the following best practices:

(a)

(b) Soundings should preferably be made at least twice per day and should reach as high as possible, noting the GCOS requirements for ascents up to a minimum height of 30 hPa. every effort should be made to maintain soundings regularly up to a level as high as 5 hPa where feasible;

(c)

(d) Basic checks should be made before each sounding to ensure accurate data: the accuracy of a radiosonde’s sensors should be checked in a controlled environment immediately before the flight. Checks should also be made during and/or at the end of each sounding to ensure that incomplete soundings or soundings containing errors are corrected before transmission;

Note: Section 12.7 of Chapter 12, Part I of the Guide to Meteorological Instruments and Methods of Observation (WMO-No. 8) provides details.

(e) Back-up radiosondes should be released in cases of failure: in the event of failure of a sounding instrument or incomplete sounding resulting from difficult weather conditions, a second release should be made to maintain the record from the GUAN station, noting that the minimum requirement for GUAN is 25 daily soundings per month; (Q: 1 or 2 per day?)

(f)

Edit. Note: to check with Luis if WMDS allows “batch ident. OR in BUFR template”

(g) To achieve suitable global coverage, Members should consider operating or resourcing stations outside of national boundaries.

2 Global Climate Observing System Reference Upper-air Network stations

Stations contributing to the GCOS Reference Upper-air Network (GRUAN) shall undergo the GRUAN site assessment and certification process. In particular, GRUAN stations shall comply with the following:

Edit. Note: Try to retain a very brief ver. of these points below

(a)

(b)

(c) ?? Sufficient raw data and metadata shall be collected at contributing sites to permit the processing of measurements, at a centralized processing facility, into a reference measurement. This requires, at least, that the uncertainty of the measurement (including corrections) has been determined, the entire measurement procedure and set of processing algorithms are properly documented and accessible, and that every effort has been made to tie the observations to an internationally accepted traceable standard. Sufficient metadata must also be collected and archived to allow reprocessing of the data at any future date;

(d) ?? In addition to ensuring long-term homogeneity of measurement series at each site within the network, sites shall also be operated in such a way that homogeneity of measurements across the network will ensure that significant site-specific differences between GRUAN data and co-located measurements do not result from the GRUAN data products;

(e) ?? GRUAN sites shall perform regular traceable pre-launch ground checks for balloon-borne systems and record the results. Other instruments that provide vertical profiles extending from the surface require regular checks to assure correct operation;

(f) ?? GRUAN sites shall provide redundant reference observations of the essential climate variables selected for measurement at the site at intervals sufficient to validate the derivation of the uncertainty in the primary measurement;

(g) ?? To achieve suitable global coverage, Members should consider operating stations outside of national boundaries.

**Members shall follow …**

Note: The mandatory practices required of GRUAN sites, as detailed in the GCOS Reference Upper-Air Network (GRUAN) Manual (GCOS-170, WIGOS Technical Report No. 2013-02), reflect GRUAN’s primary goal of providing reference-quality observations of the atmospheric column while accommodating the diverse capabilities of sites within the network. However, certification of measurement programmes at a GRUAN site goes beyond considering the extent to which the site adheres to the mandatory practices outlined in the GRUAN Manual and considers the added value that the site brings to the network. The added value is assessed by experts forming the Working Group on the GCOS Reference Upper-air Network, whose judgement is guided by considerations 8.17 to 8.26 in the GRUAN Manual. The GRUAN Manual is supplemented by a more detailed GCOS Reference Upper-Air Network (GRUAN) Guide (GCOS-171, WIGOS Technical Report No. 2013-03) which provides guidelines on how the protocols detailed in the GRUAN Manual might be achieved, and by a series of technical documents available from the GRUAN website at <http://www.gruan.org>.

Members should follow …

APPENDIX 5.11. ATTRIBUTES SPECIFIC TO THE … STATIONS

APPENDIX 5.12. ATTRIBUTES SPECIFIC TO THE … STATIONS

Editorial note: potential candidates might be:

Climatological stations (2.10)

Agricultural meteorological stations (2.13)

Lightning location stations (2.14.4)

Meteorological reconnaissance aircraft stations (2.14.5)

Planetary boundary-layer stations (2.14.7)

Tide-gauge stations (2.14.8)

6. ATTRIBUTES SPECIFIC TO THE OBSERVING COMPONENT OF THE GLOBAL ATMOSPHERE WATCH

Note: The provisions of sections 1, 2, 3 and 4 are common to all WIGOS component observing systems, including GAW. The provisions in this section are specific to GAW.

6.1. Requirements

6.1.1 Members should perform the observations of atmospheric composition and related physical parameters using a combination of surface-based stations and platforms (fixed stations, mobile platforms and remote-sensing) and space-based platforms.

6.1.2 Members should use the requirements from the RRR process, particularly in the area of atmospheric chemistry application, in developing their GAW stations.

Notes:

1 The user requirements are reviewed on a regular basis through the RRR process by the Scientific Advisory Groups (SAGs) for each variable, in consultation with the user community and with input from Members. The RRR process is described in section 2.2.4 and Appendix 2.1.

2. Scientific Advisory Groups exist for the six GAW focal areas and their terms of reference are defined by the Commission for Atmospheric Sciences.

6.1.3 Members should follow the Data Quality Objectives specified by the GAW Programme for the individual variables observed.

6.1.4 Members should establish and operate their GAW stations so that they satisfy the station requirements specified in Attachment 6.1.

6.1.5 Members operating GAW stations shall undertake long-term and uninterrupted operation with the stability and continuity of data collection required for the purposes outlined in 6.2.1.

6.2. Design, planning and evolution

6.2.1 Members should design, plan and further develop their GAW observing network and stations to address user requirements, in particular those that concern key environmental issues and application areas, including but not limited to the following:

(a) Stratospheric ozone depletion and increase of UV radiation;

(b) Changes in the weather and climate due to human influence on atmospheric composition, particularly changes in greenhouse gases, ozone and reactive gases, and aerosols;

(c) Risk assessment of air pollution and UV on human health and the environment, and issues involving long-range transport of air pollution and its deposition.

6.2.2 Members should contribute observations through operating or supporting suitable platforms at GAW stations and/or through contributing networks.

6.2.3 When doing so, Members shall register their contribution in GAWSIS and submit their observations to the relevant GAW Data Centre.

6.2.4 Members operating a contributing network shall provide a description of the network, register the stations in GAWSIS and provide corresponding metadata.

6.2.5 Members should ensure that the frequency and spacing of the various observations is suited to the temporal and spatial requirements of the specific issues addressed in section 6.2.1.

6.3. Instrumentation and methods of observation

6.3.1 General requirements of instruments

Members should use recommended types of instruments and methods of observation for variables observed at their stations, and follow further available guidance.

Notes:

1. Guidance is provided in the Standard Operating Procedures (SOPs) and measurement guidelines.

2. Instruments suitable for use at GAW sites are defined by the SAGs for each parameter, in terms of stability, precision and accuracy.

3. Standard Operating Procedures describe the standard approach to operate this kind of instrument.

4. The measurement guidelines describe the standard approach for this kind of measurement regardless of the instrument.

6.3.2 Calibration and traceability

6.3.2.1 Members shall perform calibrations and maintain traceability to the GAW primary standards, where available.

Notes:

1 The GAW primary standard is a single network standard, assigned by WMO for each individual variable. In the case of contributing networks, network observations are traceable to the network standard, which in turn is traceable to the GAW primary standard.

2. Details on calibrations are specified by the SOPs and measurement guidelines.

6.3.2.2 Members should utilize GAW central facilities to sustain the global compatibility of observations.

Note: The GAW central facilities include: Central Calibration Laboratories, World Calibration Centres, Regional Calibration Centres and Quality Assurance/Science Activity Centres.

6.4. Operations

6.4.1 Monitoring observing system implementation

6.4.1.1 Members shall monitor the operation of GAW stations for which they are responsible and ensure that they follow the relevant procedures for quality assurance and data submission. Members shall seek assistance from central facilities, SAGs and expert teams if operational problems cannot be solved locally.

Note: The procedures to be used in monitoring the operation of GAW are determined within the Commission for Atmospheric Sciences (CAS) in consultation with the participating Members.

6.4.1.2 Members should systematically monitor compliance with GAW regulations, in collaboration with relevant constituent bodies and the Secretariat, in order to identify critical cases of non-compliance (deficiencies) and undertake measures for their timely resolution.

6.4.2 Quality assurance

6.4.2.1 Members should follow specified quality assurance practices and procedures.

Note: Details are given in the GAW SOPs and measurement guidelines and in further documents provided by the SAGs and central facilities.

6.4.2.2 Members shall maintain detailed metadata records in accordance with procedures and practices specified in this Manual.

6.4.2.3 Members should participate in independent evaluations of quality of observations, including intercomparisons and system audits, as appropriate for the observed variables.

6.4.2.4 Members shall permit World Data Centres to perform an independent evaluation of the data quality of their observations.

6.4.3 Data and metadata representation and format

6.4.3.1 Members shall submit their observations and associated metadata to the relevant GAW World Data Centres for the variables observed at the station within agreed time limits.

6.4.3.2 Members shall use the formats specified by the relevant World Data Centre when submitting their observations and metadata.

6.5. Observational metadata

Note: The general provisions on observation metadata are specified in section 2.5.

6.5.1 Members shall provide metadata associated with instrumentation, site or platform, and calibration history as requested by the World Data Centre for each parameter and by GAWSIS.

6.5.2 Members shall provide such additional metadata as required by GAWSIS and any World Data Centre to which they contribute that are necessary to understand their observations.

6.6. Quality management

Note: The general regulations on quality management are specified in section 2.6.

6.7. Capacity development

Note: General provisions for capacity development are provided in sections 2.7, 3.7 and 4.7.

6.7.1 Members not capable of implementing required standards should establish agreements with appropriate central facilities or establish partnership with more experienced stations in the form of stations twinning.

Note: In some regions of the world, and for some GAW variables, where there is a clear lack of capacity, Members may be requested to help support a station, or existing stations may be approached to become part of GAW. Such requests and invitations come after approval by the appropriate SAGs.

6.7.2 Members should use the GAW Training and Education Centre (GAWTEC) programme, as available, for capacity-building and staff training in measurement of the specific GAW variables.

ATTACHMENT 6.1. REQUIREMENTS FOR THE GLOBAL ATMOSPHERE WATCH STATIONS

1. General

Essential characteristics of the Global Atmosphere Watch (GAW) regional stations:

(a) The station location is chosen such that, for the variables measured, it is regionally representative and is normally free of the influence of significant local pollution sources;

(b) There are adequate power, air conditioning, communication and building facilities to sustain long-term observations with greater than 90% data capture (i.e. <10% missing data);

(c) The technical support provided is trained in the operation of the equipment;

(d) There is a commitment by the responsible agency to long-term observations of at least one of the GAW variables in the GAW focal areas (ozone, aerosols, greenhouse gases, reactive gases, UV radiation and precipitation chemistry);

(e) The GAW observations made are of known quality and linked to the GAW primary standard;

(f) The data and associated metadata are submitted to one of the GAW World Data Centres (WDCs), typically no later than one year after the observations are made. Changes in metadata, including instrumentation, traceability and observation procedures, are reported to the responsible WDC in a timely manner;

(g) If required, observations are submitted to a designated data distribution system in near-real time;

(h) Standard meteorological in situ observations, necessary for the accurate determination and interpretation of the GAW variables, are of known quality;

(i) The station characteristics and observational programme are updated in the GAW Station Information System (GAWSIS) on a regular basis;

(j) A station logbook (a record of observations made and of activities that may affect observations) is maintained and used in the data validation process.

1.1 Additional essential characteristics of GAW global stations

In addition to the essential characteristics of regional stations, GAW global stations should fulfil the following requirements:

(a) Measurement of variables in at least three of the six GAW focal areas;

(b) A strong scientific supporting programme with appropriate data analysis and interpretation within the country and, if possible, the support of more than one agency;

(c) Provision of a facility at which intensive campaigns can augment the long-term routine GAW observations and where testing and development of new GAW methods can be undertaken.

2. GAW contributing networks

The GAW contributing networks provide observations from multiple stations. The stations comprising contributing networks should satisfy the criteria of either regional or global stations taking into account the contributing network regulations (within the contributing network, data submission requirements or standard used can differ from those required for regional and global stations). Where the network standards differ from those of WMO, they must have a confirmed traceability to the WMO standards, where these exist. Data submission regulations for the contributing networks must be at least as stringent as those required within GAW. A station designation as global or regional, if such designation already exists for individual stations, always takes precedence over the designation as contributing station. To be used in global assessments, data from the contributing stations must be submitted to the GAW World Data Centres.

7. ATTRIBUTES SPECIFIC TO THE WMO HYDROLOGICAL OBSERVING SYSTEM

Note: The provisions of sections 1, 2, 3 and 4 are common to all WIGOS component observing systems, including the WHOS. The provisions of this section are specific to the WHOS.

7.1 Requirements

7.1.1 Members shall establish and operate a hydrological observing system according to their national requirements.

7.1.2 Members should also operate their hydrological observing systems to address the requirements of the RRR process, in particular for the hydrology application area.

Notes:

1. A hydrological observing system includes networks of hydrological observing stations, as defined in the Technical Regulations (WMO-No. 49), Volume III: Hydrology, Chapter D.1.1, which should make observations of the elements described in Chapter D.1.2.

2. Information on hydrological data transmission can be found in the Technical Regulations (WMO-No. 49), Volume III: Hydrology, Chapter D.1.4, [D.1.4.]1.2, which states: “Transmission facilities should be organized for the international exchange of hydrological data, forecasts and warnings on the basis of bilateral or multilateral agreement.” Further provisions for data transmission and international exchange through the WIS are given in the Technical Regulations (WMO-No. 49), Volume I, Part II, the Manual on the WMO Information System (WMO-No. 1060) and the Manual on the Global Telecommunication System (WMO-No. 386).

7.1.3 Members shall provide on a free and unrestricted basis those hydrological data and products which are necessary for the provision of services for the protection of life and property, and the well-being of all peoples.

7.1.4 Members should also provide, where available, additional hydrological data and products that are required by WMO Programmes and by Members as specified in paragraph 7.1.2.

7.1.5 At the global level, WHOS shall give Members access to near-real time hydrological observations from all Members.

Note: Currently, many Members are making such observations publicly available on the Internet.

7.1.6 Members should provide these sources of observations to the WHOS.

Note: Hydrological observations available through WHOS will initially comprise stage (water level) and discharge. This will likely expand over time to include other elements as identified in the Rolling Review of Requirements at the national, regional and global levels.

7.2 Design, planning and evolution

Note: Design, planning and evolution is common to all WIGOS component observing systems.

Members should design and plan their observing network considering the review of the current and planned WHOS capabilities, undertaken as outlined in the RRR as described in section 2.2.4.

7.3 Instrumentation and methods of observation

7.3.1 General requirements of instruments

7.3.1.1 Members should equip their stations with properly calibrated instruments and should arrange for these stations to follow adequate observational and measuring techniques to ensure that the measurements and observations of the various hydrological elements are accurate enough to address the needs of hydrology and other application areas.

Note: Technical Regulations (WMO-No. 49), Volume III: Hydrology, provides that Members should use instruments for measurement of stage (water level) in conformity with the specifications of its annex, section II: Water-level measuring devices.

7.3.1.2 Members should ensure that the uncertainty in the observation of the stage (water level) of rivers, estuaries, lakes and reservoirs does not exceed:

(a) In general, 10 mm at the 95% confidence level;

(b) Under difficult conditions, 20 mm at the 95% confidence level.

Note: Stage (water level) observations are used primarily as an index for computing streamflow discharge when a unique relation exists between stage (water level) and discharge.

7.3.2 Stage and discharge observations from hydrometric stations

Note: Technical Regulations (WMO-No. 49), Volume III: Hydrology, provides that Members should establish and operate hydrometric stations for measuring stage (water level), velocity and discharge in conformity with the specifications of its annex, section VI: Establishment and operation of a hydrometric station.

7.3.2.1 Members should ensure that the number of discharge measurements at a stream gauging station are adequate to define the rating curve for the station at all times.

Notes:

1. Technical Regulations (WMO-No. 49), Volume III: Hydrology, provides that Members should use the methods for determining the stage-discharge relation (rating curve) of a station as specified in its annex, section VII: Determination of the stage-discharge relation.

2. Technical Regulations (WMO-No. 49), Volume III: Hydrology, provides that Members should ensure, when undertaking moving-boat discharge measurements, that equipment and operational procedures are as specified in its annex, section XII: Discharge measurements by the moving-boat method.

7.3.2.2 Members should measure river discharges to an accuracy commensurate with flow and local conditions. Percentage uncertainty of the discharge measurement should not exceed:

(a) In general, 5% at the 95% confidence level;

(b) Under difficult conditions, 10% at the 95% confidence level.

Notes:

1. Technical Regulations (WMO-No. 49), Volume III: Hydrology, provides that Members should evaluate the uncertainty in discharge measurements in conformity with the specifications in its annex, section VIII: Estimation of uncertainty of discharge measurements.

2. Discharge measurements are taken to establish and verify the stability of a rating curve. Stage (water level) observations are converted to estimates of discharge using the rating curve on an ongoing basis.

7.3.3 Calibration procedures

Notes:

1. Technical Regulations (WMO-No. 49), Volume III: Hydrology, provides that Members should adhere to the specifications of facilities, equipment and procedure for the calibration of current meters as specified in its annex, section I: Calibration of current meters in straight open tanks.

2. Technical Regulations (WMO-No. 49), Volume III: Hydrology, provides that Members should ensure that operational requirements, construction, calibration and maintenance of rotating element current meters are as specified in its annex, section IV: Rotating element type current meters.

Members should recalibrate acoustic velocity meters on a routine basis to ensure stability of the calibration, using measurement standards traceable to international or national standards. Where no such standards exist, Members should record the basis used for calibration or verification.

Note: Additional information pertaining to the calibration of instruments can be found in the Guide to Hydrological Practices (WMO-No. 168), Volume I, and the Manual on Stream Gauging (WMO-No. 1044).

7.4 Operations

7.4.1 Observing practices

7.4.1.1 Members should collect and preserve their hydrological records.

7.4.1.2 Members should make the necessary arrangements to facilitate the retrieval and analysis of their hydrological observations by automatic data-processing equipment.

7.4.1.3 Where automatic registration is not available, Members should ensure that the observations of elements for hydrological purposes are made at regular intervals appropriate for the elements and their intended purposes.

7.4.1.4 Members should maintain in their archives an up-to-date inventory of their hydrological observations.

7.4.1.5 Members should generally ensure uniformity in time of observations within a catchment area.

7.4.1.6 Members should select the time units used in processing hydrological data for international exchange from the following:

(a) The Gregorian calendar year;

(b) The months of this calendar;

(c) The mean solar day, from midnight to midnight, according to the zonal time, when the data permit;

(d) Other periods by mutual agreement in the case of international drainage basins or drainage basins in the same type of region.

7.4.1.7 For hydrometric stations where data are internationally exchanged, Members should process the following characteristics for each year:

(a) Maximum instantaneous and minimum daily mean values of stages (water levels) and discharge;

(b) Mean daily stages (water levels) and/or mean daily discharges.

7.4.1.8 For rivers under flood conditions or where there are variable controls, Members should make special measurements at intervals frequent enough to define the hydrograph.

7.4.1.9 When sudden and dangerous increases in river levels occur, Members should make and report observations as soon as possible regardless of the usual time of observation, to meet the intended operational use.

7.4.1.10 Members should measure and store stage (water level) observations as instantaneous values rather than averaged values.

7.4.2 Quality control

7.4.2.1 Members should maintain detailed records for each station and for each parameter containing metadata related to the measurements, maintenance and calibration of equipment.

7.4.2.2 Members should perform periodic audits of their stations and collected data.

7.4.2.3 Members should ensure that recorded hydrological observations are converted to a form suitable for archiving and retrieval.

Note: Observations may be initially recorded using various media from paper to electronic digital form. As computer archiving has become a standard practice for most Members, it is advantageous to convert data to the required format early in the process.

7.4.2.4 Members should ensure that their data undergo, at various stages, a range of checks to determine their uncertainty and correctness.

7.4.2.5 With accelerating developments in technology, Members should ensure that data-processing and quality control systems are well-organized and that the relevant staff are trained to understand and use them.

Note: Data are collected and recorded in many ways, ranging from manual reading of simple gauges to a variety of automated data-collection, transmission and filing systems.

7.4.2.6 Members should consider the adoption of a quality management system, as described in section 2.6.

Note: Organizations usually employ an accredited certification agency to provide independent verification.

7.4.2.7 Members should undertake data processing and quality control as described in relevant publications.

Note: Such publications include the Guide to Hydrological Practices (WMO-No. 168), Volume I, Chapter 9, the Manual on Flood Forecasting and Warning (WMO-No. 1072), Chapter 6, and the Manual on Stream Gauging (WMO-No. 1044), Volume II, Chapter 6.

7.4.3 Observations and observational metadata reporting

7.4.3.1 Members should ensure, when providing hydrological information for international purposes, that open text or appropriate code forms are used as specified in bilateral or multilateral agreements.

7.4.3.2 Members should ensure that transmission facilities are organized for the international exchange of hydrological observations on the basis of bilateral or multilateral agreements.

7.4.3.3 In order to make data globally available for real-time exchange and discovery, access and retrieval, Members should report stage and discharge observations in compliance with WIS metadata standards.

Notes:

1. The WMO Information System may also be used for access to hydrological observations not required in real time.

2. The regulations governing exchanges in international code forms are specified in the Manual on Codes (WMO-No. 306), Volume I.

3. Coded information exclusively for bilateral or multilateral exchange amongst Members may be in other forms by mutual agreement.

7.4.4 Incident management

Note: General provisions for incident management are provided in section 2.4.5.

7.4.5 Change management

Note: General provisions for change management are provided in section 2.4.6.

7.4.6 Maintenance

7.4.6.1 Members should determine the frequency and timing of visits to recording stations on the basis of the length of time that the station can be expected to function without maintenance and the uncertainty requirements of the data.

Notes:

1. There is a relation between the frequency of the visits and the resultant quality of the data collected. Too long a time between visits may result in frequent recorder malfunction and thus in loss of data, while frequent visits are both time consuming and costly.

2. Some data collection devices may suffer a drift in the relationship between the variable that is recorded and that which the recorded value represents. An example of this is a non stable stage-discharge relationship.

3. Two visits per year are considered an absolute minimum; more frequent visits are recommended to decrease the potential loss of data and/or to avoid data being severely affected by problems such as silting, vandalism or seasonal vegetative growth.

7.4.6.2 Members should schedule periodic visits to the station to recalibrate the equipment or the measurement equations.

7.4.6.3 Members should periodically inspect stations using trained personnel to ensure the correct functioning of instruments.

7.4.6.4 Members should ensure that a formal written inspection is done routinely, preferably each year, to check overall performance of instruments and local observer, if applicable.

7.4.6.5 Members, when routinely inspecting sites, should:

(a) Measure gauge datum to check for and record any changes in levels;

(b) Check the stability of the rating curve and review the relationships between the gauges and permanent level reference points to verify that no movement of the gauges has taken place;

(c) Review the gauging frequency achieved and the rating changes identified;

(d) Undertake a number of maintenance activities as described in sections 7.4.6.8 and 7.4.6.9.

Note: It is vital, for the quality of data, that resources for gauging be allocated and prioritized using rigorous and timely analysis of the probability and frequency of rating changes.

7.4.6.6 Members should ensure that maintenance activities are conducted at data-collection sites at intervals sufficient to ensure that the quality of the data being recorded is adequate.

7.4.6.7 Members should ensure that such activities are conducted by the observer responsible for the sites, if there is one. Members should also ensure that maintenance activities are occasionally performed by an inspector.

7.4.6.8 Members should undertake the following maintenance activities at all collection sites:

(a) Service the instruments;

(b) Replace or upgrade instruments, as required;

(c) Retrieve or record observations;

(d) Perform the recommended checks on retrieved records;

(e) Carry out general checks of all equipment, for example, transmission lines;

(f) Check and maintain the site in accordance with the recommended specifications;

(g) Check and maintain access to the station;

(h) Record, in note form, all of the above activities;

(i) Comment on changes in land use or vegetation;

(j) Clear debris and overgrowth from all parts of the installation.

7.4.6.9 Members should undertake the following maintenance activities at discharge collection sites:

(a) Check the bank stability, as necessary;

(b) Check the level and condition of gauge boards, as necessary;

(c) Check and service the flow-measuring devices (cableways, etc.), as necessary;

(d) Check and repair control structures, as necessary;

(e) Regularly survey cross-sections and take photographs of major station changes after events or changes in vegetation or land-use;

(f) Record, in note form, all of the above activities and their results;

(g) Inspect the area around or upstream from the site, and record any significant land-use or other changes in related hydrological characteristics, such as ice.

Note: Further details are found in the Manual on Stream Gauging (WMO-No. 1044).

7.4.6.10 Members should have a well-trained technician or inspector visit stations immediately after every severe flood in order to check the stability of the river section and the gauges. If there is a local observer, Members should train this person to check for these problems and communicate them to the regional or local office.

7.4.6.11 Members should not programme flood gaugings as part of a routine inspection trip because of the unpredictable nature of floods.

7.4.6.12 Members should establish a flood action plan prior to the beginning of the storm or flood season and should specify priority sites and types of data required.

Note: If flood gaugings are required at a site, the preparations would ideally be made during the preceding dry or non-flood season so that all is ready for the annual flood season.

7.4.6.13 Members should consider undertaking the following additional measures if severe flooding is likely:

(a) Upgrade site access (helipad, if necessary);

(b Equip a temporary campsite with provisions;

(c) Store and check gauging equipment;

(d) Protect instrumentation, such as stage recorders, by taking flood-proofing measures;

7.4.6.14 Following the recession of floodwaters, Members should pay particular attention to ensuring the safety and security of the data-collection site and to restoring normal operation of on-site instrumentation.

Note: In some cases, redesign and reconstruction of the site may be required. Such work would ideally take into account information obtained as a result of the flood.

7.4.7 Calibration procedures

Note: Determination of a rating curve is described in section 7.3.2. Calibration procedures for current meters are described in section 7.3.3.

7.5 Observational metadata

Notes:

1. Provisions for describing observational metadata, for recording and retaining observational metadata, and for exchanging and archiving observational metadata are provided in section 2.5. These apply to all WIGOS component observing systems including the WHOS. Further provisions specific to WHOS are stated here.

2. The observational metadata are detailed in Appendix 2.4 and in the WIGOS Metadata Standard (WMO-No. 1192).

3. Within an organization or country, a hydrological information system or a station registration file and a historical operation file (as indicated in the Guide to Hydrological Practices, WMO–No. 168) or similar repositories may be used as a convenient means to compile a set of metadata about a hydrological station and its observations.

7.5.1 Members who use their own station identifiers for hydrological stations should maintain the means to match these with the WMO station identifiers, as specified in section 2.4, Attachment 2.1.

7.5.2 Members should collect and record additional observational metadata identifying the purpose of the station in accordance with provisions in section 2.5.

Note: Further details are found in the Guide to Hydrological Practices (WMO-No. 168), Volume I, Chapter 10.

7.6 Quality management

Notes:

1. Provisions for the implementation of quality management in WIGOS are provided in section 2.6. These apply to all WIGOS component observing systems including the WHOS.

2. The WMO Hydrology and Water Resources Programme has developed material on the implementation of the WMO Quality Management Framework in Hydrology and its adoption in national operations. Some Members have achieved compliance with the ISO 9001:2008 standard and examples have been documented to assist other Members.

7.7 Capacity development

Notes:

1. Provisions for the implementation of capacity development in WIGOS are provided in section 2.7.

2. Whatever the level of technical sophistication of a data-collection authority, the quality of its staff remains its most valuable resource.

7.7.1 Members should undertake careful recruitment, training and management to attain and maintain the appropriate personnel with the most appropriate skill sets.

7.7.2 Members should pursue a carefully structured training programme for all personnel engaged in field and office practices pertaining to data collection because they are in a strong position to influence the quality of the final data.

Note: Formal training ideally will aim at providing both a general course in first principles, plus training modules to teach in-house field and office procedures. All material has to be relevant and current.

7.7.3 Members should provide training classes, follow-up exercises and on-the-job training to field personnel, before they make streamflow and survey measurements using various technologies such as Acoustic Doppler Current Profiler (ADCP) and mechanical current meters.

7.7.4 Members should provide training classes, follow-up exercises, and on-the-job training on data-collection practices and processing of data to increase employee productivity and programme effectiveness.

7.7.5 Members should have appropriate technologies in place, such as hydrological information systems, to allow for streamflow data processing and facilitate the effective and efficient delivery of metadata, data and data products to users.

7.7.6 Members should have an adequate number of stations to meet priority needs and ensure sufficient resources to maintain and operate sites to attain required accuracies and reliability of data for their intended use.

8. ATTRIBUTES SPECIFIC TO THE OBSERVING COMPONENT OF THE GLOBAL CRYOSPHERE WATCH

Note: The provisions of sections 1, 2, 3 and 4 are common to all WIGOS component observing systems, including the Global Cryosphere Watch (GCW). The further provisions in this section are specific to the GCW.

8.1 Members should collaborate actively in, and give all possible support to, the development and implementation of the observing component of the Global Cryosphere Watch.

Note: Implementation of GCW encompasses the use of surface- and space-based observations, observing standard and recommended practices and procedures, best practices for the measurement of essential cryospheric variables, and full assessment of error characteristics of in situ and satellite products. The initial focus of CryoNet, the surface-based standardized core observing network, is to promote the addition of cryospheric observations taken in accordance with GCW standard and recommended practices and procedures, guidelines and best practices, at existing sites rather than creating new ones. The development of GCW includes the development of a CryoNet manual and guide.

8.2 Members should encourage partnerships between organizations to coordinate observing, capacity-building and training activities relevant to cryospheric observations, and to assist with the compilation and development of standard and recommended practices and procedures for cryospheric observation.

8.3 The GCW surface observing network shall comprise a core component, called CryoNet, and contributing stations that are not part of CryoNet.

8.4 The basic component of CryoNet shall be the CryoNet station. A CryoNet station shall measure one or more components of the cryosphere and one or more variables of each component.

8.5 Cryosphere components shall be: sea ice, freshwater ice, ice sheets, glaciers, icebergs, ice caps, ice shelves, permafrost, seasonally frozen ground, snow, and solid precipitation.

8.6 A CryoNet station shall meet the minimum set of requirements specified in Appendix 8.1.

8.7 A CryoNet station shall be either a primary or a reference station:

(a) A primary CryoNet station shall have a target (intent) of long-term operations and have at least a four-year initial commitment.

(b) A reference CryoNet station shall have a long-term operational commitment and long-term (more than 10 years) data records.

Note:

Any primary or reference CryoNet station may have one or more additional attributes:

(a) A calibration/validation station is used for calibration and/or validation of satellite products and/or Earth system models, or it has been used for such purposes in the past and still provides the needed facilities;

(b) A research station has a broader research focus related to the cryosphere.

8.8 A GCW station that is not part of CryoNet shall be a GCW contributing station.

(a) A GCW contributing station shall measure at least one variable of at least one cryosphere component.

(b) A GCW contributing station shall be a station that provides useful measurements of the cryosphere but does not meet minimum requirements for a CryoNet station, or in some other way does not achieve the quality and/or consistency of data required of CryoNet stations.

Notes:

1. For example, stations where data records may be short or with large gaps. These stations may be in remote, hard-to-access regions where cryospheric observations are scarce or where they may complement other cryospheric measurement programmes. Mobile platforms such as ships, drifting stations and buoys may also be contributing stations.

2. Contributing stations may have the reference attribute. A reference contributing station has a long-term operational commitment and/or long-term (more than 10 years) data records.

8.9 CryoNet shall consist of two different categories of observing sites: basic sites and integrated sites.

(a) Basic sites shall monitor one component of the cryosphere and shall observe multiple variables of that component.

(b) Integrated sites shall monitor at least two components of the cryosphere or at least one cryosphere component and one other component of the Earth system. Integrated sites shall promote, through worldwide scientific collaboration, progress in the scientific understanding of the processes that change the cryosphere.

Note: Integrated sites are particularly important for the study of feedbacks and complex interactions between these components.

8.10 Each CryoNet site shall encompass an area larger than a conventional observing station.

8.11 Each CryoNet site shall be comprised of two or more active GCW stations with varying capabilities that shall be operated as a coordinated unit. At least one station shall be a CryoNet station.

8.12 Each CryoNet site shall provide information describing the research approach and the site management.

8.13 Each CryoNet site shall meet the requirements specified in Appendix 8.1.

Notes:

1. A site may encompass several micro-climatological regions or extend over larger altitudinal gradients. Thus, further ancillary meteorological stations are part of a site. Different partners may operate the stations, but they are coordinated through one agency or institute.

2. Typically, sites have a broader research focus related to the cryosphere than stations. Whereas basic sites investigate the cryosphere only, integrated sites aim to provide a better understanding of the cryosphere and/or its linkages to other components of the Earth system, for example, the atmosphere, the hydrosphere, the biosphere, the oceans, soil, or vegetation.

APPENDIX 8.1. MINIMUM REQUIREMENTS FOR INCLUSION OF A GLOBAL CRYOSPHERE WATCH SURFACE MEASUREMENT SITE OR STATION IN CRYONET

I. Minimum requirements for a CryoNet station

1. Core CryoNet measurement requirements: The station shall measure at least one of the variables of one of the cryosphere components. The station location shall be chosen such that cryospheric measurements are representative of the surrounding region, and such representativeness shall be clearly described.

2. Commitment of operational continuity: The station shall be active. The responsible agencies shall be committed, to the extent reasonable, to sustaining long-term observations of at least one cryosphere component. There shall be a commitment to continue measurements for a minimum of four years.

3. Up-to-date and available metadata: The station metadata, including all metadata describing the station characteristics and observing programme, shall be kept up to date and available in the GCW Portal as the interface to the WIGOS Information Resource – OSCAR/Surface.

4. Compliance with agreed regulatory practices: The station observational procedures, the instruments and methods of observation, quality control practices, etc., shall follow GCW-endorsed regulations.

5. Freely available data and ancillary data: Data shall be made freely available and, whenever possible, in (near) real time. In situ ancillary meteorological observations, as required by CryoNet practices, shall also be available with documented quality.

6. Competency of staff: Personnel shall be trained in the operation and maintenance of the station.

II. Requirements for a GCW CryoNet site

1. A site shall comprise at least one CryoNet station.

2. Integrated sites shall have technical supporting staff.

3. Integrated sites shall have training capability.

4. There shall be a long-term financial commitment.

5. Data shall be made freely available and, whenever possible, in (near) real time.

1. The words “additional data” are used with their usual meaning and not as in Resolution 40 (Cg-XII). [↑](#footnote-ref-1)
2. Due to the high variety of types of nuclear accidents, a precise definition of “accident site” is not possible. The accident site should be understood as the location where the accident occurs and the immediate surrounding zone within a range of a few kilometres. [↑](#footnote-ref-2)
3. The area potentially affected is dependent on the state and evolution of the atmosphere over an extended area around the accident site, as well as on the nuclear event itself, and cannot be precisely defined in advance. The “potentially affected area” should be understood, therefore, as the area where (according to all the information available, including the air transport pollution products, if already issued) the nuclear pollutants are likely to be transported in the air or on the ground at a significant level over the natural (background) radioactivity. Advice on the extent of the potentially affected area may be obtained from the RSMC concerned. [↑](#footnote-ref-3)
4. Pre-eruption volcanic activity in this context means unusual and/or increasing volcanic activity, which could presage an eruption. [↑](#footnote-ref-4)
5. The words “additional data” are used with their usual meaning and not as in Resolution 40 (Cg-XII). [↑](#footnote-ref-5)
6. Volcanic Ash Advisory Centres are designated by ICAO and WMO to issue advisories on the presence and forecasted trajectory of volcanic ash. [↑](#footnote-ref-6)
7. The Global Contingency Plan (<http://www.wmo.int/pages/prog/sat/documents/CGMS_Contingency-Plan-2007.pdf>) should be updated accordingly. It should indicate that in case of potential gaps on core sun-synchronous missions, absolute priority should be given to observation from mid-morning and early afternoon orbits, in order to maintain the continuity of these datasets. [↑](#footnote-ref-7)