1. AUTOMATIC MARINE STATIONS

KEY: Observed or Technical Parameters

| Column | Parameters | Column | Parameters |
| --- | --- | --- | --- |
| 1 | Wind direction, speed and peak wind | 12 | Battery Voltage (BV) |
| 2 | Air temperature | 13 | Dew Point |
| 3 | Air pressure | - | Parameter not observed |
| 4 | Pressure tendency | X | Buoy observes this parameter |
| 5 | Sea-surface temperature | . | Data under evaluation, not reported |
| 6 | Wave period and height | B | Buoy beached, sensor reporting |
| 7 | Wave spectra | N | No sensor installed |
| 8 | Drogued | Q | Data questionable, but reported |
| 9 | Subsurface temperatures | R | Buoy Retrieved |
| 10 | Relative humidity | S | Sensor/system failure |
| 11 | Visibility | D | Buoy off station or adrift |

## AUSTRALIA

### Drifting Buoys

| WMO Buoy ID | ARGOS ID | Position: 30 October 2002 | Observed or Technical Parameters |
| --- | --- | --- | --- |
|  |  | Latitude | Longitude | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| 52626 | 2489 | -13.126 | 139.549 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 52627 | 2945 | -14.988 | 138.593 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 53549 | 4873 | -11.781 | 115.246 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 53550 | 8590 | -6.641 | 129.057 | X | - | X | - | S | - | - | X | - | - | - | - | - |
| 56511 | 1869 | -30.036 | 60.49 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56512 | 2933 | -48.518 | -131.39 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56513 | 2950 | -19.28 | 74.255 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 56514 | 2935 | -64.528 | -113.465 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56515 | 2936 | -37.327 | -149.463 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56516 | 2938 | -51.238 | -121.707 | - | S | X | X | X | - | - | X | - | - | - | - | - |
| 56517 | 4879 | -59.35 | 150.292 | - | X | X | X | S | - | - | X | - | - | - | - | - |
| 56518 | 2930 | -55.655 | 171.05 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56519 | 4878 | -52.944 | 173.076 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56520 | 8591 | -23.44 | 105.311 | X | - | X | - | - | - | - | X | - | - | - | - | - |
| 56521 | 4874 | -19.905 | 85.221 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56522 | 8036 | -27.118 | 85.54 | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 56523 | 8098 | -23.036 | 110.275 | - | - | X | - | X | - | - | X | - | - | - | - | - |
| 56524 | 35943 | -29.915 | 90.303 | - | - | X | - | X | - | - | X | - | - | - | - | - |
| 56525 | 8099 | -14.938 | 97.699 | - | - | X | - | X | - | - | X | - | - | - | - | - |
| 56535 | 2939 | -19.744 | 63.406 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 74534 | 4871 | -57.179 | -178.635 | - | S | X | X | X | - | - | X | - | - | - | - | - |
| 74535 | 2695 | -59.723 | 104.745 | - | X | X | X | X | - | - | X | - | - | - | - | - |