1. AUTOMATIC MARINE STATIONS

KEY: Observed or Technical Parameters

| Column | Parameters | Column | Parameters |
| --- | --- | --- | --- |
| 1 | Wind direction, speed and peak wind | 12 | Battery Voltage (BV) |
| 2 | Air temperature | 13 | Dew Point |
| 3 | Air pressure | - | Parameter not observed |
| 4 | Pressure tendency | X | Buoy observes this parameter |
| 5 | Sea-surface temperature | . | Data under evaluation, not reported |
| 6 | Wave period and height | B | Buoy beached, sensor reporting |
| 7 | Wave spectra | N | No sensor installed |
| 8 | Drogued | Q | Data questionable, but reported |
| 9 | Subsurface temperatures | R | Buoy Retrieved |
| 10 | Relative humidity | S | Sensor/system failure |
| 11 | Visibility | D | Buoy off station or adrift |

AUSTRALIA

### Drifting Buoys

| WMO Buoy ID | ARGOS ID | Position: 31 January 2003 | Observed or Technical Parameters |
| --- | --- | --- | --- |
|  |  | Latitude | Longitude | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| 52626 | 2489 | -13.872 | 139.636 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 52627 | 2945 | -14.814 | 137.687 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 53549 | 4873 | -10.971 | 109.008 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 53550 | 8590 | -15.257 | 111.623 | X | - | X | - | S | - | - | X | - | - | - | - | - |
| 56511 | 1869 | -33.655 | 54.579 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56512 | 2933 | -45.416 | -123.635 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56513 | 2950 | -21.018 | 60.679 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 56514 | 2935 | -61.273 | -101.335 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56515 | 2936 | -38.68 | -147.288 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56516 | 2938 | -48.546 | -102.067 | - | S | X | X | X | - | - | X | - | - | - | - | - |
| 56517 | 4879 | -61.869 | -179.676 | - | X | X | X | S | - | - | X | - | - | - | - | - |
| 56518 | 2930 | -54.997 | -161.739 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56519 | 4878 | -48.526 | -170.23 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56521 | 4874 | -22.854 | 75.961 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56522 | 8036 | -24.432 | 85.302 | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 56523 | 8098 | -22.396 | 100.45 | - | - | X | - | X | - | - | X | - | - | - | - | - |
| 56524 | 35943 | -32.552 | 97.91 | - | - | X | - | X | - | - | X | - | - | - | - | - |
| 56525 | 8099 | -16.239 | 92.205 | - | - | X | - | X | - | - | X | - | - | - | - | - |
| 56526 | 1870 | -16.354 | 115.893 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 56527 | 35945 | -43.817 | 110.738 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56528 | 36238 | -50.726 | 122.483 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56529 | 35927 | -54.854 | 110.624 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56530 | 36242 | -21.243 | 110.211 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56531 | 4877 | -15.442 | 93.637 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56535 | 2939 | -19.745 | 63.406 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 74534 | 4871 | -54.515 | -153.168 | - | S | X | X | X | - | - | X | - | - | - | - | - |
| 74535 | 2695 | -59.323 | 110.758 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 74536 | 8035 | -59.696 | 84.863 | - | X | X | X | X | - | - | X | - | - | - | - | - |