1. AUTOMATIC MARINE STATIONS

KEY: Observed or Technical Parameters

| Column | Parameters | Column | Parameters |
| --- | --- | --- | --- |
| 1 | Wind direction, speed and peak wind | 12 | Battery Voltage (BV) |
| 2 | Air temperature | 13 | Dew Point |
| 3 | Air pressure | - | Parameter not observed |
| 4 | Pressure tendency | X | Buoy observes this parameter |
| 5 | Sea-surface temperature | . | Data under evaluation, not reported |
| 6 | Wave period and height | B | Buoy beached, sensor reporting |
| 7 | Wave spectra | N | No sensor installed |
| 8 | Drogued | Q | Data questionable, but reported |
| 9 | Subsurface temperatures | R | Buoy Retrieved |
| 10 | Relative humidity | S | Sensor/system failure |
| 11 | Visibility | D | Buoy off station or adrift |

AUSTRALIA

### Drifting Buoys

| WMO Buoy ID | ARGOS ID | Position29 February 2004 | Observed or Technical Parameters |
| --- | --- | --- | --- |
|  |  | Latitude | Longitude | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| 52626 | 2489 | -14.349 | 139.460 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 52627 | 2945 | -14.919 | 137.654 | X | X | X | X | X | - | - | X | - | - | - | - | - |
| 56511 | 1869 | -22.920 | 36.474 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56512 | 2933 | -33.802 | -82.706 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56514 | 2935 | -46.751 | -21.156 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56515 | 2936 | -37.394 | -142.226 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56518 | 2930 | -55.836 | -70.632 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56519 | 4878 | -39.438 | -133.278 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56522 | 8036 | -22.000 | 55.612 | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 56523 | 8098 | -27.418 | 104.058 | - | - | S | S | S | - | - | X | - | - | - | - | - |
| 56528 | 36238 | -54.358 | -129.971 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56532 | 36239 | -62.596 | 173.369 | - | - | X | X | S | - | - | X | - | - | - | - | - |
| 56533 | 35928 | -49.930 | 134.466 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56534 | 2942 | -7.749 | 76.328 | S | S | X | X | X | - | - | X | - | - | - | - | - |
| 56536 | 35932 | -30.418 | 87.522 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56540 | 35931 | -23.854 | 85.635 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56541 | 36244 | -24.973 | 82.784 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56542 | 35935 | -18.639 | 104.364 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56543 | 40552 | -25.972 | 97.921 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56544 | 35936 | -41.619 | 118.098 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56545 | 35929 | -50.021 | 122.008 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56546 | 35930 | -54.078 | 113.570 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56547 | 8039 | -49.975 | 76.075 | - | X | X | X | X | - | - | X | - | - | - | - | - |
| 56548 | 40549 | -14.773 | 89.303 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 56549 | 35933 | -19.339 | 110.382 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 74533 | 35934 | -62.013 | 87.262 | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 74534 | 4871 | -47.606 | -25.047 | - | S | X | X | X | - | - | X | - | - | - | - | - |
| 74535 | 2695 | -57.572 | -160.776 | - | X | X | X | X | - | - | X | - | - | - | - | - |