1. AUTOMATIC MARINE STATIONS

KEY: Observed or Technical Parameters

| Column | Parameters | Column | Parameters |
| --- | --- | --- | --- |
| 1 | Wind direction, speed and peak wind | 12 | Battery Voltage (BV) |
| 2 | Air temperature | 13 | Dew Point |
| 3 | Air pressure | - | Parameter not observed |
| 4 | Pressure tendency | X | Buoy observes this parameter |
| 5 | Sea-surface temperature | . | Data under evaluation, not reported |
| 6 | Wave period and height | B | Buoy beached, sensor reporting |
| 7 | Wave spectra | N | No sensor installed |
| 8 | Drogued | Q | Data questionable, but reported |
| 9 | Subsurface temperatures | R | Buoy Retrieved |
| 10 | Relative humidity | S | Sensor/system failure |
| 11 | Visibility | D | Buoy off station or adrift |

#### NEW ZEALAND

### Drifting Buoys

| WMO Buoy ID | ARGOS ID | Position: 1 December 2003 | Observed or Technical Parameters |
| --- | --- | --- | --- |
|  |  | Latitude | Longitude | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| 55581 | 21585 | 30.2S | 165.2E | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 55582 | 21586 | 22.4S | 167.9E | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 55578 | 21583 | 32.9S | 160.6E | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 55583 | 2937 | 21.9S | 175.6E | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 55579 | 21587 | 28.4S | 178.4E | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 55580 | 21584 | 41.1S | 169.6E | - | X | X | - | X | - | - | X | - | - | - | - | - |
| 55585 | 21718 | 35.8S | 170.1E | - | - | X | X | X | - | - | X | - | - | - | - | - |
| 55584 | 21719 | 40.8S | 168.5E | - | - | X | X | X | - | - | X | - | - | - | - | - |