1. AUTOMATIC MARINE STATIONS

KEY: Observed or Technical Parameters

| Column | Parameters | Column | Parameters |
| --- | --- | --- | --- |
| 1 | Wind direction, speed and peak wind | 12 | Battery Voltage (BV) |
| 2 | Air temperature | 13 | Dew Point |
| 3 | Air pressure | - | Parameter not observed |
| 4 | Pressure tendency | X | Buoy observes this parameter |
| 5 | Sea-surface temperature | . | Data under evaluation, not reported |
| 6 | Wave period and height | B | Buoy beached, sensor reporting |
| 7 | Wave spectra | N | No sensor installed |
| 8 | Drogued | Q | Data questionable, but reported |
| 9 | Subsurface temperatures | R | Buoy Retrieved |
| 10 | Relative humidity | S | Sensor/system failure |
| 11 | Visibility | D | Buoy off station or adrift |

#### NEW ZEALAND

### Drifting Buoys

| BUOY IDENTIFIER | Position at: 15 March 2013 | Observed or Technical Parameters |
| --- | --- | --- |
| WMO | ARGOS/IRIDIUM | Latitude | Longitude | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 55588 | 21720 | 29.3S | 162.3E | - | - | X | X | X | - | - | X | - | - | - |
| 55573 | 22187 | 20.7S | 153.0E | - | X | X | - | X | - | - | X | - | - | - |
| 55589 | 21570 | 43.4S | 173.9E | - | - | X | X | X | - | - | X | - | - | - |
| 55590 | 21618 | 38.0S | 166.8E | - | - | X | X | X | - | - | X | - | - | - |
| 55571 | 21667 | 41.1S | 160.1E | - | - | X | X | X | - | - | X | - | - | - |
| 55572 | 21627 | 38.8S | 160.4E | - | - | X | X | X | - | - | X | - | - | - |
| 55574 | 21552 | 43.6S | 153.2E | - | - | X | X | X | - | - | X | - | - | - |