1. AUTOMATIC MARINE STATIONS

KEY: Observed or Technical Parameters

| Column | Parameters | Column | Parameters |
| --- | --- | --- | --- |
| 1 | Wind direction, speed and peak wind | 12 | Battery Voltage (BV) |
| 2 | Air temperature | 13 | Dew Point |
| 3 | Air pressure | - | Parameter not observed |
| 4 | Pressure tendency | X | Buoy observes this parameter |
| 5 | Sea-surface temperature | . | Data under evaluation, not reported |
| 6 | Wave period and height | B | Buoy beached, sensor reporting |
| 7 | Wave spectra | N | No sensor installed |
| 8 | Drogued | Q | Data questionable, but reported |
| 9 | Subsurface temperatures | R | Buoy Retrieved |
| 10 | Relative humidity | S | Sensor/system failure |
| 11 | Visibility | D | Buoy off station or adrift |

#### NEW ZEALAND

### Drifting Buoys

| BUOY IDENTIFIER | Position at 31 May 2013 | Observed or Technical Parameters |
| --- | --- | --- |
| WMO | ARGOS/IRIDIUM | Latitude | Longitude | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| 55582* | 300234011025040 | 37.2S | 168.9E | - | - | - | - | - | - | - | - | - | - | - |
| 55086** | 300234011024040 | 34.9S | 172 8E | - | - | - | - | - | - | - | - | - | - | - |
| 55085 | 300234011029610 | 49.7S | 178.8E | - | - | B | B | - | - | - | N | - | - | - |
| 55583*** | 113647 | 43.9S | 168.7E | - | - | X | X | X | - | - | X | - | - | - |
| 55584*** | 113648 | 36.5S | 172.8E | - | - | X | X | X | - | - | X | - | - | - |
| 55585*** | 113649 | 43.2S | 149.6E | - | - | X | X | X | - | - | X | - | - | - |

*	Fail 3 January 2013 16.15Z

**	Vandalized 12 March 2013 21Z

***	Position amended on 11 June 2013