## Sheet1
|  |  |  | To specify the WIS functions to be monitored |  | To identify the types and periodicity of the monitoring |  |  | To elaborate recommendations on using the monitoring results |  |  |  |  | Technical details
Item | Monitoring Area | Monitoring Sub-group | Metrics | Category | Purpose | Output format | Frequency | Producer | expected result, SLA | Recipient | followup action: who? | Overseer | GOAL | body? | remarks
1 | Centre Status | Availability of System Infrastructure, Applications, Networks and Services (Traffic Light) | Partial Outage (time) / # / min Full Outage (time ) / # / min Network / % Recovery (time) hours | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse Centre) feeds off line reporting | 99.999% G or 99.8% DC | Centre or public (see comment) | Centre | G | Minimise impacts of mishaps | TT-GISC or TT-OM | Uses output from other monitoring areas data capture (need to address timeliness and content for report requirements). Need to resolve who can see what on the dashboard. Minimum is for GISCs to have dashboard of current status of AMDCN (its centres and networks). Future goal to have integrated dashboard
2 | Centre Status | Workload - absolute and relative (%) loading of processing, storage and networks (including system buffering) | Memory overflow / % CPU-limits / % Network / % | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse Centre) feeds off line reporting | <80% capacity | Centre | Centre | Centre | Ensure usability of centre services | TT-OM | Mostly of concern to centre but usable for Status of WIS reports (2 years) and EC M&E (6 monthly)
3 | Centre Status | Centre Hot Back-up Readiness Status (Traffic Light) | Availability of backup GISC (T/F) Distribution catalogue at back up is less than one month old (T/F) | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse Centre) feeds off line reporting | Subscription catalogues current to within one month | GISCs | G | G | Maintain collection and distribution services to AMDCN in case of GISC outage | TT-GISC or TT-OM | Uses output from both centres' monitoring (need to address metrics and who
4 | Centre Status | Other issues: - provide status to other centres - Advance outage notification - Event-driven notification problems/outages - Daily Status bulletin between centres (template) - Comprehensive statistics on monthly basis - Management reporting/escalation process - Ensure capacity planning is covered | Applications Y / N Service-Interruption Y / N Recovery possible Y / N Backup-Procedure Y / N NOXX notification (e-mail,fon/fax, web
5 | Network and Interfaces | Availability (links) | Reporting preiod 3 months. Percentage of down time based on 5 minute intervals. GISC needs to arrange who does them easurement, could be GISC itself, centre or third party. | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse Centre) feeds off line reporting | 99.999% G or 99.8% DC | Centre or public (see comment) | Centre | G |  | ET-CTS
6 | Network and Interfaces | Usage | Time series of % of usage over 5 minutes covering three months period | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse Centre) feeds off line reporting | 99.99% | Centre | Centre | G |  | ET-CTS
7 | Network and Interfaces | Application Flows | No metric, just monitored on dashboard | Operations monitoring (real-time) | Trigger operational corrective action | ops) Dashboard | ops) continuous | GISC |  | Centre | Centre | Centre |  | TT-OM | A realtime usage, not really relevant to reporting
8 | Network and Interfaces | Application Availability (ftp, http, etc) | Reporting preiod 3 months. Percentage of down time based on 5 minute intervals. GISC needs to arrange who does them easurement, could be GISC itself, centre or third party. | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse Centre) feeds off line reporting | 99.99% | Centre | Centre | Centre |  | TT-OM
9 | Network and Interfaces | Server Performance (CPU,Storage, Network) | Time series of % of usage over 5 minutes covering three months period | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse Centre) feeds off line reporting | 99.99% | Centre | Centre | Centre |  | TT-OM
10 | Network and Interfaces | Other Issues: - Higher level dashboard? - GISC should monitor DAR I/F availability in its AMDCN - Should Information be kept local? - What about Security - e.g. spam, etc - Each Centre should monitor all 5 aspects (how far up should they be shared, reporting frequency, who do the reports go to? - clear difference between reporting and monitoring | Action on networking issues and how to would be to ET-CTS.
11 | Data Management | Metadata exchange (GISC): - connection capability to other centres - No. of updates during Sync. activity - Comparison of No. of metadata records held at each GISC - Do all exchanged data have metadata? | Total no. of attempts, and no. of failed and successful connections reported by each GISC & each centre No. of new modified, or deleted records No. of records held at 0000UTC No. of data records received which have no metadata (between 0000 & 2359UTC) | Operations monitoring (real-time) | Trigger operational corrective action | ops) Dashboard | ops) continuous | GISC |  | Centre | Centre | Centre |  | TT-OM | A realtime usage, not really relevant to reporting
12 | Data Management | Metadata exchange (Data Centres): - Availability of metadata for all products? - Quality of metadata (compliance with WIS Stds, usefulness) | Percentage of data links which return an HTTP 200 result code, during a data crawl For each WIS centre for which the GISC is responsible report the average % complete, using NOAA Spiral tool. Use a "like/dislike" tool to measure user perception of metadata records. | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
13 | Data Management | Observations and Products: - Timeliness (subscribed and on-demand) - Formats (headers/name/data type) - Data availability (expected data exchanged (check against routing tables, Vol C1/catalogue)) | No. of products not available by "expected time" No. of … No. of data records described in VolC1 not available in cache | Operations monitoring (real-time) | Trigger operational corrective action | ops) Dashboard | ops) continuous | GISC |  | Centre | Centre | Centre |  | TT-OM | A realtime usage, not really relevant to reporting
14 | Data Management | Observations and Products: - Formats (data format requested?) - Data remains unchanged through WIS (integrity) - Failed user requests versus achieved | No. requests made against each data format type Suggest removing - covered in 24Hr cache No. of failed and successful users requests | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | GISC | 99.99% | GISC
15 | Data Management | 24Hr Cache: - Is cache being updated? - Is cache complete (inter-GISC consistency, contains at least 24 Hours)? - Integrity (is data extracted identical to input data? - Delay between receipt/nominal time and availability in cache? - Is data accessible to user? | Has the cache been updated in the past hour? Compare no. of data records available in cache between 0000 & 2359UTC for each GISC Compare subset of data records across all GISCs for consistency Compare data ingestion and cache injection logs for each data record as measured in seconds No. of helpdesk incidents for users unable to access data in the cache | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse GISC) feeds off line reporting |  | GISC | Centre | Centre |  | TT-OM
16 | Data Management | 24Hr Cache: - How much data has been served from the cache? | Total no. of data records and total data volume in the cache reported at 0000UTC | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | GISC | 99.99% | GISC
17 | Data Management | Provision for specific actions and purposes, specific message transmission monitoring (Tsunami, SIGMET), | Metrics as listed in next item | Operations monitoring (real-time) | Trigger operational corrective action (and to feed ops mgt process) | ops) Dashboard mgt) Contributes to off lline Report | ops) continuous Mgt) Included in offline reporting | Ops ) Continuouse GISC) feeds off line reporting |  | GISC
18 | Data Management | Provision for specific actions and purposes, specific message transmission monitoring i) Planned exercise: - which centres did it reach and when? - integrity? Ii) Unplanned exercise: - Case studies (use logs of messages to generate report) to identify flow problems - Event-driven | i) Test each month. All centres report if and when they receive the message. Each centre forwards the message for comparison. ii) As for test message. | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
19 | User Services | Number of Registrations | number of registered users | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
20 | User Services | Type of User | public, commercial, R&E, official duties, other WMO members | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
21 | User Services | Location (country) of user | country | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
22 | User Services | Type of data accessed | observation, forecast, aviation, agriculture …. | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
23 | User Services | Amount of NRT data requests and offline data requests | no of requests, number of items requested, volume, number of push subscriptions, number of pull, | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
24 | User Services | Number of user queries (need to add mean time to closure) - help desk | number of of help desk enquiries, mean time to call closure | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
25 | User Services | Type of user queries (ie Help Desk function) | usage support, system functionality and performance, function (feature request) | Offline analysis (Non-real time) | Feed ops mgt process | Contributes to off lline Report | Included in offline reporting | Centre | 99.99% | GISC
26 | User Services | User notification | plain language text | Operations monitoring (real-time) | Trigger operational corrective action | ops) Dashboard | ops) continuous | Centre |  | User and public