## Slide 1: A summary of the current Invitation To Tender
Ahmed Benallegue
Network and Security Section

## Slide 2: Agenda
Tender Documents
Technical Requirements
Service Level Agreements
Potential site types
Planning of the Project

## Slide 3: Tender Documents
Letter of Invitation
Volume I:
  INSTRUCTIONS FOR TENDERERS AND CONDITIONS OF TENDER
Volume II
  SPECIFICATION OF REQUIREMENTS
  Pricing spread sheet
Volume III
  DRAFT CONTRACT
Responses to questions

## Slide 4: Tender Docs - Vol-II: Chapters 1-3
Chapter 1: Introduction
  Scope
  Tender requirements
  Time schedule
Chapter 2: Background
  RMDCN history and evolution
  Roles of ECMWF + WMO
  WMO – ECMWF Agreement 1998
Chapter 3: Objectives
  Traffic flows
  General requirements

## Slide 5: Tender Docs - Vol-II: Chapter 4 - Sites and configuration
ECMWF Basic Package
  Various possible configurations
  Money Stream £725k – highest possible IP Bandwidth
Current connected sites (“Table 1”)
  Preferred configuration
  Various options
Potential new sites (“Table 2”)
  Preferred configuration
  Various options
Pricing and contractual issues

## Slide 6: Tender Docs – Vol-II: Chapters 5-10
Chapter 5: Technical requirements
Chapter 6: Service Level Agreement
  Site types: Platinum, Gold, Silver, Bronze, Copper
  Service levels for site availability, circuit availability, GTTF, RTD, Packet Loss Ratio
Chapter 7: Project management and implementation
  Used PRINCE2 as framework
Chapter 8: Account and service management
  Used ITIL as framework
Chapter 9: Migration strategy
  Pilot phase (ECMWF plus 5-6 sites)
  Accelerated Incremental Migration (AIM)
Chapter 10: Acceptance tests

## Slide 7: Tender Docs - Vol-II: Annexes
Glossary
Description of WMO WIS
List of WMO RA VI members
Proposed timeline
List of figures

## Slide 8: Tender Docs - Responses to Questions
Any questions will be answered/clarified and then distributed to all known interested parties and published on the ECWMF website
http://www.ecmwf.int/newsevents/itt/2012-207/index.html

## Slide 9: Technical Requirements (Vol-II 5.1-5.3)
5.1 - Network topology and service provision
  Any-to-any traffic pattern
  No prioritisation of one site over another
  “Fully-managed” service, including 3rd parties
5.2 - Routed protocols
  IPv4 unicast mandatory
  IPv6 desirable
  Multicast in the future (e.g. GISC synchronisation, EUMETSAT dissemination)
5.3 - IP Addressing Scheme
  Public, registered IP network addresses only
  Supplier to provide a portion of their own public, registered IP network address allocation where necessary

## Slide 10: Technical Requirements (Vol-II 5.4-5.6)
5.4 – Routing Protocols
  eBGP or iBGP must be used for redistribution from CPE to PE devices
  Static and dynamic routing must be supported
  EIGRP or OSPF version 2 must be supported
5.5 – High availability of the LAN interface
  Highly available, dynamic virtual gateway on the CPE LAN interface must be supported
5.6 – Access line load sharing
  For dual connections, the option of active/passive or active/active configuration must be provided

## Slide 11: Technical Requirements (Vol-II 5.7-5.8)
5.7 – Classes and Quality of Service
  At least three Assured Forwarding CoS
  Ability to configure access control lists of IP destinations to classify traffic
5.8 – Access to CPE device for monitoring and troubleshooting
  ECMWF network support team needs read-only management access to each of the supplier’s CPE router devices
  Must be possible to retrieve up-to-date plain-text configuration files for each CPE router device
  CPE devices must support NetFlow and/or sFlow for monitoring
  Desirable for some sites to use an API to access supplier’s monitoring solution

## Slide 12: Service Level Agreements (Vol-II 6.1)
6.1 – Definitions
  Diversity
  Separacy
  Resilience
  Packet loss
  Round-trip delay (RTD)
  Site availability
  Circuit availability
  Guaranteed time to fix (GTTF)
  Service rebate

## Slide 13: Service Level Agreements (Vol-II 6.2-6.3)
6.2 – Availability and GTTF
  GTTF service level includes figures for both site availability and individual circuit availability
6.3 – Service degradation
  Service is available but substandard
  Measure packet loss, RTD and CoS/QoS repartition values from CPE to CPE
  Suggested level of service rebates:
  Global service degradation defined when a certain threshold (e.g. 15%) of sites fail any of the service levels over a monthly reporting period
Performance | Threshold | Rebate
Packet Loss Ratio | 0.5% from CPE to CPE | Rebate of 10% of monthly service charge if monthly average packet loss exceeds threshold
RTD | 300 ms from CPE to CPE | Rebate of 10% of monthly service charge if monthly average RTD exceeds threshold

## Slide 14: Potential site types (Vol-II 6.4)
Proposition in ITT:
  Platinum (highest cost)
  Gold
  Silver
  Bronze
  Copper (lowest cost)
Differentiators:
  Separacy
  Diversity
  Bandwidth
  Grade of backup circuit
  Service levels for Availability and GTTF

## Slide 15: Summary of access by site type

## Slide 16: Summary of site type resilience/separacy/diversity

## Slide 17: Summary of service level by site type

## Slide 18: Potential site types (Vol-II 6.4)
Tenderers’ response:
  Tenderers must propose at least three and up to five different site type configurations
  For the highest grade site (Platinum) a site survey will determine whether it conforms to the full separacy, diversity and resilience requirements
  Third party providers’ support processes and service levels must be detailed in order to understand how circuit or CPE faults will be handled

## Slide 19: Other service level agreement elements (Vol-II 6.5)
Scheduled maintenance:
  Notified and performed within agreed time windows
  Rebates applicable if service levels are not achieved
Downtime penalties
  Desirable to provide committed service levels which incorporate downtime penalties against support, monitoring and reporting

## Slide 20: Project planning
Pilot phase
  ECMWF plus 5-6 sites
  First half of 2013
Accelerated incremental migration (AIM) – four months
  One gateway site (probably ECMWF)
Acceptance Tests
Initial Deployment
  Cutoff date for orders 1 July 2013

## Slide 21: Timeline

## Slide 22: 2012 planning
Publication of the ITT
15 February
Presentation to potential
Tenderers
6 March
Closing date of the ITT
23 April
Presentation from the Tenderers
6 and 8 May
Selection process
May - August
ECMWF Council decision
December
Contract signature
December

## Slide 23: 2013 planning
Project Kick-Off
January
Pilot sites agreed
January
Orders for pilot sites
15 March
Operational Service Commencement Date
mid-October
Tests for pilot, including pilot reliability acceptance tests
mid-May – mid-October
Acc. Agreement
for pilot sites (if needed)
January - March
Payment will start for all pilot sites
Deadline to submit orders to be part
of the Initial Deployment
1 July
Global network Acceptance Test
December - mid-January 2014
Individual handover of sites
before mid-December
For each site payment will start after site reliability acceptance tests

## Slide 24: 2014/2015 planning
Individual handover of sites (New sites, Upgrades…)
For each site payment will start after site reliability acceptance tests

## Slide 25: Question?
Presentation prepared by Alan Radford