## Slide 1
WIS Monitoring General Concepts
WIS monitoring is aimed at monitor availability of WIS centre functions and services in order to ensure stable operation of each WIS centre and the WIS as a whole
Real-time Operations Monitoring To ensure the smooth functioning of the WIS; each GISC operator continuously monitors in real-time items covering the GISC's area of responsibility, including:
Service availability: data distribution system, WIS catalogue and catalogue synchronization
WIS Core Network usage
Number of WIS catalogue records
Number of data and/or products stored in 24 hour cache
Number of data and products received from each Centre
Quarterly reporting To analyze mid-to-longer-time performance; each GISC operator provides a consolidated quarterly report covering the centres and networks in its own area of responsibility.
Service Performance;
Operational Infrastructure Performance;
Operational Anomalies and Incidents;
Evolutions/Upgrades Carried Out During the Reporting Period;
Planned Evolutions/Upgrades;
User Service Statistics
Incident reporting To let users know any operational anomalies or incidents; each WIS centre operator reports events that have significant detrimental impact on either the provision of the WIS services (e.g. failure to fulfil the service requirements) or the availability of the operational infrastructure.
Scope of WIS monitoring demonstration project at the 17th Congress is Real-time operations monitoring and incident reporting, which are provided through the Common Dashboard interface.
Current Available
WMO Common Dashboard
Current Participating Centres
Future Centres
WIS Monitoring & Progreamme Monitoring
WIS monitoring is designed for monitoring availability of WIS centre functions and services and is not aimed at replacing monitoring of WMO programmes activities. Each WMO programme is responsible for its own activity monitoring.